## Slide 1: RCWG 10.25.23

## Slide 2: NPRR1179
Submitted by ERCOT 5.04.23
Modifies existing dispute process
Expansion of recovery of reasonable RUC related fuel costs and penalties that exceed the fuel index price used by ERCOT
For verification purposes, ERCOT will review applicable invoices, contracts, and attestations
Quick implementation, minimal to no system impact

## Slide 3: NPRR1179 - OUTSTANDING ISSUES
ISSUE #1
Resource RUC’d and purchases fuel to operate during committed period
Resource trips offline during commitment
What should be recoverable?
PROPOSAL
Constellation proposed draft language
QSE/RE should make reasonable effort to sell fuel
Any residual values provided to ERCOT
Fuel able to be stored for later use should not be recoverable
Net fuel costs and related penalties should be recoverable
NEXT STEPS
The group agreed on the proposed solution on 9.27. ERCOT is submitting comments.

## Slide 4: NPRR1179 - OUTSTANDING ISSUES
ISSUE #2
Actual heat rate during dispute period can deviate from verifiable costs average heat rate
How should ERCOT handle this situation?
PROPOSAL
ERCOT proposed draft language
Cap actual heat rate at 120% of verifiable costs average heat rate
If actual heat rate exceeds 120% attestation and explanation is accepted
Reasonable caps on actual heat rate should be considered.
NEXT STEPS
The group agreed on the proposed solution on 10.25. ERCOT is submitting comments.

## Slide 5: RCWG CONTACT
Blake Holt
blake.holt@lcra.org
512.578.2003