## Slide 1
Status of Reliability Standard, VOLL and CONE Studies
Pete Warnken
Resource Adequacy
Supply Analysis Working Group
October 27, 2023

## Slide 2: Reliability Standard Scenario Study
Public workshop, hosted by ERCOT, was held October 13
Time-shift errors with the existing load forecast requires loading corrected forecast files and rerunning SERVM to update 48-scenario results
Additional resource mix scenarios with more inverter-based resources than included in the “CDR Mix” scenario
Additional scenarios requested by the Commission
Will include “Customer Costs” as an additional cost reporting item
Expected to complete scenario simulations in time for the November 30 PUC Open Meeting
Prompt-year simulations for 2023 will commence during November

## Slide 3: Value of Lost Load (VOLL) Study
Brattle Group selected as the contractor for the study
Also contracted with Lawrence Berkeley National Laboratory to adopt their VOLL survey instrument for ERCOT’s usage (LBNL already administering a VOLL survey for AEP Texas)
Study consists of two phases:
Phase 1
    Evaluation of other VOLL studies for applicability to ERCOT
    Develop macroeconomic benchmarks
    Determine scope, work plan and timeline for VOLL surveys (Phase 2)
Phase 2: Development and administration of VOLL surveys
Complete all Phase 1 tasks in December
Targeting the kick-off of Phase 2 in early January

## Slide 4: Cost of New Entry (CONE) Study
Received four study proposals in response to the Request for Proposals
Selected consultant will evaluate a range of reference technologies including gas-fired combustion turbines, gas-fired combined-cycle configurations, and solar/battery hybrid facilities
One of the deliverables will be a publicly available Excel Workbook that allows for inspection and manipulation of CONE inputs and formulas
  Use for future CONE updates between major CONE studies
  Conduct sensitivity analysis of CONE inputs
CONE study expected to take four months after contract award
Several briefings planned for the PUC and Market Participants