Draft

Minutes of the Reliability Operations Subcommittee (ROS) Meeting – Webex Only

Thursday, August 5, 2023 – 9:30 a.m.

Attendance

ROS Seated Representatives

| Bonskowski, Ned | Luminant Corporation (Luminant) |  |  |
| --- | --- | --- | --- |
| Bowen, Kenneth | CPS Energy |  |  |
| Boyd, Phillip | City of Lewisville |  |  |
| Brackin, Paul | Austin Energy |  | Alt. Rep. for Reza Ebrahim |
| Burkhead, Brett | Calpine Corporation (Calpine) |  | Alt. Rep. for Ron Hall |
| Cochran, Adam | Tenaska Power Services (Tenaska) |  |  |
| Cochran, Seth | DC Energy |  |  |
| Gerety, Chris | Texas-New Mexico Power (TNMP) |  |  |
| Hanson, Kevin | National Grid Renewables (NG Renewables) |  | Alt. Rep. for Kiran Kota |
| Holt, Blake | Lower Colorado River Authority (LCRA) |  | Alt. Rep. for Daniel Marr |
| Kremling, Barry | Guadalupe Valley Electric Cooperative (GVEC) |  |  |
| Kopp, Casey | Broad Reach Power (BRP) |  |  |
| Kunkel, Dennis | AEP Service Corporation (AEPSC) |  |  |
| Lee, Billy | Garland Power and Light (GP&L) |  |  |
| Lutrick, Chris | Denton Municipal Electric (DME) |  |  |
| Matt, Kevin | Reliant Energy Retail Services (Reliant) |  |  |
| Nashawati, Eithar | Oncor Electric Delivery (Oncor) |  |  |
| Okenfuss, James | Shell Energy North America (SENA) |  | Alt. Rep. for Resmi Surendran |
| Person, Paul | South Texas Electric Cooperative (STEC) |  |  |
| Pokharel, Nabaraj | Office of Public Utility Council (OPUC) |  |  |
| Reed, Cyrus | Sierra Club |  |  |
| Reid, Mike | Air Liquide |  |  |
| Rich, Katie | Golden Spread Electric Cooperative (GSEC) |  |  |
| Schmitt, Jennifer | Rhythm Ops |  |  |
| Smith, Chase | Southern Power |  |  |
| Woitt, Wes | CenterPoint Energy (CNP) |  |  |

| - Guests: |  |  |
| --- | --- | --- |
| Abbott, Kristin | Austin Energy |  |
| Anderson, Connor | AB Power Advisors |  |
| Andrus, Sydney | PG Renewables |  |
| Ashley, Kristy | CES |  |
| Bailey, Robert | NRG |  |
| Bansal, Apoorva | NextEra Energy |  |
| Batra-Shrader, Monica | Enchanted Rock |  |
| Berry, D. | LCRA |  |
| Bezwada, Neelima | Potomac Economics |  |
| Blackburn, Don | Hunt Energy Network |  |
| Blakey, Eric | Pedernales Electric Cooperative |  |
| Block, Lauri | L Block Consulting |  |
| Boggs, Callie | Eric Winters Goff, LLC |  |
| Bruce, Mark | Cratylus Advisors |  |
| Callender, Hudson | CPS Energy |  |
| Carvalho, Raphael | Omega |  |
| Chan, Vanessa | Enel |  |
| Chatlani, Varsha | BETM |  |
| Cheng, Yong | LCRA |  |
| Childress, John | kWantix |  |
| Collins, Bob | Texas Reliability Entity |  |
| Cook, Kristin | Southern Power |  |
| Cooksey, Matthew | OPUC |  |
| Cox, Jason | EQ Energy Advisors |  |
| Desrosiers, Erik | New Grid |  |
| Devarajan, Bhargavi | BETM |  |
| DeWitt, Charles | PEC |  |
| Dieringer, Michael | LCRA |  |
| Donaldson, Rodica | EDF |  |
| Donohoo, Ken | OwlERC, LLC |  |
| Downey, Marty | Luminant |  |
| Dreyfus, Mark | MD Energy Consulting |  |
| Evans, Doug | AEP |  |
| Fink, Regan | PG Renewables |  |
| Floyd, Rickey | Oncor |  |
| Gaire, Kishor | CC Renew |  |
| Ghoshal, Orijit | esVolta |  |
| Gomez, Juan | Up Time Solar |  |
| Greaff, Venona | Oxy |  |
| Haley, Ian | Morgan Stanley |  |
| Hastings, Jason |  |  |
| Headrick, Bridget | CES |  |
| Henson, Martha | Oncor |  |
| Hernandez, Rene | GVEC |  |
| Hijaltman, Courtney | OPUC |  |
| Hill, Jacquelyn | Legislative Director Sen. Charles Schwertner |  |
| Hinds, David | LCRA |  |
| Huynh, Thuy | Potomac Economics |  |
| Jablonski, Ward | MEPPI |  |
| Jones, Dan |  |  |
| Jowlabar, Nicholas | RWE |  |
| Keller, Jenna | Potomac Economics |  |
| Khayat, Maribel | CNP |  |
| Koberlein, Paul | LP&L |  |
| Korde, Kshitji | NG Renewables |  |
| Koz, Brian |  |  |
| Kroskey, Tony | Brazos |  |
| Lacek, Mollie | Talen Energy |  |
| Lotter, Eric | GridMonitor |  |
| Lu, Bo | Broad Reach Power |  |
| Macaraeg, Tad | Stem |  |
| Martinez, Javier | BPUB |  |
| Matevosyan, Julia | ESIG |  |
| McChesney, Mark | Oncor |  |
| McClellan, Suzi | Good Company Associates |  |
| McDaniel Wyman, Constance | AEP |  |
| Miller, Alex | EDFR |  |
| Morris, Sandy | WETT |  |
| Mulholland, Chad | NRG |  |
| Nguyen, Andy | Constellation Energy |  |
| Okoro, Ikenna | Balch |  |
| Palani, Ananth | GP&L |  |
| Pallarez, Edward | ETT |  |
| Parvathaneni, Sirisha | Oncor |  |
| Pennington, Scott | City of Lubbock |  |
| Petajasoja, Ida | Stem |  |
| Preas, Dylan | LCRA TSC |  |
| Pyka, Greg | Schneider Engineering |  |
| Ramaswamy, Ramya | PUCT |  |
| Ravulapati, Bharath | LCRA |  |
| Reedy, Steve | CIM View Consulting |  |
| Ritch, John | NextEra Energy |  |
| Robertson, William | CPS Energy |  |
| Ross, Richard | AEP |  |
| Ruiz, Pablo | New Grid |  |
| Ryall, Jean |  |  |
| Sakalla, Yasmin | Enel |  |
| Senanayake, Sam | PG Renewables |  |
| Sersen, Juliana | Baker Botts |  |
| Sidart, Deb | LCG Consulting |  |
| Siddiqi, Shams | Crescent Power Consulting |  |
| Sills, K. | GP&L |  |
| Sisk, Linden |  |  |
| Stanfill, Susan | PGR |  |
| Stephenson, Zach | TEC |  |
| Thompson, Marie | Southern Power |  |
| Turner, Lucas | STEC |  |
| Upadhyay, Aditi | NextEra |  |
| Uy, Manny | Hunt Energy |  |
| Velasquez, Ivan | Oncor |  |
| Walke, Pranil | Calpine |  |
| Walker, Floyd | PUCT |  |
| Walker, Zachary | Oncor |  |
| Wang, Shawn | Enel |  |
| Wang, Tong | AEP |  |
| Watson, Mark |  |  |
| Wichers, Josh | AEP |  |
| Williams, Wes | BTU |  |
| Wittmeyer, Bob | Longhorn Power |  |
| Wolf, Craig | RES |  |
| Woods, Brad | Texas Reliability Entity |  |
| Zang, Hailing | TC Energy |  |
| Zhang, Mandy | GEUS |  |
| Zhen, Shuying | GE |  |
| ERCOT Staff: |  |  |
| Abu-Khalifa, Yousef |  |  |
| Albracht, Brittney |  |  |
| Arth, Matt |  |  |
| Billo, Jeff |  |  |
| Boren, Ann |  |  |
| Cheng, Yunzhi |  |  |
| Clifton, Suzy |  |  |
| Devadhas Mohanadha, Thinesh |  |  |
| Du, Pengwei |  |  |
| Frazier, Landon |  |  |
| Gnanam, Prabhu |  |  |
| Golen, Robert |  |  |
| Gravois, Patrick |  |  |
| Guiyab, Rochie |  |  |
| Fernandes, Jenifer |  |  |
| Hartmann, Jimmy |  |  |
| Head, Travis |  |  |
| Huang, Fred |  |  |
| Kang, Sun Wook |  |  |
| Lee, Alex |  |  |
| Li, Ying |  |  |
| Mago, Nitika |  |  |
| Matlock, Robert |  |  |
| Miller, Megan |  |  |
| Moayedi, Sam |  |  |
| Duus, Tim |  |  |
| Phillips, Cory |  |  |
| Rainwater, Kim |  |  |
| Sanchez, Daniel |  |  |
| Schmall, John |  |  |
| Solis, Stephen |  |  |
| Teixeira, Jay |  |  |
| Thuerwaechter, Kashia |  |  |
| Wasik-Gutierrez, Erin |  |  |
| Woodfin, Dan |  |  |
| Yan, Ping |  |  |
| Yazdanpanahgoharrizi, Ali |  |  |
| You, Haibo |  |  |
| Zuloaga, Scott |  |  |

Unless otherwise indicated, all Market Segments participated in the votes.

Chase Smith called the October 5, 2023 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Smith directed attention to the Antitrust Admonition, which was displayed.

Agenda Review

- Mr. Smith reviewed the agenda.

Technical Advisory Committee (TAC) Update

Mr. Smith reviewed the disposition of items considered at the September 26, 2023 TAC meeting, including Nodal Protocol Revision Request (NPRR) 1186, Improvements Prior to the RTC+B Project for Better ESR State of Charge Awareness, Accounting, and Monitoring, and Planning Guide Revision Request (PGRR) 105, Deliverability Criteria for DC Tie Imports.  Mr. Smith noted that TAC tabled Nodal Operating Guide Revision Request (NOGRR) 245, Inverter-Based Resource (IBR) Ride-Through Requirements, awaiting responses on the requests for information (“RFIs”) ERCOT will be issuing to Resource Entities and questions to original equipment manufacturers (“OEMs”) regarding the feasibility of meeting the new ride-through requirements.  Stephen Solis responded to Market questions and concerns regarding the RFIs and timeline for next steps.

Mr. Smith stated that TAC requested ROS evaluate the September 6, 2023 Energy Emergency Alert (EEA) 2 Event issues, including the EEA threshold/trigger, Physical Responsive Capability (PRC) calculations, relaxation of constraints during EEA, Constraint Management Plans (CMPs) before EEAs, and management of High Dispatch Limit (HDL) overrides.  Mr. Smith stated that ROS leadership would be confirming additional details of the TAC request with TAC leadership and would present the assignment at the November 2, 2023 ROS meeting.

- ERCOT Reports (see Key Documents)

- Operations Report

Alex Lee summarized the August 2023 Operations Report, highlighted high peak load due to summer impacts, and noted increased transmission watch notices for maintaining reliability.

- System Planning Report

- Ping Yan summarized the August 2023 System Planning Report.

- Generic Transmission Constraint (GTC) Update

- Yunzhi Cheng provided an update on the Wharton and McCamey GTCs, stated that ERCOT will issue a market notice with a defined energization schedule for the new Bearkat – Long Shore 345kV, single-circuit transmission line, and noted that, once that line is energized, ERCOT intends to retire the Bearkat GTC.

ROS Revision Requests (see Key Documents)

Impact Analysis

PGRR110, Revision to Accommodate Steady-State Node-Breaker Modeling

- Market Participants reviewed the 7/19/23 Impact Analysis to PGRR110.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Nodal Operating Guide Revision Request (NOGRR) 257, Removal of Redundant ERS Reporting Requirement

- Market Participants reviewed the 8/21/23 Impact Analysis for NOGRR257.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

Language Review

PGRR112, Dynamic Data Model and Full Interconnection Study (FIS) Deadline for Quarterly Stability Assessment

- Jenifer Fernandes provided an overview of PGRR112.  Market Participants highlighted areas for potential improvements to the proposed language to provide clarity and referred PGRR112 to the Planning Working Group (PLWG) and Dynamics Working Group (DWG) for further discussion.  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

NOGRR258, Related to NPRR1198, Congestion Mitigation Using Topology Reconfigurations

- Mr. Smith reminded Market Participants of NPRR1198, Congestion Mitigation Using Topology Reconfigurations and NOGRR258 discussion at the September 7, 2023 ROS meeting and the ROS leadership request for the Operations Working Group (OWG) to review the issues.  Alex Miller provided an overview of NOGRR258 and highlighted NOGRR258 discussion at the October 19, 2023 OWG meeting.  Some Market Participants raised concerns regarding the potential for gaming opportunities in the markets.  Ms. Rich noted that NPRR1198 and NOGRR258 would be discussed at the October 9, 2023 Congestion Management Working Group (CMWG) meeting.  Market Participants discussed operational impacts and modeling issues and requested further review of the issues at OWG and the Network Data Support Working Group (NDSWG).  Mr. Smith noted this item could be considered for inclusion in the Combined Ballot.

OWG (see Key Documents)

Rickey Floyd reviewed OWG activities.

Nodal Protocol Revision Request (NPRR) 1070, Planning Criteria for GTC Exit Solutions

ROS took no action on this item.

Revision Requests Tabled at ROS (see Key Documents)

PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions

PGRR111, Related to NPRR1191, Registration, Interconnection, and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater

Resource Registration Glossary Revision Request (RRGRR) 036, Related to NPRR1191, Registration, Interconnection, and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater

NOGRR256, Related to NPRR1191, Registration, Interconnection, and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater

ROS took no action on these items.

PLWG (See Key Documents)

Ms. Miller reviewed PLWG activities, including the ERCOT Congestion Cost Savings Test discussion.  In response to Market Participant questions and concerns, ERCOT Staff summarized next steps for the project and anticipated Revision Request timeline.

NPRR1180, Inclusion of Forecasted Load in Planning Analyses

PGRR107, Related to NPRR1180, Inclusion of Forecasted Load in Planning Analyses

PGRR109, Dynamic Model Review Process Improvement for Inverter-Based Resource (IBR) Modification

ROS took no action on these items.

Inverter Based Resources Working Group (IBRWG) (see Key Documents)

- Julia Matevosyan summarized IBRWG activities.

NOGRR255, High Resolution Data Requirements

ROS took no action on this item.

DWG (see Key Documents)

Javier Martinez reviewed DWG activities, including NOGRR255 discussion at the August 22, 2023 DWG meeting, and stated that DWG was in consensus to recommend to ROS that the requirements are sufficient for dynamic model validation.

DWG Procedure Manual

Mr. Martinez presented updates to the DWG Procedure manual.  Some Market Participants requested additional time to review the issues and noted that the manual updates were presented  in a closed DWG meeting.  Sun Wook Kang responded to Market Participant questions and concerns and stated that ERCOT desired to request ROS consideration of the update to the DWG manual due to the challenges in the current language and requirements, and highlighted stability and mitigation issues.

Chase Smith moved to approve the DWG manual as submitted.  Dennis Kunkel seconded the motion.  The motion carried with one abstention from the Independent Generator (Luminant) market segment.  (Please see ballot posted with Key Documents.)

Mr. Chase yielded the Chair to Katie Rich.

Steady State Working Group (SSWG) (see Key Documents)

Josh Wichers reviewed SSWG activities, including current case observations and concerns.  Mr. Wichers requested ROS direction on potential SSWG Procedure Manual updates for modeling methodologies on handling large Loads to reduce impacts and reorganizing the extraordinary dispatch steps.  Mr. Wichers noted potential concepts to review include dispatching diesel and gas Settlement Only Distribution Generators (SODGs) prior to increasing wind beyond the Capacity, Demand and Reserves Report (CDR) levels; reducing large, flexible Loads prior to increasing wind beyond CDR levels; and dispatching batteries (currently offline in all cases) prior to increasing wind beyond the CDR levels.  Ms. Rich requested PLWG review the case build concerns and provide recommendations to SSWG and ROS.

PGRR106, Clarify Projects Included in Transmission Project Information and Tracking (TPIT) Report

ROS took no action on this item.

Combined Ballot

Mr. Kunkel moved to approve the Combined Ballot as follows:

- To endorse and forward to TAC the 9/7/23 ROS Report and 7/19/23 Impact Analysis for PGRR110

- To endorse and forward to TAC the 9/7/23 ROS Report and 8/21/23 Impact Analysis for NOGRR257

- To table PGRR112 and refer the issue to PLWG and DWG

- To table NOGRR258 and refer the issue to OWG and NDSWG

Kevin Hanson seconded the motion.  The motion carried unanimously.  (Please see ballot posted with Key Documents.)

Black Start Working Group (BSWG) (see Key Documents)

Michael Dieringer reviewed BSWG activities.  ERCOT Staff highlighted 2023 Black Start training opportunities.  Mr. A. Lee provided an update on Black Start procurements and summarized the timeline for contracts awards and the next Resource tests.

Performance Disturbance Compliance Working Group (PDCWG) (see Key Documents)

Chad Mulholland reviewed PDCWG activities, including the 2024 Ancillary Services Methodology discussion at the September 20, 2023 PDCWG open meeting.

Other Business (see Key Documents)

October 13, 2023 Annual TAC Subcommittee Structural Review

Ms. Rich presented ROS and ROS working group efficiencies as submitted by leadership.  Mr. Smith noted that the ROS efficiencies would be presented at the October 13, 2023 Annual TAC Subcommittee Structural Review.  There were no objections.

2024 ERCOT Membership/Segment Representative Elections

Suzy Clifton reminded Market Participants that the Membership record date is Friday, November 17, 2023, noted Membership Services email Market Notice M-C100923-01 General, ERCOT Membership Application for 2024 Membership Year Now Available Online was sent October 9, 2023, and stated that 2024 Segment Representative Elections for TAC and Subcommittees would begin the week after the record date.

Review Open Action Items List

Market Participants reviewed the Open Action Items list, including the TAC assignment on ERCOT Contingency Reserve Service (ECRS) follow up items.  In response to the request from Mr. Chase for ECRS deployment and operations communication in real-time, Nitika Mago stated that within the control room operators are focused on maintaining reliability, highlighted specifics of different events in using ECRS, and offered to provide information on the ECRS deployments in future Operations Reports.  Mr. Chase offered to report at the October 24, 2023 TAC meeting that ROS had completed review of the ECRS follow up items.  There were no objections.

No Report

- NDSWG

- Operations Training Working Group (OTWG)

- System Protection Working Group (SPWG)

- Voltage Profile Working Group (VPWG)

Adjournment

Mr. Smith adjourned the October 5, 2023 ROS meeting at 12:30 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

- https://www.ercot.com/calendar/10052023-ROS-Meeting-_-Webex