## Slide 1: Cold Weather Critical Component Monitoring Strategy
Andrew Valencia, PE
Senior Vice President of Generation

## Slide 2: Agenda
Review LCRA’s cold weather preparation and after-action process
Discuss LCRA’s Monitoring Strategy
Discuss LCRA Data Evolution

## Slide 3: LCRA Cold Weather Preparation Process

## Slide 4: Site Procedures
Written procedure and checklists for each site
  Required supply inventories and equipment checks
  Location, type of temporary measures
Plant directors affirm execution of site procedures
  By early November
  Documentation for all checks performed
Senior manager tours each site to verify preparations
Also follow site procedures and checklists for actions while temperatures below freezing

## Slide 5: Preparation Meeting – Early November
Includes staff from generation, plant management, qualified scheduling entity operations, meteorology
Discuss:
  Expected weather patterns
  Expected real-time market conditions
  Preparation status
  Questions, concerns, needed resources
Document action items

## Slide 6: LCRA Monitoring Strategy

## Slide 7: LCRA Monitoring Strategy
Strategy is dependent on severity of event, Levels 1 - 4
Additional equipment surveillance by operations personnel
Additional staffing brought in to help with further surveillance
Battle stations staffing
Generation Emergency Command Center

## Slide 8: LCRA Monitoring Strategy
Battle Stations staffing involves every employee in Generation
Every employee is assigned a task and a location
Put in place for a Level 3 event or sooner depending on the situation

## Slide 9: LCRA Monitoring Strategy

## Slide 10: LCRA Monitoring Strategy
Plant, QSE and meteorology staff hold daily calls to discuss:
  Plant status and known risk
  Market/ERCOT status
  Weather issues – severity, duration, timing
  Offline units
  Fuel supply needs
Depending on severity of event, hold additional calls with managers on duty, risk staff
For Level 4 event, may activate Generation Emergency Command Center

## Slide 11: LCRA Monitoring Strategy

## Slide 12: LCRA Data Evolution

## Slide 13: LCRA Data Evolution
Prior to 2016 plant data resided at the site
In 2016, LCRA set up a Fleetwide Enterprise Historian (EdNA/PODS)
Data from each site was viewable from any network computer
LCRA was data-rich

## Slide 14: LCRA Data Evolution
We have over 55k points in our historian
In 2019, we began evaluating a Data Analytics solution
HanPHI for HanAra was selected and implemented in Dec 2019
Installed on 100+ PCs, including in our control rooms

## Slide 15: LCRA Data Evolution
Plant models were built and tuned using a year’s worth of data
Near real-time data flows from historian to HanPHI and is compared to predicted values
Deviations are graded and alarmed if they meet definable criteria

## Slide 16: LCRA Data Evolution
PODS Overview Screen

## Slide 17: LCRA Data Evolution
HanPHI Fleet Dashboard

## Slide 18: LCRA Data Evolution
HanPHI Plant Index Screen

## Slide 19: LCRA Data Evolution
HanPHI Success Tree

## Slide 20: LCRA Data Evolution
LP1 Intermediate Pressure Drum Pressure Sensing Line Freeze
Very good agreement between the black (model predicted value) and the green (actual tag value).
Deviation from the model predicted value
and the actual tag value when sensing line froze.
Offline