## Slide 1: Operations Working Group
Chair- Rickey Floyd
Vice-Chair- Theresa Noyes
HITE List Sub-Chair – Pushkar Chhajed
11/02/2023

## Slide 2: ERCOT Updates and System Operation Report
Unofficial Peaks Reported by ERCOT
September 1, 13,737 MW Solar Generation Record – 21.89%
September 7, Peak – 83,911 MW

## Slide 3: Texas Reliability Entity Report
TRE provided an update on upcoming events and discussions
  10/25 Fall Standards Workshop
  10/31 Electric Gas Coordination
  11/2 System Operating Limit Standards
  11/9 DERs
NERC Standards FAC-008-3: Facility Ratings
  Clarifying language re: how to calculate facility ratings for jointly-owned equipment
9/21 FERC inquiry team presented their initial findings on Winter Storm Elliott to FERC Commissioners
TRE - See TRE, NERC and FERC Websites for more information

## Slide 4: NPRR 1070 - Planning Criteria for GTC Exit Solutions
OWG requested update from ERCOT on the status of NPRR 1070
Alexandra Miller shared overview of conversations with ERCOT Planning
  Planning will work to incorporate the concepts of NPRR 1070 alongside the implementation of the congestion cost test. A decision to withdraw NPRR 1070 will be made after the resiliency and economic test language is fully developed and implemented.

## Slide 5: NPRR 1198 and NOGRR258 - Congestion Mitigation Using Topology Reconfigurations
Alexandra Miller Presented draft language changes to OWG
PRS referred NPRR 1198 to WMS to discussion transparency issues
Data modeling concerns brought up in NDSWG are being addressed in draft language
OWG discussed and raised various question concerning the proposed NPRR and NOGRR
  Draft language adds Extended Action Plans and Remedial Action Plans to be defined in Network Operations Model
  All proposal or requests for changes will be submitted to ERCOT for review and approval. ERCOT will gather input from TSPs and REs that own transmission facilities
  ERCOT will post market notices for all considerations within 5 business days.
  NOMCRR will be the method used to submit the changes into the network model
  EAP approval must have buy-in from all impacted parties before approval (ERCOT, TOs, REs). Essentially, a Resource Entity could veto any suggestion that negatively affected its operation.
Other stakeholders are likely to submit comments to proposed language

## Slide 6: OTWG Update
No Update