## Slide 1: Planning Working Group Update
To
Reliability and Operations Subcommittee
Alexandra Miller, PLWG Chair
Dylan Preas, PLWG Vice-Chair
November 2, 2023

## Slide 2: PLWG Activity Update – 10/18/23
PGRR107 – (Related to NPRR 1180) – Inclusion of Forecasted Load in Planning Analyses
  PLWG discussed comments filed by Oncor in collaboration with ERCOT staff.
  PLWG consensus was to recommend approval of the PGRR
PGRR 109 – Dynamic Model Review Process Improvement for IBR Modification
  Comments posted since previous meeting were reviewed.
  ERCOT staff shared a presentation addressing their response to TAEBA comments.
  ERCOT staff requested more time to review latest submission by Joint Commenters, and PLWG will discuss in November.

## Slide 3: PLWG Activity Update – 10/18/23
PGRR112 - Dynamic Data Model and Full Interconnection Study (FIS) Deadline for Quarterly Stability Assessment
  ERCOT provided an overview of PGRR112.
  Stakeholder discussion included the following recommendations to ERCOT:
    Related to the schedule for interactions between the IE and TSP, PGRR 112 should refer to the “final” dynamic model to clarify that the model should be submitted after the IE and TSP have reviewed it.
    A language revision from 30 Business Days to 30 Days was suggested due to the length of time and there could be a number of weekends or holidays to account for.
    Since the final FIS study (reviewed by ERCOT) is to be submitted by the deadline, PGRR 112 should include a deadline for the submission of the draft FIS and model, which is reviewed by ERCOT as well.
  No consensus was reached. PLWG will table PGRR 112 for further discussion at the November meeting.

## Slide 4: PLWG – Open Action Items
Congestion Cost Test Implementation & NPRR1070 – Planning Criteria for GTC Exit Solutions
  Remains tabled as ERCOT staff develops draft revision requests
NERC Standard FAC-002-4: Qualified Change for the purpose of Facility Interconnection
  Remains tabled as implementation advances
Input to SSWG Assumptions
  To discuss at November meeting

## Slide 5: Questions?