Draft

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

ERCOT Austin – 8000 Metropolis Drive (Building E), Suite 100 – Austin, Texas 78744

Thursday, September 7, 2023 – 9:30 a.m.

Attendance

ROS Representatives

| Bonskowski, Ned | Luminant Corporation (Luminant) |  |  |
| --- | --- | --- | --- |
| Bowen, Kenneth | CPS Energy |  | Via Teleconference |
| Boyd, Phillip | City of Lewisville |  | Via Teleconference |
| Burkhead, Brett | Calpine Corporation (Calpine) |  | Alt. Rep for Ron Hall Via Teleconference |
| Cochran, Adam | Tenaska Power Services (Tenaska) |  | Via Teleconference |
| Cochran, Seth | DC Energy |  |  |
| Downey, Marty | Luminant Corporation (Luminant) |  | Alt. Rep. for Ned Bonskowski |
| Ee, Danny | Austin Energy |  | Alt. Rep. for Reza Ebrahimian |
| Gerety, Chris | Texas-New Mexico Power (TNMP) |  | Via Teleconference |
| Hendrix Chris | Demand Control 2 |  | Via Teleconference |
| Kopp, Casey | Broad Reach Power (BRP) |  | Via Teleconference |
| Kota, Kiran | National Grid Renewables (NG Renewables) |  | Via Teleconference |
| Kremling, Barry | Guadalupe Valley Electric Cooperative (GVEC) |  |  |
| Kunkel, Dennis | AEP Service Corporation (AEPSC) |  |  |
| Lee, Billy | Garland Power and Light (GP&L) |  | Via Teleconference |
| Lutrick, Chris | Denton Municipal Electric (DME) |  | Via Teleconference |
| Marr, Daniel | Lower Colorado River Authority (LCRA) |  |  |
| Matt, Kevin | Reliant Energy Retail Services (Reliant) |  |  |
| Okenfuss, James | Shell Energy North America (SENA) |  | Alt. Rep. for Resmi Surendran |
| Person, Paul | South Texas Electric Cooperative (STEC) |  |  |
| Pokharel, Nabaraj | Office of Public Utility Council (OPUC) |  |  |
| Reed, Cyrus | Sierra Club |  |  |
| Reid, Mike | Air Liquide |  | Via Teleconference |
| Rich, Katie | Golden Spread Electric Cooperative (GSEC) |  |  |
| Schmitt, Jennifer | Rhythm Ops |  |  |
| Smith, Chase | Southern Power |  |  |
| Surendran, Resmi | SENA |  | Via Teleconference |
| Velasquez, Ivan | Oncor Electric Delivery (Oncor) |  | Alt. Rep. for Eithar Nashawati |
| Woitt, Wes | CenterPoint Energy (CNP) |  | Via Teleconference |

The following proxy was assigned:

- James Okenfuss to Seth Cochran

| - Guests: |  |  |
| --- | --- | --- |
| Abbott, Kristin | Austin Energy | Via Teleconference |
| Ahn, Sirius | Oncor | Via Teleconference |
| Ainspan, Malcolm | NRG | Via Teleconference |
| Aldridge, Ryan | AB Power | Via Teleconference |
| Allen, Theresa | Avangrid Renewables | Via Teleconference |
| Anderson, Connor | AB Power Advisors | Via Teleconference |
| Anderson, Lyrae | Akuo Energy | Via Teleconference |
| Andrus, Sydney | PG Renewables | Via Teleconference |
| Apoorva, Bansal | NextEra | Via Teleconference |
| Ashley, Kristy | CES | Via Teleconference |
| Azari, David | Invenergy | Via Teleconference |
| Badhan, Devinder | DNV | Via Teleconference |
| Bailey, Robert | NRG |  |
| Barati, Camron | Potomac Economics | Via Teleconference |
| Batra-Shrader, Monica | Enchanted Rock | Via Teleconference |
| Berry, DJ | LCRA | Via Teleconference |
| Bertin, Suzanne |  | Via Teleconference |
| Bezwada Neelima | Potomac Economics | Via Teleconference |
| Blackburn, Don | Hunt Energy Network | Via Teleconference |
| Blakey, Eric | Pedernales Electric Cooperative | Via Teleconference |
| Blakenship, David | CNP | Via Teleconference |
| Block, Lauri | TSPA | Via Teleconference |
| Borkar, Sandeep | LCRA TSC | Via Teleconference |
| Bruce, Mark | Southern Spirit |  |
| Burke, Tom | RWE | Via Teleconference |
| Calcagni, Anthony | DC Energy | Via Teleconference |
| Callender, Hudson | CPS Energy | Via Teleconference |
| Carter, Cathy | GridAxon | Via Teleconference |
| Carvalho, Raphael | Omega | Via Teleconference |
| Chhajed, Pushkar | Enel | Via Teleconference |
| Childress, John | kWantix | Via Teleconference |
| Chmiel, Gary | GE | Via Teleconference |
| Chwialkowski, Todd | EDF | Via Teleconference |
| Clark, Jack | Next Era Energy | Via Teleconference |
| Colaco, Elibia | Omega | Via Teleconference |
| Collard, Brad | PEC | Via Teleconference |
| Contos, Christopher | Orsted | Via Teleconference |
| Cook, Kristin | Southern Power |  |
| Cooksey, Matthew | OPUC | Via Teleconference |
| Cortez, Sarai | Trailstone | Via Teleconference |
| Cox, Jason | EQ Energy Advisors | Via Teleconference |
| Cripe, Ramsey | Schneider Engineering | Via Teleconference |
| Deb, Sidart | LCG Consulting | Via Teleconference |
| Dernulc, Lawrence | Invenergy | Via Teleconference |
| Desrosiers, Erik | New Grid | Via Teleconference |
| Detelich, David | CPS Energy | Via Teleconference |
| DeWitt, Charles | PEC | Via Teleconference |
| Dharme, Neeraja | EDFT | Via Teleconference |
| Donohoo, Ken |  | Via Teleconference |
| Ellis, Dean |  | Via Teleconference |
| Embrey, Tammy | Invenergy | Via Teleconference |
| Evans, Doug | AEP | Via Teleconference |
| Eveld, Neil | GE | Via Teleconference |
| Fink, Regan | PG Renewables | Via Teleconference |
| Floyd, Rickey | Oncor | Via Teleconference |
| Garcia, Marco | Omega |  |
| Garrett, Bob | Key Capture Energy | Via Teleconference |
| Glenn, David | Avangrid | Via Teleconference |
| Goff, Eric | NextEra |  |
| Gomez, Juan | Up Time Solar | Via Teleconference |
| Greaff, Venona | Oxy | Via Teleconference |
| Greer, Clayton | Cholla Petroleum | chollapetro.com |
| Grenville, Roy |  | Via Teleconference |
| Griffith, Scott | Duke Energy | Via Teleconference |
| Gross, Blake | AEPSC | Via Teleconference |
| Hall, Matthew | Invenergy | Via Teleconference |
| Hale, Josh | Southern Power | Via Teleconference |
| Haley, Ian | Morgan Stanley | Via Teleconference |
| Hamann, Andrew | LCRA TSC | Via Teleconference |
| Headrick, Bridget | CES | Via Teleconference |
| Henry, Mark | Texas Reliability Entity | Via Teleconference |
| Hodges, Glen | Pattern Energy | Via Teleconference |
| Holt, Blake | LCRA | Via Teleconference |
| Houston, Matt | WFAA | Via Teleconference |
| Howard, Sarah | LCRA | Via Teleconference |
| Huynh, Thuy | Potomac Economics | Via Teleconference |
| Ingraham, Deborah | Acciona | Via Teleconference |
| Iyer, Praveen | EDF | Via Teleconference |
| Jackson, Jimmy | CPSE | Via Teleconference |
| Jacob, Sini |  | Via Teleconference |
| Jewell, Michael | Jewell and Associates | Via Teleconference |
| Jolley, Emily | LCRA | Via Teleconference |
| Jones, Caitlin | AES | Via Teleconference |
| Joshi-Steelhead, Karan | Vestas | Via Teleconference |
| Jowlabar, Nicholas | RWE | Via Teleconference |
| Keefer, Andrew | City of Denton | Via Teleconference |
| Kemper, Jason | EDFR | Via Teleconference |
| Khayat, Maribel | CNP | Via Teleconference |
| Killoran, Anthony | Oncor | Via Teleconference |
| King, Robert | Good Company Associates | Via Teleconference |
| Koberlein, Paul | LP&L | Via Teleconference |
| Korde, Kshitji | NG Renewables | Via Teleconference |
| Koz, Brian |  | Via Teleconference |
| Kroskey, Tony | Brazos | Via Teleconference |
| Lacek, Mollie | Talen Energy | Via Teleconference |
| Lasher, Warren | Lasher Energy | Via Teleconference |
| Lee, Jim | CNP |  |
| Leverett, Travis | WETT | Via Teleconference |
| Lewis, William | Payless Power | Via Teleconference |
| Lotter, Eric | GridMonitor | Via Teleconference |
| Loving, Alicia | Austin Energy | Via Teleconference |
| Luckey, Nicole | Invenergy | Via Teleconference |
| Macaraeg, Tad | Stem | Via Teleconference |
| Malik, Naureen | Bloomberg News |  |
| Martin, Collin | Oncor | Via Teleconference |
| Martinez, Javier | BPUB | Via Teleconference |
| Matevosyan, Julia | ESIG | Via Teleconference |
| Maxymillian, Kris | Morgan Lewis | Via Teleconference |
| Mayclin, Arthur | Calpine | Via Teleconference |
| Mayers, DJ | NextEra | Via Teleconference |
| Maynez, Andres | Orsted | Via Teleconference |
| McClellan, Suzi | Good Company Associates | Via Teleconference |
| McDaniel Wyman, Constance | AEP | Via Teleconference |
| McGinnis, Blair | LP&L | Via Teleconference |
| Messer, Judd | Power Alliance | Via Teleconference |
| Miller, Alex | EDFR | Via Teleconference |
| Minchew, Christina | CTT | Via Teleconference |
| Mitasev, Alex | Avangrid | Via Teleconference |
| Mohammed, Omer Siddiqui | CPS Energy | Via Teleconference |
| Moore, Sylvain |  | Via Teleconference |
| Moral Diaz, Ismael | Acciona | Via Teleconference |
| Mulholland, Chad | NRG | Via Teleconference |
| Narang, Harmeet | GE | Via Teleconference |
| Nigro, Andrew | Invenergy | Via Teleconference |
| Noyes, Theresa | LCRA |  |
| Oberski, Nicholas | LCRA TSC | Via Teleconference |
| Orr, Rob | Lone Star Transmission |  |
| Oxedine, Helen | CPS Energy | Via Teleconference |
| Parvathaneni, Sirisha | Oncor | Via Teleconference |
| Pearson, Arthur | Blue Print Power | Via Teleconference |
| Penney, David | Texas Reliability Entity | Via Teleconference |
| Preas, Dylan | LCRA TSC | Via Teleconference |
| Pullela, Suma | Orsted | Via Teleconference |
| Quezada, Robert | AES | Via Teleconference |
| Ramaswamy, Ramya | PUCT | Via Teleconference |
| Reedy, Steve | CIM View Consulting |  |
| Reimers, Andrew | Lancium | Via Teleconference |
| Richmond, Michelle | Competitive Power | Via Teleconference |
| Ritch, John | NextEra Energy | Via Teleconference |
| Robertson, William | CPS Energy | Via Teleconference |
| Rosenduft, Danielle |  | Via Teleconference |
| Ruiz, Pablo | NewGrid | Via Teleconference |
| Russell, Derek | AES | Via Teleconference |
| Sams, Bryan | Calpine | Via Teleconference |
| Schwarz, Brad | Sharyland |  |
| Siddiqi, Shams | Crescent Power Consulting | Via Teleconference |
| Skipton, Jimmy | Baker Botts | Via Teleconference |
| Sorrell, Evie | AES | Via Teleconference |
| Springer, Tyler | AEP | Via Teleconference |
| Stephenson, Zach | TEC | Via Teleconference |
| Tay, Sing | AES | Via Teleconference |
| Thompson, Marie | Southern Power | Via Teleconference |
| Uy, Manny | Hunt Energy | Via Teleconference |
| Vara, John | GSEC | Via Teleconference |
| Villarreal, Jose | Acciona | Via Teleconference |
| Walker, Zachary | Oncor | Via Teleconference |
| Wall, Perrin | CNP | Via Teleconference |
| Wang, Shawn | Enel | Via Teleconference |
| Wheeler, Michele | NextEra | Via Teleconference |
| White, Lauri | AEP Texas |  |
| Wichers, Joshua | AEP | Via Teleconference |
| Williams, Lori | BTU | Via Teleconference |
| Williams, Wes | BTU | Via Teleconference |
| Willson, Stacia | WFAA | Via Teleconference |
| Wittmeyer, Bob | Longhorn Power |  |
| Wolf, Craig | RES | Via Teleconference |
| Wright, Chris | Spearmint Energy | Via Teleconference |
| Zang, Hailing | TC Energy | Via Teleconference |
| Zhang, Matt | Austin Energy | Via Teleconference |
| ERCOT Staff: |  |  |
| Albracht, Brittney |  | Via Teleconference |
| Anderson, Troy |  | Via Teleconference |
| Azeredo, Chris |  | Via Teleconference |
| Ballard, James |  | Via Teleconference |
| Boren, Ann |  | Via Teleconference |
| Burney, Umar |  | Via Teleconference |
| Butler, Luke |  | Via Teleconference |
| Cantu, Jorge |  | Via Teleconference |
| Cheng, Yunzhi |  | Via Teleconference |
| Clifton, Suzy |  |  |
| Davarikia, Hamzeh |  | Via Teleconference |
| Devadhas Mohanadha, Thinesh |  | Via Teleconference |
| Duus, Tim |  | Via Teleconference |
| Flint, Alison |  | Via Teleconference |
| Frosh, Colleen |  | Via Teleconference |
| Gallo, Andrew |  | Via Teleconference |
| Garcia, Freddy |  | Via Teleconference |
| Gnanam, Prabhu |  |  |
| Golen, Robert |  | Via Teleconference |
| Gonzalez, Luis |  | Via Teleconference |
| Gravois, Patrick |  | Via Teleconference |
| Guiyab, Rochie |  | Via Teleconference |
| Herrera, Shane |  | Via Teleconference |
| Huang, Fred |  |  |
| Kang, Sun Wook |  | Via Teleconference |
| Khodabakhsh, Fred |  | Via Teleconference |
| Lee, Alex |  | Via Teleconference |
| Mago, Nitika |  |  |
| Matlock, Robert |  | Via Teleconference |
| Mattingly, Jackie |  | Via Teleconference |
| Meier, Eric |  | Via Teleconference |
| Mereness, Matt |  | Via Teleconference |
| Moayedi, Sam |  | Via Teleconference |
| Patterson, Mark |  | Via Teleconference |
| Pedigo, Jake |  | Via Teleconference |
| Phillips, Cory |  | Via Teleconference |
| Rainwater, Kim |  | Via Teleconference |
| Sanchez, Daniel |  | Via Teleconference |
| Schmall, John |  |  |
| Solis, Stephen |  | Via Teleconference |
| Stice, Clayton |  | Via Teleconference |
| Teixeira, Jay |  | Via Teleconference |
| Thompson, Chad |  | Via Teleconference |
| Thuerwaechter, Kashia |  | Via Teleconference |
| Troublefield, Jordan |  | Via Teleconference |
| Wasik-Gutierrez, Erin |  |  |
| Yan, Ping |  | Via Teleconference |
| You, Haibo |  | Via Teleconference |
| Zuloaga, Scott |  | Via Teleconference |

Unless otherwise indicated, all Market Segments participated in the votes.

Katie Rich called the September 7, 2023 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Ms. Rich directed attention to the Antitrust Admonition, which was displayed.

Agenda Review

- Ms. Rich reviewed the agenda.

- Approval of ROS Meeting Minutes (see Key Documents)

July 6, 2023

August 3, 2023

- Ms. Rich noted that the July 6, 2023 and August 3, 2023 ROS Meeting Minutes could be considered for inclusion in the Combined Ballot.

Technical Advisory Committee (TAC) Update

Ms. Rich reviewed the disposition of items considered at the August 22, 2023 TAC meeting.

- ERCOT Reports (see Key Documents)

- Operations Report

Alex Lee summarized the July 2023 Operations Report.

- System Planning Report

- Ping Yan summarized the July 2023 System Planning Report.

- ERCOT 2023 Under-Frequency Load Shed (UFLS) Survey Results

- Jake Pedigo presented findings of the 2023 UFLS survey.

- October 14, 2023 Eclipse Update

- Luke Butler provided an update on the potential impacts to PhotoVoltaic Generation Resources (PVGR) in ERCOT during the Saturday, October 14, 2023 annular solar eclipse, stated that ERCOT will use available tools to balance the system, and reviewed the timeline for ERCOT activities prior to the eclipse.

- Transient Security Assessment Tool (TSAT) Model Update

- Fred Huang provided an update on the TSAT implementation and responded to Market Participant questions and concerns.

ROS Revision Requests (see Key Documents)

Impact Analysis

Planning Guide Revision Request (PGRR) 105, Deliverability Criteria for DC Tie Imports

Prabhu Gnanam summarized the 8/29/23 ERCOT comments to PGRR105.  Mark Bruce summarized the 9/1/23 Southern Spirit Transmission comments to PGRR105. Alex Miller summarized PGRR105 discussions at the previous Planning Working Group (PLWG) meeting.  Shams Siddiqi summarized the 9/1/23 Rainbow Energy Marketing comments to PGRR105.  Market Participants debated the overall proposal and the appropriate forum for considering the policy issue.  Certain participants expressed concerns related to the deliverability of capacity located outside the ERCOT Region, inter-regional commercial arbitrage, negative impacts on market efficiencies, and inequitable share of transmission costs being borne by ERCOT ratepayers under the current cost allocation methodology when there would be off-system beneficiaries.  Proponents of PGRR105 highlighted the value existing DC Ties provided to the ERCOT System during Winter Storm Uri and commented the proposal aligns with post-Uri policy changes.

Cyrus Reed moved to endorse and forward to TAC the 7/6/23 ROS Report and the 6/27/23 Impact Analysis for PGRR105.  Chris Hendrix seconded the motion.  The motion carried with two objections from the Cooperative (LCRA) and Independent Generator (Calpine) Market Segments and seven abstentions from the Consumer (Air Liquide), Cooperative (GSEC), Independent Generator (Luminant), Independent Power Marketer (IPM) (SENA), Independent Retail Electric Provider (IREP) (2) (Reliant and Rhythm Ops) and Municipal (CPS Energy) Market Segments.  (Please see ballot posted with Key Documents.)

Language Review

PGRR111, Related to NPRR1191, Registration, Interconnection, and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater

Resource Registration Glossary Revision Request (RRGRR) 036, Related to NPRR1191, Registration, Interconnection, and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater

Nodal Operating Guide Revision Request (NOGRR) 256, Related to NPRR1191, Registration, Interconnection, and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater

- Market Participants noted the continued work of the Large Flexible Load Task Force (LFLTF) on Nodal Protocol Revision Request (NPRR) 1191, Registration, Interconnection, and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater, and its related Revision Requests, and requested tabling PGRR111, RRGRR036, and NOGRR256.  Ms. Rich noted that these items could be considered for inclusion in the Combined Ballot.

NOGRR257, Removal of Redundant ERS Reporting Requirement

- Mark Patterson provided an overview of NOGRR257 and the existing reports already codified within Protocols.  Ms. Rich noted that this item could be considered for inclusion in the Combined Ballot.

Revision Requests Tabled at ROS (see Key Documents)

PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions

No action was taken on this item.

Operations Working Group (OWG) (see Key Documents)

Theresa Noyes reviewed OWG activities.

Major Transmission Elements (MTE) list

- Pushkar Chhajed presented the 2023 MTE list, noted that the MTE list and High Impact Transmission Elements (HITE) methodology are posted on the OWG landing page on the ERCOT website, and requested ROS consideration.  Ms. Noyes stated that OWG was in support to recommend ROS endorse the MTE list.  Ms. Rich noted that this item could be considered for inclusion in the Combined Ballot.

NPRR1070, Planning Criteria for GTC Exit Solutions

ROS took no action on this item.

NOGRR245, Inverter-Based Resource (IBR) Ride-Through Requirements

Ms. Noyes summarized the NOGRR245 discussion at the August 17, 2023 OWG meeting.  Stephen Solis reminded Market Participants of the NOGRR245 discussion at the August 3, 2023 ROS meeting, highlighted discussions at the August 11, 2023 Inverter-Based Resource Working Group (IBRWG) meeting and previous Inverter-Based Resource Task Force (IBRTF) meetings, summarized the 8/18/23 and 9/6/23 ERCOT comments, and described how the proposal has evolved as NOGRR245 proceeded through the stakeholder process.  Mr. Solis stated that ERCOT maintains that all IBRs and Type 1 and 2 Wind-powered Generation Resources (WGRs) must ride-through normal system disturbances for reliable operations to continue.  Mr. Solis noted the goal to have NOGRR245 considered by the ERCOT Board at its meeting in December and urged ROS to recommend approval of NOGRR245 as amended by the 8/18/23 ERCOT comments, and noted that ERCOT was amenable to incorporating the 9/5/23 GE Vernova comments only.  Eric Goff summarized the 9/5/23 NextEra comments to NOGRR245.  David Azari summarized the 9/4/23 Invenergy comments to NOGRR245.  Chase Smith summarized the 9/5/23 Southern Power comments to NOGRR245.  Market Participants debated the merits of the various comments.  Some Market Participants requested additional time to review the comments.  In review of the Revision Request timeline and the ERCOT request to have NOGRR245 considered at the December 19, 2023 ERCOT Board meeting, Ms. Rich announced the September 14, 2023 Special ROS meeting to consider NOGRR245.

IBRWG (see Key Documents)

- Julia Matevosyan reviewed IBRWG activities.

NOGRR255, High Resolution Data Requirements

Ms. Matevosyan summarized NOGRR255 discussion at the August 11, 2023 IBRWG meeting.

Dynamics Working Group (DWG) (see Key Documents)

DWG Procedure Manual

Javier Martinez reviewed DWG activities, including NOGRR255.  Mr. Martinez noted that DWG would request ROS consideration of the DWG Procedure Manual at the October 5, 2023 meeting.

Planning Working Group (PLWG) (See Key Documents)

Alex Miller reviewed PLWG activities.

NPRR1180, Inclusion of Forecasted Load in Planning Analyses

PGRR107, Related to NPRR1180, Inclusion of Forecasted Load in Planning Analyses

PGRR109, Dynamic Model Review Process Improvement for Inverter-Based Resource (IBR) Modification

ROS took no action on these items.

Steady State Working Group (SSWG)

Josh Wichers reviewed SSWG activities.

PGRR106, Clarify Projects Included in Transmission Project Information and Tracking (TPIT) Report

Mr. Wichers reviewed the 8/31/23 SSWG comments to PGRR106.  Ms. Yan requested additional time for ERCOT Staff to review the 8/31/23 SSWG comments.  ROS took no action on this item.

PGRR110, Revision to Accommodate Steady-State Node-Breaker Modeling

- Mr. Wichers summarized PGRR110 discussion at the August 31, 2023 SSWG meeting and stated that SSWG was in consensus to support a recommendation to ROS to approve PGRR110 as submitted.  Ms. Rich noted that this item could be considered for inclusion in the Combined Ballot.

Operations Training Working Group (OTWG) (see Key Documents)

OTWG Leadership

OTWG Chair:  Manuel Sanchez, Oncor Electric Delivery

- James Ballard reviewed OTWG activities and presented Manual Sanchez, Oncor Electric Delivery as OTWG Chair, for ROS consideration.  Ms. Rich noted that this item could be considered for inclusion in the Combined Ballot.

Combined Ballot

Dennis Kunkel moved to approve the Combined Ballot as follows:

- To approve the July 6, 2023 ROS Meeting Minutes as submitted

- To approve the August 3, 2023 ROS Meeting Minutes as submitted

- To table PGRR111

- To table RRGRR036

- To table NOGRR256

- To recommend approval of NOGRR257 as submitted

- To endorse the MTE List as presented

- To recommend approval of PGRR110 as submitted

- To endorse Manuel Sanchez, Oncor Electric Delivery, as Chair

Chase Smith seconded the motion.  The motion carried unanimously.  (Please see ballot posted with Key Documents.)

Network Data Support Working Group (NDSWG)

No report was provided for this item.

Performance Disturbance Compliance Working Group (PDCWG) (see Key Documents)

Ms. Rich noted the PDCWG report was posted to the meeting page.

Voltage Profile Working Group (VPWG) (see Key Documents)

Ms. Rich noted the VPWG report was posted to the meeting page.

Other Business (see Key Documents)

NPRR1198, Congestion Mitigation Using Topology Reconfigurations

NOGRR258, Related to NPRR1198, Congestion Mitigation Using Topology Reconfigurations

Ms. Miller provided an overview of NPRR1198 and NOGRR258, noted the 9/6/23 IMM comments to NPRR1198, and requested review of the issues at OWG.  Ms. Rich requested OWG review the issues and noted that the Congestion Management Working Group (CMWG) was also reviewing the issues for commercial impacts.

Update ERCOT Contingency Reserve Service (ECRS)

Nitika Mago reminded Market Participants of the 90-day provisional qualification period for ECRS testing that will end on September 10, 2023, noted that ERCOT was granting a ten-day grace period, and stated ERCOT would be distributing a Market Notice on Friday, September 11, 2023.  Ms. Mago reviewed the notification, qualification, and testing process for ECRS.

Review Open Action Items List

Market Participants reviewed the Open Action Items list.  Mr. Smith noted that at the March 2, 2023 ROS meeting, PLWG leadership had requested direction on their action item regarding the Key Topic Concept (KTC) 15-6, Reliability Must-Run (RMR) and Must-Run Alternatives (MRAs) as the issues were a broader discussion among multiple working groups, and ROS confirmed it was appropriate to update the assignment to ROS, however, the update was not completed.  The following action item was updated per below:

- TAC Assignment:   Remaining KTCs from Battery Energy Storage Task Force (BESTF)

KTC 15-6 RMR and MRA Services (ROS)

No Report

- Black Start Working Group (BSWG)

- System Protection Working Group (SPWG)

Adjournment

Ms. Rich adjourned the September 7, 2023 ROS meeting at 1:30 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

- https://www.ercot.com/calendar/08032023-ROS-Meeting