## Slide 1
Meter Working Group
November 8, 2023

## Slide 2: Anti-Trust Admonition
  Antitrust Admonition
  To avoid raising concerns about antitrust liability, participants in ERCOT activities should refrain from proposing any action or measure that would exceed ERCOT’s authority under federal or state law. For additional information, stakeholders should consult the Statement of Position on Antitrust Issues for Members of ERCOT Committees, Subcommittees, and Working Groups, which is posted on the ERCOT website. http://www.ercot.com/about/governance/index.html
Disclaimer
All presentations and materials submitted by Market Participants or any other Entity to ERCOT staff for this meeting are received and posted with the acknowledgement that the information will be considered public in accordance with the ERCOT Websites Content Management Operating Procedure.

## Slide 3: Update on Chair/Vice Chair
  MWG Leadership updated and confirmed by WMS
    Former chair Doug Breshears of BEC moved to a new position at BEC and is no longer Chair
    Michael Blum of CenterPoint the former Vice Chair has been confirmed as Chair
    Kyle Stuckly of Oncor has been confirmed as Vice Chair

## Slide 4: Update on ESR Integrated Auxiliary Load
  Presentation from Tesla

## Slide 5: NPRR1197 Discussion
  Submitted to allow for loads to be excluded from netting at EPS facilities.
  Initial title referenced ESR non-charging loads, but ERCOT comments submitted 10/10/23 update the title to apply to all EPS sites which include resources

## Slide 6: NPRR1197 Discussion
  Language added as Protocol 10.3.2.3(10) (ERCOT Comment Version)
    (10) Notwithstanding any other provision in this Section, for any Generation Resource or ESR that elects for Load(s) located behind the EPS metering point at the Resource’s POI to be excluded from the netting arrangement for an EPS Metering Facility, a Load EPS meter shall be located behind the EPS metering point at the Resource’s POI and a separate TDSP ESI ID with an LSE association must be established for the site prior to Load(s) being removed from the netting arrangement. This configuration requires mutual agreement between the connecting TSP, DSP, and Resource Entity. The above requirement to have a separate TDSP ESI ID with an LSE association does not apply to EPS Metering Facilities that are located behind a NOIE meter point.

## Slide 7: NPRR1197 Discussion
  3/8/23 MWG discussed loss compensation at joint use facilities and any SMOG updates needed to support.
    ERCOT was reviewing the discussion from the MWG to bring back for further discussion.
    With the potential addition of subtractive metering this review is on hold.

## Slide 8: NPRR1200 and SMOGRR028 Discussion
  NPRR1200 updates 10.2.4 to allow load from a system protection device to be calculated and telemetered to the WSL EPS meter.
  SMOGRR028 adds new section 8.5 on calculation of loss constants for series reactor devices.

## Slide 9: NPRR1195 Discussion
  NPRR1195 adds more explicit language detailing Resource Entity responsibilities for EPS facilities where equipment is owned by the RE in 10.8.1.1 and 10.8.1.2.
  10.8.1.1 Duty to Maintain EPS Metering Facilities
    (1) Each Transmission Service Provider (TSP) and Distribution Service Provider (DSP) shall maintain its ERCOT-Polled Settlement (EPS) Metering Facilities to meet the standards prescribed by this Section and the Settlement Metering Operating Guide (SMOG)….
    (2) Resource Entities shall be responsible for the maintenance of EPS Metering Facilities owned by the Resource Entity as prescribed by this Section and the Settlement Metering Operating Guide (SMOG).

## Slide 10: NPRR1195 Discussion
  10.8.1.2 EPS Metering Facilities Repairs
  (1) If an EPS Metering Facility requires repairs to ensure that it operates in accordance with the requirements of this Section, then the TSP or DSP shall immediately notify ERCOT of the need for repairing such Metering Facility. If, however, operating conditions are such that it is not possible for the Transmission and/or Distribution Service Provider (TDSP) to notify ERCOT of the need for repairs, then the TDSP may make the necessary repairs and then notify ERCOT of the repairs prior to the end of the next Business Day.
    (a) Where no Back-up Meter exists or Back-up Meter data is unavailable, the TSP or DSP shall ensure that the metering point is repaired and operational within 12 hours of problem detection. ERCOT may, at its discretion, reduce the repair timeline from 12 to six hours if the meter data is required for Real-Time Market (RTM) Settlements on the same day or an upcoming ERCOT non-Business Day.
    (b) Where a functional and operational Back-up Meter exists, the TSP or DSP shall ensure that the metering point is repaired and operational within five Business Days of problem detection.
    (c) Resource Entities that own a portion of the facilities associated with the EPS Meter shall be responsible for meeting the requirements of paragraphs (a) and (b) above.

## Slide 11: NPRR1193 and SMOGRR027
  Adds the Design Proposal form as a SMOG appendix
    Done as part of process to remove from other binding documents list.
  Includes new field in Section A of the design proposal requiring a list of distribution service providers with a right to serve load for the facility.
  Removes reference to RARF in the design proposal instructions
    Previous open action item deferred from previous meetings.
  NPRR1193 was approved by PRD on 10/12/23.
    Will be tabled until SMOGRR027 catches up so they can be approved together.

## Slide 12: NPRR1188 and NPRR1194 Status Update
  NPRR1188 has been tabled by PRS and referred to the Large Flexible Load Task Force.
    Requires a registered controllable load resource that is located behind the POI of a generator to have its own EPS meter measuring only the CLR load energy.
  NPRR1194 continues to be tabled at WMS.
    Prohibits netting of auxiliary loads with the resource output from resources that receive WSL.

## Slide 13: Meter Software Pilot Program
  Does not relieve TDSP/RE of responsibility to assist under Protocol 10.11.2
  Use of manufacture software to retrieve information from EPS meters:
    Read only
    Data verification for initial settlements
    Troubleshoot data anomalies or communication issues
  One TDSP has been identified for initial testing. If any other TDSP would like to participate, please send an email to Tony.Davis@ercot.com

## Slide 14: New or Other Business Items
  Request for any new or other business items

## Slide 15: Meeting Summary and Closing Remarks
  Thank you for your attendance and participation.
  Notes from this meeting will be posted on the ERCOT website under the key documents for this meeting.
    https://www.ercot.com/calendar/11082023-MWG-Meeting