## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for October 2023

## Slide 2: Non-IRR GREDP < 85% – October 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 169 | 591 | 712 | 4.63 | 83.01
Unit 226 | 870 | 1,052 | 2.91 | 82.70
Unit 308 | 206 | 263 | 1.33 | 78.33

## Slide 3: IRR Summary – October 2023
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 80.09 | 71.38 | 82.78
GREDP Median (%) | 90.03 | 82.27 | 87.72
Average MW Error | 5.02 | 5.20 | 5.16
Median MW Error | 4.55 | 4.76 | 4.52
Total Intervals Scored | 71,310 | 44,952 | 41,965
100+ Intervals Scored | 122 | 225 | 84
Total Intervals Scored Average | 204.91 | 228.18 | 499.58

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – October 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 2,083 | 2,088 | 4.20 | 99.76
Unit 4 | 1,694 | 1,781 | 6.41 | 95.12
Unit 5 | 1,748 | 1,752 | 4.68 | 99.77
Unit 6 | 1,677 | 1,746 | 3.30 | 96.05
Unit 13 | 1,192 | 1,199 | 2.71 | 99.42
Unit 14 | 1,168 | 1,196 | 4.13 | 97.66
Unit 15 | 1,121 | 1,159 | 11.22 | 96.72
Unit 16 | 1,134 | 1,149 | 4.20 | 98.69
Unit 19 | 1,122 | 1,124 | 6.53 | 99.82
Unit 20 | 1,104 | 1,105 | 8.71 | 99.91
Unit 23 | 1,058 | 1,077 | 2.72 | 98.24
Unit 25 | 1,001 | 1,048 | 2.87 | 95.52
Unit 26 | 1,045 | 1,048 | 5.76 | 99.71
Unit 31 | 826 | 845 | 8.65 | 97.75
Unit 36 | 727 | 746 | 2.80 | 97.45
Unit 40 | 658 | 662 | 2.17 | 99.40
Unit 41 | 649 | 652 | 3.06 | 99.54
Unit 43 | 609 | 628 | 2.20 | 96.97

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – October 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 49 | 444 | 450 | 12.20 | 98.67
Unit 56 | 366 | 376 | 5.98 | 97.34
Unit 57 | 364 | 370 | 2.18 | 98.38
Unit 58 | 358 | 362 | 4.18 | 98.90
Unit 62 | 321 | 336 | 5.46 | 95.54
Unit 63 | 326 | 333 | 9.15 | 97.90
Unit 73 | 277 | 277 | 3.66 | 100.00
Unit 84 | 217 | 217 | 5.16 | 100.00
Unit 87 | 198 | 206 | 3.59 | 96.12
Unit 88 | 200 | 204 | 2.96 | 98.04
Unit 92 | 190 | 194 | 5.07 | 97.94
Unit 95 | 181 | 184 | 10.85 | 98.37
Unit 96 | 175 | 183 | 2.64 | 95.63
Unit 97 | 171 | 180 | 5.03 | 95.00
Unit 103 | 167 | 171 | 9.02 | 97.66
Unit 114 | 126 | 126 | 5.41 | 100.00
Unit 117 | 107 | 111 | 4.39 | 96.40
Unit 118 | 107 | 110 | 3.61 | 97.27

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – October 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 121 | 104 | 106 | 6.14 | 98.11
Unit 122 | 104 | 104 | 1.92 | 100.00

## Slide 7: IRR < 95%, ≥ 100 Scored Intervals – October 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 2 | 1,722 | 1,928 | 4.38 | 89.32
Unit 3 | 1,644 | 1,826 | 4.97 | 90.03
Unit 7 | 1,286 | 1,368 | 2.83 | 94.01
Unit 8 | 1,238 | 1,329 | 2.44 | 93.15
Unit 9 | 1,256 | 1,324 | 5.64 | 94.86
Unit 10 | 1,162 | 1,288 | 1.70 | 90.22
Unit 11 | 1,192 | 1,267 | 6.22 | 94.08
Unit 12 | 1,108 | 1,260 | 2.48 | 87.94
Unit 17 | 1,024 | 1,145 | 4.04 | 89.43
Unit 18 | 1,033 | 1,142 | 3.15 | 90.46
Unit 21 | 1,008 | 1,086 | 1.54 | 92.82
Unit 22 | 1,005 | 1,084 | 6.36 | 92.71
Unit 24 | 945 | 1,059 | 4.32 | 89.24
Unit 27 | 894 | 1,036 | 5.44 | 86.29
Unit 28 | 931 | 1,008 | 4.17 | 92.36
Unit 29 | 816 | 877 | 6.04 | 93.04
Unit 30 | 733 | 862 | 3.65 | 85.03
Unit 32 | 735 | 791 | 4.06 | 92.92
Unit 33 | 678 | 785 | 4.41 | 86.37

## Slide 8: IRR < 95%, ≥ 100 Scored Intervals – October 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 34 | 539 | 765 | 6.27 | 70.46
Unit 35 | 706 | 759 | 10.37 | 93.02
Unit 37 | 636 | 745 | 3.23 | 85.37
Unit 38 | 639 | 733 | 3.09 | 87.18
Unit 39 | 613 | 677 | 2.34 | 90.55
Unit 42 | 379 | 634 | 5.61 | 59.78
Unit 44 | 453 | 541 | 3.04 | 83.73
Unit 45 | 124 | 509 | 3.34 | 24.36
Unit 46 | 418 | 504 | 9.35 | 82.94
Unit 47 | 428 | 491 | 4.20 | 87.17
Unit 48 | 404 | 458 | 6.58 | 88.21
Unit 50 | 379 | 435 | 1.09 | 87.13
Unit 51 | 380 | 409 | 4.44 | 92.91
Unit 52 | 301 | 397 | 5.57 | 75.82
Unit 53 | 344 | 397 | 8.14 | 86.65
Unit 54 | 73 | 386 | 8.26 | 18.91
Unit 55 | 331 | 379 | 3.71 | 87.34
Unit 59 | 340 | 362 | 4.18 | 93.92
Unit 60 | 315 | 360 | 2.40 | 87.50

## Slide 9: IRR < 95%, ≥ 100 Scored Intervals – October 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 61 | 243 | 351 | 5.78 | 69.23
Unit 64 | 245 | 303 | 6.91 | 80.86
Unit 65 | 271 | 301 | 9.25 | 90.03
Unit 66 | 255 | 295 | 3.45 | 86.44
Unit 67 | 265 | 295 | 5.38 | 89.83
Unit 68 | 277 | 293 | 8.66 | 94.54
Unit 69 | 237 | 291 | 4.63 | 81.44
Unit 70 | 263 | 280 | 7.45 | 93.93
Unit 71 | 256 | 280 | 1.05 | 91.43
Unit 72 | 196 | 277 | 4.26 | 70.76
Unit 74 | 181 | 258 | 5.26 | 70.16
Unit 75 | 226 | 254 | 6.48 | 88.98
Unit 76 | 235 | 250 | 9.03 | 94.00
Unit 77 | 214 | 245 | 3.22 | 87.35
Unit 78 | 221 | 242 | 2.87 | 91.32
Unit 79 | 208 | 233 | 7.60 | 89.27
Unit 80 | 188 | 226 | 5.80 | 83.19
Unit 81 | 208 | 225 | 3.83 | 92.44
Unit 82 | 180 | 219 | 11.37 | 82.19

## Slide 10: IRR < 95%, ≥ 100 Scored Intervals – October 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 83 | 89 | 218 | 2.49 | 40.83
Unit 85 | 189 | 214 | 4.85 | 88.32
Unit 86 | 192 | 214 | 6.68 | 89.72
Unit 89 | 189 | 203 | 1.46 | 93.10
Unit 90 | 75 | 199 | 6.81 | 37.69
Unit 91 | 183 | 195 | 6.46 | 93.85
Unit 93 | 172 | 189 | 1.99 | 91.01
Unit 94 | 87 | 187 | 3.38 | 46.52
Unit 98 | 150 | 179 | 3.89 | 83.80
Unit 99 | 144 | 176 | 1.67 | 81.82
Unit 100 | 154 | 176 | 4.48 | 87.50
Unit 101 | 147 | 176 | 11.34 | 83.52
Unit 102 | 142 | 174 | 6.25 | 81.61
Unit 104 | 155 | 167 | 11.88 | 92.81
Unit 105 | 120 | 156 | 3.16 | 76.92
Unit 106 | 138 | 153 | 7.56 | 90.20
Unit 107 | 141 | 152 | 3.51 | 92.76
Unit 108 | 82 | 149 | 7.82 | 55.03
Unit 109 | 138 | 146 | 1.29 | 94.52

## Slide 11: IRR < 95%, ≥ 100 Scored Intervals – October 2023
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 110 | 119 | 145 | 12.18 | 82.07
Unit 111 | 113 | 142 | 4.56 | 79.58
Unit 112 | 116 | 141 | 4.82 | 82.27
Unit 113 | 126 | 137 | 5.09 | 91.97
Unit 115 | 113 | 120 | 1.70 | 94.17
Unit 116 | 92 | 117 | 2.60 | 78.63
Unit 119 | 39 | 108 | 9.73 | 36.11
Unit 120 | 78 | 108 | 10.34 | 72.22