## Slide 1
Update on NOGRR 245 and NOGRR 255
IBRWG
Stephen Solis – Principal, System Operations Improvement
November 10th, 2023

## Slide 2: NOGRR 245
ERCOT has received RFI responses from all OEMs except for TMEIC as of 5:00 PM on 11/8/23.
  TMEIC notified ERCOT it would provide this week.
  Some OEMs have posted public comments on NOGRR 245 website.
ERCOT has received responses from 292 of 349 Resource Entities.
  ERCOT is still compiling a master set of responses
  ERCOT staff have provided the list of entities that did not respond to the ERCOT Reliability Monitor.
    32 entities reviewed but did not respond as AM of 11/7/23
    36 entities have reviewed but did not respond as AM of 11/7/23
    20 entities submitted late after AM of 11/7/23 so far.
  ERCOT staff has encouraged entities who have not responded to do so as soon as possible.

## Slide 3: NOGRR 245 Preliminary OEM RFI summary
OEM RFI responses currently represents approximately 57 GW of IBR and Type 1 and 2 WGR capacity
ERCOT did not send out RFIs to all OEMs if it did not have contacts or if ERCOT believed the original OEMs were no longer in business
OEM responses :
  Represent to what is “technically feasible” in relation to the requirements in the August 18, 2023 comments
  Only apply to their equipment portion of the plant requirements
  May be based on certain assumptions (e.g. testing assumptions)
Below is a preliminary aggregation of OEM responses –may change as ERCOT completes aggregations of OEM responses prior to Dec TAC

## Slide 4: NOGRR 245
ERCOT will bring additional aggregations of RFI results to the December TAC meeting.
ERCOT will have an updated Impact Analysis prior to the TAC meeting based on the ROS approved version of NOGRR 245
NOGRR 245 as proposed by ERCOT in their August 18, 2023 comments addresses/aligns with multiple directives in FERC Order 901.
ERCOT may submit comments prior to the December TAC as well.

## Slide 5: NOGRR 255
ERCOT submitted comments on November 1, 2023.
  Addresses some minor issues and consistencies on top of ONCOR’s edits
  ERCOT has agreed to defer the PMU streaming requirements to a future NOGRR but this still remains an important issue to address to allow support real-time situational awareness.
ERCOT would like to have ROS approve NOGRR 255 in December to allow it to continue moving forward.
Expect comments from at least one TSP at least 7 days prior to December ROS
Expect comments from one or more generators prior to December ROS
PRC-028-1 did not pass its initial ballot

## Slide 6: NOGRR 255 : FERC Order 901 paragraphs 85 & 86
Pursuant to section 215(d)(5) of the FPA, we adopt the NOPR proposal to direct NERC to include in the new or modified Reliability Standards technical criteria to require registered IBR generator owners to install disturbance monitoring equipment at their buses and elements, to require registered IBR generator owners to provide disturbance monitoring data to Bulk-Power System planners and operators for analyzing disturbances on the Bulk-Power System, and to require Bulk-Power System planners and operators to validate registered IBR models using disturbance monitoring data from installed registered IBR generator owners’ disturbance monitoring equipment. We agree with NERC that updating Reliability Standard PRC-002-2 to apply to registered IBRs for disturbance monitoring data collection, including recording sequence of events, digital faults, synchronized phasor measurements, inverter oscillography, inverter and plant-level fault codes, and data retention, could be one way to accomplish this directive. We further agree with the findings in NERC reports (e.g., a lack of high-speed data captured at the IBR or plant-level controller and low-resolution time stamping of inverter sequence of event recorder information has hindered event analysis) and direct NERC through its standard development process to address these findings.
As a general matter, we agree with ACP/SEIA regarding the need to balance the burden to generator owners of collecting and providing data collected by disturbance monitoring equipment with the benefit of that data to reliability. Thus, in developing the directed data collection requirements, we direct NERC to consider the burdens of generators collecting and providing data, while assuring that Bulk-Power System operators and planners have the data they need for accurate disturbance monitoring and analysis. Likewise, regarding CAISO’s request that the Commission direct NERC to consider requiring registered IBRs to provide additional data, we agree that such data collections may be warranted, and direct NERC to consider through its standards development process whether additional IBR data points (e.g., telemetry collections or other automated platform integrations) are needed to further enhance real-time visibility of Bulk-Power System operations.

## Slide 7
Questions?