## Slide 1
ROS Report – December 4, 2023
Katie Rich
Technical Advisory Committee (TAC) Meeting
ERCOT Public

## Slide 2: Voting Items
None

## Slide 3: Recent ROS Actions
NPRR1180, Inclusion of Forecasted Load in Planning Analyses
  Endorsed as amended by the 8/15/23 AEP and ETT comments with 55% approval and 11 abstentions
  Some stakeholders expressed need to move this NPRR forward, while ERCOT requested additional time to file comments
2024 Ancillary Services Methodology - endorsed
Endorsed BSWG and SSWG leadership
  BSWG Chair: Michael Dieringer, LCRA
  SSWG Vice Chair: William Robertson, CPS Energy

## Slide 4: Revision Requests under ROS Review
NPRR1070, Planning Criteria for GTC Exit Solutions (OWG, PLWG)
NPRR1198, Congestion Mitigation Using Topology Reconfigurations (OWG, NDSWG)
NOGRR255, High Resolution Data Requirements (DWG, IBRWG, SPWG)
NOGRR256, Related to NPRR1191, Registration, Interconnection and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater
NOGRR258, Related to NPRR1198, Congestion Mitigation Using Topology Reconfigurations (OWG, NDSWG)
PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions
PGRR105, Deliverability Criteria for DC Tie Imports
PGRR106, Clarify Projects Included in Transmission Project Information and Tracking Report (SSWG)
PGRR107, Related to NPRR1180, Inclusion of Forecasted Load in Planning Analyses (PLWG)

## Slide 5: Revision Requests under ROS Review
PGRR109, Dynamic Model Review Process Improvements for Inverter-Based Resource Modification (IBRWG, PLWG)
PGRR111, Related to NPRR1191, Registration, Interconnection and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater
PGRR112, Dynamic Data Model and Full Interconnection Study Deadline for Quarterly Stability Assessment (DWG, PLWG)
RRGRR036, Related to NPRR1191, Registration, Interconnection and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater

## Slide 6: Recent ROS Discussion Items
Transient Security Assessment Tool (TSAT) – directed IBRWG to discuss TSAT implementation challenges and outstanding items that need to be addressed
Discussion on multiple ROS open action items, including closing out multiple items
TAC Assigned Action Item: ERCOT Load Forecast – review of dashboard information
  SCR826, which proposes updates to ERCOT homepage and dashboards, will be vehicle to consider potential changes to ERCOT dashboard information
  ERCOT filed comments recommending withdrawal of SCR826
  Currently tabled at PRS
  ROS leadership recommends closing out this action item

## Slide 7: Future Meetings
ROS
  Next Regularly Scheduled Meeting – December 7, 2023