## Slide 1: Operations Working Group
Chair- Rickey Floyd
Vice-Chair- Theresa Noyes
HITE List Sub-Chair – Pushkar Chhajed
11/16/2023

## Slide 2: ERCOT Updates and System Operation Report
Unofficial Peaks Reported by ERCOT
October 4, new Peak Demand – 71,181 MW
October 16, Solar Generation – 13,811 MW/31.35%

## Slide 3: Texas Reliability Entity Report
TRE provided an update on upcoming events and discussions
  12/13 Quarterly TRE Board and MRC meeting
NERC Standards: Cold Weather Standard
  Updates underway. Please share feedback or comments through standard submission process. 2023-2024 overview.
11/6 FERC & NERC released full findings for Winter Storm Elliott
  FERC representative will present findings and recommendations to the December TRE Board of Directors
FERC Order No. 901 directs NERC to develop new or modified Reliability Standards addressing risks associated with IBRs.
TRE, NERC and FERC Websites have more details

## Slide 4: NPRR 1070 - Planning Criteria for GTC Exit Solutions
Remains Tabled, no update.

## Slide 5: NPRR 1198 and NOGRR258 - Congestion Mitigation Using Topology Reconfigurations
Alexandra Miller provided update of most recent changes to OWG
PRS referred NPRR 1198 to WMS/CMWG to discuss transparency issues
NDSWG requests incorporated to limit equipment impacts. Specifically, “circuit breakers” at up to two substations vs. “transmission equipment.”
OWG discussed and raised various questions concerning the proposed NOGRR
  Background: Adds EAPs/RAPs to be defined in Network Operations Model. NOMCRR submits changes to the network model. All change requests submitted to ERCOT for review and approval. ERCOT will gather input from TSPs and REs that own transmission facilities.
  ERCOT will post market notices for all considerations, allowing a 30 business days comment period. Comment period is being actively discussed.
  EAP approval must have buy-in from all impacted parties before approval (ERCOT, TOs, REs). Any RE who would experience negatively affected operations can veto.
  MPs requested ERCOT Outage Coordination present their process and answer questions at next OWG on 12/21. Several questions arose re: how ERCOT Outage Coordination will identify outage conflicts with EAPs, and what the process will be to request restoration of the EAP to allow an outage to move forward.
  MPs requested more time to submit comments

## Slide 6: OTWG Update
12/7 Winter Load Shed Workshop. ERCOT Market Notice includes agenda.
On-site ERCOT 2024 Blackstart and Restoration training tentatively scheduled for 10/14 - 11/21 and will use Grid Geo.
On-site ERCOT Regional Operating Training tentatively scheduled for 3/18 – 4/25. Each training cycle will have a pilot session. Detail to follow.
All Market Notices will provide information on registration, dates, and agendas.

## Slide 7: Other Business
ERCOT’s Stephen Solis reminded OWG that generators with voltage control issues have been submitted to the ERCOT Reliability Monitor, who is working with PUC to address twenty worse performers re: voltage control.
Details in future meetings re: recent event in the valley.
Working on future parameters re: IBR ride-through requirements.