## Slide 1
Meter Working Group Update
November 8, 2023

## Slide 2: NPRR1197 Discussion (Subtractive Metering)
  Reviewed language of NPRR along with submitted ERCOT comments.
  There was a question raised regarding use of equipment not rated for revenue metering accuracy being used for retail load settlement if ESR telemetered aux load was being “un-netted”.
    TDSPs and ERCOT are reviewing and will discuss further at next MWG meeting (12/12/23).
  General questions regarding how settlements would be done in different site metering configurations.
    ERCOT will present example scenarios at the next MWG meeting to help the discussion.

## Slide 3: NPRR1200 and SMOGRR028 Discussion (Current Limiting Reactors)
  Both NPRR1200 and SMOGRR028 were discussed
    During discussion and review, the general feedback was SMOGRR028 is a better technical solution.
  Some additional information may be needed in SMOGRR028 to ensure clarity in the calculations and data sources.
    TDSPs and ERCOT will further review SMOGRR028 and calculations for more discussion at the next MWG meeting.

## Slide 4: NPRR1195 Discussion
  NPRR1195 adds more explicit language detailing Resource Entity responsibilities for EPS facilities where equipment is owned by the RE in 10.8.1.1 and 10.8.1.2.
  Group discussion that the additional language could be helpful in building RE awareness of requirements and could give utility support to ensure REs perform maintenance and repairs in a timely manner.

## Slide 5: NPRR1193 and SMOGRR027
  Adds the Design Proposal form as a SMOG appendix and updates some design proposal fields
    Done as part of process to remove from other binding documents list.
  Questions were raised regarding if ERCOT metering has other avenues for finding DSP information if not listed on the Design Proposal.
    DSP information was proposed to be added to help ERCOT teams have correct ESIID information for settlements.
    ERCOT will review question from TDSPs and bring update back to next MWG meeting.

## Slide 6: NPRR1188 and NPRR1194 Status Update
  NPRR1188 has been tabled by PRS and referred to the Large Flexible Load Task Force.
    Requires a registered controllable load resource that is located behind the POI of a generator to have its own EPS meter measuring only the CLR load energy.
  NPRR1194 continues to be tabled at WMS.
    Prohibits netting of auxiliary loads with the resource output from resources that receive WSL.

## Slide 7: Next MWG meeting 12/12
  A WebEx only MWG meeting is scheduled for 12/12/23 to continue discussion on the outstanding items.