## Scenario 1
| Meter 1 (POI/SDP) | Meter 2 (Excluded Load)
Measured Load Value (kWh) | 0 | 0
Measured Gen Value (kWh) | 0 | N/A
Excluded Load Formula | =Meter 2 Load
Excluded Load Value (kWh)1 | 0
Site Net Energy Formula | =Meter 1 Gen - Meter 1 Load + Meter 2 Load
Site Net Energy Value (kWh)2 | 0
Note 1: TDSP shall provide excluded load via ESI ID. If there is a one-to-one relationship between excluded load EPS meter and ESI ID then the TDSP may request ERCOT populate the ESI ID.
Note 2: If site net energy value is greater than zero, the site is settled as generation. If the site net energy is zero or less, the site is settled as load (ESI ID).

## Scenario 2
| Meter 1 (POI/SDP) | Meter 2 (ESR Charging Only)1 | Meter 3 (Excluded Load)
Measured Load Value (kWh) | 0 | 0 | 0
Measured Gen Value (kWh) | 0 | N/A | N/A
ESR Load Formula | =Meter 2 Load
ESR Load Value (kWh) | 0
Excluded Load Formula | =Meter 3 Load
Excluded Load Value (kWh)2 | 0
Site Net Energy Formula | =Meter 1 Gen - Meter 1 Load + Meter 2 Load + Meter 3 Load
Site Net Energy Value (kWh)3 | 0
Note 1: The load channel used will depend on the battery per SMOG 4.1. For BESS units with integrated auxiliary load, channel 6 will be used. For BESS units without integrated aux load, channel 1 will be used.
Note 2: TDSP shall provide excluded load via ESI ID. If there is a one-to-one relationship between excluded load EPS meter and ESI ID then the TDSP may request ERCOT populate the ESI ID.
Note 3: If site net energy value is greater than zero, the site is settled as generation. If the site net energy is zero or less, the site is settled as load (ESI ID).
Netted Load Clarification: Only auxiliary load which support the generation are eligible for netting against an ESR receiving WSL treatment.

## Scenario 3
| Meter 1 (POI/SDP) | Meter 2 (ESR Charging Only)1 | Meter 3 (ESR Charging Only)1 | Meter 4 (Excluded Load)
Measured Load Value (kWh) | 0 | 0 | 0 | 0
Measured Gen Value (kWh) | 0 | N/A | N/A | N/A
ESR A Load Formula | =Meter 2 Load
ESR A Load Value (kWh) | 0
ESR B Load Formula | =Meter 3 Load
ESR B Load Value (kWh) | 0
Excluded Load Formula | =Meter 4 Load
Excluded Load Value (kWh)2 | 0
Site Net Energy Formula | =Meter 1 Gen - Meter 1 Load + Meter 2 Load + Meter 3 Load + Meter 4 Load
Site Net Energy Value (kWh)3 | 0
Note 1: The load channel used will depend on the battery per SMOG 4.1. For BESS units with integrated auxiliary load, channel 6 will be used. For BESS units without integrated aux load, channel 1 will be used.
Note 2: TDSP shall provide excluded load via ESI ID. If there is a one-to-one relationship between excluded load EPS meter and ESI ID then the TDSP may request ERCOT populate the ESI ID.
Note 3: If site net energy value is greater than zero, the site is settled as generation. If the site net energy is zero or less, the site is settled as load (ESI ID).
Netted Load Clarification: Only auxiliary load which support the generation are eligible for netting against an ESR receiving WSL treatment.