## Slide 1
NPRR 1209 Illustration with Updated Examples
PRS
ERCOT staff
December 15, 2023

## Slide 2: Purpose and Context
Purpose: to provide greater clarity to stakeholders on how adjustments to Ancillary Service (AS) Resource Responsibility due to insufficient State of Charge (SOC) under NPRR 1209 will be calculated and applied using examples.

## Slide 3: Recap
During the November 30 Special PRS Session, stakeholders had additional questions and suggestions on the calculation mechanics to derive Ancillary Service (AS) Failed Quantity charges due to insufficient State of Charge (SOC).
  Specifically, the methodology of converting state of charge insufficiency over the course of an hour into a failed quantity for that hour

## Slide 4: Revised Approach
After further internal discussion, ERCOT is proposing to use an integrated value methodology to calculate SOC.
  This methodology assumes a linear change using 4-second data over an hour rather than using a 5-minute/SCED interval snapshot.

## Slide 5: Examples
ERCOT has posted a spreadsheet which will allow stakeholders to develop their own scenarios to understand impacts.
  Spreadsheet includes the formulas used to calculate different determinants and three separate resources within a QSE portfolio: two Energy Storage Resources (ESRs) and one generator.
Spreadsheet also includes additional specific examples as separate worksheets to be reviewed with stakeholders