PRS Report

	NPRR Number
	1194
	NPRR Title
	Wholesale Storage Load Auxiliary Netting

	Date of Decision
	December 15, 2023

	Action
	Rejected

	Timeline
	Normal

	Proposed Effective Date
	Not applicable

	Priority and Rank Assigned
	Not applicable

	Nodal Protocol Sections Requiring Revision 
	10.2.4, Resource Entity Calculation and Telemetry of ESR Auxiliary
Load Values

10.3.2.3, Generation Netting for ERCOT-Polled Settlement Meters
11.1.6, ERCOT-Polled Settlement Meter Netting

	Related Documents Requiring Revision/Related Revision Requests
	None

	Revision Description
	This Nodal Protocol Revision Request (NPRR) corrects current Protocol language that incorrectly allows netting of auxiliary Loads at storage facilities that avail themselves of Wholesale Storage Load (WSL) treatment.   

	Reason for Revision
	[image: image1.wmf]

  Addresses current operational issues.

[image: image2.wmf]

  Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board).

[image: image3.wmf]

  Market efficiencies or enhancements

[image: image4.wmf]

  Administrative

[image: image5.wmf]

X

  Regulatory requirements

[image: image6.wmf]

  Other:  (explain)

(please select all that apply)

	Business Case
	Subsection (m) of 16 Texas Administrative Code (TAC) § 25.501, Wholesale Market Design for the Electric Reliability Council of Texas, defines "wholesale storage" as "wholesale load" and also clearly indicates that wholesale storage must be “separately metered from all other facilities including auxiliary facilities".  No other type of Resource shares this clear distinction.  The wholesale storage is clearly omitted from retail-related requirements and responsibilities, which is the distinction it is granted from "all other facilities including auxiliary facilities" which are subject to retail service rules and requirements.  Netting of discharged energy with retail auxiliary Load from a facility qualified for WSL treatment is not permissible under subsection (m)(2) of 16 TAC §25.501 which states:  

“Wholesale storage occurs when electricity is used to charge a storage facility; the storage facility is separately metered from all other facilities including auxiliary facilities; and energy from the electricity is stored in the storage facility and subsequently re-generated and sold at wholesale as energy or ancillary services.”  

Auxiliary Load is a retail sale and not a wholesale transaction and therefore the energy discharged is not permitted to be netted against the auxiliary Loads.
This NPRR removes language in Section 10.2.4 that contradicts subsection (m) of 16 TAC § 25.501 and adds clarifications to Sections 10.3.2.3 and 11.1.6.  

	PRS Decision
	On 9/13/23, PRS voted to table NPRR1194 and refer the issue to WMS.  The Independent Retail Electric Provider (IREP) Market Segment did not participate in the vote.

On 12/15/23, PRS voted to reject NPRR1194.  There was one opposing vote from the Cooperative (STEC) Market Segment and two abstentions from the Independent Generator (Eolian, Constellation) Market Segment.  All Market Segments participated in the vote. 

	Summary of PRS Discussion
	On 9/13/23, PRS reviewed NPRR1194, the 9/7/23 ERCOT comments, and the 9/12/23 STEC comments.  Participants debated the historical consistency of ERCOT’s stance regarding relevant policy and suggested continued discussion at WMS and the Metering Working Group (MWG).
On 12/15/23, participants recommended that PRS reject NPRR1194 and let ERCOT and STEC appeal their legal disagreement to the Public Utility Commission of Texas (PUCT).


	Opinions

	Credit Review
	Not applicable

	Independent Market Monitor Opinion
	Not applicable

	ERCOT Opinion
	Not applicable

	ERCOT Market Impact Statement
	Not applicable


	Sponsor

	Name
	Paul Person

	E-mail Address
	pperson@stec.org 

	Company
	South Texas Electric Cooperative, Inc. (STEC)

	Phone Number
	361-485-6151

	Cell Number
	

	Market Segment
	Cooperative


	Market Rules Staff Contact

	Name
	Jordan Troublefield

	E-Mail Address
	jordan.troublefield@ercot.com

	Phone Number
	512-248-6521


	Comments Received

	Comment Author
	Comment Summary

	ERCOT 090723
	Stated that NPRR1194, if adopted, would conflict with state law and introduce an inappropriate distinction in the settlement of different Resource classes; and requested that PRS reject NPRR1194

	STEC 091223
	Disagreed with the 9/7/23 ERCOT comments and requested that PRS move NPRR1194 forward

	ERCOT 100623
	Disagreed with the 9/12/23 STEC comments, citing misrepresentation of the Public Utility Regulatory Act (PURA), as well as PUCT Project No. 39917, Rulemaking on Energy Storage Issues, and Project No. 54224, Cost Recovery for Service to Distributed Energy Resources (DERS)

	TAEBA 101023
	Opposed NPRR1194 and recommended rejection in support of the 10/6/23 ERCOT comments and equal treatment of Energy Storage Resources (ESRs)

	WMS 101123
	Requested that PRS continue to table NPRR1194

	APA 103123
	Opposed NPRR1194 and recommended rejection in support of the 10/6/23 ERCOT comments and non-discriminatory ESR treatment


	Market Rules Notes


Please note that the following NPRR(s) also propose revisions to the following Section(s):

· NPRR1188, Implement Nodal Dispatch and Energy Settlement for Controllable Load Resources
· Section 10.3.2.3

· Section 11.1.6

· NPRR1197, Energy Storage Resource (ESR) Non-Charging Load(s) Optional Exclusion from EPS Netting Arrangement
· Section 10.3.2.3

· Section 11.1.6

	Proposed Protocol Language Revision


10.2.4
Resource Entity Calculation and Telemetry of ESR Auxiliary Load Values

(1)
When the Resource Entity certifies, the interconnecting TDSP confirms by approving the metering design, and, based on the information provided by the TDSP as part of the EPS Design Proposal, ERCOT agrees that metering of an ESR’s WSL separate from the ESR’s auxiliary Load is not feasible based on the ESR’s physical design, the Resource Entity for that ESR shall be permitted to calculate the auxiliary Load using measurements from its own internal sensors and telemeter a Real-Time aggregated value for that Load to the TDSP’s EPS Meter.  The methodology by which the auxiliary Load is calculated is subject to ERCOT approval.  

(2)
An officer of the Resource Entity shall annually attest to the methodology and validity of the auxiliary Load calculation, as further described in the SMOG.  The Resource Entity shall include with its annual attestation the findings of an independent audit performed by a registered Texas Professional Engineer confirming the auxiliary Load calculation does not understate the Load value.  The audit shall be based on laboratory testing that reflects the anticipated field conditions of the same model of sensor as that used by the Resource Entity or validation using measurements by other devices over the past year, as further described in the SMOG.  The audit shall evaluate the impact of any degradation in accuracy of the sensors over time.

(3)
If the Resource Entity is unable to provide the attestation and audit findings meeting the requirements of paragraph (2) above, it shall either reconfigure the Resource Entity’s site and resubmit its meter design within 30 days to allow for separately metering the WSL, or forfeit WSL treatment.  

(4)
ERCOT may conduct an audit of the Resource Entity’s processes, equipment, and calculation of the auxiliary Load. 

(5)
The TSP or DSP shall assign all costs required for receiving calculated auxiliary Load and programming EPS Meter IDR for WSL treatment to the Resource Entity.
	[NPRR995:  Replace Section 10.2.4 above with the following upon system implementation:]

10.2.4
Resource Entity Calculation and Telemetry of ESR, SODESS, or SOTESS Auxiliary Load Values

(1)
When the Resource Entity certifies, the interconnecting TDSP confirms by approving the metering design, and, based on the information provided by the TDSP as part of the EPS Design Proposal, ERCOT agrees that metering of an ESR’s WSL separate from the ESR’s, SODESS’s, or SOTESS’s auxiliary Load is not feasible based on the ESR’s, SODESS’s, or SOTESS’s physical design, the Resource Entity for that ESR, SODESS, or SOTESS shall be permitted to calculate the auxiliary Load using measurements from its own internal sensors and telemeter a Real-Time aggregated value for that Load to the TDSP’s EPS Meter.  The methodology by which the auxiliary Load is calculated is subject to ERCOT approval.  

(2)
An officer of the Resource Entity shall annually attest to the methodology and validity of the auxiliary Load calculation, as further described in the SMOG.  The Resource Entity shall include with its annual attestation the findings of an independent audit performed by a registered Texas Professional Engineer confirming the auxiliary Load calculation does not understate the Load value.  The audit shall be based on laboratory testing that reflects the anticipated field conditions of the same model of sensor as that used by the Resource Entity or validation using measurements by other devices over the past year, as further described in the SMOG.  The audit shall evaluate the impact of any degradation in accuracy of the sensors over time.

(3)
If the Resource Entity is unable to provide the attestation and audit findings meeting the requirements of paragraph (2) above, it shall either reconfigure the Resource Entity’s site and resubmit its meter design within 30 days to allow for separately metering the WSL or forfeit WSL treatment.  

(4)
ERCOT may conduct an audit of the Resource Entity’s processes, equipment, and calculation of the auxiliary Load. 

(5)
The TSP or DSP shall assign all costs required for receiving calculated auxiliary Load and programming EPS Meter IDR for WSL treatment to the Resource Entity.


10.3.2.3

Generation Netting for ERCOT-Polled Settlement Meters

(1)
Each Generation Resource and Settlement Only Generator (SOG) and each Load that is designated to be netted with that Generation Resource or SOG, including construction and maintenance Load that is netted with existing generation auxiliaries, must be physically metered at its POI to the ERCOT Transmission Grid or Service Delivery Point, or, in accordance with Section 10.3.2.2, Loss Compensation of EPS Meter Data, loss-compensated to its POI to the ERCOT Transmission Grid.  Interval Data Recorders (IDRs) must be used to determine generator output or Load usage.  In the intervals where the generation output exceeds the Load, the net must be settled as generation.  In the intervals where the Load exceeds the generation output, the net must be settled as Load, and carry any applicable Load shared charges and credits.

(2)
For Settlement purposes, netting is not allowed except under the configurations described in paragraphs (2)(a) through (2)(e) below, and only if the service arrangement is otherwise lawful.  ERCOT has no obligation to independently determine whether a site configuration that includes both Loads and Generation Resource(s) or SOGs complies with Public Utility Regulatory Act (PURA) or the Public Utility Commission of Texas (PUCT) Substantive Rules, and ERCOT’s approval of a metering proposal for such a site is not a verification of the legality of that arrangement:

(a)
Single POI or Service Delivery Point;

(b)
Transmission-level interconnections where all POIs are located at the same substation, at the same voltage, and under normal operating conditions, are interconnected through common electrical equipment such as circuit breakers, connecting cables, bus bars, switches/isolators.  Qualifying station arrangements include, but are not limited to, Generation and Load connected in a line bus, ring bus, double-breaker, or breaker-and-a-half configuration;

(c)
Multiple POIs where the Loads and generator output are electrically connected to a common switchyard, as defined in paragraph (7) below.  In addition, there must be sufficient generator capacity to serve all plant Loads for netting to occur;

(d)
A Qualifying Facility (QF) with POIs, where the QF is selling energy to a thermal host, may net the Load meters of the thermal host with the QF’s generation meters when the Load and generation are electrically connected to a common switchyard.  In instances in which Load is served by new on-site generation through a common switchyard, the TSP or DSP may install monitoring equipment necessary for measuring Load to determine stranded cost charges, if any are applicable, as determined under the PURA and applicable PUCT rules.  For purposes of this Section, new on-site generation has the meaning as contained in Public Utility Regulatory Act, Tex. Util. Code Ann. §§ 39.252 and 39.262(k) (Vernon 1998 & Supp. 2007) (PURA); or

(e)
For Generation Resources and/or Load with flow-through on a private, contiguous transmission system (not included in a TSP or DSP rate base) and in a configuration existing as of October 1, 2000, the meters at the interconnections with the ERCOT Transmission Grid may be netted for the purpose of determining Generation Resources or Load.  For Settlement purposes, when the net is a Load, the metered interconnection points must be assigned to the same Load Zone and Unaccounted for Energy (UFE) zone.

(3)
For Energy Storage Resource (ESR) sites, Wholesale Storage Load (WSL) must be separately metered from all other Loads and generation, and must be metered using EPS Metering Facilities.

(a)
For configurations where the Resource Entity telemeters an auxiliary Load value to the EPS Meter: 

(i)
The total energy into the ESR must be separately metered from all other Loads and generation, and must be metered using EPS Metering Facilities; and 

(ii)
The auxiliary Load energy shall be stored in the EPS Meter’s IDR, per channel assignments defined in the SMOG. 

(b)
For configurations where the WSL is not at a POI, it must be metered behind a single POI metering point, per the requirements in paragraph (3) or (3)(a) above; and

(c)
WSL for a compressed air energy storage Load Resource is exempt from the requirement to be electrically connected to a common switchyard, as defined in paragraph (7) below.
(d)
Auxiliary Load associated with a WSL shall not be netted with generation. 
	[NPRR995:  Replace paragraph (3) above with the following upon system implementation:]

(3)
For Energy Storage Resource (ESR), Settlement Only Distribution Energy Storage System (SODESS), or Settlement Only Transmission Energy Storage System (SOTESS) sites, Wholesale Storage Load (WSL) must be separately metered from all other Loads and generation, and must be metered using EPS Metering Facilities.

(a)
For configurations where the Resource Entity telemeters an auxiliary Load value to the EPS Meter: 

(i)
The total energy into the ESR, SODESS, or SOTESS must be separately metered from all other Loads and generation, and must be metered using EPS Metering Facilities; and 

(ii)
The auxiliary Load energy shall be stored in the EPS Meter’s IDR, per channel assignments defined in the SMOG. 

(b)
For configurations where the WSL is not at a POI, it must be metered behind a single POI metering point, per the requirements in paragraph (3) or (3)(a) above; and

(c)
WSL for a compressed air energy storage Load Resource is exempt from the requirement to be electrically connected to a common switchyard, as defined in paragraph (7) below.
(d)
Auxiliary Load associated with a WSL shall not be netted with generation. 


(4)
ERCOT shall maintain descriptions of the Metering Facilities of all common switchyards that contain multiple POIs of Loads (ESI IDs) and generation meters (EPS).  The description is limited to identifying the Entities within a common switchyard and a simplified diagram showing the metering configuration of all Supervisory Control and Data Acquisition (SCADA) and Settlement Metering points.

(5)
All Load(s) included in the netting arrangement for an EPS Metering Facility shall only be electrically connected to the ERCOT Transmission Grid through the EPS metering point(s) for such Facility.  Such Loads shall not be electrically connected to the ERCOT Transmission Grid through electrical connections that are not metered by the EPS metering point(s) for the Facility.
(6)
Notwithstanding the requirements of paragraph (5) above, auxiliary Load(s) connected to the station service transformer not to exceed 500 kW in aggregate shall be permitted an additional electrical connection to a TSP’s or DSP’s Facilities through a separately metered Transmission and/or Distribution Service Provider (TDSP) read metering point.  In locations subject to multiple certificated service areas, the Resource Entity shall notify each DSP that has the right to serve in the service area of the proposed connection.  This configuration requires mutual agreement between the connecting TSP, DSP, and Resource Entity, and the connection shall be achieved through an open transition load transfer switch listed for emergency service and shall only be used in emergency and maintenance situations.
(7)
For purposes of this Section, a common switchyard is defined as an electric substation Facility where the POI for Load and Generation Resources are located at the same Facility but where the interconnection points are physically not greater than 400 yards apart.  The physical connections of the Load to its POI and the Generation Resource to its POI cannot be Facilities that have been placed in a TSP’s or DSP’s rate base.
(8)
Notwithstanding any other provision in this Section, for any Generation Resource or ESR that is configured to serve a Customer Load as part of a Private Microgrid Island (PMI), the connection to the Customer Load in the PMI configuration shall be located behind the EPS metering point at the Resource’s POI.  For a PMI configuration that includes an ESR that is receiving WSL treatment for charging Load, an EPS Meter shall be located to measure the ESR’s gross output net of any internal telemetered auxiliary Load, and a separate TDSP ESI ID (for nodal Settlement) with a Load Serving Entity (LSE) association must be established for the site prior to service of any Load.

	[NPRR945:  Insert paragraph (9) below upon system implementation:]

(9)
ERCOT shall post on the ERCOT website a report listing all Generation Resources or Settlement Only Generators (SOGs) that have achieved commercial operations, excluding Decommissioned Generation Resources, Mothballed Generation Resources, and decommissioned SOGs, whose Resource Registration data indicates that the Generation Resource or SOG is part of a Private Use Network.  The report must identify the name of the Generation Resource or SOG site, its nameplate capacity, and the date the Generation Resource or SOG was added to the report.  The report shall not identify any confidential, customer-specific information regarding netted loads.  ERCOT shall update the list at least monthly.


11.1.6

ERCOT-Polled Settlement Meter Netting

(1)
As allowed by Section 10, Metering, of these Protocols, ERCOT will perform the approved netting schemes, which sum the meters at a given Generation Resource site.  
	[NPRR1002:  Replace paragraph (1) above with the following upon system implementation:]

(1)
As allowed by Section 10, Metering, of these Protocols, ERCOT will perform the approved netting schemes, which sum the meters at a given Generation Resource, or Energy Storage Resource (ESR) site.


(2)
Both Load consumption and Generation Resource production meters will be combined together to obtain a total amount of Load or Resource.
	[NPRR1002:  Replace paragraph (2) above with the following upon system implementation:]

(2)
Both Load consumption and generation production meters will be combined together to obtain a total amount of Load or generation.


(3)
For a Generation Resource site with Wholesale Storage Load (WSL):

	[NPRR995 and NPRR1002:  Replace applicable portions of paragraph (3) above with the following upon system implementation:]

(3)
For an ESR site:


(a)
WSL is measured by the corresponding EPS Meter, except that when a Resource Entity for an Energy Storage Resource (ESR) communicates its auxiliary Load value to the EPS Meter, WSL is calculated by subtracting the auxiliary Load from the total Load measured by the corresponding EPS meter.  If the calculated auxiliary Load is greater than the total Load, WSL shall be zero. 

(b)
For WSL that is metered behind the POI metering point, the WSL will be added back into the POI metering point to determine the net flows for the POI metering point.

(c)
For WSL that is separately metered at the POI, the WSL will not be included in the determination of whether the generation site is net generation or net Load for the purpose of Settlement.
(d)
Under no conditions are auxiliary Loads of Resources that receive WSL treatment to be netted with the Resource output or generation.
(4)
For an ESR that has separately metered its charging Load, but elects not to receive WSL treatment, the Non-WSL ESR Charging Load for the 15-minute interval shall be determined using the metered ESR charging Load.
(5)
For an ESR that has not separately metered its charging Load, or has forfeited WSL treatment pursuant to paragraph (3) of Section 10.2.4, Resource Entity Calculation and Telemetry of ESR Auxiliary Load Values, the Non-WSL ESR Charging Load for the 15-minute interval shall be equal to the total metered ESR Load minus auxiliary Load, where auxiliary Load is calculated as the greater of the following:

(a)
The lesser of the total metered ESR Load or X MWh, where X is calculated as 15% of the ESR’s nameplate capacity multiplied by 0.25; or

(b)
15% of the total metered ESR Load for the 15-minute interval.
	[NPRR995:  Insert paragraphs (6) and (7) below upon system implementation:]

(6)
For a Settlement Only Distribution Energy Storage System (SODESS) or Settlement Only Transmission Energy Storage System (SOTESS) that has been approved for WSL treatment and has a single POI or Service Delivery Point:

(a)
For withdrawals from the ERCOT System consisting of only WSL or WSL in combination with auxiliary Load:
(i)
WSL is measured by the corresponding EPS Meter, except when a Resource Entity communicates its auxiliary Load value to the EPS Meter, WSL is calculated by subtracting the auxiliary Load from the total Load measured by the corresponding EPS meter.  If the calculated auxiliary Load is greater than the total Load, WSL shall be set to zero. 

(ii)
For measured or calculated WSL that is behind the POI or Service Delivery Point, the WSL will be added back into the POI or Service Delivery Point metering point to determine the net flows for the POI or Service Delivery Point metering point.

(b)
For withdrawals from the ERCOT System that include Load other than WSL Load or auxiliary Load:

(i)
The charging Load is measured by the corresponding EPS Meter, except that when the Resource Entity communicates its auxiliary Load value to the EPS Meter, the charging Load is calculated by subtracting the auxiliary Load from the total SODESS or SOTESS Load measured by the corresponding EPS meter.  If the calculated auxiliary Load is greater than the total SODESS or SOTESS Load, the charging Load shall be set to zero. 
(ii)
Where injections are exclusively the result of generation from an SODESS or SOTESS, the WSL quantity shall be determined through the use of a generation accumulator, which is calculated as the accumulated output measured at the POI or Service Delivery Point minus the accumulated charging Load receiving WSL treatment.  The charging Load that is less than or equal to the generation accumulator will be settled as WSL for each 15-minute interval.

(iii)
Where injections are the result of a combination of SODESS or SOTESS and non-SODESS or non-SOTESS generation, the output channel of the EPS meter that measures charging Load is required to be used for Settlement.  For these sites, the WSL quantity shall be determined through the use of a generation accumulator, which is calculated as the lesser of (i) the accumulated SODESS or SOTESS output or (ii) the accumulated output measured at the POI or Service Delivery Point minus the accumulated charging Load receiving WSL treatment.  The charging Load that is less than or equal to the generation accumulator will be settled as WSL for each 15-minute interval.

(iv)
For measured or calculated charging Load that is behind the POI or Service Delivery Point, the charging Load will be added back into the POI or Service Delivery Point metering point to determine the net flows for the POI or Service Delivery Point metering point.
(7)
For an SODESS or SOTESS that either has not elected or has not been approved for WSL treatment and has a single POI or Service Delivery Point:

(a) 
For withdrawals from the ERCOT System consisting of only charging Load or charging Load in combination with auxiliary Load, the Non-WSL Settlement Only Charging Load for the 15-minute Settlement Interval shall be determined as follows:
(i)
The metered charging Load that would otherwise be eligible for WSL; or
(ii)
The total metered SODESS or SOTESS Load minus auxiliary Load, where auxiliary Load is calculated as the greater of the following:
(A)
The lesser of the total metered Load or X MWh, where X is calculated as 15% of the nameplate capacity of the ESS multiplied by 0.25; or

(B)
15% of the total SODESS or SOTESS metered Load. 

(b)
For withdrawals from the ERCOT System that include Load other than Non-WSL Settlement Only Charging Load or auxiliary Load, the Non-WSL Settlement Only Charging Load for the 15-minute settlement interval shall be determined as follows:
(i)
Where injections are exclusively the result of generation from an SODESS or SOTESS, the Non-WSL Settlement Only Charging Load quantity shall be determined through the use of a generation accumulator, which is calculated as the accumulated output measured at the POI or Service Delivery Point minus the metered or calculated charging Load determined in option (A) or (B) below:
(A)
Where the charging Load is separately metered, the accumulated metered charging Load that would otherwise be eligible for WSL; or
(B)
Where the charging Load is not separately metered, the accumulated total metered SODESS or SOTESS Load minus auxiliary Load, where auxiliary Load is calculated as the greater of the following:
(1)
The lesser of the total SODESS or SOTESS metered Load or X MWh, where X is calculated as 15% of the nameplate capacity of the SODESS or SOTESS multiplied by 0.25; or 

(2)
15% of the total SODESS or SOTESS metered Load. 

(ii)
Where injections are the result of a combination of generation from SODESS or SOTESS and other generating facilities, the output channel of the EPS meter that measures charging Load is required to be used for Settlement.  For these sites, the Non-WSL Settlement Only Charging Load quantity shall be determined through the use of a generation accumulator, which is calculated as the lesser of (a) the accumulated SODESS or SOTESS output or (b) the accumulated output measured at the POI or Service Delivery Point minus:

(A)
Where the charging Load is separately metered, the accumulated metered charging Load that would otherwise be eligible for WSL; or

(B)
Where the charging Load is not separately metered, the accumulated total metered SODESS or SOTESS Load minus auxiliary Load, where auxiliary Load is calculated as the greater of the following:

(1)
The lesser of the total metered Load or X MWh, where X is calculated as 15% of the nameplate capacity of the SODESS or SOTESS multiplied by 0.25; or

(2)
15% of the total SODESS or SOTESS metered Load. 

(iii)
For each 15-minute interval, the metered or calculated charging Load that is less than or equal to the generation accumulator will be settled as Non-WSL Settlement Only Charging Load.


�Please note NPRRs 1188 and 1197 also proposes revisions to this section.


�Please note NPRRs 1188 and 1197 also proposes revisions to this section.





PRR_Template.doc
Page 2 of 2
PRR_Template.doc
Page 2 of 2
1194NPRR-12 PRS Report 121523
Page 1 of 2
PUBLIC

_1764506639.unknown

_1764506640.unknown

_1764506637.unknown

_1764506638.unknown

_1764506636.unknown

_1764506635.unknown

