## Slide 1
Status of Reliability Standard, VOLL and CONE Studies
Pete Warnken
Resource Adequacy
Supply Analysis Working Group
December 20, 2023

## Slide 2: Reliability Standard Scenario Study
Completed third modeling phase:
  Replace “1 in 5 year” frequency scenarios (0.2 LOLE) with “1 in 8” frequency scenarios (0.125 LOLE)
  CDR Mix portfolio with more inverter-based resources
  Modeled load, weather, wind/solar production based on most recent 15 weather years
  Weatherization effectiveness sensitivities (70% and 90% weather-related outage reduction, in addition to the 85% base assumption)
  Discussing strategy with PUCT staff for analyzing LOLE impact of $1b PCM net cost cap
Results are expected to be filed for the January 2024 PUCT Open Meeting

## Slide 3: Value of Lost Load (VOLL) Study
PUCT VOLL review project opened in November, #55837
Brattle Group recently completed VOLL literature review and estimated interim VOLL values based on Lawrence Berkeley National Lab methodology and Texas public economic/energy use data
Brattle submitted a VOLL survey work plan on December 7
  https://interchange.puc.texas.gov/Documents/55837_3_1351316.PDF
  Survey implementation timeline: January to July 2024
  Determined approaches for obtaining customer contact info for Competitive Areas and Non-Opt-In Entities
  ERCOT enlisting help from NOIEs on obtaining customer contact info and distributing surveys; contacted trade associations for help with recruiting large Commercial & Industrial customers
Currently Brattle is working on LBNL survey instrument question adjustments

## Slide 4: Cost of New Entry (CONE) Study
Selected the CONE study consultant
Contract awarded by the end of December
Resurrect NPRR for periodic CONE studies to support reliability studies and Peaker Net Margin threshold
  Last discussed at 2020 SAWG meetings (4/17/2020, 6/22/2020, 8/24/2020)