## Slide 1: DWG Report to ROS
Javier Martinez – DWG Chair
January 8, 2024

## Slide 2: DWG Update
DWG WebEx meeting held on 12/12/2023
DWG 2024 Flat-start Activities
  2024 DWG Final pass Flat-start was posted on 12/11/23, for DWG to review.
  TSP to complete review and provide feedback of Final pass, by January 23rd with the goal to finalize cases by the end of January.
Update on Guideline for a Limited Dynamic Stability Study
  ERCOT continued discussion and presented the drafted guideline that will be used for the limited stability study for IBR model changes. This guideline will be used as a reference for PGRR109.

## Slide 3: NOGRR 245- Concept for Testing and Verification
ERCOT proposed a collaboration between DWG and IBRWG to review the testing procedures/requirements related to NOGRR245 and propose updates to the DWG Procedure Manual and any other binding documents, as necessary.
The idea is to essentially get input from OEMs and others from IBRWG on the most appropriate testing/performance evaluation requirements.
The sub-group expected to complete work within 6 months of NOGRR 245 approval.
DWG leadership will formally be presenting this concept to the IBRWG on their upcoming meeting (i.e. 1/12/24) in order to get the IBRWG acceptance of the sub-group concept.