## Slide 1: SSWG Report to ROS 1-8-23
SSWG Chair Joshua Wichers PE

## Slide 2
The GIC model build is proceeding well with good participation except from a few TSPs. Those have been identified and we are working on getting them involved.
We discussed the expectations surrounding the January TPIT posting which is expected on 1/26/23.
  Accurate representation of In-Service projects was a focal point of our discussion.
The 24SSWG Case will be our first NB (Node Breaker) case posting.
  Evan with ERCOT NMM has been responsive and assisting the TSPs with updating our NMMS modeling for this new endeavor.
  It has been very beneficial and should help us in this effort.
PGRR 106 has ERCOT comments posted after our last SSWG meeting, it is on the agenda for this week’s meeting.
PGRR 113, I received a note from ONCOR that it was on hold with PLWG pending WG feedback.
We have some PM updates that are being discussed and those should be available for discussion at the February ROS meeting.
  They are on the agenda for our meeting this week.
We have continued Case Quality discussions and have arrived at a Tier labeling that is expected to be provided with the posted cases.
  This effort is helping to focus the expectations as well as TSP and ERCOT efforts contributing to a more consistent and better quality posted case.
  The details still need to be discussed and updated but we feel that the high-level tiers will provide a good basis for expanding the definitions.
  The Tiers were developed in a way that only posted cases are considered and previously posted cases could be classified as a way to track the quality of the posted cases.

## Slide 4
4.3.3.1 Extraordinary Dispatch Conditions
On occasion, the total load plus the spinning reserve indicated above can exceed the amount of available generation due to load forecasts. SSWG Cases typically model load at individual coincident TSP peaks instead of at the ERCOT coincident system peak. When such a condition is encountered in future cases, ERCOT may increase generation resources by taking the indicated action, or adding generation, in the following order:
Ignore spinning reserve.
Increase NOIE generation with prior NOIE consent.
DC ties dispatched to increase transfers into ERCOT to the full capacity of the DC ties.
Units that have changed their status to mothballed units within the last 18 months and that have not announced their return to service. The dispatch methodology for this procedure is detailed below.
Scale transmission level wind generation dispatch up to 50% of capability.
Add units with interconnection agreements, but do not meet all of the requirements for inclusion defined in the Planning Guide.
Units that have changed their status to mothballed over 18 months ago and have not announced their return to service. The dispatch methodology for this procedure is detailed below.
Add publicly announced plants without interconnection agreements.
Dispatch SODG natural gas and diesel units up to their full capacity.
Dispatch units that are solely for black start.
Scale wind generation dispatch up to 100% of capability
Add generation resources to the 345 kV transmission system near the sites of existing or retired units.
ERCOT shall post the extraordinary dispatch details used in each case to the MIS website.
We started discussing re-organization of the Extraordinaire Dispatch steps and utilizing new tools and equipment that are available in the case.
TSP consensus was that we would like some ERCOT input prior to submitting any PM updates.
Since TSPs are not currently part of the generation and ED process what appears to us as an easy change may not be for ERCOT so we are wanting to account for the complexity.

## Slide 5: Questions or comments?