## Slide 1: Supply Analysis Working Group Update January 2024 Update to WMS
January 10, 2024
Kevin Hanson (National Grid) Chair
Greg Lackey (CPS Energy) Co-Vice Chair
Pete Warnken (ERCOT) Co-Vice Chair

## Slide 2: Overview
2024 SAWG Leadership remains the same as 2023
2024 Long Term Load Forecast Overview (Kate Lamb and Sam Morris)
Reliability Standard, VOLL and CONE Study Updates (Pete Warnken)
Status of CDR NPRR (Pete Warnken)
December CDR / February 2024 MORA Overview and Q&A (Pete Warnken)

## Slide 3: 2024 Long Term Load Forecast Overview
WATERFALL METHODOLOGY
Net Forecast = Gross Forecast + EV Forecast + LFL Forecast – PV Forecast
Base year changed from 2013 to 2008
Large Flexible Loads contribution changed from 10% to 15%

## Slide 4: Reliability Standard, VOLL and CONE Study Updates
Reliability Standard Scenario Study
  Completed third modeling phase
    Replaced 1 in 5 year (0.2 LOLE) with 1 in 8 year (0.125 LOLE)
    CDR Mix portfolio with more inverter-based resources
    Discussing strategy with PUCT staff for analyzing LOLE impact of $1 billion PCM net cost cap
  Results are expected to be filed for the January 2024 PUCT Open Meeting
VOLL
  PUCT VOLL review project opened in November, #55837
  Brattle Group recently completed VOLL literature review and estimated interim VOLL values based on Lawrence Berkeley National Lab methodology and Texas public economic/energy use data
  Brattle submitted a VOLL survey work plan on December 7 with implementation timeline January to July 2024
Cost of New Entry (CONE) Study
  Consultant selected and contract will be awarded by end of December
    Brattle Group has been identified as the consultant since the SAWG meeting

## Slide 5: December CDR / February 2024 MORA Overview and Q&A
December 2023 to May 2023
  ~5,000 MW COD delay for storage resources
February MORA Overview
  Under normal weather: Riskiest hour for experiencing emergency conditions are at 8 am which is the same for January 2024, but February risk at 8 am drops from 7.6% to 3.2%
  Under WS Elliott weather: Riskiest hour for experiencing emergency conditions are at 8 am which is the same for January 2024, but February risk at 8 am drops from 20.6% to 18.3%