## Slide 1
Meter Working Group Update
December 12, 2023

## Slide 2: NPRR1197 Discussion (Subtractive Metering)
  Reviewed language of NPRR along with submitted ERCOT comments.
  Question asked if a limit should be included on the number of excluded load meter points allowed. Currently there is no limit included in the NPRR. Others in MWG brought up that there are limitations on number excluded load EPS meter points that can be added.
  Concerns about potential impacts to existing TDSP tariffs such as power factor.
  MWG consensus was NPRR1197 as written could be implemented from a technical metering perspective.
PUBLIC - 1/10/24 MWG TO WMS
Notes: 1. Concern was raised if there should be a need to limit the number of excluded load meter points. Currently there is no limit included in the NPRR. However others within MWG noted there are limitations to the number of excluded load EPS meter points that can be added.
2. Concerns were raised that certain TDSP that use power factor as a component of TDSP charges may have difficultly determining power factor for excluded loads.

## Slide 3: SMOGRR028 Discussion (Current Limiting Reactors)
  Calculations and methodology were reviewed again.
  TDSP member noted that meter vendors would be more appropriate technical experts on confirming methodology and accuracy for compensating losses of series reactors.
  TDSP member is having ongoing conversations with at least one meter vendor and findings will be shared at next MWG.
  ERCOT stated that there are missing steps between what was included in the initial SMOGRR submittal and what is needed to calculate the compensation. A RE offered to work with ERCOT to submit updated comments on the SMOGRR to resolve these issues.
PUBLIC - 1/10/24 MWG TO WMS

## Slide 4: SMOGRR027 Update
  Per an ERCOT internal review the additional field of including DSP information on future Design Proposals has been removed from SMOGRR027.
  MWG recommends approval of SMOGRR027 with ERCOT 12/05/23 comments.
PUBLIC - 1/10/24 MWG TO WMS

## Slide 5: Guidelines for Approval of Temporary Exemptions
  New Temporary Exemption approval guidelines were shared at MWG and were posted to ERCOT EPS metering webpage.
  New guidelines took effect after MWG 12/12/23 meeting.
  Some issues that were previously granted temporary exemptions will now be reported as protocol violations via ERCOT internal processes.
PUBLIC - 1/10/24 MWG TO WMS

## Slide 6: Next MWG meeting TBD
  Next MWG will be scheduled after discussions with TDSP & meter vendor as well as ERCOT & RE have progressed and new information is available to report.
PUBLIC - 1/10/24 MWG TO WMS