## Slide 1
ROS Report – January 24, 2024
Alexandra Miller
Technical Advisory Committee (TAC) Meeting
ERCOT Public

## Slide 2: Voting Items
NPRR1210, Next Start Resource Test and Load-Carrying Test Frequency (approved language)
PGRR109, Dynamic Model Review Process Improvement for Inverter-Based Resource (IBR) Modification (approved IA)
2024 ROS Leadership:
  Chair: Katie Rich
  Vice Chair: Alex Miller
Notes: NPRR 1210 changes the frequency of the Next Start Resource Test and the Load-Carrying Test respectively from once every five years to once every four calendar years. This item was added to our combo ballot and supported unanimously.
PGRR 109 has no project required.

## Slide 3: Recent ROS Actions
NOGRR261, Move OBD to Section 8 – Procedure for Calculating RRS Limits for Individual Resources (approved language)
Notes: NOGRR 261 is consistent with ERCOT’s efforts to move requirement out of the other binding documents. It’s a list of RRS limits but does not make any substantive changes.

## Slide 4: Revision Requests under ROS Review
NPRR1070, Planning Criteria for GTC Exit Solutions (OWG, PLWG)
NPRR1198, Congestion Mitigation Using Topology Reconfigurations (OWG, NDSWG)
NOGRR255, High Resolution Data Requirements (DWG, IBRWG, SPWG)
NOGRR256, Related to NPRR1191, Registration, Interconnection and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater
NOGRR258, Related to NPRR1198, Congestion Mitigation Using Topology Reconfigurations (OWG, NDSWG)
PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions
PGRR105, Deliverability Criteria for DC Tie Imports
PGRR106, Clarify Projects Included in Transmission Project Information and Tracking Report (SSWG)
PGRR107, Related to NPRR1180, Inclusion of Forecasted Load in Planning Analyses (PLWG)

## Slide 5: Revision Requests under ROS Review
PGRR109, Dynamic Model Review Process Improvements for Inverter-Based Resource Modification
PGRR111, Related to NPRR1191, Registration, Interconnection and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater
PGRR112, Dynamic Data Model and Full Interconnection Study Deadline for Quarterly Stability Assessment (DWG, PLWG)
PGRR 113, Related to NPRR 1198, Congestion Mitigation using Topology Mitigation (PLWG, SSWG)
PGRR 114, Related to NPRR 1212, Clarification of Distribution Service Provider’s Obligation to Provide and ESI ID
RRGRR036, Related to NPRR1191, Registration, Interconnection and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater

## Slide 6: Recent ROS Discussion Items
  WG Leadership – Almost all WGs have nominees so will be bringing the final list to TAC in February.
  ROS Goal – These will be reviewed at the February meeting.

## Slide 7: Future Meetings
ROS
  Next Regularly Scheduled Meeting – February 1, 2024 (WebEx Only)