## Slide 1: Planning Working Group Update
To
Reliability and Operations Subcommittee
Alexandra Miller, PLWG Chair
Dylan Preas, PLWG Vice-Chair
February 1, 2024

## Slide 2: PLWG Activity Update – 1/17/24
PGRR112 - Dynamic Data Model and Full Interconnection Study (FIS) Deadline for Quarterly Stability Assessment
  ERCOT comments were reviewed
  Stakeholders desired additional time to review comments
  PLWG tabled PGRR 112 for further discussion at the February meeting

## Slide 3: PLWG Activity Update – 1/17/24
PGRR107 & NPRR1180 – Inclusion of Forecasted Load in Planning Analyses
  Nathan Bigbee reviewed the December ERCOT comments
  Discussion centered on ERCOT’s discretion to determine the credibility of a load forecast in planning studies, the definition of quantifiable evidence, and the ability for a TDSP to dispute ERCOT’s credibility determination
  Stakeholders requested additional time to consider the ERCOT comments
  PLWG tabled this item to discuss in February

## Slide 4: PLWG – Open Action Items
Congestion Cost Test Implementation & NPRR1070 – Planning Criteria for GTC Exit Solutions
  Remains tabled as ERCOT staff develops draft revision requests
PGRR113, Related to NPRR1198, Congestion Mitigation Using Topology Reconfigurations
  Tabled, no concerns with current language, monitor for comments
  Recommendation: SSWG Procedure Manual also needs edits in parallel to clarify EAPs will be removed from cases
SSWG Modeling Assumptions
  Tabled, to discuss recommendations in February

## Slide 5: Questions?