## Slide 1
PDCWG Report to ROS
Chair: Kevin Bunch, EDF Trading North America
Vice Chair: Chad Mulholland, NRG
ROS
February 1st, 2024

## Slide 2: Report Overview & Notes
Report Overview
  Meeting Minutes
    2024 Leadership PDCWG
    ERCOT Analysis of Disturbances/Frequency Events
    ERCOT Frequency Control Metrics and Regulation Reports
    No TRE Report
    ROS Open Action Items
  BAL-001-TRE-2 FMEs and IMFR
    0 FMEs in the month of December
  Frequency Control Report

## Slide 3: Frequency Measurable Events Performance

## Slide 4: Interconnection Minimum Frequency Response (IMFR) Performance
Frequency Response Obligation (FRO): 463 MW/0.1 Hz
IMFR Performance currently
1362.18 MW/0.1HZ

## Slide 5
Questions?

## Slide 6: Frequency Control Report
December 2023

## Slide 7: CPS1 Performance

## Slide 8: RMS1 Performance of ERCOT Frequency
Notes: 14.36 mHz on avg for December 2023

## Slide 9: Frequency Profile Analysis

## Slide 10: Time Error Corrections

## Slide 11: ERCOT Total Energy
Notes: 33,383,311 MWh

## Slide 12: ERCOT Total Energy from Wind Generation
Notes:   9,330,245 MWH

## Slide 13: ERCOT % Energy from Wind Generation
Notes: 27.95% of total energy was provided by wind generation

## Slide 14: ERCOT Total Energy from Solar Generation
Notes: 2,246,189 MWh

## Slide 15: ERCOT % Energy from Solar Generation
Notes: 6.73% of total energy was provided by solar generation.

## Slide 16: ERCOT Daily Minimum System Inertia
Notes: Minimum Inertia = 154,946 MW*s on 12/08/2023
Previous Overall Minimum was 109,029 MW*s on 3/22/2021
Data:
Mean: 204,183 MW*s
Max: 257,095 MW*s on December 28th
Min: 154,946 MW*s on December 8th

## Slide 17: ERCOT Inertia Trend
Notes: For each box, the central mark (red line) is the median, the edges of the box (in blue) are the 25th and 75th percentiles, the whiskers correspond to +/- 2.7 sigma (i.e., represent 99.3% coverage, assuming the data are normally distributed. The corresponding lowest inertia in each year is given in the table.
The circle on each boxplot is showing inertia during time when highest portion of load was served by wind/solar generation in that year.