## Slide 1: Operations Working Group
Chair- Rickey Floyd
Vice-Chair- Theresa Noyes
HITE List Sub-Chair – Pushkar Chhajed
02/01/2024

## Slide 2: ERCOT Updates and System Operation Report
Unofficial Peaks Reported by ERCOT
December Peak Demand – 76,976 MW
December Solar Penetration – 13,944 MW/26%

## Slide 3: Texas Reliability Entity Report
No Report

## Slide 4: NPRR 1070 - Planning Criteria for GTC Exit Solutions
Remains Tabled, no update.

## Slide 5: NPRR 1198 and NOGRR258 - Congestion Mitigation Using Topology Reconfigurations
Martha Henson provided update of most recent comments to OWG
Key changes reviewed in latest comment:
  Removal of RAPs
  Congestion threshold changed from $1 Million to $5 Million and a modified language to the congestion time period
  Relocation of language to consolidate process related provisions
  Clarify process for submission thru ERCOT
  Impacted T.O.s and Resources can concur or reject in writing within 45 days
  Duration of EAP will based on time to implement project or time the temporary congestion will exist
  New language to address impacts to existing and scheduled transmission outages
  Included temporary suspension of EAP for reliability
  Implementation of the EAP will be facilitated through the NOMCR process
  ERCOT provided update on coordinating outages with EAPs in place
  ERCOT will provide a list EAPs to Outage Coordination and the list will be posted on the MIS
Tabled pending review of latest comments

## Slide 6: OTWG Update
OTWG provided update on leadsership selections for OTWG, ERCOT Certification Task Force, ERCOT Black Start Training Task Force and ERCOT Operations Training Seminar Task Force
OTWG provided dates and topics for ERCOT Operations Training Seminar
More details of the OTWG update can be found on the OWG January 23rd meeting page January OTWG Updates

## Slide 7: 2024 OWG Leadership
Chair – Rickey Floyd
  rickey.floyd@oncor.com
Vice Chair – Tyler Springer
  tsspringer@aep.com
HITE List Sub-Chair – Pushkar Chhajed
  Pushkar.Chhajed@enel.com -

## Slide 8: Other Business
Discussion on process for implementing DPCs in real-time
  Email shift engineer
Discussion on length of ERCOT notification scripts
  ERCOT suggest referencing scripts posted on the ERCOT site