| NPRR Number | 1212 | NPRR Title | Clarification of Distribution Service Provider’s Obligation to Provide an ESI ID |
| --- | --- | --- | --- |
| Date of Decision |  | December 15, 2023 |  |
| Action |  | Tabled |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | To be determined |  |
| Priority and Rank Assigned |  | To be determined |  |
| Nodal Protocol Sections Requiring Revision |  | 2.1, Definitions 10.3.2, ERCOT-Polled Settlement Meters 10.3.2.1, Generation Resource Meter Splitting 10.3.2.1.2, Allocating EPS Metered Data to Split Generation Resource Meters 10.3.2.1.3, Processing for Missing Dynamic Split Generation Resource Signal |  |
| Related Documents Requiring Revision/Related Revision Requests |  | Planning Guide Revision Request (PGRR) 114, Related to NPRR1212, Clarification of Distribution Service Provider’s Obligation to Provide an ESI ID |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) revises Section 10.3.2 to clarify the obligation of a Distribution Service Provider (DSP) to provide ERCOT with an Electric Service Identifier (ESI ID) for a Resource site that consumes Load other than Wholesale Storage Load (WSL) and that is not behind a Non-Opt-In Entity (NOIE) tie meter. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | Some Resources in the Resource integration process have begun consuming electricity without ERCOT receiving ESI ID(s). In the past, ERCOT has attributed that energy to Unaccounted for Energy (UFE) and has addressed this in the Final or True-Up Settlement at a later date. However, after 180 days, this cannot be remedied through the True-Up process. ERCOT needs to receive ESI ID(s) earlier in the Resource integration process to avoid the accrual of UFE that cannot be easily resettled. ERCOT has determined that clarification of the Protocols is needed to ensure that ERCOT timely receives ESI ID(s) before Initial Energization of a project at a Resource site. Additionally, the modifications in Sections 10.3.2.1, 10.3.2.1.2, and 10.3.2.1.3 are proposed because meters (Resource IDs (RIDs)) are not represented by QSEs and, for Settlement purposes, are not associated with Generation Resources. |  |
| PRS Decision |  | On 12/15/23, PRS voted unanimously to table NPRR1212. All Market Segments participated in the vote. |  |
| Summary of PRS Discussion |  | On 12/15/23, ERCOT Staff reviewed NPRR1212 and referenced PGRR114, tabled at the December 7, 2023 Reliability and Operations Subcommittee (ROS) meeting. Participants requested that PRS table NPRR1212 to provide time to clarify mechanics and for additional discussion at the Resource Integration Working Group (RIWG). |  |

| Opinions |  |
| --- | --- |
| Credit Review | To be determined |
| Independent Market Monitor Opinion | To be determined |
| ERCOT Opinion | To be determined |
| ERCOT Market Impact Statement | To be determined |

| Sponsor |  |
| --- | --- |
| Name | Randy Roberts / Jay Teixeira / Douglas Fohn / Holly Heinrich |
| E-mail Address | Randy.Roberts@ercot.com / Jay.Teixeira@ercot.com / Douglas.Fohn@ercot.com / Holly.Heinrich@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-3943 / 512-248-6582 / 512-275-7447 / 512-275-7436 |
| Cell Number |  |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Jordan Troublefield |
| E-Mail Address | jordan.troublefield@ercot.com |
| Phone Number | 512-248-6521 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None |  |

Market Rules Notes

None

Proposed Protocol Language Revision

# 2.1	DEFINITIONS

Resource ID (RID)

A unique identifier assigned to each ERCOT-Polled Settlement (EPS) Meter or Settlement Only Generator (SOG) meter.

10.3.2	ERCOT-Polled Settlement Meters

(1)	Each TSP and DSP shall, in accordance with these Protocols and the Settlement Metering Operating Guide (SMOG), provide ERCOT-approved metering communication equipment and connection to permit ERCOT access to the TSP’s or DSP’s EPS Meters.

(2)	For a Resource site that consumes Load other than Wholesale Storage Load (WSL) and is not behind a Non-Opt-In Entity (NOIE) tie meter, the DSP that has the right to serve Load at the Resource site shall provide ERCOT and the Resource Entity with Electric Service Identifier(s) (ESI ID(s)) to be used in the generation netting process.

(3)	ERCOT shall retrieve meter data electronically and automatically by MDAS.  ERCOT may also collect meter data on demand.

10.3.2.1	Generation Resource Meter Splitting

(1)	Each Generation Resource must be represented by only one Qualified Scheduling Entity (QSE), except that a jointly owned Generation Resource unit or group of Generation Resources may split the net generation output into two or more Split Generation Resources for a Resource Entity.  Each Resource Entity representing a Split Generation Resource may have its energy and capacity scheduled through a separate QSE.  For purposes of this paragraph, a jointly owned Generation Resource unit or group of Generation Resources shall also include the San Miguel and Gibbons Creek power projects and Intermittent Renewable Resources (IRRs) such as wind and solar generation.

(2)	When a Generation Resource that has been split to function as two or more Split Generation Resources is registered with ERCOT, the Resource Entities representing the Split Generation Resources shall be required to submit a percentage allocation of the Generation Resource to be used to determine the capacity available at each Split Generation Resource.

(3)	When a Generation Resource that has been split to function as two or more Split Generation Resources is registered with ERCOT, the owners of the Generation Resource shall submit all required ERCOT Facility registration documentation and an ERCOT-approved splitting agreement executed by an Authorized Representative from each owning Resource Entity.  Such agreement shall contain a defined and fixed ownership percentage as among the owning Resource Entities.  ERCOT shall establish this Generation Resource as a “split,” essentially establishing Split Generation Resource meters.  Generation splitting based on a static ratio is not permitted.  Generation splitting requires Real-Time splitting signals.

##### 10.3.2.1.2	Allocating EPS Metered Data to Split Generation Resource Meters

(1)	ERCOT shall poll the EPS Metering Facilities related to the actual Generation Resource and store the meter data at 15-minute intervals.  This metering data must be validated, edited, estimated, and compensated for losses, as necessary, and be netted as required.  This resulting data must then have the Split Generation Resource ratios applied to assign the generation to the QSE representing each owner of the Split Generation Resources.  The MWh quantities of the Split Generation Resources must be used in all Settlement calculations and reports.

(2)	The following example illustrates the splitting of the generation data:

Splitting Example 1

| Integrated values from ERCOT systems |  |  |  |  |  |  | Actual Metered MWh | Data to be Used in Settlement |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Interval Ending | UNIT1 (MWh) | UNIT2 (MWh) | UNIT3 (MWh) | Total MWh |  | % Ratios Unit 1,2,3 |  | Split MWh | Split MWh | Split MWh |
| 13:15 | 10 | 20 | 10 | 40 |  | 25, 50, 25 | 52 | 13 | 26 | 13 |

##### 10.3.2.1.3	Processing for Missing Dynamic Split Generation Resource Signal

(1)	For any interval when ERCOT has not received a Real-Time signal for any one of the Split Generation Resources, ERCOT shall use the last valid percentage ratio for a completed interval.

Splitting Example 2

| Integrated values from ERCOT systems |  |  |  |  |  |  | Actual Metered MWh | Data to be Used in Settlement |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Interval Ending | UNIT1 (MWh) | UNIT2 (MWh) | UNIT3 (MWh) | Total MWh |  | % Ratios Unit 1,2,3 |  | Split MWh | Split MWh | Split MWh |
| 13:15 | 10 | 20 | 10 | 40 |  | 25, 50, 25 | 52 | 13 | 26 | 13 |
| 13:30 | NA | 21 | 10 | NA |  | Ratio Above | 55 | 13.75 | 27.5 | 13.75 |
| 13:45 | NA | 22 | 10 | NA |  | Ratio Above | 48 | 12 | 24 | 12 |