## Contents
Table of Contents
Tab | Notes
Disclaimer | Please read
Demand | Monthly peak demand data for this year and last year
Energy | Monthly energy data for this year and last year
Load Zones | Monthly peak demand and energy data for this year by load zone
Weather Zones | Monthly peak demand and energy data for this year by weather zone
Energy by Fuel Type | Actual energy and percentages by fuel type
Energy by Fuel Chart | Stacked chart of MWh by fuel type by month
Energy Comparisons | Bar graphs comparing this year's energy with last year's and with forecasted
Demand Comparisons | Graphs comparing this year's monthly peaks with last year's and with forecasted
2025-03-07 | 9:16

## Disclaimer
DEMAND AND ENERGY REPORT
For Planning Purposes Only
This ERCOT Working Paper has been prepared for specific ERCOT and market participant purposes and has been
developed from data provided through the settlement process. The data may contain errors or become obsolete
and thereby affect the conclusions and opinions of the Working Paper. ERCOT MAKES NO WARRANTY, EXPRESS
OR IMPLIED,INCLUDING ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR ANY PARTICULAR PURPOSE,
AND DISCLAIMS ANY AND ALL LIABILITY WITH RESPECT TO THE ACCURACY OF SAME OR THE FITNESS OR
APPROPRIATENESS OF SAME FOR ANY PARTICULAR USE. THIS ERCOT WORKING PAPER IS SUPPLIED WITH
ALL FAULTS.
ERCOT publishes the values in this report based on the Initial Settlement occurring approximately five days after
the Operating Day. These values are updated to reflect Final Settlements (occurring 55 days after each Operating
Day of the month), lagged by two months after the end of the month. On each tab of this spreadshet there is a
column titled "Settlement Type" indicating whether the values are based on the Initial or Final Settlement for the month.
In instances where a generator is capable of using multiple fuels, the primary fuel is used in this report.

## Demand
Demand for 2024
Net System Maximum Hourly Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
2024 Demand, MW | 78349.2062 | 55859.7668 | 55305.6286 | 64003.2136 | 77138.5875 | 79697.1876 | 81045.0963 | 85245.1718 | 77812.6461 | 72549.7537 | 60174.1252 | 60244.7459 | 85245.1718
Date | 01/16/2024 | 02/19/2024 | 03/05/2024 | 04/30/2024 | 05/27/2024 | 06/30/2024 | 07/01/2024 | 08/20/2024 | 09/19/2024 | 10/03/2024 | 11/04/2024 | 12/11/2024
Hour ending | 08:00 | 08:00 | 17:00 | 18:00 | 17:00 | 18:00 | 18:00 | 18:00 | 17:00 | 17:00 | 14:00 | 08:00
Day of the week | Tuesday | Monday | Tuesday | Tuesday | Monday | Sunday | Monday | Tuesday | Thursday | Thursday | Monday | Wednesday
Forecasted Demand, MW | 65913.6538 | 69258.2874 | 59517.2225 | 62729.0202 | 73200.0482 | 77569.8008 | 79305.9302 | 82239.008 | 77046.0599 | 70992.5735 | 61354.8142 | 65428.9818 | 82239.008
Difference, percent | 18.87% | -19.35% | -7.076% | 2.031% | 5.38% | 2.743% | 2.193% | 3.655% | 0.995% | 2.193% | -1.924% | -7.923% | 3.655%
2023 Demand, MW | 65631.9709 | 63507.9545 | 53094.3213 | 60995.4144 | 68158.7102 | 80825.6176 | 82964.0895 | 85508.4518 | 84470.1018 | 71233.8382 | 56535.3852 | 56975.9838 | 85508.4518
Date | 01/31/2023 | 02/01/2023 | 03/31/2023 | 04/03/2023 | 05/05/2023 | 06/27/2023 | 07/31/2023 | 08/10/2023 | 09/08/2023 | 10/04/2023 | 11/08/2023 | 12/11/2023
Hour ending | 19:00 | 19:00 | 18:00 | 18:00 | 18:00 | 18:00 | 17:00 | 18:00 | 17:00 | 17:00 | 16:00 | 08:00
Day of the week | Tuesday | Wednesday | Friday | Monday | Friday | Tuesday | Monday | Thursday | Friday | Wednesday | Wednesday | Monday
Increase, MW | 12717.2352 | -7648.1877 | 2211.3072 | 3007.7992 | 8979.8773 | -1128.43 | -1918.9932 | -263.2801 | -6657.4556 | 1315.9155 | 3638.74 | 3268.7621
Increase, percent | 19.38% | -12.04% | 4.165% | 4.931% | 13.18% | -1.396% | -2.313% | -0.3079% | -7.881% | 1.847% | 6.436% | 5.737%
Max All Time, MW | 78349.2062 | 69811.9544 | 60756.4143 | 64003.2136 | 77138.5875 | 80825.6176 | 82964.0895 | 85508.4518 | 84470.1018 | 72549.7537 | 60174.1252 | 74524.9021
Date | 01/16/2024 at 08:00 | 02/14/2021 at 20:00 | 03/05/2019 at 08:00 | 04/30/2024 at 18:00 | 05/27/2024 at 17:00 | 06/27/2023 at 18:00 | 07/31/2023 at 17:00 | 08/10/2023 at 18:00 | 09/08/2023 at 17:00 | 10/03/2024 at 17:00 | 11/04/2024 at 14:00 | 12/23/2022 at 08:00
Net System Maximum Demand based on 15-Minute Intervals
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
2024 Demand, MW | 78531.9136 | 56295.0226 | 55421.6946 | 64276.086 | 77199.8094 | 79749.8485 | 81184.3922 | 85357.4801 | 77878.8239 | 72667.3783 | 60311.6046 | 60484.0453 | 85357.4801
Date | 01/16/2024 | 02/13/2024 | 03/05/2024 | 04/30/2024 | 05/27/2024 | 06/30/2024 | 07/01/2024 | 08/20/2024 | 09/20/2024 | 10/03/2024 | 11/04/2024 | 12/11/2024
Interval ending | 07:45 | 07:15 | 16:45 | 17:00 | 16:45 | 17:45 | 17:00 | 17:00 | 16:00 | 16:45 | 14:30 | 07:30
Day of the week | Tuesday | Tuesday | Tuesday | Tuesday | Monday | Sunday | Monday | Tuesday | Friday | Thursday | Monday | Wednesday
Max All Time, MW | 78531.9136 | 69993.566 | 61563.6014 | 64276.086 | 77199.8094 | 81017.5983 | 83032.4767 | 85636.8846 | 84540.2922 | 72667.3783 | 60311.6046 | 74628.9366
Date | 01/16/2024 at 07:45 | 02/14/2021 at 19:00 | 03/05/2019 at 07:15 | 04/30/2024 at 17:00 | 05/27/2024 at 16:45 | 06/27/2023 at 17:00 | 07/31/2023 at 17:00 | 08/10/2023 at 17:00 | 09/08/2023 at 16:45 | 10/03/2024 at 16:45 | 11/04/2024 at 14:30 | 12/23/2022 at 08:00
Net System Minimum Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
2024 Demand, MW | 37944.3014 | 35972.4162 | 35947.127 | 35823.2577 | 37096.4868 | 42729.4731 | 39341.3309 | 48118.0347 | 39690.6307 | 37957.3203 | 37945.671 | 38150.3583
Date | 01/12/2024 | 02/23/2024 | 03/24/2024 | 04/12/2024 | 05/17/2024 | 06/01/2024 | 07/09/2024 | 08/31/2024 | 09/08/2024 | 10/17/2024 | 11/20/2024 | 12/25/2024
Interval ending | 02:30 | 03:30 | 04:00 | 04:00 | 04:00 | 05:00 | 05:00 | 05:30 | 07:30 | 04:00 | 03:00 | 04:45
Day of the week | Friday | Friday | Sunday | Friday | Friday | Saturday | Tuesday | Saturday | Sunday | Thursday | Wednesday | Wednesday
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Energy
Energy for 2024
Net Energy for Load
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
2024 Energy, MWh | 38184181.006 | 30628455.2518 | 32205070.4062 | 33462691.8967 | 39973544.0269 | 44374813.7807 | 44556097.443 | 49282922.5869 | 41002544.4307 | 39228005.3317 | 33761214.1942 | 34917729.338 | 461577269.6928
2024 YTD Energy, MWh | 38184181.006 | 68812636.2578 | 101017706.664 | 134480398.5607 | 174453942.5876 | 218828756.3684 | 263384853.8113 | 312667776.3982 | 353670320.8289 | 392898326.1606 | 426659540.3548 | 461577269.6928
Forecasted Energy, MWh | 37655102.71 | 34656253.768 | 34835026.626 | 34471814.539 | 39583264.758 | 43691178.037 | 47028659.629 | 47671517.476 | 41342884.522 | 38361365.175 | 35083182.356 | 37738533.866 | 472118783.462
Difference, percent | 1.405% | -11.62% | -7.55% | -2.927% | 0.986% | 1.565% | -5.258% | 3.38% | -0.8232% | 2.259% | -3.768% | -7.475% | -2.233%
YTD Forecasted Energy, MWh | 37655102.71 | 72311356.478 | 107146383.104 | 141618197.643 | 181201462.401 | 224892640.438 | 271921300.067 | 319592817.543 | 360935702.065 | 399297067.24 | 434380249.596 | 472118783.462
YTD Difference, percent | 1.405% | -4.838% | -5.72% | -5.04% | -3.724% | -2.696% | -3.139% | -2.167% | -2.013% | -1.603% | -1.777% | -2.233%
2023 Energy, MWh | 32164146.5059 | 30227600.1454 | 31763108.3522 | 30697934.0022 | 36461576.7684 | 42649473.521 | 47428811.5611 | 50250256.9791 | 42978962.6478 | 35408445.3857 | 31379258.7324 | 33274437.7795 | 444684012.3806
Increase, MWh | 6020034.5 | 400855.1064 | 441962.054 | 2764757.8945 | 3511967.2584 | 1725340.2598 | -2872714.1181 | -967334.3923 | -1976418.2171 | 3819559.946 | 2381955.4619 | 1643291.5586 | 16893257.3122
Increase, percent | 18.72% | 1.326% | 1.391% | 9.006% | 9.632% | 4.045% | -6.057% | -1.925% | -4.599% | 10.79% | 7.591% | 4.939% | 3.799%
2023 YTD Energy, MWh | 32164146.5059 | 62391746.6513 | 94154855.0035 | 124852789.0057 | 161314365.7742 | 203963839.2951 | 251392650.8562 | 301642907.8353 | 344621870.4831 | 380030315.8688 | 411409574.6012 | 444684012.3806
Increase, MWh | 6020034.5 | 6420889.6065 | 6862851.6605 | 9627609.555 | 13139576.8134 | 14864917.0732 | 11992202.9551 | 11024868.5629 | 9048450.3457 | 12868010.2918 | 15249965.7536 | 16893257.3122
Increase, percent | 18.72% | 10.29% | 7.289% | 7.711% | 8.145% | 7.288% | 4.77% | 3.655% | 2.626% | 3.386% | 3.707% | 3.799%
Net System Load Factors based on Hourly Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
Demand Factors 2024 | 65.51% | 78.78% | 78.37% | 72.61% | 69.65% | 77.33% | 73.89% | 77.71% | 73.19% | 72.68% | 77.82% | 77.9% | 61.64%
Demand Factors 2023 | 65.87% | 70.83% | 80.52% | 69.9% | 71.9% | 73.29% | 76.84% | 78.99% | 70.67% | 66.81% | 76.98% | 78.5% | 59.37%
Net System Load Factors based on 15-Minute Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
Demand Factors 2024 | 65.35% | 78.17% | 78.21% | 72.31% | 69.6% | 77.28% | 73.77% | 77.6% | 73.12% | 72.56% | 77.64% | 77.59% | 61.56%
* Information for this month has been updated based on final settlements.

## Load Zones
Demand and Energy by Load Settlement Zone for 2024
Based on 15-minute Intervals
Net Zone Demand Coincident with ERCOT System Peak, MW
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
LZ_AEN | 2689.4154 | 1720.4038 | 1897.9158 | 2078.0489 | 2739.4172 | 2601.305 | 2755.6895 | 3005.8806 | 2716.8593 | 2395.5746 | 2019.356 | 1819.3711
LZ_CPS | 5418.485 | 3271.0524 | 3576.0729 | 4128.9666 | 5332.804 | 4960.792 | 5043.143 | 5574.6201 | 5100.2243 | 4507.2612 | 4008.8113 | 3599.823
LZ_HOUSTON | 16122.6392 | 12277.9505 | 14847.0644 | 16776.3906 | 20167.6045 | 20013.3957 | 21522.8099 | 21970.0821 | 20370.3003 | 18439.739 | 16201.4191 | 13077.9391
LZ_LCRA | 4159.8689 | 2427.8156 | 2011.9754 | 2315.781 | 3213.3483 | 3170.0681 | 3302.6707 | 3686.9868 | 3163.5393 | 2840.8205 | 2257.9687 | 2673.5075
LZ_NORTH | 29269.5849 | 19604.879 | 16041.2547 | 19538.0831 | 24504.4585 | 27267.7688 | 27983.7502 | 29589.5296 | 26880.1988 | 23864.9081 | 17214.0689 | 20326.1717
LZ_RAYBN | 1726.284 | 966.3183 | 550.8255 | 752.8072 | 1106.7617 | 1339.5405 | 1307.5089 | 1338.3178 | 1216.3094 | 1035.8308 | 661.2612 | 1020.4031
LZ_SOUTH | 11364.7556 | 7134.1771 | 8297.8618 | 9241.4178 | 10527.3882 | 10026.1673 | 9837.7765 | 10589.1091 | 9344.0774 | 9487.8519 | 8957.6944 | 7956.1031
LZ_WEST | 7780.8804 | 8892.4259 | 8198.724 | 9444.5909 | 9608.0269 | 10370.8111 | 9431.0434 | 9602.954 | 9087.315 | 10095.3923 | 8991.0249 | 10010.7267
Net Zone Non-Coincident Peak Demand, MW
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
LZ_AEN | 2701.5002 | 1740.7241 | 1902.3367 | 2207.3493 | 2741.4078 | 2838.3221 | 2775.1212 | 3126.7718 | 2749.2325 | 2442.243 | 2063.4931 | 1825.3218
Date and Time | 16 @ 08:15 | 26 @ 16:30 | 5 @ 17:30 | 29 @ 17:45 | 27 @ 17:00 | 27 @ 18:00 | 1 @ 18:00 | 21 @ 16:00 | 19 @ 16:00 | 1 @ 17:30 | 4 @ 18:00 | 11 @ 07:45
LZ_CPS | 5418.485 | 3377.0913 | 3607.0059 | 4283.5108 | 5340.5839 | 5679.6953 | 5288.6297 | 5959.1768 | 5154.4568 | 4722.4141 | 4149.3285 | 3668.7681
Date and Time | 16 @ 07:45 | 19 @ 07:30 | 5 @ 17:30 | 29 @ 18:00 | 27 @ 17:00 | 4 @ 18:00 | 2 @ 18:30 | 22 @ 17:00 | 19 @ 16:00 | 14 @ 17:30 | 4 @ 16:30 | 12 @ 07:30
LZ_HOUSTON | 16668.2318 | 14316.8405 | 15066.3342 | 16776.3906 | 20250.0897 | 20790.7085 | 21522.8099 | 22430.6541 | 20524.1032 | 19462.8568 | 17469.616 | 14134.4804
Date and Time | 15 @ 18:15 | 27 @ 15:00 | 5 @ 15:30 | 30 @ 17:00 | 27 @ 17:30 | 25 @ 15:30 | 1 @ 17:00 | 21 @ 16:00 | 19 @ 16:00 | 14 @ 16:30 | 7 @ 15:00 | 16 @ 15:45
LZ_LCRA | 4161.7524 | 2519.771 | 2041.5344 | 2485.7729 | 3217.133 | 3385.2233 | 3328.7481 | 3835.8206 | 3297.4894 | 2908.518 | 2346.2074 | 2673.5075
Date and Time | 16 @ 08:00 | 18 @ 07:45 | 5 @ 17:30 | 29 @ 17:45 | 27 @ 16:30 | 27 @ 18:00 | 1 @ 18:00 | 21 @ 17:30 | 19 @ 17:30 | 13 @ 17:00 | 4 @ 16:30 | 11 @ 07:30
LZ_NORTH | 29308.5666 | 19604.879 | 16741.9434 | 19602.9952 | 24515.1996 | 27746.5173 | 28161.7673 | 30080.0344 | 26942.7699 | 23864.9081 | 17688.3965 | 20326.1717
Date and Time | 16 @ 08:00 | 13 @ 07:15 | 1 @ 07:15 | 30 @ 17:45 | 27 @ 16:00 | 28 @ 16:30 | 16 @ 16:45 | 19 @ 17:30 | 20 @ 16:30 | 3 @ 16:45 | 4 @ 13:00 | 11 @ 07:30
LZ_RAYBN | 1726.284 | 1028.5384 | 793.7533 | 782.9807 | 1109.0631 | 1339.5405 | 1329.8955 | 1485.1425 | 1248.8414 | 1049.6132 | 815.1854 | 1030.4446
Date and Time | 16 @ 07:45 | 18 @ 07:45 | 19 @ 07:15 | 30 @ 18:15 | 26 @ 18:00 | 30 @ 17:45 | 4 @ 17:30 | 18 @ 18:15 | 20 @ 17:30 | 3 @ 17:30 | 29 @ 07:45 | 11 @ 07:15
LZ_SOUTH | 11737.4554 | 7965.5887 | 8361.1146 | 9406.7961 | 10755.8207 | 10755.1477 | 10792.2473 | 11255.2661 | 10022.5489 | 9643.0431 | 9014.1904 | 8206.7633
Date and Time | 16 @ 06:30 | 19 @ 07:15 | 13 @ 17:30 | 29 @ 17:00 | 25 @ 17:00 | 4 @ 15:45 | 5 @ 17:00 | 22 @ 14:45 | 25 @ 16:45 | 8 @ 16:45 | 4 @ 14:45 | 12 @ 07:30
LZ_WEST | 9245.6957 | 9068.715 | 8816.2845 | 9549.5248 | 9912.3424 | 10384.9696 | 10608.7278 | 10832.7796 | 10186.719 | 10481.0839 | 9665.4253 | 10115.8983
Date and Time | 19 @ 21:15 | 12 @ 07:30 | 29 @ 15:00 | 30 @ 16:30 | 20 @ 16:30 | 23 @ 15:30 | 31 @ 14:30 | 23 @ 13:45 | 26 @ 17:45 | 12 @ 17:15 | 29 @ 07:30 | 10 @ 19:00
Net Energy for Load, MWh
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
LZ_AEN | 1179233.9168 | 947345.7795 | 1015636.7411 | 1081261.2024 | 1335429.6089 | 1478144.3718 | 1496350.9825 | 1631996.6199 | 1386318.7184 | 1277055.0477 | 1032762.328 | 1029345.8972
LZ_CPS | 2159326.3216 | 1669456.8159 | 1775196.9194 | 1936067.8579 | 2519735.3771 | 2798490.427 | 2761881.0252 | 3071849.2331 | 2558790.3623 | 2323855.7783 | 1850639.4472 | 1849503.3409
LZ_HOUSTON | 8602664.202 | 7433225.331 | 8003772.4377 | 8472813.2414 | 10542466.2002 | 11675670.4075 | 10540000.2696 | 12593066.9522 | 10740299.4845 | 10231844.3805 | 8714605.2813 | 8360893.5935
LZ_LCRA | 1496010.3484 | 1034035.4335 | 1036481.1952 | 1096145.4905 | 1381444.0059 | 1600358.9208 | 1610892.4442 | 1808081.1928 | 1484557.1802 | 1378087.7948 | 1126025.8748 | 1184598.2737
LZ_NORTH | 12887504.0218 | 9358943.584 | 9344405.5657 | 9649566.946 | 11582750.2257 | 13684691.4779 | 14683598.8389 | 16048262.527 | 12388317.5433 | 11562830.8323 | 9618007.8708 | 10477567.6082
LZ_RAYBN | 611718.9398 | 361539.4641 | 340985.4391 | 343122.6083 | 440409.5018 | 554967.7461 | 604951.7445 | 675685.9851 | 486778.712 | 440202.2891 | 374274.1753 | 451285.3884
LZ_SOUTH | 5030797.5332 | 4135028.1058 | 4654614.0816 | 4931160.9763 | 5827087.2377 | 5958070.7333 | 5946291.691 | 6356339.794 | 5499858.7182 | 5282893.9191 | 4688756.5081 | 4591175.1533
LZ_WEST | 6216925.7223 | 5688880.7379 | 6033978.0264 | 5952553.574 | 6344221.8696 | 6624419.6964 | 6912130.4472 | 7097640.2828 | 6457623.7118 | 6731235.2901 | 6356142.7088 | 6973360.0829
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Weather Zones
Demand and Energy by Weather Zone for 2024
Based on 15-minute Intervals
Net Zone Demand Coincident with ERCOT System Peak, MW
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
COAST | 17386.0345 | 13103.1142 | 15785.1109 | 17701.1861 | 21312.7934 | 21121.4237 | 22616.2175 | 23072.9029 | 21391.9735 | 19479.2074 | 17177.8542 | 13991.1882
EAST | 3381.0406 | 2335.0696 | 1858.8947 | 2287.4113 | 2663.5434 | 2808.853 | 2721.8681 | 2985.3624 | 2747.1788 | 2563.2094 | 2006.4294 | 2392.878
FWEST | 5013.7492 | 6460.7198 | 6307.2059 | 6857.3216 | 6762.2669 | 7141.6825 | 6392.0587 | 6501.5397 | 6332.483 | 7277.6048 | 6926.5866 | 7306.0056
NCENT | 27159.2877 | 17933.1695 | 14523.4809 | 17705.4632 | 22614.5478 | 25343.7193 | 26089.7581 | 27509.8672 | 24883.9275 | 21931.9677 | 15566.5322 | 18608.1849
NORTH | 1987.7638 | 1673.4192 | 1238.2346 | 1744.0138 | 1803.9325 | 2246.5404 | 2143.2732 | 2089.7516 | 1908.8474 | 2051.8295 | 1504.9351 | 1944.2444
SCENT | 14660.9979 | 9488.012 | 9429.4907 | 10653.7199 | 13688.044 | 13355.0674 | 13177.319 | 14528.1654 | 12995.5423 | 12037.1165 | 10304.2736 | 10089.0963
SOUTH | 6746.5122 | 3684.4002 | 5050.1367 | 5699.0116 | 6303.7558 | 5649.2696 | 5992.9286 | 6497.1557 | 5675.0824 | 5602.6776 | 5507.4023 | 4424.7416
WEST | 2196.5278 | 1617.1181 | 1229.1402 | 1627.9585 | 2050.9256 | 2083.2924 | 2050.969 | 2172.7351 | 1943.7889 | 1723.7654 | 1317.5913 | 1727.7062
Net Zone Non-Coincident Peak Demand, MW
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
COAST | 17907.739 | 15125.6909 | 16000.832 | 17701.1861 | 21390.2009 | 21862.8617 | 22616.2175 | 23595.0587 | 21481.2267 | 20529.9409 | 18472.9018 | 14982.3079
Date and Time | 15 @ 18:15 | 27 @ 15:00 | 5 @ 15:30 | 30 @ 17:00 | 27 @ 17:30 | 25 @ 15:30 | 1 @ 17:00 | 21 @ 16:00 | 19 @ 16:00 | 14 @ 16:30 | 7 @ 15:00 | 16 @ 15:45
EAST | 3400.2666 | 2420.0626 | 1941.4459 | 2287.4113 | 2669.2225 | 2911.7493 | 3000.8457 | 3036.2828 | 2747.1788 | 2589.7351 | 2052.7773 | 2392.878
Date and Time | 16 @ 08:30 | 19 @ 07:00 | 19 @ 08:00 | 30 @ 17:00 | 27 @ 17:15 | 30 @ 17:15 | 2 @ 14:45 | 13 @ 15:30 | 20 @ 16:00 | 2 @ 17:00 | 4 @ 18:15 | 11 @ 07:30
FWEST | 6653.1846 | 6637.3811 | 6841.1836 | 6995.9801 | 7148.1979 | 7290.8948 | 7421.5228 | 7621.9327 | 7477.0424 | 7679.0055 | 7398.9605 | 7646.7604
Date and Time | 19 @ 21:15 | 12 @ 07:45 | 29 @ 15:15 | 18 @ 17:00 | 31 @ 16:45 | 22 @ 18:15 | 26 @ 16:45 | 24 @ 14:00 | 27 @ 14:45 | 12 @ 17:15 | 23 @ 14:30 | 30 @ 14:45
NCENT | 27188.4186 | 17933.1695 | 15327.9353 | 17822.6028 | 22648.7005 | 25779.4699 | 26157.8855 | 28030.1113 | 24961.6914 | 21949.9394 | 16029.9847 | 18608.1849
Date and Time | 16 @ 08:00 | 13 @ 07:15 | 1 @ 07:15 | 29 @ 17:45 | 27 @ 16:00 | 28 @ 17:00 | 15 @ 17:45 | 19 @ 17:30 | 20 @ 16:45 | 3 @ 17:00 | 4 @ 13:00 | 11 @ 07:30
NORTH | 2109.1971 | 1673.4192 | 1548.8686 | 1744.0138 | 1947.9151 | 2256.2921 | 2352.0472 | 2361.2434 | 2086.1499 | 2090.1103 | 1650.2586 | 1944.2444
Date and Time | 14 @ 20:00 | 13 @ 07:15 | 26 @ 08:30 | 30 @ 17:00 | 20 @ 19:15 | 29 @ 17:30 | 15 @ 16:45 | 8 @ 13:15 | 21 @ 14:45 | 4 @ 17:00 | 29 @ 07:30 | 11 @ 07:30
SCENT | 14785.3701 | 9598.0108 | 9495.1143 | 11217.369 | 13693.8102 | 14240.1019 | 13863.1548 | 15269.5349 | 13261.8639 | 12288.627 | 10634.894 | 10171.1501
Date and Time | 16 @ 06:30 | 19 @ 07:30 | 5 @ 17:30 | 29 @ 17:45 | 27 @ 17:00 | 4 @ 18:00 | 1 @ 18:30 | 22 @ 18:30 | 20 @ 18:15 | 1 @ 17:15 | 4 @ 18:15 | 12 @ 07:30
SOUTH | 6996.8029 | 4693.6185 | 5172.1026 | 5771.7766 | 6569.8636 | 6477.9944 | 6339.1232 | 6883.1401 | 6257.6268 | 5917.0984 | 5550.9349 | 4674.1058
Date and Time | 16 @ 08:45 | 27 @ 17:00 | 13 @ 16:45 | 29 @ 17:00 | 9 @ 16:45 | 4 @ 15:45 | 5 @ 17:15 | 22 @ 16:00 | 25 @ 16:45 | 8 @ 16:45 | 4 @ 14:45 | 30 @ 16:45
WEST | 2205.734 | 1691.1926 | 1529.6911 | 1628.6163 | 2050.9256 | 2164.8386 | 2148.0926 | 2268.7735 | 1945.9207 | 1761.031 | 1393.4565 | 1727.7062
Date and Time | 16 @ 07:30 | 18 @ 07:30 | 1 @ 07:15 | 30 @ 16:45 | 27 @ 16:45 | 26 @ 17:45 | 3 @ 16:45 | 22 @ 16:30 | 20 @ 15:45 | 13 @ 17:15 | 29 @ 07:45 | 11 @ 07:30
Net Zone Energy, MWh
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
COAST | 9191398.6413 | 7911573.4362 | 8515769.6132 | 8989447.6149 | 11134016.9923 | 12310303.1799 | 11179688.3009 | 13306250.0139 | 11355088.7808 | 10830885.4221 | 9311422.9598 | 8933618.7224
EAST | 1452022.9989 | 1050610.4314 | 1052632.0758 | 1071374.3546 | 1271024.8388 | 1426409.2605 | 1479132.6551 | 1627645.9196 | 1301658.8251 | 1252485.0404 | 1079843.8749 | 1155378.9733
FWEST | 4609925.4894 | 4357426.829 | 4638528.9562 | 4547852.0098 | 4763436.6609 | 4817182.9998 | 5036798.6636 | 5120321.9625 | 4829673.638 | 5120514.9922 | 4940851.5909 | 5355839.4452
NCENT | 11842270.7788 | 8515703.6222 | 8482214.8274 | 8769515.565 | 10567400.7021 | 12596318.4772 | 13564322.762 | 14825216.462 | 11367994.8902 | 10556438.0285 | 8745172.7304 | 9581074.4076
NORTH | 1099325.5135 | 878438.202 | 900835.5403 | 926510.7069 | 1047500.4493 | 1205092.6091 | 1291276.1154 | 1376856.3983 | 1121206.2045 | 1122948.0404 | 985122.4608 | 1173316.6203
SCENT | 6244149.4246 | 4815195.0422 | 5074868.5098 | 5411196.5514 | 6651341.5801 | 7337204.1763 | 7351012.7041 | 7996793.4677 | 6745904.3112 | 6267506.9601 | 5138649.0687 | 5239549.8056
SOUTH | 2694465.7755 | 2275683.9031 | 2683047.0814 | 2889275.8373 | 3528739.1126 | 3524903.6875 | 3488215.6885 | 3787402.429 | 3282760.8439 | 3131350.3659 | 2744988.9633 | 2602744.734
WEST | 1050622.384 | 823823.7858 | 857173.8022 | 857519.2568 | 1010083.6909 | 1157399.3904 | 1165650.5534 | 1242435.9338 | 998256.937 | 945876.4821 | 815162.5454 | 876206.6296
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Energy by Fuel Type
Energy by Fuel Type for 2024
Energy by Fuel Type, MWh
Fuel Types | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | YTD/Annual
Biomass | 43662.823 | 12376.1551 | 6170.5818 | 7580.4067 | 33390.1946 | 53038.5045 | 29569.019 | 35825.257 | 8653.0662 | 19130.8133 | 10368.4999 | 31176.119 | 290941.4401
Coal | 6134127.0575 | 3168470.5531 | 2917088.9525 | 3488469.7646 | 4292259.7127 | 4873524.5051 | 6000458.5877 | 6402666.2116 | 6012208.6286 | 5104944.4559 | 4480166.9395 | 5442504.4195 | 58316889.7882
Gas | 2609104.1083 | 863574.1783 | 2426796.1095 | 2589895.5676 | 3981376.9462 | 4431459.0886 | 4121076.0055 | 6164305.6182 | 3673805.3909 | 3533105.2522 | 3206478.5961 | 2220509.5565 | 39821486.418
Gas-CC | 15199244.8066 | 9478638.3481 | 10249195.194 | 9630689.5712 | 14491935.95 | 16343117.3578 | 17750301.3959 | 19669088.8562 | 16881187.0285 | 13780546.9872 | 9921872.6579 | 11172242.4871 | 164568060.6405
Hydro | 17317.9755 | 44332.1143 | 29631.9824 | 27107.533 | 89587.5815 | 93842.6259 | 34811.0567 | 29170.1162 | 20543.5307 | 17469.6281 | 29020.2995 | 27750.5289 | 460584.9727
Net DC/BLT | -62533.5927 | -46220.703 | 21783.2488 | -55103.0031 | -23880.91 | 44130.903 | -56711.9683 | 29097.7571 | 31461.0442 | -41471.9985 | 36051.533 | 26933.6802 | -96464.0093
Nuclear | 3452103.6863 | 3504777.8136 | 3067326.7825 | 2673363.1701 | 2907580.3268 | 3516970.53 | 3417260.3738 | 3613782.2873 | 3568046.7281 | 2521372.8732 | 2703249.493 | 3786718.1447 | 38732552.2092
Other | 103006.4459 | 118745.3755 | 126590.4388 | 139997.5965 | 152076.7425 | 159812.9812 | 178856.5904 | 234841.9452 | 210814.9861 | 278247.432 | 294542.5837 | 333040.3259 | 2330573.4435
Solar | 2263170.1418 | 2678716.9362 | 3303282.7299 | 3509228.5109 | 4130343.0552 | 5029654.2485 | 5176718.899 | 5827014.9289 | 4885846.3943 | 4873743.0381 | 3518865.9051 | 3025619.0104 | 48222203.7984
WSL | -124648.0097 | -138501.4372 | -157825.8849 | -172348.3684 | -185378.0685 | -193127.055 | -219495.3445 | -268743.9406 | -259537.2255 | -337767.3552 | -349964.6612 | -406558.7609 | -2813896.1116
Wind | 8549625.5634 | 10943545.9178 | 10215030.2709 | 11623811.1477 | 10104252.4959 | 10022390.0913 | 8123252.8278 | 7545873.5498 | 5969514.8586 | 9478684.2055 | 9910562.3477 | 9257793.8267 | 111744337.1031
Total | 38184181.006 | 30628455.2518 | 32205070.4062 | 33462691.8967 | 39973544.0269 | 44374813.7807 | 44556097.443 | 49282922.5869 | 41002544.4307 | 39228005.3317 | 33761214.1942 | 34917729.338 | 461577269.6928
Energy by Fuel Type, Percent
Fuel Types | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | YTD/Annual
Biomass | 0.1143% | 0.0404% | 0.0192% | 0.0227% | 0.0835% | 0.1195% | 0.0664% | 0.0727% | 0.0211% | 0.0488% | 0.0307% | 0.0893% | 0.063%
Coal | 16.06% | 10.34% | 9.058% | 10.42% | 10.74% | 10.98% | 13.47% | 12.99% | 14.66% | 13.01% | 13.27% | 15.59% | 12.63%
Gas | 6.833% | 2.82% | 7.535% | 7.74% | 9.96% | 9.986% | 9.249% | 12.51% | 8.96% | 9.007% | 9.498% | 6.359% | 8.627%
Gas-CC | 39.81% | 30.95% | 31.82% | 28.78% | 36.25% | 36.83% | 39.84% | 39.91% | 41.17% | 35.13% | 29.39% | 32% | 35.65%
Hydro | 0.0454% | 0.1447% | 0.092% | 0.081% | 0.2241% | 0.2115% | 0.0781% | 0.0592% | 0.0501% | 0.0445% | 0.086% | 0.0795% | 0.0998%
Net DC/BLT | -0.1638% | -0.1509% | 0.0676% | -0.1647% | -0.0597% | 0.0995% | -0.1273% | 0.059% | 0.0767% | -0.1057% | 0.1068% | 0.0771% | -0.0209%
Nuclear | 9.041% | 11.44% | 9.524% | 7.989% | 7.274% | 7.926% | 7.67% | 7.333% | 8.702% | 6.428% | 8.007% | 10.84% | 8.391%
Other | 0.2698% | 0.3877% | 0.3931% | 0.4184% | 0.3804% | 0.3601% | 0.4014% | 0.4765% | 0.5142% | 0.7093% | 0.8724% | 0.9538% | 0.5049%
Solar | 5.927% | 8.746% | 10.26% | 10.49% | 10.33% | 11.33% | 11.62% | 11.82% | 11.92% | 12.42% | 10.42% | 8.665% | 10.45%
WSL | -0.3264% | -0.4522% | -0.4901% | -0.515% | -0.4638% | -0.4352% | -0.4926% | -0.5453% | -0.633% | -0.861% | -1.037% | -1.164% | -0.6096%
Wind | 22.39% | 35.73% | 31.72% | 34.74% | 25.28% | 22.59% | 18.23% | 15.31% | 14.56% | 24.16% | 29.35% | 26.51% | 24.21%
Total | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
* Information for this month has been updated based on final settlements.
Companies are not required to notify ERCOT when their dual fuel units are using secondary fuel. Therefore, values shown here are calculated based on primary fuel type and may not exactly reflect the fuels being used by dual
fuel units. Dual fuel units are included in the category of their primary fuel.
A positive value in the 'Net DC/BLT' row indicates import of power, negative indicates export.
Other includes petroleum coke, distillate fuel oil, and any other or unknown fuel.

## Energy by Fuel Chart
Fuel Types | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
Biomass | 43.6628 | 12.3762 | 6.1706 | 7.5804 | 33.3902 | 53.0385 | 29.569 | 35.8253 | 8.6531 | 19.1308 | 10.3685 | 31.1761
Coal | 6134.1271 | 3168.4706 | 2917.089 | 3488.4698 | 4292.2597 | 4873.5245 | 6000.4586 | 6402.6662 | 6012.2086 | 5104.9445 | 4480.1669 | 5442.5044
Gas | 2609.1041 | 863.5742 | 2426.7961 | 2589.8956 | 3981.3769 | 4431.4591 | 4121.076 | 6164.3056 | 3673.8054 | 3533.1053 | 3206.4786 | 2220.5096
Gas-CC | 15199.2448 | 9478.6383 | 10249.1952 | 9630.6896 | 14491.9359 | 16343.1174 | 17750.3014 | 19669.0889 | 16881.187 | 13780.547 | 9921.8727 | 11172.2425
Hydro | 17.318 | 44.3321 | 29.632 | 27.1075 | 89.5876 | 93.8426 | 34.8111 | 29.1701 | 20.5435 | 17.4696 | 29.0203 | 27.7505
Net DC/BLT | -62.5336 | -46.2207 | 21.7832 | -55.103 | -23.8809 | 44.1309 | -56.712 | 29.0978 | 31.461 | -41.472 | 36.0515 | 26.9337
Nuclear | 3452.1037 | 3504.7778 | 3067.3268 | 2673.3632 | 2907.5803 | 3516.9705 | 3417.2604 | 3613.7823 | 3568.0467 | 2521.3729 | 2703.2495 | 3786.7181
Other | 103.0064 | 118.7454 | 126.5904 | 139.9976 | 152.0767 | 159.813 | 178.8566 | 234.8419 | 210.815 | 278.2474 | 294.5426 | 333.0403
Solar | 2263.1701 | 2678.7169 | 3303.2827 | 3509.2285 | 4130.3431 | 5029.6542 | 5176.7189 | 5827.0149 | 4885.8464 | 4873.743 | 3518.8659 | 3025.619
WSL | -124.648 | -138.5014 | -157.8259 | -172.3484 | -185.3781 | -193.1271 | -219.4953 | -268.7439 | -259.5372 | -337.7674 | -349.9647 | -406.5588
Wind | 8549.6256 | 10943.5459 | 10215.0303 | 11623.8111 | 10104.2525 | 10022.3901 | 8123.2528 | 7545.8736 | 5969.5149 | 9478.6842 | 9910.5623 | 9257.7938
* Information for this month has been updated based on final settlements.
* Chart excludes Wholesale Storage Load and Net DC/BLT because these resource categories can have negative values.

## data_Energy by Fuel Chart_1 (hidden)
| Nuclear | Coal | Wind | Solar | Hydro | Biomass | Other | Gas-CC | Gas
Jan* | 3452 | 6134 | 8550 | 2263 | 17 | 44 | 103 | 15199 | 2609
Feb* | 3505 | 3168 | 10944 | 2679 | 44 | 12 | 119 | 9479 | 864
Mar* | 3067 | 2917 | 10215 | 3303 | 30 | 6 | 127 | 10249 | 2427
Apr* | 2673 | 3488 | 11624 | 3509 | 27 | 8 | 140 | 9631 | 2590
May* | 2908 | 4292 | 10104 | 4130 | 90 | 33 | 152 | 14492 | 3981
Jun* | 3517 | 4874 | 10022 | 5030 | 94 | 53 | 160 | 16343 | 4431
Jul* | 3417 | 6000 | 8123 | 5177 | 35 | 30 | 179 | 17750 | 4121
Aug* | 3614 | 6403 | 7546 | 5827 | 29 | 36 | 235 | 19669 | 6164
Sep* | 3568 | 6012 | 5970 | 4886 | 21 | 9 | 211 | 16881 | 3674
Oct* | 2521 | 5105 | 9479 | 4874 | 17 | 19 | 278 | 13781 | 3533
Nov* | 2703 | 4480 | 9911 | 3519 | 29 | 10 | 295 | 9922 | 3206
Dec* | 3787 | 5443 | 9258 | 3026 | 28 | 31 | 333 | 11172 | 2221

## Energy Comparisons
* Information for this month has been updated based on final settlements.
* Information for this month has been updated based on final settlements.

## data_Energy Comparisons_1 (hidden)
| 2023 Actual | 2024 Actual
Jan* | 32164 | 38184
Feb* | 30228 | 30628
Mar* | 31763 | 32205
Apr* | 30698 | 33463
May* | 36462 | 39974
Jun* | 42649 | 44375
Jul* | 47429 | 44556
Aug* | 50250 | 49283
Sep* | 42979 | 41003
Oct* | 35408 | 39228
Nov* | 31379 | 33761
Dec* | 33274 | 34918

## data_Energy Comparisons_2 (hidden)
| 2024 Forecast | 2024 Actual
Jan* | 37655 | 38184
Feb* | 34656 | 30628
Mar* | 34835 | 32205
Apr* | 34472 | 33463
May* | 39583 | 39974
Jun* | 43691 | 44375
Jul* | 47029 | 44556
Aug* | 47672 | 49283
Sep* | 41343 | 41003
Oct* | 38361 | 39228
Nov* | 35083 | 33761
Dec* | 37739 | 34918

## Demand Comparisons
* Information for this month has been updated based on final settlements.
Information is based on Hourly Intervals.
* Information for this month has been updated based on final settlements.
Information is based on Hourly Intervals.

## data_Demand Comparisons_1 (hidden)
| 2023 Actual | 2024 Actual
Jan* | 65632 | 78349
Feb* | 63508 | 55860
Mar* | 53094 | 55306
Apr* | 60995 | 64003
May* | 68159 | 77139
Jun* | 80826 | 79697
Jul* | 82964 | 81045
Aug* | 85508 | 85245
Sep* | 84470 | 77813
Oct* | 71234 | 72550
Nov* | 56535 | 60174
Dec* | 56976 | 60245

## data_Demand Comparisons_2 (hidden)
| 2024 Forecast | 2024 Actual
Jan* | 65914 | 78349
Feb* | 69258 | 55860
Mar* | 59517 | 55306
Apr* | 62729 | 64003
May* | 73200 | 77139
Jun* | 77570 | 79697
Jul* | 79306 | 81045
Aug* | 82239 | 85245
Sep* | 77046 | 77813
Oct* | 70993 | 72550
Nov* | 61355 | 60174
Dec* | 65429 | 60245