## Slide 1
FERC Order 901 Standards Prioritization Update
IBRWG Meeting
February 9, 2024

## Slide 2: FERC Order 901 Follow-up
  Issued October 19, 2023
  Directs NERC to submit a detailed standards development plan to address IBR reliability gaps in four areas
    Data sharing
    Model validation
    Planning and operational studies
    Performance requirements
  Informational filing due within 90 days (by January 17, 2024)
  New or modified standards to be submitted by November 2026

## Slide 3: NERC Order 901 Response Milestones
  Submission of Order No. 901 Work Plan (completed: January 2024)
  Development and Filing of Reliability Standards to Address Disturbance Monitoring Data Sharing, Performance Requirements, and Post-Event Performance Validation for Registered IBR (proposed completion: November 4, 2024)
  Development and Filing of Reliability Standards to Address Data Sharing and Model Validation for all IBR (proposed completion: November 4, 2025)
  Development and Filing of Reliability Standards to Address Planning and Operational Studies Requirements for all IBR (proposed completion: November 4, 2026)

## Slide 4: FERC Order 901 and Standards Prioritization
NERC made informational filing with Order 901 workplan on 1/17/2024
Link: NERC Compliance Filing Order No 901 Work Plan_packaged - public label.pdf
11 high priority projects after reprioritization
Anticipated SARs to address FERC Order 901
  Working with appropriate subcommittees
2024 Board adoption dates
  Feb 2024 – Cold Weather
  May 2024 – Internal Network, Security Monitoring and Virtualization
  Oct 2024 – IBR performance and disturbance monitoring
  Dec 2024 – Extreme Weather and any remaining high priority projects

## Slide 5: FERC Order 901 and Standards Prioritization
Completed by the End of 2024 | Completed by 2025 and Beyond | 
2020-02 Modifications to PRC-024 (generator ride-through) | 2021-03 Modifications to CIP-002 (TOCC) | 2021-07 Extreme Cold Weather
2021-04 Modifications to PRC-002 (data sharing) | 2016-02 Virtualization | 2023-07 TPL-001 Extreme Weather
2023-02 Performance of IBRs | 2023-03 Internal Network Security | 2022-03 Energy Assurance (Operations)
 | 2023-04 CIP-003 Low Impact Criteria | 
 | 2023-06 Physical Security | 

## Slide 6: FERC Order 901 and Standards Prioritization
13 medium and low priority projects
Will not post for formal comment/ballot in first half of 2024
  Only informal postings to solicit feedback
  Allow industry to focus on postings for high priority projects
Projects to be reevaluated following conclusion of high priority projects
Anticipated 2025 Board adoption dates and beyond

## Slide 7: FERC Order 901 and Standards Prioritization
Completed by 2025 and Beyond | Completed by 2025 and Beyond | 
2022-05 CIP-008 | 2020-06 Verification of Model and Data for Generators | 2021-01 Verification and data reporting for active and reactive power
 | 2023-01 EOP-004 IBR Event Reporting | 
2017-01 Modifications to BAL-003-1.1 | 2019-04 Modifications to PRC-005-6 | 2021-02 Modifications to VAR-002-4.1
2021-08 Modifications for FAC-008 | 2022-01 Reporting ACE Definition and Associated Terms | 2022-02 MOD-032, TPL-001 Footnote 13d
2022-04 EMT Models in NERC MOD, TPL, FAC Standards | 2023-05 FAC-001/FAC-002 DER | 2023-08 MOD-031 Demand and Energy