TAC ASSIGNMENTS - OPEN ACTION ITEMS

| TAC Assignment | Responsible | Notes | Assigned | Comments |
| --- | --- | --- | --- | --- |
| TAC Assignment: Remaining KTCs from Battery Energy Storage Task Force (BESTF): - KTC 15-3 Switchable Resources (ROS/WMS) - KTC 15-4 Provisions Associated with Delayed Outages (ROS/WMS) - KTC 15-6 RMR and MRA Services (ROS/WMS) | WMWG | WMS Leadership directed WMWG to take 3 KTCs on, work at ROS will drive discussion so await and that this is not priority issue | 04/28/2021 | Propose these issues be referred to RTC+B task force if still priorities |
| TAC Assignment: Review issues related to NPRR1105, Option to Deploy Distribution Voltage Reduction Measures Prior to Energy Emergency Alert (EEA) | WMWG | Related to TAC discussion and approval of NPRR1105, Option to Deploy Distribution Voltage Reduction Measures Prior to Energy Emergency Alert (EEA) WMS to review costs of deployment – pricing impacts, deployment mechanism and wholesale market impacts. ROS looking at reliability issues including deployment criteria and effectiveness | 11/29/2021 | Further discussion to determine options -need to follow up on WMS on ROS analysis Potential Report to WMS: No additional steps or issues previously discussed difficulty in accurately quantifying the voltage reduction, confirm with WMS closing out issue. |
| TAC Assignment: Review Department of Energy order regarding emissions limitations, fuel limitations, and increased RUC activity and potential mechanisms to address the issues CSAPR NOx Season Allowance | WMWG WMWG | Discussed at WMS/ROS CSAPR Workshop (Feb 6, 2023) – WMS/ROS seeking TAC guidance on next steps. WMS assigned to WMWG | 01/31/2022 04/05/2023 | On hold pending future court ruling on grant of stay |
| TAC Assignment: Review of RUC Compensation for gaps including Revision Requests | WMWG | WMWG assignment: - Guidance to look at RUC process differently in conservative operations - RUC cost recovery and moving make-whole uplift into price formation - How to improve the market to limit current reliance on RUC | 07/27/2022 | Discussed in context of 1179 RUC workshop in Aug, 2023. Potential Update: ERCOT provided comments on NPRR1179 reforms, which are with the board, confirm with WMS next steps |
| TAC Assignment: Capacity calculation for conservation appeal – installed capacity vs. seasonal max (7/13 ERCOT Conservation Appeal) | WMWG |  | 07/27/2022 | After listening back to this recording, this issue was actually assigned to SAWG. Question was why installed capacity was used rather than seasonal max capacity. Does not appear to have been discussed at SAWG |
| TAC Assignment: Review of efficiency of ERS program stemming from discussion of Self-deployment of ERS during July 13 Deployment Event | DSWG |  | 09/28/2022 |  |
| TAC Assignment: NPRR1177 - Holistic review of cost recovery issues and standard language for firm fuel supply contracts (assigned 5/23 and 6/5/23 TAC meetings) | RCWG |  | 06/07/2023 |  |

OPEN ACTION ITEMS:

| Open Action Items | Responsible | Notes | Assigned | Comments |
| --- | --- | --- | --- | --- |
| Review the total amount of Primary Frequency Response (PFR) that can come from Energy Storage Resources (ESRs). | WMWG/ PDCWG | April 6, 2023 Workshop to discuss findings from RRS-PFR Limits study | 11/04/2020 | Recommend item can be closed at this issue was discussed at workshop in April |
| Review increased transparency and policy awareness of Generic Transmission Constraints (GTCs) and curtailments | CMWG | NOGRR215 related – at OWG awaiting ERCOT comments | 01/05/2022 |  |
| PGRR103, Establish Time Limit for Generator Commissioning Following Approval to Synchronize | WMWG | Look at commercial solutions to the issues | 01/11/2023 | https://www.ercot.com/mktrules/issues/PGRR103#votingrecord TAC to recommend approval of PGRR103 as recommended by ROS in the 6/8/23 ROS Report |

PARKING LOT ITEMS:

(for awareness)

| Parking Lot Items | Responsible | Notes | Assigned | Comments |
| --- | --- | --- | --- | --- |
| Review increased transparency and policy awareness of Generic Transmission Constraints (GTCs) and curtailments | CMWG | Update: 2 Workshops on GTCs; NPRR994 and NOGRR215 related | 11/04/2020 02/05/2020 |  |
| Review concept of establishing a minimum threshold to post Total Wholesale Storage Load (WSL), utilization of Real-Time telemetry, and Resource disclosures | WMWG | Still Open Update Requested Following implementing grey-boxed language to post WSL to MIS (NPRR461) | 11/04/2020 09/04/2019 02/28/2018 | Significant growth in storage capacity may render this issue moot |
| Look at actual loss factors compared to calculated losses in modeling Phase 1 solution NPRR1145 – in consideration of 2022 UFE Report discussion at 5/4/22 WMS Phase 1 pertains to ERCOT wide losses. Phase 2 pertains to losses for NOIEs whose metering captures transmission losses. Phase 2 to remain on hold indefinitely. | WMWG | NPRR1145 for Phase 1 Submitted for 8/11/22 PRS Meeting-proceeding in Stakeholder process Phase 2 Still Open – tabled until RTC work is done Regarding 2018 UFE Analysis | 08/03/2022 05/4/2022 07/10/2019 | Can remain open but will need to be post RTC completion |
| Creating Smaller Load Zones for Aggregation | CMWG | Due to ERCOT Resource constraints and high priority items, IMM and ERCOT will develop analysis; Ivan presented to 12/6/22 RMS. RMS requested to revisit study at later time – no action taken. | 4/5/23 added to parking lot 01/11/2023 |  |
| Review following items: - Review converting one hour DAM settlements to 15 minute settlements - Review reducing Security-Constrained Economic Dispatch (SCED) run time from five minutes - Review adjusting the Real-Time Reliability Deployment Price Adder to address price suppression caused by early deployment of reserves as directed by the Public Utility Commission of Texas (PUCT) | WMWG | Relocated to Parking Lot pending outcome of market redesign discussions | 4/5/23 added to parking lot 11/03/2021 | May need to remain for time being given other current market redesign priorities including those in HB 1500 |