Date:			February 14, 2024

To:			Technical Advisory Committee (TAC) Representatives

From:			Diana Coleman, Protocol Revision Subcommittee (PRS) Chair

Subject: 		Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRR(s) recommended for approval by PRS: - NPRR1199, Implementation of Lone Star Infrastructure Protection Act (LSIPA) Requirements – URGENT [ERCOT] - NPRR1210, Next Start Resource Test and Load-Carrying Test Frequency [ERCOT] - NPRR1213, Allow DGRs and DESRs on Circuits Subject to Load Shed to Provide ECRS and Clarify Language Regarding DGRs and DESRs Providing Non-Spin [Enchanted Rock]

##### Background/History: Unless otherwise noted: (i) all Market Segments participated in each vote and (ii) for NPRRs, ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed the NPRR and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR1199, Implementation of Lone Star Infrastructure Protection Act (LSIPA) Requirements – URGENT Sponsor: ERCOT Proposed Effective Date: The first of the month following Public Utility Commission of Texas (PUCT) approval ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR revises the Protocols to reflect new requirements added to the Lone Star Infrastructure Protection Act (LSIPA) as part of Senate Bill (SB) 2013 during the 88th regular legislative session. PRS Decision: On 2/8/24, PRS voted to grant NPRR1199 Urgent status; to recommend approval of NPRR1199 as amended by the 2/7/24 LCRA comments as revised by PRS; and to forward to TAC NPRR1199 and the 9/6/23 Impact Analysis. There was one opposing vote from the Independent Power Marketer (IPM) (Tenaska) Market Segment and one abstention from the Independent Generator (Jupiter Power) Market Segment. CFSG Review: Pending - NPRR1210, Next Start Resource Test and Load-Carrying Test Frequency Sponsor: ERCOT Proposed Effective Date: The first of the month following PUCT approval ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR changes the frequency of the Next Start Resource Test and the Load-Carrying Test respectively from once every five years to once every four calendar years. PRS Decision: On 1/11/24, PRS voted unanimously to recommend approval of NPRR1210 as submitted. On 2/8/24, PRS voted unanimously to endorse and forward to TAC the 1/11/24 PRS Report and 11/15/23 Impact Analysis for NPRR1210. - NPRR1213, Allow DGRs and DESRs on Circuits Subject to Load Shed to Provide ECRS and Clarify Language Regarding DGRs and DESRs Providing Non-Spin Sponsor: Enchanted Rock Proposed Effective Date: Upon system implementation – Priority 2024; Rank 4050; and upon system implementation of NPRR1171, Requirements for DGRs and DESRs on Circuits Subject to Load Shedding ERCOT Impact Analysis: Between $350K and $450K; no impacts to ERCOT staffing; impacts to Market Operation Systems, Data Management & Analytic Systems, Energy Management Systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR amends requirements for Distribution Generation Resources (DGRs) and Distribution Energy Storage Resources (DESRs) that are seeking qualification to provide ERCOT Contingency Reserve Service (ECRS). This NPRR also modifies requirements for Ancillary Service self-arrangement and Ancillary Service Trades for DGRs and DESRs on circuits subject to Load shed that provide Non-Spinning Reserve (Non-Spin). PRS Decision: On 12/15/23, PRS voted unanimously to recommend approval of NPRR1213 as submitted. On 2/8/24, PRS voted unanimously to endorse and forward to TAC the 1/11/24 PRS Report as amended by the 2/7/24 ERCOT comments and 2/6/24 Impact Analysis for NPRR1213 with a recommended priority of 2024 and rank of 4050. Revision Requests Rejected None Revision Requests Withdrawn None Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at PRS - NPRR1197, Optional Exclusion of Load from Netting at ERCOT-Polled Settlement (EPS) Metering Facilities which Include Resources [Engie] - NPRR1205, Revisions to Credit Qualification Requirements of Banks and Insurance Companies [ERCOT] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR956, Designation of Providers of Transmission Additions [ERCOT] - NPRR1070, Planning Criteria for GTC Exit Solutions [EDF Renewables / Pattern Energy] - NPRR1162, Single Agent Designation for a QSE and its Sub-QSEs for Voice Communications over the ERCOT WAN [ERCOT] - NPRR1180, Inclusion of Forecasted Load in Planning Analyses [Oncor] - NPRR1188, Implement Nodal Dispatch and Energy Settlement for Controllable Load Resources [ERCOT] - NPRR1190, High Dispatch Limit Override Provision for Increased NOIE Load Costs [Joint Sponsors] - NPRR1191, Registration, Interconnection, and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater [ERCOT] - NPRR1198, Congestion Mitigation Using Topology Reconfigurations [EDF Renewables] - NPRR1200, Utilization of Calculated Values for Non-WSL for ESRs [NextEra Energy] - NPRR1202, Refundable Deposits for Large Load Interconnection Studies [Lancium] - NPRR1209, Board Priority – State Of Charge Ancillary Service Failed Quantity Allocations under NPRR1149 – URGENT [ERCOT] - NPRR1212, Clarification of Distribution Service Provider’s Obligation to Provide an ESI ID [ERCOT] - NPRR1214, Reliability Deployment Price Adder Fix to Provide Locational Price Signals, Reduce Uplift and Risk [Joint Sponsors] - NRRR1215, Clarifications to the Day-Ahead Market (DAM) Energy-Only Offer Calculation [ERCOT] - NPRR1216, Implementation of Emergency Pricing Program [ERCOT] - SCR826, ERCOT.com Enhancements [Residential Consumer] - SCR827, Grid Conditions Graph Addition for Operating Reserve Demand Curve (ORDC) Level [ACES] New Revision Requests Scheduled for Consideration at PRS None at this time. These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/issues/nprr https://www.ercot.com/mktrules/issues/scr