## Slide 1
Item 6: PRS Report
Diana Coleman
PRS Chair
Technical Advisory Committee (TAC) Meeting
ERCOT Public
February 4, 2024

## Slide 2: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed and No Impact (Vote):
NPRR1210, Next Start Resource Test and Load-Carrying Test Frequency [ERCOT]
Revision Requests Recommended for Approval by PRS – Unopposed with Impacts (Vote):
NPRR1213, Allow DGRs and DESRs on Circuits Subject to Load Shed to Provide ECRS and Clarify Language Regarding DGRs and DESRs Providing Non-Spin [Enchanted Rock]
  IA: Between $350K and $450K Priority 2024; Rank 4050
Revision Requests Recommended for Approval by PRS – With Opposing Votes (Vote):
NPRR1199, Implementation of Lone Star Infrastructure Protection Act (LSIPA) Requirements – URGENT [ERCOT]
  IA: No Impact Priority N/A; Rank N/A

## Slide 3: Appendix

## Slide 4: NPRR1199, Implementation of Lone Star Infrastructure Protection Act (LSIPA) Requirements – URGENT
Sponsor: ERCOT
Proposed Effective Date: The first of the month following Public Utility Commission of Texas (PUCT) approval
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR revises the Protocols to reflect new requirements added to the Lone Star Infrastructure Protection Act (LSIPA) as part of Senate Bill (SB) 2013 during the 88th regular legislative session.
PRS Decision: On 2/8/24, PRS voted to grant NPRR1199 Urgent status; to recommend approval of NPRR1199 as amended by the 2/7/24 LCRA comments as revised by PRS; and to forward to TAC NPRR1199 and the 9/6/23 Impact Analysis. There was one opposing vote from the Independent Power Marketer (IPM) (Tenaska) Market Segment and one abstention from the Independent Generator (Jupiter Power) Market Segment.
CFSG Review: Pending

## Slide 5: NPRR1210, Next Start Resource Test and Load-Carrying Test Frequency
Sponsor: ERCOT
Proposed Effective Date: The first of the month following PUCT approval
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR changes the frequency of the Next Start Resource Test and the Load-Carrying Test respectively from once every five years to once every four calendar years.
PRS Decision: On 1/11/24, PRS voted unanimously to recommend approval of NPRR1210 as submitted. On 2/8/24, PRS voted unanimously to endorse and forward to TAC the 1/11/24 PRS Report and 11/15/23 Impact Analysis for NPRR1210.

## Slide 6: NPRR1213, Allow DGRs and DESRs on Circuits Subject to Load Shed to Provide ECRS and Clarify Language Regarding DGRs and DESRs Providing Non-Spin
Sponsor: Enchanted Rock
Proposed Effective Date: Upon system implementation – Priority 2024; Rank 4050; and upon system implementation of NPRR1171, Requirements for DGRs and DESRs on Circuits Subject to Load Shedding
ERCOT Impact Analysis: Between $350K and $450K; no impacts to ERCOT staffing; impacts to Market Operation Systems, Data Management & Analytic Systems, Energy Management Systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR amends requirements for Distribution Generation Resources (DGRs) and Distribution Energy Storage Resources (DESRs) that are seeking qualification to provide ERCOT Contingency Reserve Service (ECRS). This NPRR also modifies requirements for Ancillary Service self-arrangement and Ancillary Service Trades for DGRs and DESRs on circuits subject to Load shed that provide Non-Spinning Reserve (Non-Spin).
PRS Decision: On 12/15/23, PRS voted unanimously to recommend approval of NPRR1213 as submitted. On 2/8/24, PRS voted unanimously to endorse and forward to TAC the 1/11/24 PRS Report as amended by the 2/7/24 ERCOT comments and 2/6/24 Impact Analysis for NPRR1213 with a recommended priority of 2024 and rank of 4050.

## Slide 7: 2024 Release Targets – Approved NPRRs / SCRs / xGRRs
Go-live dates can differ from Protocol effective dates – Please refer to market notices for more details
Release targets are subject to change
APPENDIX
Red Text: New additions and target release changes
Strike-Through Text: Previous target release
(a), (b), etc.: Multiple phase release
January 1/25 | February 2/22 | March 3/28 | April 4/25 | May 5/30 | June 6/27
NPRR1092(b) PGRR098(a) Public API Enhancements ESR Telemetry | NPRR1132(a) RRGRR032 NOGRR249(b) Public API Enhancements | NPRR1040 NPRR1186 NPRR1026(b) | NPRR1165 | NPRR1149 NPRR1121 NPRR1090 NPRR962 NPRR1196 SCR819 NPRR1111 Forecast Presentation Platform | NPRR1002 RRGRR023 SCR819 NPRR1111 NPRR1186
Project Status Codes
NS = Not Started
I = Initiation
P = Planning
E = Execution
H = On Hold
R1
R2
R3
R4
R5
R6
NPRR1026(b) – SLF – Reporting portion
NPRR1092(b) – Limit RUC Opt-Out Provision
NPRR1132(a) – Operating Limits in Cold and Hot Conditions – RIOO portion
NOGRR249(b) – MIS posting
PGRR098(a) – Section 4.1.1.8
E
E
E
E
E
E
E
E
ü
ü
ü
E
E
E
E
P
July 7/25 | August 8/22 | September 9/26 | October 10/24 | TX SET 5.0 11/10 | December 12/11-12/12
 | SCR813 |  |  | NPRR1095 SCR817 SCR823 RMGRR172 | NPRR1023
R7
R8
R9
R10
R11
E
E
E
E
E
E
2/1
3/1
P
P
P
E
1/1
2/16
4/1
E
Mid-June
To Mid-June
Various effective dates for these items

## Slide 8: Major Projects
Other Project Highlights