## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for January 2024

## Slide 2: Non-IRR GREDP < 85% – January 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 230 | 9 | 15 | 0.69 | 60.00
Unit 522 | 89 | 118 | 1.08 | 75.42

## Slide 3: IRR Summary – January 2024
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 82.45 | 70.81 | 78.24
GREDP Median (%) | 94.10 | 83.50 | 88.18
Average MW Error | 4.67 | 4.88 | 4.86
Median MW Error | 4.30 | 4.76 | 4.35
Total Intervals Scored | 104,259 | 53,497 | 51,764
100+ Intervals Scored | 180 | 177 | 110
Total Intervals Scored Average | 291.23 | 318.43 | 470.58

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – January 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 2,453 | 2,459 | 4.52 | 99.76
Unit 2 | 2,340 | 2,437 | 7.27 | 96.02
Unit 3 | 2,240 | 2,271 | 2.63 | 98.63
Unit 5 | 1,695 | 1,776 | 6.12 | 95.44
Unit 6 | 1,620 | 1,620 | 1.81 | 100.00
Unit 7 | 1,591 | 1,610 | 3.29 | 98.82
Unit 8 | 1,574 | 1,592 | 2.19 | 98.87
Unit 10 | 1,377 | 1,428 | 3.77 | 96.43
Unit 11 | 1,372 | 1,400 | 9.86 | 98.00
Unit 12 | 1,328 | 1,350 | 2.45 | 98.37
Unit 14 | 1,314 | 1,317 | 1.84 | 99.77
Unit 15 | 1,290 | 1,291 | 4.41 | 99.92
Unit 16 | 1,255 | 1,291 | 3.10 | 97.21
Unit 17 | 1,225 | 1,238 | 7.50 | 98.95
Unit 22 | 1,120 | 1,120 | 3.68 | 100.00
Unit 23 | 1,069 | 1,112 | 6.29 | 96.13
Unit 26 | 989 | 1,038 | 1.79 | 95.28
Unit 30 | 900 | 914 | 1.61 | 98.47

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – January 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 31 | 891 | 911 | 2.52 | 97.80
Unit 34 | 859 | 899 | 1.11 | 95.55
Unit 35 | 845 | 876 | 1.94 | 96.46
Unit 36 | 867 | 875 | 4.53 | 99.09
Unit 37 | 848 | 873 | 5.31 | 97.14
Unit 42 | 840 | 851 | 2.37 | 98.71
Unit 47 | 800 | 825 | 7.48 | 96.97
Unit 51 | 774 | 783 | 3.93 | 98.85
Unit 53 | 705 | 742 | 8.65 | 95.01
Unit 54 | 703 | 740 | 6.35 | 95.00
Unit 55 | 719 | 738 | 6.87 | 97.43
Unit 58 | 709 | 723 | 3.38 | 98.06
Unit 59 | 683 | 709 | 1.11 | 96.33
Unit 61 | 685 | 697 | 5.57 | 98.28
Unit 63 | 655 | 689 | 2.65 | 95.07
Unit 67 | 615 | 643 | 5.51 | 95.65
Unit 71 | 540 | 546 | 7.98 | 98.90
Unit 72 | 519 | 546 | 4.64 | 95.05

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – January 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 76 | 483 | 496 | 12.28 | 97.38
Unit 77 | 470 | 486 | 4.57 | 96.71
Unit 78 | 470 | 483 | 0.67 | 97.31
Unit 82 | 433 | 446 | 1.83 | 97.09
Unit 84 | 406 | 419 | 3.57 | 96.90
Unit 85 | 396 | 416 | 3.61 | 95.19
Unit 87 | 399 | 412 | 5.81 | 96.84
Unit 97 | 344 | 351 | 7.03 | 98.01
Unit 99 | 314 | 327 | 5.57 | 96.02
Unit 100 | 314 | 324 | 3.26 | 96.91
Unit 103 | 305 | 321 | 3.66 | 95.02
Unit 105 | 308 | 318 | 4.08 | 96.86
Unit 109 | 311 | 313 | 4.07 | 99.36
Unit 112 | 290 | 304 | 1.68 | 95.39
Unit 113 | 302 | 302 | 3.50 | 100.00
Unit 127 | 237 | 245 | 8.28 | 96.73
Unit 131 | 230 | 238 | 6.35 | 96.64
Unit 132 | 225 | 236 | 8.26 | 95.34

## Slide 7: IRR ≥ 95%, ≥ 100 Scored Intervals – January 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 135 | 222 | 231 | 8.18 | 96.10
Unit 136 | 229 | 230 | 1.22 | 99.57
Unit 142 | 191 | 198 | 1.21 | 96.46
Unit 144 | 184 | 191 | 4.84 | 96.34
Unit 145 | 187 | 187 | 3.23 | 100.00
Unit 146 | 175 | 180 | 2.90 | 97.22
Unit 147 | 168 | 174 | 2.77 | 96.55
Unit 150 | 146 | 153 | 5.06 | 95.42
Unit 153 | 148 | 151 | 6.33 | 98.01
Unit 155 | 144 | 151 | 5.51 | 95.36
Unit 156 | 146 | 148 | 5.89 | 98.65
Unit 159 | 139 | 142 | 3.37 | 97.89
Unit 167 | 123 | 129 | 1.66 | 95.35
Unit 169 | 124 | 128 | 8.93 | 96.88
Unit 170 | 124 | 127 | 1.61 | 97.64
Unit 173 | 119 | 120 | 4.43 | 99.17

## Slide 8: IRR < 95%, ≥ 100 Scored Intervals – January 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 4 | 1,254 | 1,781 | 9.24 | 70.41
Unit 9 | 1,378 | 1,452 | 2.37 | 94.90
Unit 13 | 1,195 | 1,344 | 1.83 | 88.91
Unit 18 | 1,112 | 1,190 | 5.10 | 93.45
Unit 19 | 1,067 | 1,152 | 1.68 | 92.62
Unit 20 | 1,026 | 1,136 | 5.17 | 90.32
Unit 21 | 1,007 | 1,125 | 3.58 | 89.51
Unit 24 | 766 | 1,061 | 9.14 | 72.20
Unit 25 | 884 | 1,041 | 5.93 | 84.92
Unit 27 | 741 | 1,008 | 4.25 | 73.51
Unit 28 | 593 | 985 | 8.96 | 60.20
Unit 29 | 771 | 923 | 7.42 | 83.53
Unit 32 | 575 | 901 | 4.21 | 63.82
Unit 33 | 846 | 899 | 3.70 | 94.10
Unit 38 | 643 | 865 | 5.49 | 74.34
Unit 39 | 814 | 865 | 5.22 | 94.10
Unit 40 | 651 | 861 | 5.01 | 75.61
Unit 41 | 792 | 852 | 6.08 | 92.96
Unit 43 | 700 | 846 | 4.02 | 82.74

## Slide 9: IRR < 95%, ≥ 100 Scored Intervals – January 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 44 | 445 | 841 | 6.11 | 52.91
Unit 45 | 786 | 829 | 5.65 | 94.81
Unit 46 | 766 | 825 | 5.50 | 92.85
Unit 48 | 693 | 801 | 3.17 | 86.52
Unit 49 | 700 | 794 | 8.47 | 88.16
Unit 50 | 186 | 784 | 3.20 | 23.72
Unit 52 | 552 | 775 | 4.16 | 71.23
Unit 56 | 616 | 738 | 3.21 | 83.47
Unit 57 | 634 | 731 | 5.24 | 86.73
Unit 60 | 635 | 699 | 7.77 | 90.84
Unit 62 | 588 | 692 | 5.44 | 84.97
Unit 64 | 643 | 677 | 2.51 | 94.98
Unit 65 | 107 | 658 | 6.51 | 16.26
Unit 66 | 617 | 655 | 5.59 | 94.20
Unit 68 | 507 | 638 | 0.90 | 79.47
Unit 69 | 564 | 614 | 4.77 | 91.86
Unit 70 | 535 | 569 | 4.74 | 94.02
Unit 73 | 472 | 514 | 6.31 | 91.83
Unit 74 | 479 | 511 | 6.91 | 93.74

## Slide 10: IRR < 95%, ≥ 100 Scored Intervals – January 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 75 | 174 | 508 | 2.98 | 34.25
Unit 79 | 123 | 483 | 1.94 | 25.47
Unit 80 | 175 | 477 | 10.97 | 36.69
Unit 81 | 411 | 459 | 9.78 | 89.54
Unit 83 | 341 | 430 | 5.36 | 79.30
Unit 86 | 393 | 416 | 1.72 | 94.47
Unit 88 | 369 | 410 | 6.02 | 90.00
Unit 89 | 367 | 390 | 1.82 | 94.10
Unit 90 | 333 | 381 | 3.51 | 87.40
Unit 91 | 339 | 377 | 5.39 | 89.92
Unit 92 | 332 | 373 | 3.12 | 89.01
Unit 93 | 345 | 370 | 3.86 | 93.24
Unit 94 | 335 | 366 | 1.76 | 91.53
Unit 95 | 290 | 355 | 5.90 | 81.69
Unit 96 | 333 | 352 | 1.35 | 94.60
Unit 98 | 310 | 345 | 5.62 | 89.86
Unit 101 | 303 | 322 | 6.40 | 94.10
Unit 102 | 284 | 322 | 2.93 | 88.20
Unit 104 | 302 | 319 | 6.06 | 94.67

## Slide 11: IRR < 95%, ≥ 100 Scored Intervals – January 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 106 | 298 | 315 | 3.53 | 94.60
Unit 107 | 243 | 314 | 13.74 | 77.39
Unit 108 | 127 | 314 | 6.38 | 40.45
Unit 110 | 280 | 307 | 4.31 | 91.21
Unit 111 | 290 | 306 | 3.21 | 94.77
Unit 114 | 260 | 289 | 1.88 | 89.97
Unit 115 | 253 | 287 | 2.38 | 88.15
Unit 116 | 271 | 287 | 3.35 | 94.43
Unit 117 | 269 | 287 | 14.39 | 93.73
Unit 118 | 266 | 285 | 7.35 | 93.33
Unit 119 | 248 | 270 | 3.73 | 91.85
Unit 120 | 80 | 267 | 8.28 | 29.96
Unit 121 | 241 | 263 | 3.81 | 91.63
Unit 122 | 243 | 259 | 3.04 | 93.82
Unit 123 | 50 | 252 | 5.71 | 19.84
Unit 124 | 230 | 248 | 2.98 | 92.74
Unit 125 | 221 | 247 | 1.88 | 89.47
Unit 126 | 171 | 245 | 5.88 | 69.80
Unit 128 | 208 | 243 | 2.48 | 85.60

## Slide 12: IRR < 95%, ≥ 100 Scored Intervals – January 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 129 | 219 | 241 | 3.85 | 90.87
Unit 130 | 213 | 239 | 3.94 | 89.12
Unit 133 | 208 | 233 | 1.22 | 89.27
Unit 134 | 200 | 231 | 4.96 | 86.58
Unit 137 | 190 | 224 | 7.43 | 84.82
Unit 138 | 126 | 223 | 6.53 | 56.50
Unit 139 | 148 | 220 | 8.25 | 67.27
Unit 140 | 197 | 219 | 2.34 | 89.95
Unit 141 | 41 | 207 | 5.86 | 19.81
Unit 143 | 151 | 193 | 8.66 | 78.24
Unit 148 | 151 | 162 | 4.39 | 93.21
Unit 149 | 149 | 160 | 3.76 | 93.13
Unit 151 | 138 | 153 | 5.38 | 90.20
Unit 152 | 101 | 152 | 3.24 | 66.45
Unit 154 | 80 | 151 | 3.17 | 52.98
Unit 157 | 80 | 147 | 2.77 | 54.42
Unit 158 | 134 | 145 | 5.58 | 92.41
Unit 160 | 107 | 140 | 9.67 | 76.43
Unit 161 | 82 | 140 | 1.30 | 58.57

## Slide 13: IRR < 95%, ≥ 100 Scored Intervals – January 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 162 | 132 | 139 | 3.02 | 94.96
Unit 163 | 73 | 139 | 0.95 | 52.52
Unit 164 | 94 | 136 | 2.43 | 69.12
Unit 165 | 111 | 136 | 5.70 | 81.62
Unit 166 | 115 | 134 | 9.16 | 85.82
Unit 168 | 82 | 129 | 7.32 | 63.57
Unit 171 | 99 | 125 | 3.05 | 79.20
Unit 172 | 114 | 121 | 5.37 | 94.21
Unit 174 | 66 | 117 | 4.22 | 56.41
Unit 175 | 102 | 116 | 5.86 | 87.93
Unit 176 | 99 | 110 | 2.64 | 90.00
Unit 177 | 3 | 103 | 3.90 | 2.91
Unit 178 | 76 | 103 | 3.46 | 73.79
Unit 179 | 96 | 102 | 3.25 | 94.12
Unit 180 | 5 | 102 | 2.31 | 4.90