## RUC CAP Short Calc
|  |  | Energy | RU | RD | FFR | UFR | PFR | ECRS | NSPIN
Time Dur. (hr) |  |  | 1 | 1 | 1 | 0.25 | 1 | 1 | 1 | 1
DF Time Dur. (hr) |  |  | 1 | 1 | 1 | 0.25 | 1 | 1 | 1 | 1
Dep. Factor (0 to 1) |  |  | NA | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | Energy +ve Pur -ve Sale (MW) | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW) |  | RTAML
QSE Position |  |  | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 |  | 0
| COP Status | [9 empty] | Offered AS MW (combination of Registed qualified MW amount, COP AS MW, and submitted AS MW offers) | [9 empty] | ASMWCAPABILITY: Eligible AS MW (combination of HSL-LSL, COP status, Registed qualified MW amount, COP AS MW, and submitted AS MW offers) | [9 empty] | Combined AS MW Capability: Eligible AS MW
| 1=ON/OFFQS -1=OFF (only for GR) 0=OUT | [7 empty] | HSL/MPC (MW) | LSL/MPC (MW) | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW) | COP status dependent HSL-LSL (MW) | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW) |  | FFR,UFR,ECRSM (MW) | FFR,UFR, ECRSM, NSPINM (MW)
NCLR:valid values 0 or 1
NCLR1 | 1 | [7 empty] | 40 | 10 | NA | NA | 0 | 0 | NA | 30 | NA | 30 | NA | 30 | 0 | 0 | 0 | 0 | 0 | 30 | 0 | 30 | 0 |  | 30 | 30
NCLR2 | 0 | [7 empty] | 50 | 0 | NA | NA | 50 | 0 | NA | 0 | NA | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
NCLR3 | 1 | [7 empty] | 100 | 0 | NA | NA | 0 | 100 | NA | 0 | NA | 0 | NA | 100 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 |  | 100 | 100
[8 empty] | agg | 140 | 10 | [19 empty] | NCLR ASOFRLRSNAP |  | 130
| CLR:valid values 0, or 1 | [29 empty] | RU,PFR (MW) | RU,PFR, ECRSS (MW) | RU,PFR, ECRSS, NSPINS (MW) | RU,PFR, ECRSS, NSPINS, RD (MW)
CLR1 | 1 | [7 empty] | 100 | 60 | 8 | 8 | NA | NA | 8 | NA | 40 | NA | 40 | 40 | 8 | 8 | 0 | 0 | 8 | 0 | 40 | 0 | 40 |  | 16 | 40 | 40 | 40
CLR2 | 1 | [7 empty] | 50 | 0 | 4 | 4 | NA | NA | 4 | NA | 50 | NA | 50 | 50 | 4 | 4 | 0 | 0 | 4 | 0 | 50 | 0 | 50 |  | 8 | 50 | 50 | 50
CLR3 | 0 | [7 empty] | 100 | 30 | 8 | 8 | NA | NA | 8 | NA | 70 | NA | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
[8 empty] | agg | 150 | 60 | [19 empty] | CLR ASOFRLRSNAP |  |  | 90
GR:valid values 0, -1 or 1
GR1 | 1 | [7 empty] | 100 | 30 | 14 | 14 | NA | NA | 14 | NA | 70 | NA | 70 | 70 | 14 | 14 | 0 | 0 | 14 | 0 | 70 | 0 | 70 |  | 28 | 70 | 70 | 70
GR2 | -1 | [7 empty] | 300 | 200 | 100 | 100 | NA | NA | 100 |  | 0 | NA | 0 | 300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
GR3 | 0 | [7 empty] | 120 | 40 | 16 | 16 | NA | NA | 16 | NA | 40 | NA | 120 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
[5 empty] | agg. Online HSL |  | 100 | agg | 400 | 30 | [17 empty] | ASOFFOFRSNAP | 0
| ESR:valid values 0, or 1 |  |  |  | MaxSOC (MWh) | MinSOC (MWh) | HBSOC (h) (MWh) | HBSOC (h+1) (MWh) | [22 empty] | RU,FFR (MW) | RU,FFR, PFR (MW) | RU,FFR, PFR, ECRSS (MW) | RU,FFR, PFR, ECRSS, NSPINS (MW) | RU,FFR, PFR, ECRSS, NSPINS, RD (MW)
ESR1 | 1 |  |  |  | 200 | 0 | 100 | 50 | 100 | -100 | 200 | 200 | 200 | NA | 200 | NA | 100 | NA | 50 | 200 | 200 | 200 | 200 | 0 | 200 | 0 | 100 | 0 | 50 |  | 200 | 200 | 200 | 200 | 200
ESR2 | 1 |  |  |  | 10 | 0 | 5 | 10 | 10 | -10 | 20 | 20 | 20 | NA | 20 | NA | 5 | NA | 2.5 | 20 | 20 | 20 | 20 | 0 | 20 | 0 | 5 | 0 | 2.5 |  | 20 | 20 | 20 | 20 | 20
ESR3 | 0 |  |  |  | 100 | 0 | 0 | 100 | 100 | -100 | 200 | 200 | 200 | NA | 200 | NA | 100 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
|  |  |  | agg | 210 | 0 | 105 | 60 | 110 | -110
QSE portfolio level Aggregated NCLR, CLR+GR,ESR
[12 empty] | ASMWCAPABILITY: Eligible AS MW (combination of HSL-LSL, COP status, Registed qualified MW amount, COP AS MW, and submitted AS MW offers) | [9 empty] | Combined AS MW Capability: Eligible AS MW
[9 empty] | HSL/MPC (MW) | LSL/MPC (MW) | HSL-LSL (MW) | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW) |  | FFR,UFR,ECRSM (MW) | FFR,UFR, ECRSM, NSPINM (MW)
Agg. NCLR | [8 empty] | 140 | 10 | 130 | 0 | 0 | 0 | 100 | 0 | 30 | 0 | 30 | 0 |  | 130 | 130
[22 empty] | RU,PFR (MW) | RU,PFR, ECRSS (MW) | RU,PFR, ECRSS, NSPINS (MW) | RU,PFR, ECRSS, NSPINS, RD (MW)
Agg. CLR + Agg. GR | [8 empty] | 550 | 90 | 460 | 26 | 26 | 0 | 0 | 26 | 0 | 160 | 0 | 160 |  | 52 | 160 | 160 | 160
[5 empty] | MaxSOC (MWh) | MinSOC (MWh) | HBSOC (h) (MWh) | HBSOC (h+1) (MWh) | [13 empty] | RU,FFR (MW) | RU,FFR, PFR (MW) | RU,FFR, PFR, ECRSS (MW) | RU,FFR, PFR, ECRSS, NSPINS (MW) | RU,FFR, PFR, ECRSS, NSPINS, RD (MW)
Agg.ESR |  |  |  |  | 210 | 0 | 105 | 60 | 110 | -110 | 220 | 220 | 220 | 220 | 0 | 220 | 0 | 105 | 0 | 52.5 |  | 220 | 220 | 220 | 220 | 220
[11 empty] | New |  |  | New |  | Modified |  | Modified
| Objective: Maximize QSE AS position coverage= |  |  |  | 0 | [5 empty] | ESRMWSNAP |  |  | ESRASSNAP |  | RCAPSNAP | ASOFRLRSNAP | RUCCAPSNAP |  | ASONPOSSNAP |  | RUCOSFSNAP |  | RUCASFSNAP |  | RUCSFSNAP
[11 empty] | -29 |  |  | 74 |  | 100 | 220 | 365 |  | 100 |  | 0 |  | 0 |  | 0
QSE Level Constraints>=0
|  | RU | RD | FFR | FFR+UFR | FFR+ UFR+ PFR | ECRSM | ECRSM+ ECRSS | NSPINM | NSPINM+ NSPINS
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Resource Level Constraints | [9 empty] | Optimization variables
| HSL-LSL - sum(ASMWCAPUSED) >=0 | ASMWCAPABILITY-ASMWCAPUSED>=0 | [8 empty] | ASMWCAPUSED
|  | RU | RD | FFR | UFR | PFR | ECRSM | ECRSS | NSPINM | NSPINS | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW)
Agg. NCLR | 130 | 0 | 0 | 0 | 100 | 0 | 30 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Agg. CLR+Agg.GR | 434 | 26 | 26 | 0 | 0 | 0 | 0 | 160 | 0 | 160 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 0 | 0
SOC Constraints
[20 empty] | MW | MinSOC >=0 | MaxSOC >=0 | Diff HBSOC =0 | HSL-MW>=0 | MW-LSL>=0
Agg. ESR | 146 | 220 | 220 | 220 | 0 | 146 | 0 | 105 | 0 | 52.5 | 0 | 0 | 0 | 0 | 74 | 0 | 0 | 0 | 0 | -29 | 60 | 76 | 0 | 139 | 81
Optimization option
Note: Aggregated Resources used so as to fit into EXCEL optimization variable/constraint limits

## Example 1
|  |  | Energy | RU | RD | FFR | UFR | PFR | ECRS | NSPIN
Time Dur. (hr) |  |  | 1 | 1 | 1 | 0.25 | 1 | 1 | 1 | 1
DF Time Dur. (hr) |  |  | 1 | 1 | 1 | 0.25 | 1 | 1 | 1 | 1
Dep. Factor (0 to 1) |  |  | NA | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | Energy +ve Pur -ve Sale (MW) | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW) |  | RTAML
QSE Position |  |  | 100 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 |  | 25
| COP Status | [9 empty] | Offered AS MW (combination of Registed qualified MW amount, COP AS MW, and submitted AS MW offers) | [9 empty] | ASMWCAPABILITY: Eligible AS MW (combination of HSL-LSL, COP status, Registed qualified MW amount, COP AS MW, and submitted AS MW offers) | [9 empty] | Combined AS MW Capability: Eligible AS MW
| 1=ON/OFFQS -1=OFF (only for GR) 0=OUT | [7 empty] | HSL/MPC (MW) | LSL/MPC (MW) | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW) | COP status dependent HSL-LSL (MW) | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW) |  | FFR,UFR,ECRSM (MW) | FFR,UFR, ECRSM, NSPINM (MW)
NCLR:valid values 0 or 1
NCLR1 | 0 | [7 empty] | 40 | 10 | NA | NA | 0 | 0 | NA | 30 | NA | 30 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
NCLR2 | 0 | [7 empty] | 50 | 0 | NA | NA | 50 | 0 | NA | 0 | NA | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
NCLR3 | 1 | [7 empty] | 100 | 0 | NA | NA | 0 | 100 | NA | 0 | NA | 0 | NA | 100 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 |  | 100 | 100
[8 empty] | agg | 100 | 0 | [19 empty] | NCLR ASOFRLRSNAP |  | 100
| CLR:valid values 0, or 1 | [29 empty] | RU,PFR (MW) | RU,PFR, ECRSS (MW) | RU,PFR, ECRSS, NSPINS (MW) | RU,PFR, ECRSS, NSPINS, RD (MW)
CLR1 | 0 | [7 empty] | 100 | 60 | 8 | 8 | NA | NA | 8 | NA | 40 | NA | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
CLR2 | 0 | [7 empty] | 50 | 0 | 4 | 4 | NA | NA | 4 | NA | 50 | NA | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
CLR3 | 0 | [7 empty] | 100 | 30 | 8 | 8 | NA | NA | 8 | NA | 70 | NA | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
[8 empty] | agg | 0 | 0 | [19 empty] | CLR ASOFRLRSNAP |  |  | 0
GR:valid values 0, -1 or 1
GR1 | 0 | [7 empty] | 100 | 30 | 14 | 14 | NA | NA | 14 | NA | 70 | NA | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
GR2 | 0 | [7 empty] | 300 | 200 | 100 | 100 | NA | NA | 100 |  | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
GR3 | 0 | [7 empty] | 120 | 40 | 16 | 16 | NA | NA | 16 | NA | 40 | NA | 120 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
[5 empty] | agg. Online HSL |  | 0 | agg | 0 | 0 | [17 empty] | ASOFFOFRSNAP | 0
| ESR:valid values 0, or 1 |  |  |  | MaxSOC (MWh) | MinSOC (MWh) | HBSOC (h) (MWh) | HBSOC (h+1) (MWh) | [22 empty] | RU,FFR (MW) | RU,FFR, PFR (MW) | RU,FFR, PFR, ECRSS (MW) | RU,FFR, PFR, ECRSS, NSPINS (MW) | RU,FFR, PFR, ECRSS, NSPINS, RD (MW)
ESR1 | 0 |  |  |  | 200 | 0 | 100 | 50 | 100 | -100 | 200 | 200 | 200 | NA | 200 | NA | 100 | NA | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
ESR2 | 0 |  |  |  | 10 | 0 | 5 | 10 | 10 | -10 | 20 | 20 | 20 | NA | 20 | NA | 5 | NA | 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
ESR3 | 0 |  |  |  | 100 | 0 | 0 | 100 | 100 | -100 | 200 | 200 | 200 | NA | 200 | NA | 100 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
|  |  |  | agg | 0 | 0 | 0 | 0 | 0 | 0
QSE portfolio level Aggregated NCLR, CLR+GR,ESR
[12 empty] | ASMWCAPABILITY: Eligible AS MW (combination of HSL-LSL, COP status, Registed qualified MW amount, COP AS MW, and submitted AS MW offers) | [9 empty] | Combined AS MW Capability: Eligible AS MW
[9 empty] | HSL/MPC (MW) | LSL/MPC (MW) | HSL-LSL (MW) | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW) |  | FFR,UFR,ECRSM (MW) | FFR,UFR, ECRSM, NSPINM (MW)
Agg. NCLR | [8 empty] | 100 | 0 | 100 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 |  | 100 | 100
[22 empty] | RU,PFR (MW) | RU,PFR, ECRSS (MW) | RU,PFR, ECRSS, NSPINS (MW) | RU,PFR, ECRSS, NSPINS, RD (MW)
Agg. CLR + Agg. GR | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
[5 empty] | MaxSOC (MWh) | MinSOC (MWh) | HBSOC (h) (MWh) | HBSOC (h+1) (MWh) | [13 empty] | RU,FFR (MW) | RU,FFR, PFR (MW) | RU,FFR, PFR, ECRSS (MW) | RU,FFR, PFR, ECRSS, NSPINS (MW) | RU,FFR, PFR, ECRSS, NSPINS, RD (MW)
Agg.ESR |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
[11 empty] | New |  |  | New |  | Modified |  | Modified
| Objective: Maximize QSE AS position coverage= |  |  |  | 0 | [5 empty] | ESRMWSNAP |  |  | ESRASSNAP |  | RCAPSNAP | ASOFRLRSNAP | RUCCAPSNAP |  | ASONPOSSNAP |  | RUCOSFSNAP |  | RUCASFSNAP |  | RUCSFSNAP
[11 empty] | 0 |  |  | 0 |  | 0 | 100 | 200 |  | 100 |  | 0 |  | 0 |  | 0
QSE Level Constraints>=0
|  | RU | RD | FFR | FFR+UFR | FFR+ UFR+ PFR | ECRSM | ECRSM+ ECRSS | NSPINM | NSPINM+ NSPINS
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Resource Level Constraints | [9 empty] | Optimization variables
| HSL-LSL - sum(ASMWCAPUSED) >=0 | ASMWCAPABILITY-ASMWCAPUSED>=0 | [8 empty] | ASMWCAPUSED
|  | RU | RD | FFR | UFR | PFR | ECRSM | ECRSS | NSPINM | NSPINS | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW)
Agg. NCLR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0
Agg. CLR+Agg.GR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SOC Constraints
[20 empty] | MW | MinSOC >=0 | MaxSOC >=0 | Diff HBSOC =0 | HSL-MW>=0 | MW-LSL>=0
Agg. ESR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Optimization option
Note: Aggregated Resources used so as to fit into EXCEL optimization variable/constraint limits

## Example 2
|  |  | Energy | RU | RD | FFR | UFR | PFR | ECRS | NSPIN
Time Dur. (hr) |  |  | 1 | 1 | 1 | 0.25 | 1 | 1 | 1 | 1
DF Time Dur. (hr) |  |  | 1 | 1 | 1 | 0.25 | 1 | 1 | 1 | 1
Dep. Factor (0 to 1) |  |  | NA | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | Energy +ve Pur -ve Sale (MW) | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW) |  | RTAML
QSE Position |  |  | 100 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 |  | 25
| COP Status | [9 empty] | Offered AS MW (combination of Registed qualified MW amount, COP AS MW, and submitted AS MW offers) | [9 empty] | ASMWCAPABILITY: Eligible AS MW (combination of HSL-LSL, COP status, Registed qualified MW amount, COP AS MW, and submitted AS MW offers) | [9 empty] | Combined AS MW Capability: Eligible AS MW
| 1=ON/OFFQS -1=OFF (only for GR) 0=OUT | [7 empty] | HSL/MPC (MW) | LSL/MPC (MW) | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW) | COP status dependent HSL-LSL (MW) | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW) |  | FFR,UFR,ECRSM (MW) | FFR,UFR, ECRSM, NSPINM (MW)
NCLR:valid values 0 or 1
NCLR1 | 0 | [7 empty] | 40 | 10 | NA | NA | 0 | 0 | NA | 30 | NA | 30 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
NCLR2 | 0 | [7 empty] | 50 | 0 | NA | NA | 50 | 0 | NA | 0 | NA | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
NCLR3 | 1 | [7 empty] | 100 | 0 | NA | NA | 0 | 100 | NA | 0 | NA | 0 | NA | 100 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 |  | 100 | 100
[8 empty] | agg | 100 | 0 | [19 empty] | NCLR ASOFRLRSNAP |  | 100
| CLR:valid values 0, or 1 | [29 empty] | RU,PFR (MW) | RU,PFR, ECRSS (MW) | RU,PFR, ECRSS, NSPINS (MW) | RU,PFR, ECRSS, NSPINS, RD (MW)
CLR1 | 0 | [7 empty] | 100 | 60 | 8 | 8 | NA | NA | 8 | NA | 40 | NA | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
CLR2 | 0 | [7 empty] | 50 | 0 | 4 | 4 | NA | NA | 4 | NA | 50 | NA | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
CLR3 | 0 | [7 empty] | 100 | 30 | 8 | 8 | NA | NA | 8 | NA | 70 | NA | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
[8 empty] | agg | 0 | 0 | [19 empty] | CLR ASOFRLRSNAP |  |  | 0
GR:valid values 0, -1 or 1
GR1 | 0 | [7 empty] | 100 | 30 | 14 | 14 | NA | NA | 14 | NA | 70 | NA | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
GR2 | 0 | [7 empty] | 300 | 200 | 100 | 100 | NA | NA | 100 |  | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
GR3 | 0 | [7 empty] | 120 | 40 | 16 | 16 | NA | NA | 16 | NA | 40 | NA | 120 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
[5 empty] | agg. Online HSL |  | 0 | agg | 0 | 0 | [17 empty] | ASOFFOFRSNAP | 0
| ESR:valid values 0, or 1 |  |  |  | MaxSOC (MWh) | MinSOC (MWh) | HBSOC (h) (MWh) | HBSOC (h+1) (MWh) | [22 empty] | RU,FFR (MW) | RU,FFR, PFR (MW) | RU,FFR, PFR, ECRSS (MW) | RU,FFR, PFR, ECRSS, NSPINS (MW) | RU,FFR, PFR, ECRSS, NSPINS, RD (MW)
ESR1 | 0 |  |  |  | 200 | 0 | 100 | 50 | 100 | -100 | 200 | 200 | 200 | NA | 200 | NA | 100 | NA | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
ESR2 | 0 |  |  |  | 10 | 0 | 5 | 10 | 10 | -10 | 20 | 20 | 20 | NA | 20 | NA | 5 | NA | 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
ESR3 | 0 |  |  |  | 100 | 0 | 0 | 100 | 100 | -100 | 200 | 200 | 200 | NA | 200 | NA | 100 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
|  |  |  | agg | 0 | 0 | 0 | 0 | 0 | 0
QSE portfolio level Aggregated NCLR, CLR+GR,ESR
[12 empty] | ASMWCAPABILITY: Eligible AS MW (combination of HSL-LSL, COP status, Registed qualified MW amount, COP AS MW, and submitted AS MW offers) | [9 empty] | Combined AS MW Capability: Eligible AS MW
[9 empty] | HSL/MPC (MW) | LSL/MPC (MW) | HSL-LSL (MW) | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW) |  | FFR,UFR,ECRSM (MW) | FFR,UFR, ECRSM, NSPINM (MW)
Agg. NCLR | [8 empty] | 100 | 0 | 100 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 |  | 100 | 100
[22 empty] | RU,PFR (MW) | RU,PFR, ECRSS (MW) | RU,PFR, ECRSS, NSPINS (MW) | RU,PFR, ECRSS, NSPINS, RD (MW)
Agg. CLR + Agg. GR | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
[5 empty] | MaxSOC (MWh) | MinSOC (MWh) | HBSOC (h) (MWh) | HBSOC (h+1) (MWh) | [13 empty] | RU,FFR (MW) | RU,FFR, PFR (MW) | RU,FFR, PFR, ECRSS (MW) | RU,FFR, PFR, ECRSS, NSPINS (MW) | RU,FFR, PFR, ECRSS, NSPINS, RD (MW)
Agg.ESR |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
[11 empty] | New |  |  | New |  | Modified |  | Modified
| Objective: Maximize QSE AS position coverage= |  |  |  | 100 | [5 empty] | ESRMWSNAP |  |  | ESRASSNAP |  | RCAPSNAP | ASOFRLRSNAP | RUCCAPSNAP |  | ASONPOSSNAP |  | RUCOSFSNAP |  | RUCASFSNAP |  | RUCSFSNAP
[11 empty] | 0 |  |  | 0 |  | 0 | 100 | 200 |  | 100 |  | 0 |  | 100 |  | 100
QSE Level Constraints>=0
|  | RU | RD | FFR | FFR+UFR | FFR+ UFR+ PFR | ECRSM | ECRSM+ ECRSS | NSPINM | NSPINM+ NSPINS
|  | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0
| Resource Level Constraints | [9 empty] | Optimization variables
| HSL-LSL - sum(ASMWCAPUSED) >=0 | ASMWCAPABILITY-ASMWCAPUSED>=0 | [8 empty] | ASMWCAPUSED
|  | RU | RD | FFR | UFR | PFR | ECRSM | ECRSS | NSPINM | NSPINS | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW)
Agg. NCLR | 100 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Agg. CLR+Agg.GR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SOC Constraints
[20 empty] | MW | MinSOC >=0 | MaxSOC >=0 | Diff HBSOC =0 | HSL-MW>=0 | MW-LSL>=0
Agg. ESR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Optimization option
Note: Aggregated Resources used so as to fit into EXCEL optimization variable/constraint limits

## Example 3
|  |  | Energy | RU | RD | FFR | UFR | PFR | ECRS | NSPIN
Time Dur. (hr) |  |  | 1 | 1 | 1 | 0.25 | 1 | 1 | 1 | 1
DF Time Dur. (hr) |  |  | 1 | 1 | 1 | 0.25 | 1 | 1 | 1 | 1
Dep. Factor (0 to 1) |  |  | NA | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | Energy +ve Pur -ve Sale (MW) | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW) |  | RTAML
QSE Position |  |  | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 |  | 0
| COP Status | [9 empty] | Offered AS MW (combination of Registed qualified MW amount, COP AS MW, and submitted AS MW offers) | [9 empty] | ASMWCAPABILITY: Eligible AS MW (combination of HSL-LSL, COP status, Registed qualified MW amount, COP AS MW, and submitted AS MW offers) | [9 empty] | Combined AS MW Capability: Eligible AS MW
| 1=ON/OFFQS -1=OFF (only for GR) 0=OUT | [7 empty] | HSL/MPC (MW) | LSL/MPC (MW) | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW) | COP status dependent HSL-LSL (MW) | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW) |  | FFR,UFR,ECRSM (MW) | FFR,UFR, ECRSM, NSPINM (MW)
NCLR:valid values 0 or 1
NCLR1 | 0 | [7 empty] | 40 | 10 | NA | NA | 0 | 0 | NA | 30 | NA | 30 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
NCLR2 | 0 | [7 empty] | 50 | 0 | NA | NA | 50 | 0 | NA | 0 | NA | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
NCLR3 | 0 | [7 empty] | 100 | 0 | NA | NA | 0 | 100 | NA | 0 | NA | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
[8 empty] | agg | 0 | 0 | [19 empty] | NCLR ASOFRLRSNAP |  | 0
| CLR:valid values 0, or 1 | [29 empty] | RU,PFR (MW) | RU,PFR, ECRSS (MW) | RU,PFR, ECRSS, NSPINS (MW) | RU,PFR, ECRSS, NSPINS, RD (MW)
CLR1 | 0 | [7 empty] | 100 | 60 | 8 | 8 | NA | NA | 8 | NA | 40 | NA | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
CLR2 | 0 | [7 empty] | 50 | 0 | 4 | 4 | NA | NA | 4 | NA | 50 | NA | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
CLR3 | 0 | [7 empty] | 100 | 30 | 8 | 8 | NA | NA | 8 | NA | 70 | NA | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
[8 empty] | agg | 0 | 0 | [19 empty] | CLR ASOFRLRSNAP |  |  | 0
GR:valid values 0, -1 or 1
GR1 | 0 | [7 empty] | 100 | 30 | 14 | 14 | NA | NA | 14 | NA | 70 | NA | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
GR2 | 1 | [7 empty] | 300 | 200 | 100 | 100 | NA | NA | 100 |  | 0 | NA | 0 | 100 | 100 | 100 | 0 | 0 | 100 | 0 | 0 | 0 | 0 |  | 100 | 100 | 100 | 100
GR3 | 0 | [7 empty] | 120 | 40 | 16 | 16 | NA | NA | 16 | NA | 40 | NA | 120 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
[5 empty] | agg. Online HSL |  | 300 | agg | 300 | 200 | [17 empty] | ASOFFOFRSNAP | 0
| ESR:valid values 0, or 1 |  |  |  | MaxSOC (MWh) | MinSOC (MWh) | HBSOC (h) (MWh) | HBSOC (h+1) (MWh) | [22 empty] | RU,FFR (MW) | RU,FFR, PFR (MW) | RU,FFR, PFR, ECRSS (MW) | RU,FFR, PFR, ECRSS, NSPINS (MW) | RU,FFR, PFR, ECRSS, NSPINS, RD (MW)
ESR1 | 0 |  |  |  | 200 | 0 | 100 | 50 | 100 | -100 | 200 | 200 | 200 | NA | 200 | NA | 100 | NA | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
ESR2 | 0 |  |  |  | 10 | 0 | 5 | 10 | 10 | -10 | 20 | 20 | 20 | NA | 20 | NA | 5 | NA | 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
ESR3 | 0 |  |  |  | 100 | 0 | 0 | 100 | 100 | -100 | 200 | 200 | 200 | NA | 200 | NA | 100 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
|  |  |  | agg | 0 | 0 | 0 | 0 | 0 | 0
QSE portfolio level Aggregated NCLR, CLR+GR,ESR
[12 empty] | ASMWCAPABILITY: Eligible AS MW (combination of HSL-LSL, COP status, Registed qualified MW amount, COP AS MW, and submitted AS MW offers) | [9 empty] | Combined AS MW Capability: Eligible AS MW
[9 empty] | HSL/MPC (MW) | LSL/MPC (MW) | HSL-LSL (MW) | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW) |  | FFR,UFR,ECRSM (MW) | FFR,UFR, ECRSM, NSPINM (MW)
Agg. NCLR | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
[22 empty] | RU,PFR (MW) | RU,PFR, ECRSS (MW) | RU,PFR, ECRSS, NSPINS (MW) | RU,PFR, ECRSS, NSPINS, RD (MW)
Agg. CLR + Agg. GR | [8 empty] | 300 | 200 | 100 | 100 | 100 | 0 | 0 | 100 | 0 | 0 | 0 | 0 |  | 100 | 100 | 100 | 100
[5 empty] | MaxSOC (MWh) | MinSOC (MWh) | HBSOC (h) (MWh) | HBSOC (h+1) (MWh) | [13 empty] | RU,FFR (MW) | RU,FFR, PFR (MW) | RU,FFR, PFR, ECRSS (MW) | RU,FFR, PFR, ECRSS, NSPINS (MW) | RU,FFR, PFR, ECRSS, NSPINS, RD (MW)
Agg.ESR |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
[11 empty] | New |  |  | New |  | Modified |  | Modified
| Objective: Maximize QSE AS position coverage= |  |  |  | 0 | [5 empty] | ESRMWSNAP |  |  | ESRASSNAP |  | RCAPSNAP | ASOFRLRSNAP | RUCCAPSNAP |  | ASONPOSSNAP |  | RUCOSFSNAP |  | RUCASFSNAP |  | RUCSFSNAP
[11 empty] | 0 |  |  | 0 |  | 300 | 0 | 300 |  | 100 |  | 0 |  | 0 |  | 0
QSE Level Constraints>=0
|  | RU | RD | FFR | FFR+UFR | FFR+ UFR+ PFR | ECRSM | ECRSM+ ECRSS | NSPINM | NSPINM+ NSPINS
|  | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0
| Resource Level Constraints | [9 empty] | Optimization variables
| HSL-LSL - sum(ASMWCAPUSED) >=0 | ASMWCAPABILITY-ASMWCAPUSED>=0 | [8 empty] | ASMWCAPUSED
|  | RU | RD | FFR | UFR | PFR | ECRSM | ECRSS | NSPINM | NSPINS | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW)
Agg. NCLR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Agg. CLR+Agg.GR | 0 | 100 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0
SOC Constraints
[20 empty] | MW | MinSOC >=0 | MaxSOC >=0 | Diff HBSOC =0 | HSL-MW>=0 | MW-LSL>=0
Agg. ESR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Optimization option
Note: Aggregated Resources used so as to fit into EXCEL optimization variable/constraint limits

## Example 4
|  |  | Energy | RU | RD | FFR | UFR | PFR | ECRS | NSPIN
Time Dur. (hr) |  |  | 1 | 1 | 1 | 0.25 | 1 | 1 | 1 | 1
DF Time Dur. (hr) |  |  | 1 | 1 | 1 | 0.25 | 1 | 1 | 1 | 1
Dep. Factor (0 to 1) |  |  | NA | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | Energy +ve Pur -ve Sale (MW) | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW) |  | RTAML
QSE Position |  |  | 0 | 0 | 30 | 0 | 100 | 0 | 0 | 0 | 0 | 0 |  | 0
| COP Status | [9 empty] | Offered AS MW (combination of Registed qualified MW amount, COP AS MW, and submitted AS MW offers) | [9 empty] | ASMWCAPABILITY: Eligible AS MW (combination of HSL-LSL, COP status, Registed qualified MW amount, COP AS MW, and submitted AS MW offers) | [9 empty] | Combined AS MW Capability: Eligible AS MW
| 1=ON/OFFQS -1=OFF (only for GR) 0=OUT | [7 empty] | HSL/MPC (MW) | LSL/MPC (MW) | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW) | COP status dependent HSL-LSL (MW) | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW) |  | FFR,UFR,ECRSM (MW) | FFR,UFR, ECRSM, NSPINM (MW)
NCLR:valid values 0 or 1
NCLR1 | 0 | [7 empty] | 40 | 10 | NA | NA | 0 | 0 | NA | 30 | NA | 30 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
NCLR2 | 0 | [7 empty] | 50 | 0 | NA | NA | 50 | 0 | NA | 0 | NA | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
NCLR3 | 0 | [7 empty] | 100 | 0 | NA | NA | 0 | 100 | NA | 0 | NA | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
[8 empty] | agg | 0 | 0 | [19 empty] | NCLR ASOFRLRSNAP |  | 0
| CLR:valid values 0, or 1 | [29 empty] | RU,PFR (MW) | RU,PFR, ECRSS (MW) | RU,PFR, ECRSS, NSPINS (MW) | RU,PFR, ECRSS, NSPINS, RD (MW)
CLR1 | 0 | [7 empty] | 100 | 60 | 8 | 8 | NA | NA | 8 | NA | 40 | NA | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
CLR2 | 0 | [7 empty] | 50 | 0 | 4 | 4 | NA | NA | 4 | NA | 50 | NA | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
CLR3 | 0 | [7 empty] | 100 | 30 | 8 | 8 | NA | NA | 8 | NA | 70 | NA | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
[8 empty] | agg | 0 | 0 | [19 empty] | CLR ASOFRLRSNAP |  |  | 0
GR:valid values 0, -1 or 1
GR1 | 0 | [7 empty] | 100 | 30 | 14 | 14 | NA | NA | 14 | NA | 70 | NA | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
GR2 | 1 | [7 empty] | 300 | 200 | 100 | 100 | NA | NA | 100 |  | 0 | NA | 0 | 100 | 100 | 100 | 0 | 0 | 100 | 0 | 0 | 0 | 0 |  | 100 | 100 | 100 | 100
GR3 | 0 | [7 empty] | 120 | 40 | 16 | 16 | NA | NA | 16 | NA | 40 | NA | 120 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
[5 empty] | agg. Online HSL |  | 300 | agg | 300 | 200 | [17 empty] | ASOFFOFRSNAP | 0
| ESR:valid values 0, or 1 |  |  |  | MaxSOC (MWh) | MinSOC (MWh) | HBSOC (h) (MWh) | HBSOC (h+1) (MWh) | [22 empty] | RU,FFR (MW) | RU,FFR, PFR (MW) | RU,FFR, PFR, ECRSS (MW) | RU,FFR, PFR, ECRSS, NSPINS (MW) | RU,FFR, PFR, ECRSS, NSPINS, RD (MW)
ESR1 | 0 |  |  |  | 200 | 0 | 100 | 50 | 100 | -100 | 200 | 200 | 200 | NA | 200 | NA | 100 | NA | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
ESR2 | 0 |  |  |  | 10 | 0 | 5 | 10 | 10 | -10 | 20 | 20 | 20 | NA | 20 | NA | 5 | NA | 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
ESR3 | 0 |  |  |  | 100 | 0 | 0 | 100 | 100 | -100 | 200 | 200 | 200 | NA | 200 | NA | 100 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
|  |  |  | agg | 0 | 0 | 0 | 0 | 0 | 0
QSE portfolio level Aggregated NCLR, CLR+GR,ESR
[12 empty] | ASMWCAPABILITY: Eligible AS MW (combination of HSL-LSL, COP status, Registed qualified MW amount, COP AS MW, and submitted AS MW offers) | [9 empty] | Combined AS MW Capability: Eligible AS MW
[9 empty] | HSL/MPC (MW) | LSL/MPC (MW) | HSL-LSL (MW) | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW) |  | FFR,UFR,ECRSM (MW) | FFR,UFR, ECRSM, NSPINM (MW)
Agg. NCLR | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
[22 empty] | RU,PFR (MW) | RU,PFR, ECRSS (MW) | RU,PFR, ECRSS, NSPINS (MW) | RU,PFR, ECRSS, NSPINS, RD (MW)
Agg. CLR + Agg. GR | [8 empty] | 300 | 200 | 100 | 100 | 100 | 0 | 0 | 100 | 0 | 0 | 0 | 0 |  | 100 | 100 | 100 | 100
[5 empty] | MaxSOC (MWh) | MinSOC (MWh) | HBSOC (h) (MWh) | HBSOC (h+1) (MWh) | [13 empty] | RU,FFR (MW) | RU,FFR, PFR (MW) | RU,FFR, PFR, ECRSS (MW) | RU,FFR, PFR, ECRSS, NSPINS (MW) | RU,FFR, PFR, ECRSS, NSPINS, RD (MW)
Agg.ESR |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
[11 empty] | New |  |  | New |  | Modified |  | Modified
| Objective: Maximize QSE AS position coverage= |  |  |  | 30 | [5 empty] | ESRMWSNAP |  |  | ESRASSNAP |  | RCAPSNAP | ASOFRLRSNAP | RUCCAPSNAP |  | ASONPOSSNAP |  | RUCOSFSNAP |  | RUCASFSNAP |  | RUCSFSNAP
[11 empty] | 0 |  |  | 0 |  | 300 | 0 | 300 |  | 100 |  | 0 |  | 30 |  | 30
QSE Level Constraints>=0
|  | RU | RD | FFR | FFR+UFR | FFR+ UFR+ PFR | ECRSM | ECRSM+ ECRSS | NSPINM | NSPINM+ NSPINS
|  | 0 | 0 | 0 | 100 | 30 | 0 | 0 | 0 | 0
| Resource Level Constraints | [9 empty] | Optimization variables
| HSL-LSL - sum(ASMWCAPUSED) >=0 | ASMWCAPABILITY-ASMWCAPUSED>=0 | [8 empty] | ASMWCAPUSED
|  | RU | RD | FFR | UFR | PFR | ECRSM | ECRSS | NSPINM | NSPINS | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW)
Agg. NCLR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Agg. CLR+Agg.GR | 0 | 100 | 70 | 0 | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 30 | 0 | 0 | 70 | 0 | 0 | 0 | 0
SOC Constraints
[20 empty] | MW | MinSOC >=0 | MaxSOC >=0 | Diff HBSOC =0 | HSL-MW>=0 | MW-LSL>=0
Agg. ESR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Optimization option
Note: Aggregated Resources used so as to fit into EXCEL optimization variable/constraint limits

## Example 5
|  |  | Energy | RU | RD | FFR | UFR | PFR | ECRS | NSPIN
Time Dur. (hr) |  |  | 1 | 1 | 1 | 0.25 | 1 | 1 | 1 | 1
DF Time Dur. (hr) |  |  | 1 | 1 | 1 | 0.25 | 1 | 1 | 1 | 1
Dep. Factor (0 to 1) |  |  | NA | 1 | 1 | 1 | 1 | 0 | 1 | 1
|  |  | Energy +ve Pur -ve Sale (MW) | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW) |  | RTAML
QSE Position |  |  | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 |  | 0
| COP Status | [9 empty] | Offered AS MW (combination of Registed qualified MW amount, COP AS MW, and submitted AS MW offers) | [9 empty] | ASMWCAPABILITY: Eligible AS MW (combination of HSL-LSL, COP status, Registed qualified MW amount, COP AS MW, and submitted AS MW offers) | [9 empty] | Combined AS MW Capability: Eligible AS MW
| 1=ON/OFFQS -1=OFF (only for GR) 0=OUT | [7 empty] | HSL/MPC (MW) | LSL/MPC (MW) | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW) | COP status dependent HSL-LSL (MW) | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW) |  | FFR,UFR,ECRSM (MW) | FFR,UFR, ECRSM, NSPINM (MW)
NCLR:valid values 0 or 1
NCLR1 | 0 | [7 empty] | 40 | 10 | NA | NA | 0 | 0 | NA | 30 | NA | 30 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
NCLR2 | 0 | [7 empty] | 50 | 0 | NA | NA | 50 | 0 | NA | 0 | NA | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
NCLR3 | 0 | [7 empty] | 100 | 0 | NA | NA | 0 | 100 | NA | 0 | NA | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
[8 empty] | agg | 0 | 0 | [19 empty] | NCLR ASOFRLRSNAP |  | 0
| CLR:valid values 0, or 1 | [29 empty] | RU,PFR (MW) | RU,PFR, ECRSS (MW) | RU,PFR, ECRSS, NSPINS (MW) | RU,PFR, ECRSS, NSPINS, RD (MW)
CLR1 | 0 | [7 empty] | 100 | 60 | 8 | 8 | NA | NA | 8 | NA | 40 | NA | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
CLR2 | 0 | [7 empty] | 50 | 0 | 4 | 4 | NA | NA | 4 | NA | 50 | NA | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
CLR3 | 0 | [7 empty] | 100 | 30 | 8 | 8 | NA | NA | 8 | NA | 70 | NA | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
[8 empty] | agg | 0 | 0 | [19 empty] | CLR ASOFRLRSNAP |  |  | 0
GR:valid values 0, -1 or 1
GR1 | 0 | [7 empty] | 100 | 30 | 14 | 14 | NA | NA | 14 | NA | 70 | NA | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
GR2 | 0 | [7 empty] | 300 | 200 | 100 | 100 | NA | NA | 100 |  | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
GR3 | 0 | [7 empty] | 120 | 40 | 16 | 16 | NA | NA | 16 | NA | 40 | NA | 120 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
[5 empty] | agg. Online HSL |  | 0 | agg | 0 | 0 | [17 empty] | ASOFFOFRSNAP | 0
| ESR:valid values 0, or 1 |  |  |  | MaxSOC (MWh) | MinSOC (MWh) | HBSOC (h) (MWh) | HBSOC (h+1) (MWh) | [22 empty] | RU,FFR (MW) | RU,FFR, PFR (MW) | RU,FFR, PFR, ECRSS (MW) | RU,FFR, PFR, ECRSS, NSPINS (MW) | RU,FFR, PFR, ECRSS, NSPINS, RD (MW)
ESR1 | 0 |  |  |  | 200 | 0 | 100 | 50 | 100 | -100 | 200 | 200 | 200 | NA | 200 | NA | 100 | NA | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
ESR2 | 0 |  |  |  | 10 | 0 | 5 | 10 | 10 | -10 | 20 | 20 | 20 | NA | 20 | NA | 5 | NA | 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
ESR3 | 1 |  |  |  | 100 | 0 | 0 | 100 | 100 | -100 | 200 | 200 | 200 | NA | 200 | NA | 100 | NA | 0 | 200 | 200 | 200 | 200 | 0 | 200 | 0 | 100 | 0 | 0 |  | 200 | 200 | 200 | 200 | 200
|  |  |  | agg | 100 | 0 | 0 | 100 | 100 | -100
QSE portfolio level Aggregated NCLR, CLR+GR,ESR
[12 empty] | ASMWCAPABILITY: Eligible AS MW (combination of HSL-LSL, COP status, Registed qualified MW amount, COP AS MW, and submitted AS MW offers) | [9 empty] | Combined AS MW Capability: Eligible AS MW
[9 empty] | HSL/MPC (MW) | LSL/MPC (MW) | HSL-LSL (MW) | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW) |  | FFR,UFR,ECRSM (MW) | FFR,UFR, ECRSM, NSPINM (MW)
Agg. NCLR | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
[22 empty] | RU,PFR (MW) | RU,PFR, ECRSS (MW) | RU,PFR, ECRSS, NSPINS (MW) | RU,PFR, ECRSS, NSPINS, RD (MW)
Agg. CLR + Agg. GR | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
[5 empty] | MaxSOC (MWh) | MinSOC (MWh) | HBSOC (h) (MWh) | HBSOC (h+1) (MWh) | [13 empty] | RU,FFR (MW) | RU,FFR, PFR (MW) | RU,FFR, PFR, ECRSS (MW) | RU,FFR, PFR, ECRSS, NSPINS (MW) | RU,FFR, PFR, ECRSS, NSPINS, RD (MW)
Agg.ESR |  |  |  |  | 100 | 0 | 0 | 100 | 100 | -100 | 200 | 200 | 200 | 200 | 0 | 200 | 0 | 100 | 0 | 0 |  | 200 | 200 | 200 | 200 | 200
[11 empty] | New |  |  | New |  | Modified |  | Modified
| Objective: Maximize QSE AS position coverage= |  |  |  | 0 | [5 empty] | ESRMWSNAP |  |  | ESRASSNAP |  | RCAPSNAP | ASOFRLRSNAP | RUCCAPSNAP |  | ASONPOSSNAP |  | RUCOSFSNAP |  | RUCASFSNAP |  | RUCSFSNAP
[11 empty] | -100 |  |  | 100 |  | 0 | 0 | 0 |  | 100 |  | 100 |  | 0 |  | 100
QSE Level Constraints>=0
|  | RU | RD | FFR | FFR+UFR | FFR+ UFR+ PFR | ECRSM | ECRSM+ ECRSS | NSPINM | NSPINM+ NSPINS
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Resource Level Constraints | [9 empty] | Optimization variables
| HSL-LSL - sum(ASMWCAPUSED) >=0 | ASMWCAPABILITY-ASMWCAPUSED>=0 | [8 empty] | ASMWCAPUSED
|  | RU | RD | FFR | UFR | PFR | ECRSM | ECRSS | NSPINM | NSPINS | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW)
Agg. NCLR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Agg. CLR+Agg.GR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SOC Constraints
[20 empty] | MW | MinSOC >=0 | MaxSOC >=0 | Diff HBSOC =0 | HSL-MW>=0 | MW-LSL>=0
Agg. ESR | 100 | 200 | 200 | 200 | 0 | 100 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | -100 | 0 | 0 | 0 | 200 | 0
Optimization option
Note: Aggregated Resources used so as to fit into EXCEL optimization variable/constraint limits

## Example 6
|  |  | Energy | RU | RD | FFR | UFR | PFR | ECRS | NSPIN
Time Dur. (hr) |  |  | 1 | 1 | 1 | 0.25 | 1 | 1 | 1 | 1
DF Time Dur. (hr) |  |  | 1 | 1 | 1 | 0.25 | 1 | 1 | 1 | 1
Dep. Factor (0 to 1) |  |  | NA | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | Energy +ve Pur -ve Sale (MW) | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW) |  | RTAML
QSE Position |  |  | 0 | 0 | 0 | 30 | 0 | 20 | 0 | 10 | 0 | 0 |  | 0
| COP Status | [9 empty] | Offered AS MW (combination of Registed qualified MW amount, COP AS MW, and submitted AS MW offers) | [9 empty] | ASMWCAPABILITY: Eligible AS MW (combination of HSL-LSL, COP status, Registed qualified MW amount, COP AS MW, and submitted AS MW offers) | [9 empty] | Combined AS MW Capability: Eligible AS MW
| 1=ON/OFFQS -1=OFF (only for GR) 0=OUT | [7 empty] | HSL/MPC (MW) | LSL/MPC (MW) | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW) | COP status dependent HSL-LSL (MW) | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW) |  | FFR,UFR,ECRSM (MW) | FFR,UFR, ECRSM, NSPINM (MW)
NCLR:valid values 0 or 1
NCLR1 | 0 | [7 empty] | 40 | 10 | NA | NA | 0 | 0 | NA | 30 | NA | 30 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
NCLR2 | 0 | [7 empty] | 50 | 0 | NA | NA | 50 | 0 | NA | 0 | NA | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
NCLR3 | 0 | [7 empty] | 100 | 0 | NA | NA | 0 | 100 | NA | 0 | NA | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
[8 empty] | agg | 0 | 0 | [19 empty] | NCLR ASOFRLRSNAP |  | 0
| CLR:valid values 0, or 1 | [29 empty] | RU,PFR (MW) | RU,PFR, ECRSS (MW) | RU,PFR, ECRSS, NSPINS (MW) | RU,PFR, ECRSS, NSPINS, RD (MW)
CLR1 | 0 | [7 empty] | 100 | 60 | 8 | 8 | NA | NA | 8 | NA | 40 | NA | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
CLR2 | 0 | [7 empty] | 50 | 0 | 4 | 4 | NA | NA | 4 | NA | 50 | NA | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
CLR3 | 0 | [7 empty] | 100 | 30 | 8 | 8 | NA | NA | 8 | NA | 70 | NA | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
[8 empty] | agg | 0 | 0 | [19 empty] | CLR ASOFRLRSNAP |  |  | 0
GR:valid values 0, -1 or 1
GR1 | 0 | [7 empty] | 100 | 30 | 14 | 14 | NA | NA | 14 | NA | 70 | NA | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
GR2 | 0 | [7 empty] | 300 | 200 | 100 | 100 | NA | NA | 100 |  | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
GR3 | 0 | [7 empty] | 120 | 40 | 16 | 16 | NA | NA | 16 | NA | 40 | NA | 120 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
[5 empty] | agg. Online HSL |  | 0 | agg | 0 | 0 | [17 empty] | ASOFFOFRSNAP | 0
| ESR:valid values 0, or 1 |  |  |  | MaxSOC (MWh) | MinSOC (MWh) | HBSOC (h) (MWh) | HBSOC (h+1) (MWh) | [22 empty] | RU,FFR (MW) | RU,FFR, PFR (MW) | RU,FFR, PFR, ECRSS (MW) | RU,FFR, PFR, ECRSS, NSPINS (MW) | RU,FFR, PFR, ECRSS, NSPINS, RD (MW)
ESR1 | 0 |  |  |  | 200 | 0 | 100 | 50 | 100 | -100 | 200 | 200 | 200 | NA | 200 | NA | 100 | NA | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
ESR2 | 0 |  |  |  | 10 | 0 | 5 | 10 | 10 | -10 | 20 | 20 | 20 | NA | 20 | NA | 5 | NA | 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
ESR3 | 1 |  |  |  | 100 | 0 | 100 | 50 | 100 | -100 | 200 | 200 | 200 | NA | 200 | NA | 100 | NA | 0 | 200 | 200 | 200 | 200 | 0 | 200 | 0 | 100 | 0 | 0 |  | 200 | 200 | 200 | 200 | 200
|  |  |  | agg | 100 | 0 | 100 | 50 | 100 | -100
QSE portfolio level Aggregated NCLR, CLR+GR,ESR
[12 empty] | ASMWCAPABILITY: Eligible AS MW (combination of HSL-LSL, COP status, Registed qualified MW amount, COP AS MW, and submitted AS MW offers) | [9 empty] | Combined AS MW Capability: Eligible AS MW
[9 empty] | HSL/MPC (MW) | LSL/MPC (MW) | HSL-LSL (MW) | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW) |  | FFR,UFR,ECRSM (MW) | FFR,UFR, ECRSM, NSPINM (MW)
Agg. NCLR | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
[22 empty] | RU,PFR (MW) | RU,PFR, ECRSS (MW) | RU,PFR, ECRSS, NSPINS (MW) | RU,PFR, ECRSS, NSPINS, RD (MW)
Agg. CLR + Agg. GR | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
[5 empty] | MaxSOC (MWh) | MinSOC (MWh) | HBSOC (h) (MWh) | HBSOC (h+1) (MWh) | [13 empty] | RU,FFR (MW) | RU,FFR, PFR (MW) | RU,FFR, PFR, ECRSS (MW) | RU,FFR, PFR, ECRSS, NSPINS (MW) | RU,FFR, PFR, ECRSS, NSPINS, RD (MW)
Agg.ESR |  |  |  |  | 100 | 0 | 100 | 50 | 100 | -100 | 200 | 200 | 200 | 200 | 0 | 200 | 0 | 100 | 0 | 0 |  | 200 | 200 | 200 | 200 | 200
[11 empty] | New |  |  | New |  | Modified |  | Modified
| Objective: Maximize QSE AS position coverage= |  |  |  | 0 | [5 empty] | ESRMWSNAP |  |  | ESRASSNAP |  | RCAPSNAP | ASOFRLRSNAP | RUCCAPSNAP |  | ASONPOSSNAP |  | RUCOSFSNAP |  | RUCASFSNAP |  | RUCSFSNAP
[11 empty] | 12.5 |  |  | 60 |  | 0 | 0 | 72.5 |  | 60 |  | 0 |  | 0 |  | 0
QSE Level Constraints>=0
|  | RU | RD | FFR | FFR+UFR | FFR+ UFR+ PFR | ECRSM | ECRSM+ ECRSS | NSPINM | NSPINM+ NSPINS
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Resource Level Constraints | [9 empty] | Optimization variables
| HSL-LSL - sum(ASMWCAPUSED) >=0 | ASMWCAPABILITY-ASMWCAPUSED>=0 | [8 empty] | ASMWCAPUSED
|  | RU | RD | FFR | UFR | PFR | ECRSM | ECRSS | NSPINM | NSPINS | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW)
Agg. NCLR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Agg. CLR+Agg.GR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SOC Constraints
[20 empty] | MW | MinSOC >=0 | MaxSOC >=0 | Diff HBSOC =0 | HSL-MW>=0 | MW-LSL>=0
Agg. ESR | 140 | 200 | 200 | 170 | 0 | 180 | 0 | 90 | 0 | 0 | 0 | 0 | 30 | 0 | 20 | 0 | 10 | 0 | 0 | 12.5 | 50 | 12.5 | 0 | 87.5 | 112.5
Optimization option
Note: Aggregated Resources used so as to fit into EXCEL optimization variable/constraint limits

## Example 7
|  |  | Energy | RU | RD | FFR | UFR | PFR | ECRS | NSPIN
Time Dur. (hr) |  |  | 1 | 1 | 1 | 0.25 | 1 | 1 | 1 | 1
DF Time Dur. (hr) |  |  | 1 | 1 | 1 | 0.25 | 1 | 1 | 1 | 1
Dep. Factor (0 to 1) |  |  | NA | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | Energy +ve Pur -ve Sale (MW) | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW) |  | RTAML
QSE Position |  |  | 0 | 0 | 0 | 30 | 0 | 20 | 0 | 10 | 0 | 0 |  | 0
| COP Status | [9 empty] | Offered AS MW (combination of Registed qualified MW amount, COP AS MW, and submitted AS MW offers) | [9 empty] | ASMWCAPABILITY: Eligible AS MW (combination of HSL-LSL, COP status, Registed qualified MW amount, COP AS MW, and submitted AS MW offers) | [9 empty] | Combined AS MW Capability: Eligible AS MW
| 1=ON/OFFQS -1=OFF (only for GR) 0=OUT | [7 empty] | HSL/MPC (MW) | LSL/MPC (MW) | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW) | COP status dependent HSL-LSL (MW) | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW) |  | FFR,UFR,ECRSM (MW) | FFR,UFR, ECRSM, NSPINM (MW)
NCLR:valid values 0 or 1
NCLR1 | 0 | [7 empty] | 40 | 10 | NA | NA | 0 | 0 | NA | 30 | NA | 30 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
NCLR2 | 0 | [7 empty] | 50 | 0 | NA | NA | 50 | 0 | NA | 0 | NA | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
NCLR3 | 0 | [7 empty] | 100 | 0 | NA | NA | 0 | 100 | NA | 0 | NA | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
[8 empty] | agg | 0 | 0 | [19 empty] | NCLR ASOFRLRSNAP |  | 0
| CLR:valid values 0, or 1 | [29 empty] | RU,PFR (MW) | RU,PFR, ECRSS (MW) | RU,PFR, ECRSS, NSPINS (MW) | RU,PFR, ECRSS, NSPINS, RD (MW)
CLR1 | 0 | [7 empty] | 100 | 60 | 8 | 8 | NA | NA | 8 | NA | 40 | NA | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
CLR2 | 0 | [7 empty] | 50 | 0 | 4 | 4 | NA | NA | 4 | NA | 50 | NA | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
CLR3 | 0 | [7 empty] | 100 | 30 | 8 | 8 | NA | NA | 8 | NA | 70 | NA | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
[8 empty] | agg | 0 | 0 | [19 empty] | CLR ASOFRLRSNAP |  |  | 0
GR:valid values 0, -1 or 1
GR1 | 0 | [7 empty] | 100 | 30 | 14 | 14 | NA | NA | 14 | NA | 70 | NA | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
GR2 | 0 | [7 empty] | 300 | 200 | 100 | 100 | NA | NA | 100 |  | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
GR3 | 0 | [7 empty] | 120 | 40 | 16 | 16 | NA | NA | 16 | NA | 40 | NA | 120 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
[5 empty] | agg. Online HSL |  | 0 | agg | 0 | 0 | [17 empty] | ASOFFOFRSNAP | 0
| ESR:valid values 0, or 1 |  |  |  | MaxSOC (MWh) | MinSOC (MWh) | HBSOC (h) (MWh) | HBSOC (h+1) (MWh) | [22 empty] | RU,FFR (MW) | RU,FFR, PFR (MW) | RU,FFR, PFR, ECRSS (MW) | RU,FFR, PFR, ECRSS, NSPINS (MW) | RU,FFR, PFR, ECRSS, NSPINS, RD (MW)
ESR1 | 0 |  |  |  | 200 | 0 | 100 | 50 | 100 | -100 | 200 | 200 | 200 | NA | 200 | NA | 100 | NA | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
ESR2 | 0 |  |  |  | 10 | 0 | 5 | 10 | 10 | -10 | 20 | 20 | 20 | NA | 20 | NA | 5 | NA | 2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
ESR3 | 1 |  |  |  | 100 | 0 | 100 | 70 | 100 | -100 | 200 | 200 | 200 | NA | 200 | NA | 100 | NA | 0 | 200 | 200 | 200 | 200 | 0 | 200 | 0 | 100 | 0 | 0 |  | 200 | 200 | 200 | 200 | 200
|  |  |  | agg | 100 | 0 | 100 | 70 | 100 | -100
QSE portfolio level Aggregated NCLR, CLR+GR,ESR
[12 empty] | ASMWCAPABILITY: Eligible AS MW (combination of HSL-LSL, COP status, Registed qualified MW amount, COP AS MW, and submitted AS MW offers) | [9 empty] | Combined AS MW Capability: Eligible AS MW
[9 empty] | HSL/MPC (MW) | LSL/MPC (MW) | HSL-LSL (MW) | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW) |  | FFR,UFR,ECRSM (MW) | FFR,UFR, ECRSM, NSPINM (MW)
Agg. NCLR | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
[22 empty] | RU,PFR (MW) | RU,PFR, ECRSS (MW) | RU,PFR, ECRSS, NSPINS (MW) | RU,PFR, ECRSS, NSPINS, RD (MW)
Agg. CLR + Agg. GR | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
[5 empty] | MaxSOC (MWh) | MinSOC (MWh) | HBSOC (h) (MWh) | HBSOC (h+1) (MWh) | [13 empty] | RU,FFR (MW) | RU,FFR, PFR (MW) | RU,FFR, PFR, ECRSS (MW) | RU,FFR, PFR, ECRSS, NSPINS (MW) | RU,FFR, PFR, ECRSS, NSPINS, RD (MW)
Agg.ESR |  |  |  |  | 100 | 0 | 100 | 70 | 100 | -100 | 200 | 200 | 200 | 200 | 0 | 200 | 0 | 100 | 0 | 0 |  | 200 | 200 | 200 | 200 | 200
[11 empty] | New |  |  | New |  | Modified |  | Modified
| Objective: Maximize QSE AS position coverage= |  |  |  | 7.5 | [5 empty] | ESRMWSNAP |  |  | ESRASSNAP |  | RCAPSNAP | ASOFRLRSNAP | RUCCAPSNAP |  | ASONPOSSNAP |  | RUCOSFSNAP |  | RUCASFSNAP |  | RUCSFSNAP
[11 empty] | 0 |  |  | 52.5 |  | 0 | 0 | 52.5 |  | 60 |  | 7.5 |  | 7.5 |  | 7.5
QSE Level Constraints>=0
|  | RU | RD | FFR | FFR+UFR | FFR+ UFR+ PFR | ECRSM | ECRSM+ ECRSS | NSPINM | NSPINM+ NSPINS
|  | 0 | 0 | 0 | 0 | 0 | 0 | 7.5 | 0 | 0
| Resource Level Constraints | [9 empty] | Optimization variables
| HSL-LSL - sum(ASMWCAPUSED) >=0 | ASMWCAPABILITY-ASMWCAPUSED>=0 | [8 empty] | ASMWCAPUSED
|  | RU | RD | FFR | UFR | PFR | ECRSM | ECRSS | NSPINM | NSPINS | RU (MW) | RD (MW) | FFR (MW) | UFR (MW) | PFR (MW) | ECRSM (MW) | ECRSS (MW) | NSPINM (MW) | NSPINS (MW)
Agg. NCLR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Agg. CLR+Agg.GR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SOC Constraints
[20 empty] | MW | MinSOC >=0 | MaxSOC >=0 | Diff HBSOC =0 | HSL-MW>=0 | MW-LSL>=0
Agg. ESR | 147.5 | 200 | 200 | 170 | 0 | 180 | 0 | 97.5 | 0 | 0 | 0 | 0 | 30 | 0 | 20 | 0 | 2.5 | 0 | 0 | 0 | 70 | 0 | 0 | 100 | 100
Optimization option
Note: Aggregated Resources used so as to fit into EXCEL optimization variable/constraint limits