APPROVED

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

8000 Metropolis Drive (Building E), Suite 100 – Austin, Texas 78744

Monday, January 8, 2024 – 9:30 a.m.

Attendance

ROS Representatives:

| Bonskowski, Ned | Luminant Corporation (Luminant) |  |  |
| --- | --- | --- | --- |
| Borkar, Sandeep | Lower Colorado River Authority (LCRA) |  |  |
| Bowen, Kenneth | CPS Energy |  | Via Teleconference |
| Burkhead, Brett | Calpine Corporation (Calpine) |  | Via Teleconference |
| Carter, Matt | Garland Power and Light (GP&L) |  | Alt. Rep. for Billy Lee Via Teleconference |
| Cochran, Adam | Tenaska Power Services (Tenaska) |  |  |
| Cochran, Seth | DC Energy |  |  |
| Fun, Meng | Chariot Energy |  | Via Teleconference |
| Gerety, Chris | Texas-New Mexico Power (TNMP) |  | Via Teleconference |
| Hanson, Kevin | National Grid Renewables (NG Renewables) |  |  |
| Hendrix, Chris | Demand Control 2 |  | Via Teleconference |
| Kremling, Barry | Guadalupe Valley Electric Cooperative (GVEC) |  |  |
| Kunkel, Dennis | AEP Service Corporation (AEPSC) |  | Via Teleconference |
| Lutrick, Chris | Denton Municipal Electric (DME) |  | Via Teleconference |
| Matt, Kevin | Reliant Energy Retail Services (Reliant) |  | Via Teleconference |
| Miller, Alex | EDF Renewables |  | Via Teleconference |
| Mrini, Imane | Austin Energy |  |  |
| Nashawati, Eithar | Oncor Electric Delivery (Oncor) |  |  |
| Okenfuss, James | Shell Energy North America (SENA) |  |  |
| Person, Paul | South Texas Electric Cooperative (STEC) |  | Via Teleconference |
| Pokharel, Nabaraj | Office of Public Utility Council (OPUC) |  | Via Teleconference |
| Reed, Cyrus | Sierra Club |  |  |
| Reid, Mike | Air Liquide |  | Via Teleconference |
| Rich, Katie | Golden Spread Electric Cooperative (GSEC) |  |  |
| Schmitt, Jennifer | Rhythm Ops |  | Via Teleconference |
| Smith, Chase | Southern Power |  | Via Teleconference |
| Woitt, Wes | CenterPoint Energy (CNP) |  | Via Teleconference |

| - Guests: |  |  |
| --- | --- | --- |
| Ahn, Sirius | Oncor | Via Teleconference |
| Al-Karawi, Mohammed Mho | Appian Way Energy Partners | Via Teleconference |
| Albaijat, Mohammad | Bridgelink Investments, Inc. | Via Teleconference |
| Allen, Thresa | Avangrid | Via Teleconference |
| Anderson, Connor | AB Power Advisors | Via Teleconference |
| Ashley, Kristy | CES | Via Teleconference |
| Badhan, Devinder | DNV | Via Teleconference |
| Barnes, Bill | NRG | Via Teleconference |
| Barr, Bill | LCRA | Via Teleconference |
| Barati, Camron | Potomac Economics | Via Teleconference |
| Bhuiyan, Faruque | Austin Energy | Via Teleconference |
| Bivens, Carrie | NextEra Energy | Via Teleconference |
| Blackburn, Don | Hunt Energy Network |  |
| Blakenship, David | CenterPoint Energy | Via Teleconference |
| Blakey, Eric | Pedernales Electric Cooperative | Via Teleconference |
| Block, Lauri | L Block Consulting | Via Teleconference |
| Boggs, Callie | Eric Winters Goff, LLC | Via Teleconference |
| Bruce, Mark | Cratylus Advisors | Via Teleconference |
| Burke, Tom | RWE Renewables Americas | Via Teleconference |
| Calcagni, Anthony | DC Energy | Via Teleconference |
| Carter, Cathey | GridAxon | Via Teleconference |
| Chakkapalli, Ramesh | DNV | Via Teleconference |
| Chan, Vanessa | Enel | Via Teleconference |
| Chwialkowski, Todd | EDFR | Via Teleconference |
| Clark, Jack |  | Via Teleconference |
| Clifford, Brigid | PG Renewables | Via Teleconference |
| Coffee, Jennifer | Texas Pipelines | Via Teleconference |
| Coleman, Diana | CPS Energy | Via Teleconference |
| Colyer, Cody | AES | Via Teleconference |
| Cook, Kristin | Southern Power | Via Teleconference |
| Cooksey, Matthew | OPUC | Via Teleconference |
| Cox, Jason | EQ Energy Advisors | Via Teleconference |
| Curtin, Jim |  | Via Teleconference |
| Detelich, David | CPS Energy | Via Teleconference |
| DeWitt, Charles | PEC | Via Teleconference |
| Dharme, Neeraja | EDFT | Via Teleconference |
| Didsayabutra, Paul |  | Via Teleconference |
| Dieringer, Michael | LCRA | Via Teleconference |
| Donohoo, Ken | Advanced Power Alliance |  |
| Downey, Marty | Luminant | Via Teleconference |
| Evans, Doug | AEP | Via Teleconference |
| Fink, Regan | PG Renewables | Via Teleconference |
| Fleming, Jackie | Talen Energy | Via Teleconference |
| Floyd, Rickey | Oncor | Via Teleconference |
| Garrett, Bob | Key Capture | Via Teleconference |
| Ghoshal, Orijit | esVolta | Via Teleconference |
| Godly, Kevin |  | Via Teleconference |
| Goff, Eric | Tesla |  |
| Goldoost, Reza | DNV | Via Teleconference |
| Gray, Bruce | Samsung | Via Teleconference |
| Guo, Jiachun | Appian Way Energy | Via Teleconference |
| Hailing, Zang | TC Energy | Via Teleconference |
| Hale, Josh | Southern Company | Via Teleconference |
| Hall, Matthew | Invenergy | Via Teleconference |
| Hammer, Neal | Invenergy | Via Teleconference |
| Headrick, Bridget | CES | Via Teleconference |
| Helton, Bob | ENGIE North America | Via Teleconference |
| Henry, Mark | Texas Reliability Entity, Inc. (Texas RE) |  |
| Henson, Martha | Oncor |  |
| Hernandez, Jessica | CenterPoint Energy | Via Teleconference |
| Hernandez, Rene | GVEC | Via Teleconference |
| Hinds, David | LCRA | Via Teleconference |
| Hudis, Gabriella | Gabel Associates | Via Teleconference |
| Holt, Blake | LCRA | Via Teleconference |
| Huynh, Thuy | Potomac Economics | Via Teleconference |
| Ingraham, Deborah | Acciona | Via Teleconference |
| Jackson, Jimmy | CPS Energy | Via Teleconference |
| Jewell, Michael | Jewell and Associates | Via Teleconference |
| Johnson, Shannon | PECI | Via Teleconference |
| Jones, Randy | Mountaineer Market Advisors | Via Teleconference |
| Jowlabar, Nicholas | RWE | Via Teleconference |
| Kauffman, Catherine | DNV | Via Teleconference |
| Kee, David | CPS Energy | Via Teleconference |
| Keefer, Andrew | City of Denton | Via Teleconference |
| Keller, Jenna | Potomac Economics | Via Teleconference |
| Kemper, Jason | EDRF | Via Teleconference |
| Koberlein, Paul | LP&L | Via Teleconference |
| Koz, Brian |  | Via Teleconference |
| Kroskey, Tony | Brazos | Via Teleconference |
| Lan, Christine | Bison Energy | Via Teleconference |
| Lee, Jim | CenterPoint Energy |  |
| Leverett, Travis | WETT | Via Teleconference |
| Lotter, Eric | GridMonitor | Via Teleconference |
| Lu, Bo | Broad Reach Power | Via Teleconference |
| Lutrick, Chris | City of Denton | Via Teleconference |
| Macaraeg, Tad | Stem | Via Teleconference |
| Martinez, Mauricio | DNV | Via Teleconference |
| Martinez, Javier | BPUB | Via Teleconference |
| McClellan, Suzi | Good Company Associates | Via Teleconference |
| McDaniel Wyman, Constance | AEP | Via Teleconference |
| McIntyre, Ken | Plus Power | Via Teleconference |
| Morris, Sandy | WETT | Via Teleconference |
| Munter, Megan | GE | Via Teleconference |
| Murugesan, Malini | PEC | Via Teleconference |
| Nandigam, Kiran | RWE | Via Teleconference |
| Nigro, Andrew | Invenergy | Via Teleconference |
| Parvathaneni, Sirisha | Oncor | Via Teleconference |
| Penney, David | Texas RE | Via Teleconference |
| Petajasoja, Ida | Stem | Via Teleconference |
| Pietrucha, Doug |  | Via Teleconference |
| Preas, Dylan | LCRA | Via Teleconference |
| Pullela, Suma | Orsted | Via Teleconference |
| Pyka, Greg | Schneider Engineering | Via Teleconference |
| Quezada, Robert | AES | Via Teleconference |
| Ramaswamy, Ramya | PUCT | Via Teleconference |
| Reedy, Steve | CIM View Consulting |  |
| Ritch, John | Trafigura | Via Teleconference |
| Robertson, William | CPS Energy | Via Teleconference |
| Salehi, Farshid | DNV | Via Teleconference |
| Sams, Bryan | Calpine Corporation | Via Teleconference |
| Sanchez, Manuel | Oncor | Via Teleconference |
| Schwarz, Brad | Sharyland |  |
| Senanayake, Sam | PG Renewables | Via Teleconference |
| Sersen, Juliana | Baker Botts | Via Teleconference |
| Siddiqi, Shams | Crescent Power Consulting | Via Teleconference |
| Silva, Chris | BPUB | Via Teleconference |
| Spanos, Michael | DME | Via Teleconference |
| Stanfill, Susan | PGR | Via Teleconference |
| Tay, Sing | AES | Via Teleconference |
| Tomaino, Christian | Tenaska | Via Teleconference |
| Tovar, Matt | Oncor | Via Teleconference |
| Turner, Mina | AEP | Via Teleconference |
| Uy, Manny | Hunt Energy | Via Teleconference |
| Varnell, John | Tenaska | Via Teleconference |
| Velasquez, Ivan | Oncor | Via Teleconference |
| Viswanadham, Venkata | DNV | Via Teleconference |
| Walker, Floyd | PUCT | Via Teleconference |
| Walker, Zachary | Oncor | Via Teleconference |
| White, Laurie | AEP | Via Teleconference |
| Wichers, Josh | AEP | Via Teleconference |
| Wilson, Joe Dan | GSEC | Via Teleconference |
| Withrow, David | AEP | Via Teleconference |
| Wittmeyer, Bob | Longhorn Power | Via Teleconference |
| Woods, Brad | Texas RE | Via Teleconference |
| Wu, Ryan | DNV | Via Teleconference |
| Zito, David | Gabel Associates | Via Teleconference |
| ERCOT Staff: |  |  |
| Albracht, Brittney |  | Via Teleconference |
| Anderson, Troy |  | Via Teleconference |
| Arth, Matt |  | Via Teleconference |
| Azeredo, Chris |  | Via Teleconference |
| Billo, Jeff |  | Via Teleconference |
| Boren, Ann |  | Via Teleconference |
| Cheng, Yunzhi |  | Via Teleconference |
| Clifton, Suzy |  |  |
| Daryabak, Mehdi |  | Daryabak, Mehdi |
| Du, Pengwei |  | Via Teleconference |
| Frosch, Colleen |  | Via Teleconference |
| Garcia, Freddy |  | Via Teleconference |
| Golen, Robert |  | Via Teleconference |
| Gravois, Patrick |  | Via Teleconference |
| Herrera, Shane |  | Via Teleconference |
| Hinojosa, Luis |  | Via Teleconference |
| Huang, Fred Shun-Hsien |  |  |
| Jenkins, Darrell |  |  |
| Kang, Sun Wook |  | Via Teleconference |
| Lee, Alex |  | Via Teleconference |
| Mago, Nitika |  |  |
| Matlock, Robert |  | Via Teleconference |
| Miller, Megan |  | Via Teleconference |
| Opheim, Calvin |  | Via Teleconference |
| Phillips, Cory |  | Via Teleconference |
| Roberts Randy |  | Via Teleconference |
| Schmall, John |  | Via Teleconference |
| Shaw, Pamela |  | Via Teleconference |
| Solis, Stephen |  | Via Teleconference |
| Teixeira, Jay |  | Via Teleconference |
| Troublefield, Jordan |  | Via Teleconference |
| Wasik-Gutierrez, Erin |  |  |
| Yan, Ping |  | Via Teleconference |
| You, Haibo |  | Via Teleconference |

Unless otherwise indicated, all Market Segments participated in the votes.

Suzy Clifton called the January 8, 2024 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Ms. Clifton directed attention to the Antitrust Admonition, which was displayed.

Membership Introductions

Ms. Clifton introduced newly seated ROS Segment Representatives and expressed appreciation for returning ROS Segment Representatives and their willingness to continue to serve.

- Election of 2024 ROS Chair and Vice Chair (see Key Documents)

Ms. Clifton reviewed the leadership election process codified in the Technical Advisory Committee

Procedures and opened the floor for nominations.

Ned Bonskowski nominated Katie Rich for 2024 ROS Chair.  Ms. Rich accepted the nomination.  Ms. Rich was named 2024 ROS Chair by acclamation.

Chase Smith nominated Alex Miller for 2024 ROS Vice Chair.  Ms. Miller accepted the nomination.  Ms. Miller was named 2024 ROS Vice Chair by acclamation.

Agenda Review

- Ms. Rich reviewed the agenda.

- Approval of Meeting Minutes (See Key Documents)

- November 2, 2023

- December 7, 2023

Ms. Rich noted these items could be considered for inclusion in the Combined Ballot.

- ERCOT Reports (see Key Documents)

- Operations Report

Alex Lee reported on the November 2023 Operations Report.

- System Planning Report

- Ping Yan reported on the November 2023 System Planning Report.

- Transient Security Assessment Tool (TSAT) Model Update

- This item was discussed under the Inverter Based Resources Working Group (IBRWG) report.

- Generic Transmission Constraint (GTC) Update

- Yunzhi Cheng reviewed the updated Panhandle GTC results, observations, and next steps and responded to Market Participant questions and concerns.

New Protocol Revision Subcommittee (PRS) Referrals (See Key Documents)

Nodal Protocol Revision Request (NPRR) 1210, Next Start Resource Test and Load-Carrying Test Frequency

Mr. A. Lee provided an overview of NPRR1210.  Market Participants expressed support for the proposed testing timeline.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

ROS Revision Requests (see Key Documents)

Impact Analysis

Planning Guide Revision Request (PGRR) 109, Dynamic Model Review Process Improvement for Inverter-Based Resource

Market Participants reviewed the 7/18/23 Impact Analysis to PGRR109.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

Language Review

Nodal Operating Guide Revision Request (NOGRR) 261, Move OBD to Section 8 – Procedure for Calculating RRS Limits for Individual Resources (Waive Notice)

Ms. Rich stated that a successful motion to waive notice would be required for ROS to take action on NOGRR261.  Market Participants expressed support to waive notice on NOGRR261.  Ann Boren reviewed NOGRR261.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

Revision Requests Tabled at ROS (see Key Documents)

PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions

Resource Registration Glossary Revision Request (RRGRR) 036, Related to NPRR1191, Registration, Interconnection, and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater

NOGRR256, Related to NPRR1191, Registration, Interconnection, and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater

PGRR111, Related to NPRR1191, Registration, Interconnection, and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater

PGRR114, Related to NPRR1212, Clarification of Distribution Service Provider’s Obligation to Provide an ESI ID

NPRR1070, Planning Criteria for GTC Exit Solutions

NPRR1198, Congestion Mitigation Using Topology Reconfigurations

NOGRR258, Related to NPRR1198, Congestion Mitigation Using Topology Reconfigurations

ROS took no action on these items.

IBRWG (see Key Documents)

- Mohammad Albaijat reviewed IBRWG activities, including the TSAT Model update.

NOGRR255, High Resolution Data Requirements

Mr. Albaijat summarized NOGRR255 discussion at the December 8, 2023 IBRWG meeting.  Stephen Solis reviewed the 1/4/24 ERCOT comments to NOGRR255 and noted the additional stakeholder comments filed.  In response to Market Participants’ concerns on the proposed implementation timeline and potential alternate solution, Mr. Solis reviewed the ERCOT-proposed implementation timelines necessary to address the reliability concerns and encouraged Market Participants to provide comments to include justification for an alternate solution.  Mr. Albaijat encouraged Market Participants to attend the January 22, 2024 IBWG meeting to further discuss NOGRR255 technical requirements.  Ms. Rich stated that NOGRR255 will be considered at the February 1, 2024 ROS meeting.

Dynamics Working Group (DWG) (see Key Documents)

Javier Martinez reviewed DWG activities, including the IBRWG and DWG subgroup discussion to establish best practice testing procedures and processes for NOGRR245, Inverter-Based Resource (IBR) Ride-Through Requirements, and encouraged Market Participants to attend the January 12, 2024 IBRWG meeting to further discuss the issues.

Planning Working Group (PLWG) (See Key Documents)

Alex Miller reviewed PLWG activities.

PGRR107, Related to NPRR1180, Inclusion of Forecasted Load in Planning Analyses

PGRR112, Dynamic Data Model and Full Interconnection Study (FIS) Deadline for Quarterly Stability Assessment

ROS took no action on this item.

PGRR113, Related to NPRR1198, Congestion Mitigation Using Topology Reconfigurations

Ms. Miller stated PLWG was in consensus to support ROS recommending approval of PGRR113 as submitted, and recommending ROS ask the Steady State Working Group (SSWG) to update the procedure manual to clarify that Extended Action Plan (EAP) topology reconfigurations would be removed from SSWG cases.  Some Market Participants expressed concern for potential clarifications to NPRR1198 that would impact modeling requirements and requested that PGRR113 remain tabled for further review.  Ms. Rich requested SSWG review the issues.

Steady State Working Group (SSWG) (see Key Documents)

Josh Wichers reviewed SSWG activities.

PGRR106, Clarify Projects Included in Transmission Project Information and Tracking (TPIT) Report

Mr. Wichers noted the 12/12/23 ERCOT comments to PGRR106 and stated that SSWG would review the issues at the January 10, 2024 SSWG meeting.  ROS took no action on this item.

Combined Ballot

Kevin Hanson moved to approve the Combined Ballot as follows:

- To approve the November 2, 2023 ROS Meeting Minutes as submitted

- To approve the December 7, 2023 ROS Meeting Minutes as submitted

- To endorse NPRR1210 as submitted

- To endorse and forward to TAC the 12/7/23 ROS Report and 7/18/23 Impact Analysis for PGRR109

- To waive notice; To recommend approval of NOGRR261 as submitted

Ned Bonskowski seconded the motion.  The motion carried unanimously.  (Please see ballot posted with Key Documents.)

Black Start Working Group (BSWG)

Michael Dieringer reviewed BSWG activities.

Operations Training Working Group (OTWG)

Manuel Sanchez reviewed OTWG activities.

Performance Disturbance Compliance Working Group (PDCWG) (See Key Documents)

Jimmy Jackson reviewed PDCWG activities.

Other Business (see Key Documents)

Implementation of Change in Energy Storage Resource (ESR) Ancillary Service Telemetry

Luis Hinojosa reviewed the implementation timeline for Ancillary Service “combo model” telemetry changes for ESRs, noted the December 18, 2023 Market Notice M-A121823-01 Operations, summarized discussion in prior workshops, and stated that ERCOT will enable the logic to consume the updated telemetry on February 1, 2024.  Mr. Hinojosa noted that ERCOT’s Energy Management System (EMS) is backwards compatible, allowing a Qualified Scheduling Entity (QSE) to provide telemetry in the current method until they are ready to switch.

Revised Revision Request Submission Form and TAC Report Form

Erin Wasik-Gutierrez summarized the December 4, 2024 TAC discussion on efficiencies in the Revision Request Submission Form and TAC Report form as requested by the ERCOT Board, presented the revised forms, stated the changes went into effect January 1, 2024, and reviewed the process for implementing these changes to current Revision Requests.

2024 ROS Goals

Ms. Rich presented the 2023 ROS Goals, encouraged Participants to offer potential revisions for the 2024 ROS Goals, and stated that ROS will consider 2024 ROS Goals at the February 1, 2024 ROS meeting.

2024 Working Group Leadership

Ms. Rich encouraged Market Participants to consider working group leadership opportunities and noted that 2024 Working Group Chair and Vice Chair nominations will be considered at the February 1, 2024 ROS meeting.

2024 ROS Meetings

Ms. Rich discussed meeting efficiencies for 2024 ROS meetings, including potential conflicts with Public Utility Commission of Texas (PUCT) open meetings and potential Webex-only meetings.  Market Participants expressed support for the proposed meeting efficiencies.

Review Open Action Items List

Ms. Rich encouraged Working Group leadership to review the Open Action Items list and include these items on their January meeting agenda and to provide a status update on these items in the February reports to ROS.

No Report

- Network Data Support Working Group (NDSWG)

- Operations Working Group (OWG)

- System Protection Working Group (SPWG)

- Voltage Profile Working Group (VPWG)

Adjournment

Ms. Rich adjourned the January 8, 2024 ROS meeting at 11:56 a.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

- https://www.ercot.com/calendar/01082024-ROS-Meeting