## LPL TIMELINES
Appendix D4, Lubbock Power & Light (LP&L ) Common Transactions and Timelines
Effective upon implementation of Customer Choice in the LP&L service area
Refer to Chapter 1: Definitions in paragraph P.U.C. SUBST. R 25.219(d), Tariff for Competitive Retailer Access, for the following terms: |  | Standard Meter |  |  | Non-Standard Meter
• Advanced Metering System (AMS) Operational Day • Business Day • Field Operational Day • First Available Switch Date (FASD) |  | AMS Remote (AMSR) |  |  | Self-Contained, Current Transformer (CT) Meter, Interval Data Recorder (IDR), Mechanical, Non-Metered and AMS Manual (AMSM)
(Remote Disconnect and Reconnect)
Transaction Type | Premise | If Received by: | Then Completed: | Otherwise Completed: | If Received by: | Then Completed: | Otherwise Completed:
Move In | Existing Self-Contained | 7:00 PM* on the requested date and the requested date is an AMS Operational Day | On the requested date | On the next AMS Operational Day | 5:00 PM on a Business Day at least 2 Business Days prior to the requested date | On the requested date if it is a Business Day, on the next Business Day if the requested date is not a Business Day | With less than 2 Business Days notice, completed within 2 Business Days after the Business Day the order is considered received
| Existing CT/Other | N/A | N/A | N/A | Same as above | Same as above | Same as above
| New Self-Contained | 5:00 PM on a Business Day at least 2 Business Days prior to the requested date | On the requested date if it is a Business Day | Within 2 Business Days after the Business Day the order is considered received | Same as above | Same as above | Same as above
| New CT/Other Meter | N/A | N/A | N/A | Same as above | Same as above | Same as above
Priority Move In | Existing Self- Contained | N/A | N/A | N/A | 5:00 PM on the requested date | On the requested date if it is a Business Day | The Business Day following the requested date
| Existing CT/Other | N/A | N/A | N/A | Same as above | Same as above | Same as above
| New Self-Contained | N/A | N/A | N/A | N/A | N/A | N/A
| New CT/Other Meter* | N/A | N/A | N/A | N/A | N/A | N/A
Move-Out | All | 7:00 PM on the requested date and the requested date is an AMS Operational Day | On the requested date | On the next AMS Operational Day | 5:00 PM on a Business Day at least 2 Business Days prior to the requested date | On the requested date if it is a Business Day, on the next Business Day if the requested date is not a Business Day | With less than 2 Business Days notice, completed within 2 Business Days after the Business Day the order is considered received
Disconnect for Non-Pay*** | At meter Same-day | 3:00 PM on the requested date | Within 2 hours of receipt if requested date is a Business Day | By 9:00 AM on the next Business Day | N/A | N/A | N/A
| At meter Future date | 11:59:59 PM on a day preceeding the requested date | By 9:00 AM on the requested date if it is a Business Day | By 9:00 AM on the next Business Day | 5:00 PM at least 2 Business Days prior to the requested date | Within 3 Business Days of requested date (if requested date is not a Business Day, the next Business Day shall be treated as the requested date). | With less than 2 Business Days notice, completed within 4 Business Days after the Business Day the order is considered received, but not before the requested date
| At Premium Location | 5:00 PM at least 2 Business Days prior to the requested date | Within 3 Business Days of the requested date | Within 4 Business Days after the order is received | Same as above | Same as above | Same as above
Reconnect after Disconnect for Non-Pay Must complete all Reconnects within 48 hrs of Receipt | At meter | 24/7/365 | Within 2 hours of receipt of the request |  | 3:00 PM on a Business Day | On the Business Day received | On the Business Day received if possible, otherwise completed by the close of the next Field Operational Day
[5 empty] | 7:00 PM on a Business Day | On the Business Day received | On the next Field Operational Day
If compliance with the 48 hour reconnection requirement results in reconnection being performed on a weekend.
If compliance with the 48 hour reconnection requirement results in reconnection being performed on a holiday.
| At Premium Location | 3:00 PM on the Business Day | On the day received | On the day received if possible, otherwise completed by the close of the next Field Operational Day | 3:00 PM on a Business Day | On the Business Day received | On the Business Day received if possible, otherwise completed by the close of the next Field Operational Day
|  | 7:00 PM on a Business Day | On the Business Day received | By the close of the next Field Operational Day | 7:00 PM on a Business Day | On the Business Day received | On the next Field Operational Day
|  | If compliance with the 48 hour reconnection requirement results in reconnection being performed on a weekend. |  |  | If compliance with the 48 hour reconnection requirement results in reconnection being performed on a weekend.
|  | If compliance with the 48 hour reconnection requirement results in reconnection being performed on a holiday. |  |  | If compliance with the 48 hour reconnection requirement results in reconnection being performed on a holiday.
Standard Switch | All | By 7:00 PM on an AMS Operational Day | On the day received (FASD**) | On the next AMS Operational Day | AMS-M has the same timeline as Standard Meter; | AMS-M has the same timeline as Standard Meter; | AMS-M has the same timeline as Standard Meter;
[5 empty] | All others, not applicable | All others, completed within 4 Business Days of the FASD** | All others, not applicable
Self-selected Switch | All | By 7:00 PM on the requested AMS Operational Day | On the requested date | On the next AMS Operational Day | AMS-M has the same timeline as Standard Meter; | AMS-M has the same timeline as Standard Meter; | Within 2 Business Days after the Business Day the order is considered received
[5 empty] | All others, 5:00 PM at least 2 Business Days prior to the requested date | All others, on the requested date if it is a Business Day
Revised: 3/1/2024
* All times listed in this table are Central Prevailing Time (CPT).
** The FASD is Day 0 unless otherwise specified by the registration agent.
*** No disconnections: 1) Between 5:00 PM and 7:00 AM unless coordinated disconnect between CR and Transmission and/or Distribution Service Provider (TDSP); 2) Prior to a holiday or during a weather moratorium as per Lubbock Power & Light Customer Protection Rules relating to P.U.C. SUBST. R. 25.483, Disconnection of Service.
NOTES:
1. This chart attempts to condense the provisions/requirements found in P.U.C. SUBST. R. 25.219, Terms and Conditions of Access by a Competitive Retailer to the Delivery System of a Municipally Owned Utility or Electric Cooperative that Implements Customer Choice after May 1, 2023. This chart may not cover all situations and circumstances. To the extent there is a conflict between this chart and either Rule 25.219 or LP&L's tariff, the Rule or tariff will control, respectively.
2. The timelines in the chart only apply if required inspections, permits, or other construction has been completed.