## Slide 1: SSWG Report to ROS 3-7-2024
SSWG Chair William Robertson

## Slide 2: SSWG Updates:
The GIC Case build is ongoing and over half way through.
The 24SSWG Case will be our first NB (Node Breaker) case posting. Expecting posting is scheduled for mid-May. SSWG currently has no concerns with meeting this deadline.
24SSWG TPIT 1 Posted January 2024
  24SSWG TPIT 2 expected posting May 2024 with 24SSWG Final Cases
PGRR106 is still being discussed to try to reach consensus.
  This item is on our agenda for next week’s meeting.
PGRR113, SSWG is waiting until approval of this PGRR before making any modifications to the SSWG Procedure Manual.
  SSWG has this on the agenda for next week’s meeting.
SSWG has finalized the PM updates and are seeking ROS approval.
The following slide showcases all procedure manual (PM) changes SSWG is seeking ROS approval on.

## Slide 3: Procedure Manual Revision: Summary of Changes
Section 2.1: Definitions and Acronyms
  Added Definitions for Load Resources (LFL, CLR, NCLR)
  Added Definition for Large Load Interconnection (LLI) Process
Section 4.3.1.4: Distribution Generation Resources, Distribution Energy Storage Resources, and Settlement Only Distribution Generators
  Added additional language to clarify details of SODG modeling methodology
Section 4.3.3: Generation Dispatch Methodology for Planning Purposes
  Added Battery Energy Storage dispatching methodology for On-Peak Cases
    Dispatched at a level consistent with CDR Report
  Updated minimum inertia level requirement for HRML Case Dispatching
    Increased from 105 GW to 121 GW to comply with DWG request
Section 4.3.3.1: Extraordinary Dispatch Conditions
  Added clarifying language to Extraordinary Dispatch Steps
    Added “indefinite” to distinguish mothballed units
Section 6 - Appendix A:
  Updated bus table to include substation ranges for Node-Breaker Modeling
  Expanded Rayburn County Electric Coop bus range per TSP request
  Assigned bus range for Tri-County Electric Coop
  Added additional zone for Oncor
  Added additional zone for LCRA and updated naming for several existing zones
  Added additional zone for Garland Power & Light
Section 6 - Appendix E: Load ID Prefixes
  Added new Load ID's to further distinguish Large Loads

## Slide 4: Questions?