## Slide 1: Operations Working Group
Chair- Rickey Floyd
Vice-Chair- Tyler Springer
HITE List Sub-Chair – Pushkar Chhajed
03/07/2024

## Slide 2: ERCOT Updates and System Operation Report
Unofficial Peaks Reported by ERCOT
January Peak Demand – 78,314 MW on 1/16 at 0800.
  New January and Winter Peak. Previous Winter Peak 74,525
January Solar Penetration – 15,222 - New Record set on 1/28
January Wind Penetration – 27,548 – New Record set on 1/7
Renewable Penetration – 35,260 – New Record set on 1/19

## Slide 3: Texas Reliability Entity Report
No Report

## Slide 4: NPRR 1070 - Planning Criteria for GTC Exit Solutions
Remains Tabled, no update.

## Slide 5: NPRR 1198 and NOGRR258 - Congestion Mitigation Using Topology Reconfigurations
Alex Miller provided update on EDF Renewable comments
Key changes reviewed in latest comment:
  Changes to threshold
    5 million for 3 months within the past 36 months
    2 million over 1 month to address extreme congestion conditions without the 3 month wait
  Ability to reject based on work load and the number of proposed EAPs
  Clarify ERCOT posting to MIS after a complete submission
  Change comment period back to 30 days with the ability to ask for more time to review or reject proposed EAP
  Chronic congestion to be treated as temporary congestion requiring a proposed end date
  RAPs changed back to original time period
  Includes $1 million in savings qualifier
Discussion raised concerns over the following
  Clarifying the phrase “avoidable congestion prior to SCED”
  Additional considerations on “previously rejected”

## Slide 6: NPRR 1198 and NOGRR258 - Congestion Mitigation Using Topology Reconfigurations
Blake Holt provided update on LCRA comments
  Allow radial load at ERCOT and TO discretion
  Cannot negatively impact current or scheduled transmission outages
  Changes to percentage of flow increase on existing 69kV constraint to no mare that 2%. Previously 1%.
  Breaker status changes to substations increased from 2 to 3
  Remove language “not registered as a TSP”
  15 days for ERCOT to approve, modify or reject
Tabled pending additional comments and reviews

## Slide 7: OTWG Update
Awareness of issues with processing payment for Operator Certification Test
GridGeo may not be available for Black Start. If not, there will be no pilot session
Registration is open for the Operations Training seminar
More details of the OTWG update can be found on the OWG February 20th meeting page.

## Slide 8: Other Business
The question raised that if GridGeo will not be ready for Black Start, will be ready for the implementation of NOGRR249?
Checking with ERCOT on this status.