## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for February 2024

## Slide 2: Non-IRR GREDP < 85% – February 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 293 | 33 | 42 | 1.56 | 78.57
Unit 328 | 19 | 23 | 0.61 | 82.61
Unit 417 | 67 | 80 | 0.98 | 83.75

## Slide 3: IRR Summary – February 2024
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 83.77 | 74.15 | 82.68
GREDP Median (%) | 92.60 | 82.76 | 88.45
Average MW Error | 5.70 | 6.00 | 5.99
Median MW Error | 5.29 | 5.57 | 5.62
Total Intervals Scored | 134,350 | 70,351 | 68,638
100+ Intervals Scored | 160 | 198.00 | 107
Total Intervals Scored Average | 371.13 | 399.72 | 641.48

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – February 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 3,793 | 3,794 | 5.40 | 99.97
Unit 2 | 3,275 | 3,334 | 2.61 | 98.23
Unit 3 | 3,046 | 3,176 | 8.83 | 95.91
Unit 4 | 3,005 | 3,046 | 3.50 | 98.65
Unit 6 | 2,612 | 2,641 | 3.80 | 98.90
Unit 7 | 2,438 | 2,556 | 5.43 | 95.38
Unit 9 | 2,500 | 2,507 | 5.54 | 99.72
Unit 10 | 2,369 | 2,462 | 7.13 | 96.22
Unit 11 | 2,347 | 2,459 | 2.65 | 95.45
Unit 12 | 2,309 | 2,311 | 2.43 | 99.91
Unit 14 | 2,213 | 2,224 | 2.76 | 99.51
Unit 15 | 2,199 | 2,218 | 8.68 | 99.14
Unit 18 | 1,841 | 1,853 | 3.33 | 99.35
Unit 20 | 1,576 | 1,653 | 7.18 | 95.34
Unit 21 | 1,564 | 1,643 | 12.56 | 95.19
Unit 23 | 1,555 | 1,620 | 5.28 | 95.99
Unit 25 | 1,475 | 1,488 | 10.29 | 99.13

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – February 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 27 | 1,375 | 1,418 | 3.03 | 96.97
Unit 28 | 1,293 | 1,359 | 3.71 | 95.14
Unit 29 | 1,299 | 1,325 | 12.12 | 98.04
Unit 30 | 1,247 | 1,305 | 8.05 | 95.56
Unit 32 | 1,194 | 1,235 | 6.25 | 96.68
Unit 34 | 1,120 | 1,157 | 8.18 | 96.80
Unit 37 | 1,060 | 1,081 | 4.80 | 98.06
Unit 38 | 1,042 | 1,075 | 8.20 | 96.93
Unit 44 | 968 | 973 | 4.38 | 99.49
Unit 52 | 873 | 887 | 3.10 | 98.42
Unit 55 | 839 | 867 | 6.61 | 96.77
Unit 56 | 838 | 860 | 7.77 | 97.44
Unit 57 | 858 | 859 | 4.37 | 99.88
Unit 64 | 781 | 797 | 10.35 | 97.99
Unit 66 | 743 | 770 | 1.27 | 96.49
Unit 68 | 713 | 723 | 5.15 | 98.62
Unit 72 | 704 | 715 | 9.38 | 98.46

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – February 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 73 | 692 | 708 | 5.95 | 97.74
Unit 79 | 638 | 638 | 4.55 | 100.00
Unit 84 | 524 | 545 | 14.17 | 96.15
Unit 102 | 384 | 384 | 5.98 | 100.00
Unit 112 | 324 | 332 | 3.07 | 97.59
Unit 117 | 291 | 296 | 4.16 | 98.31
Unit 124 | 250 | 253 | 3.63 | 98.81
Unit 127 | 231 | 240 | 3.54 | 96.25
Unit 128 | 232 | 235 | 2.17 | 98.72
Unit 129 | 225 | 235 | 2.26 | 95.74
Unit 132 | 219 | 219 | 8.22 | 100.00
Unit 136 | 180 | 186 | 4.60 | 96.77
Unit 138 | 179 | 183 | 2.17 | 97.81
Unit 141 | 172 | 178 | 7.17 | 96.63
Unit 153 | 124 | 128 | 5.81 | 96.88
Unit 154 | 109 | 114 | 4.86 | 95.61
Unit 156 | 108 | 112 | 3.48 | 96.43
Unit 158 | 100 | 104 | 3.29 | 96.15

## Slide 7: IRR < 95%, ≥ 100 Scored Intervals – February 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 5 | 2,798 | 3,034 | 11.28 | 92.22
Unit 8 | 2,275 | 2,529 | 6.37 | 89.96
Unit 13 | 2,062 | 2,262 | 2.10 | 91.16
Unit 16 | 1,657 | 2,015 | 4.37 | 82.23
Unit 17 | 1,873 | 1,989 | 1.86 | 94.17
Unit 19 | 1,305 | 1,666 | 10.27 | 78.33
Unit 22 | 1,459 | 1,635 | 4.33 | 89.24
Unit 24 | 1,403 | 1,522 | 6.19 | 92.18
Unit 26 | 1,248 | 1,458 | 6.85 | 85.60
Unit 31 | 1,194 | 1,273 | 5.33 | 93.79
Unit 33 | 1,061 | 1,214 | 6.96 | 87.40
Unit 35 | 1,059 | 1,123 | 1.64 | 94.30
Unit 36 | 974 | 1,091 | 4.42 | 89.28
Unit 39 | 1,005 | 1,070 | 5.63 | 93.93
Unit 40 | 989 | 1,065 | 5.62 | 92.86
Unit 41 | 1,005 | 1,059 | 4.96 | 94.90
Unit 42 | 979 | 1,049 | 1.09 | 93.33
Unit 43 | 664 | 985 | 5.24 | 67.41

## Slide 8: IRR < 95%, ≥ 100 Scored Intervals – February 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 45 | 908 | 965 | 6.59 | 94.09
Unit 46 | 678 | 960 | 9.57 | 70.63
Unit 47 | 706 | 943 | 8.19 | 74.87
Unit 48 | 417 | 912 | 3.75 | 45.72
Unit 49 | 858 | 911 | 8.42 | 94.18
Unit 50 | 584 | 900 | 4.51 | 64.89
Unit 51 | 825 | 890 | 4.00 | 92.70
Unit 53 | 812 | 885 | 7.39 | 91.75
Unit 54 | 819 | 878 | 8.43 | 93.28
Unit 58 | 632 | 845 | 7.32 | 74.79
Unit 59 | 732 | 840 | 2.87 | 87.14
Unit 60 | 279 | 836 | 8.99 | 33.37
Unit 61 | 725 | 820 | 5.57 | 88.41
Unit 62 | 734 | 814 | 2.07 | 90.17
Unit 63 | 696 | 801 | 3.82 | 86.89
Unit 65 | 721 | 793 | 5.97 | 90.92
Unit 67 | 478 | 763 | 1.75 | 62.65
Unit 69 | 636 | 718 | 2.34 | 88.58

## Slide 9: IRR < 95%, ≥ 100 Scored Intervals – February 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 70 | 637 | 718 | 12.86 | 88.72
Unit 71 | 665 | 717 | 4.21 | 92.75
Unit 74 | 627 | 704 | 2.27 | 89.06
Unit 75 | 642 | 704 | 8.12 | 91.19
Unit 76 | 645 | 692 | 2.69 | 93.21
Unit 77 | 642 | 678 | 1.75 | 94.69
Unit 78 | 634 | 672 | 2.74 | 94.35
Unit 80 | 319 | 601 | 7.65 | 53.08
Unit 81 | 494 | 574 | 8.90 | 86.06
Unit 82 | 519 | 561 | 2.73 | 92.51
Unit 83 | 508 | 560 | 2.80 | 90.71
Unit 85 | 416 | 544 | 7.76 | 76.47
Unit 86 | 438 | 524 | 5.29 | 83.59
Unit 87 | 360 | 520 | 4.68 | 69.23
Unit 88 | 475 | 517 | 7.18 | 91.88
Unit 89 | 332 | 500 | 16.25 | 66.40
Unit 90 | 438 | 498 | 11.07 | 87.95
Unit 91 | 376 | 492 | 2.78 | 76.42

## Slide 10: IRR < 95%, ≥ 100 Scored Intervals – February 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 92 | 353 | 478 | 6.39 | 73.85
Unit 93 | 402 | 471 | 2.80 | 85.35
Unit 94 | 332 | 453 | 8.87 | 73.29
Unit 95 | 398 | 443 | 4.00 | 89.84
Unit 96 | 374 | 440 | 7.15 | 85.00
Unit 97 | 301 | 437 | 3.78 | 68.88
Unit 98 | 378 | 423 | 8.15 | 89.36
Unit 99 | 347 | 419 | 8.23 | 82.82
Unit 100 | 364 | 391 | 4.52 | 93.09
Unit 101 | 288 | 389 | 6.44 | 74.04
Unit 103 | 339 | 380 | 8.28 | 89.21
Unit 104 | 245 | 357 | 8.28 | 68.63
Unit 105 | 314 | 355 | 1.10 | 88.45
Unit 106 | 332 | 352 | 12.02 | 94.32
Unit 107 | 313 | 339 | 5.26 | 92.33
Unit 108 | 251 | 338 | 2.75 | 74.26
Unit 109 | 314 | 337 | 6.31 | 93.18
Unit 110 | 240 | 337 | 5.16 | 71.22

## Slide 11: IRR < 95%, ≥ 100 Scored Intervals – February 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 111 | 274 | 334 | 6.65 | 82.04
Unit 113 | 289 | 323 | 6.46 | 89.47
Unit 114 | 211 | 323 | 1.24 | 65.33
Unit 115 | 271 | 318 | 19.46 | 85.22
Unit 116 | 284 | 306 | 0.73 | 92.81
Unit 118 | 264 | 290 | 2.90 | 91.03
Unit 119 | 257 | 289 | 2.76 | 88.93
Unit 120 | 136 | 270 | 6.07 | 50.37
Unit 121 | 243 | 261 | 5.05 | 93.10
Unit 122 | 199 | 259 | 10.44 | 76.83
Unit 123 | 241 | 255 | 4.62 | 94.51
Unit 125 | 217 | 247 | 7.90 | 87.85
Unit 126 | 227 | 241 | 7.67 | 94.19
Unit 130 | 156 | 233 | 3.33 | 66.95
Unit 131 | 180 | 227 | 12.10 | 79.30
Unit 133 | 184 | 213 | 5.36 | 86.38
Unit 134 | 159 | 199 | 5.40 | 79.90
Unit 135 | 73 | 190 | 8.14 | 38.42

## Slide 12: IRR < 95%, ≥ 100 Scored Intervals – February 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 137 | 175 | 185 | 4.95 | 94.59
Unit 139 | 158 | 179 | 1.75 | 88.27
Unit 140 | 137 | 179 | 7.36 | 76.54
Unit 142 | 154 | 166 | 6.78 | 92.77
Unit 143 | 146 | 155 | 2.82 | 94.19
Unit 144 | 60 | 147 | 11.63 | 40.82
Unit 145 | 133 | 146 | 8.33 | 91.10
Unit 146 | 133 | 145 | 4.82 | 91.72
Unit 147 | 123 | 142 | 7.70 | 86.62
Unit 148 | 71 | 141 | 11.17 | 50.35
Unit 149 | 123 | 133 | 1.58 | 92.48
Unit 150 | 110 | 133 | 8.67 | 82.71
Unit 151 | 124 | 133 | 9.79 | 93.23
Unit 152 | 119 | 129 | 4.01 | 92.25
Unit 155 | 93 | 112 | 2.68 | 83.04
Unit 157 | 73 | 105 | 7.37 | 69.52
Unit 159 | 52 | 102 | 5.94 | 50.98
Unit 160 | 54 | 100 | 3.30 | 54.00