DRAFT

Minutes of the Reliability Operations Subcommittee (ROS) Meeting – Webex Only

Thursday, February 1, 2024 – 9:30 a.m.

Attendance

ROS Representatives:

| Borkar, Sandeep | Lower Colorado River Authority (LCRA) |  |  |
| --- | --- | --- | --- |
| Bowen, Kenneth | CPS Energy |  |  |
| Burkhead, Brett | Calpine Corporation (Calpine) |  |  |
| Cochran, Adam | Tenaska Power Services (Tenaska) |  |  |
| Cochran, Seth | DC Energy |  |  |
| Fun, Meng | Chariot Energy |  |  |
| Gerety, Chris | Texas-New Mexico Power (TNMP) |  |  |
| Hanson, Kevin | National Grid Renewables (NG Renewables) |  |  |
| Hendrix, Chris | Demand Control 2 |  |  |
| Henson, Martha | Oncor Electric Delivery (Oncor) |  | Alt. Rep. for Eithar Nashawati |
| Kremling, Barry | Guadalupe Valley Electric Cooperative (GVEC) |  |  |
| Koenig, Chris | Golden Spread Electric Cooperative (GSEC) |  |  |
| Kunkel, Dennis | AEP Service Corporation (AEPSC) |  |  |
| Lutrick, Chris | Denton Municipal Electric (DME) |  |  |
| Matt, Kevin | Reliant Energy Retail Services (Reliant) |  |  |
| Miller, Alex | EDF Renewables |  |  |
| Mrini, Imane | Austin Energy |  |  |
| Okenfuss, James | Shell Energy North America (SENA) |  |  |
| Person, Paul | South Texas Electric Cooperative (STEC) |  |  |
| Pokharel, Nabaraj | Office of Public Utility Council (OPUC) |  |  |
| Reed, Cyrus | Sierra Club |  |  |
| Reid, Mike | Air Liquide |  |  |
| Rich, Katie | Luminant Corporation (Luminant) |  |  |
| Schmitt, Jennifer | Rhythm Ops |  |  |
| Smith, Chase | Southern Power |  |  |
| Varnell, John | Tenaska |  | Alt. Rep. for Adam Cochran |
| Woitt, Wes | CenterPoint Energy (CNP) |  |  |

| - Guests: |  |  |
| --- | --- | --- |
| Ahn, Sirius | Oncor |  |
| Anderson, Connor | AB Power Advisors |  |
| Ashley, Kristy | CES |  |
| Barnes, Bill | NRG |  |
| Blakenship, David | CNP |  |
| Boggs, Callie | Eric Winters Goff, LLC |  |
| Bunch, Kevin | EDF Trading |  |
| Carter, Cathey | GridAxon |  |
| Chan, Vanessa | Enel |  |
| Chanem, Sherryhan | Public Utility Commission of Texas (PUCT) |  |
| Cheng, Yong | LCRA |  |
| Chwialkowski, Todd | EDFR |  |
| Colaco, Elibia | Serena |  |
| DeRidder, Chris | Nfront Consulting |  |
| DeWitt, Charles | PEC |  |
| Dharme, Neeraja | EDFT |  |
| Dieringer, Michael | LCRA |  |
| Downey, Marty | Luminant |  |
| Escamilla, Gerardo | CPS Energy |  |
| Evans, Doug | AEP |  |
| Flores, Isabel | RWE |  |
| Floyd, Rickey | Oncor |  |
| Garrett, Bob | Key Capture Energy |  |
| Ghoshal, Orijit | esVolta |  |
| Haley, Ian | Morgan Stanley |  |
| Helton, Bob | ENGIE North America (ENGIE) |  |
| Hernandez, Jessica | CNP |  |
| Hinds, David | LCRA |  |
| Holt, Blake | LCRA |  |
| Huynh, Thuy | Potomac Economics |  |
| Jablonski, Ward | MEPPI |  |
| Jackson, Jimmy | CPS Energy |  |
| Jewell, Michael | Jewell and Associates |  |
| Johnson, Shannon | PEC |  |
| Jowlabar, Nicholas | RWE |  |
| Kat, Oliver |  |  |
| Kauffman, Catherine | DNV |  |
| Keller, Jenna | Potomac Economics |  |
| Kemper, Jason | EDRF |  |
| Khayat, Maribel | CNP |  |
| Koberlein, Paul | LP&L |  |
| Korde, Sky | NGR |  |
| Koz, Brian |  |  |
| Kroskey, Tony | Brazos |  |
| Lee, Jim | CNP |  |
| Lotter, Eric | GridMonitor |  |
| Lu, Bo | Broad Reach Power |  |
| Macaraeg, Tad | Stem |  |
| Mareddy, Mahendhar | DNV |  |
| Martin, Collin | Oncor |  |
| Martinez, Mauricio | DNV |  |
| Matevosyan, Julia | ESIG |  |
| McChesney, Mark | Oncor |  |
| McClellan, Suzi | Good Company Associates |  |
| McIntyre, Ken | Plus Power |  |
| Morris, Sandy | WETT |  |
| Mulholland, Chad | NRG |  |
| Murugesan, Malini | PEC |  |
| Nandigam, Kiran | RWE |  |
| Nix, Emma | Leeward Renewable Energy |  |
| Oxendine Helen | CPS Energy |  |
| Parvathaneni, Sirisha | Oncor |  |
| Penney, David | Texas Reliability Entity, Inc. (Texas RE) |  |
| Pfefferle, Ryan | Occidental Chemical |  |
| Pietrucha, Doug | AEE |  |
| Preas, Dylan | LCRA TSC |  |
| Qureshi, Fahad | CNP |  |
| Ray, Benjamin | Austin Energy |  |
| Reedy, Steve | CIM View Consulting |  |
| Salehi, Farshid | DNV |  |
| Salem-Natarajan, Dinesh |  |  |
| Sanchez, Manuel | Oncor |  |
| Siddiqi, Shams | Crescent Power Consulting |  |
| Sills, K | GP&L |  |
| Tay, Sing | AES |  |
| Tovar, Matt | Oncor |  |
| Turner, Lucas | STEC |  |
| Velasquez, Ivan | Oncor |  |
| Viswanadham, Venkata | DNV |  |
| Walcavich, Colin | NG Renewables |  |
| Walker, Zachary | Oncor |  |
| Watkins, Jourdan | CEHE |  |
| White, Laurie | AEP |  |
| Wichers, Josh | AEP |  |
| Withrow, David | AEP |  |
| Wittmeyer, Bob | Longhorn Power |  |
| Woods, Brad | Texas RE |  |
| Wu, Ryan | DNV |  |
| ERCOT Staff: |  |  |
| Albracht, Brittney |  |  |
| Boren, Ann |  |  |
| Cheng, Yunzhi |  |  |
| Clifton, Suzy |  |  |
| Cyphers, Darrell |  |  |
| Devadhas Mohanadha, Thinesh |  |  |
| Du, Pengwei |  |  |
| Fernandes, Jennifer |  |  |
| Fohn, Doug |  |  |
| Garcia, Freddy |  |  |
| Golen, Robert |  |  |
| Gnanam, Prabhu |  |  |
| Gravois, Patrick |  |  |
| Hanson, Pamela |  |  |
| Heinrich, Holly |  |  |
| Herrera, Shane |  |  |
| Huang, Fred Shun-Hsien |  |  |
| Jenkins, Darrell |  |  |
| Kang, Sun Wook |  |  |
| Lee, Alex |  |  |
| Mago, Nitika |  |  |
| Matlock, Robert |  |  |
| Meier, Eric |  |  |
| Miller, Megan |  |  |
| Opheim, Calvin |  |  |
| Roberts Randy |  |  |
| Sanchez, Daniel |  |  |
| Schmall, John |  |  |
| Shaw, Pamela |  |  |
| Solis, Stephen |  |  |
| Troublefield, Jordan |  |  |
| Wasik-Gutierrez, Erin |  |  |
| Yan, Ping |  |  |
| You, Haibo |  |  |

Unless otherwise indicated, all Market Segments participated in the votes.

Suzy Clifton called the February 1, 2024 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Ms. Clifton directed attention to the Antitrust Admonition, which was displayed.

- Election of 2024 ROS Chair (see Key Documents)

Ms. Clifton reviewed the leadership election process codified in the Technical Advisory Committee

Procedures and opened the floor for nominations.

Seth Cochran nominated Katie Rich for ROS Chair; Nabaraj Pokharel nominated Paul Person for ROS Chair.  Ms. Rich and Mr. Person accepted their nominations.  By ballot, Ms. Rich was elected 2024 ROS Chair.

Agenda Review

- Ms. Rich reviewed the agenda.

- Approval of Meeting Minutes (see Key Documents)

- January 8, 2024

Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

- Technical Advisory Committee (TAC) Update

- Ms. Rich reviewed the disposition of items considered at the January 24, 2024 TAC meeting.

- 2024 ROS Working Group Leadership (See Key Documents)

Ms. Rich presented the 2024 ROS Working Group Leadership for ROS consideration and encouraged Market Participants to consider the Network Data Support Working Group (NDSWG) Vice Chair opportunity.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

- 2024 ROS Goals (see Key Documents)

- Participants reviewed the draft 2024 ROS Goals and offered clarifications.  Some Participants expressed a desire to await development of the 2024 TAC Goals before finalizing 2024 ROS Goals.  Ms. Rich noted that the 2024 ROS Goals would be considered at the March 7, 2024 ROS meeting.

- ERCOT Reports (see Key Documents)

- Operations Report

Alex Lee summarized the December 2023 Operations Report.

- System Planning Report

- Ping Yan summarized the December 2023 System Planning Report.

- Generic Transmission Constraint (GTC) Update

- Yunzhi Cheng reviewed the updated Zapata-Star and Kinney County GTC results and observations for these smaller GTCs.

ROS Revision Requests (see Key Documents)

Impact Analysis

Nodal Operating Guide Revision Request (NOGRR) 261, Move OBD to Section 8 – Procedure for Calculating RRS Limits for Individual Resources

Market Participants reviewed the 12/21/23 Impact Analysis to NOGRR261.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

Revision Requests Tabled at ROS (see Key Documents)

Planning Guide Revision Request (PGRR) 073, Related to NPRR956, Designation of Providers of Transmission Additions

Resource Registration Glossary Revision Request (RRGRR) 036, Related to NPRR1191, Registration, Interconnection, and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater

NOGRR256, Related to NPRR1191, Registration, Interconnection, and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater

PGRR111, Related to NPRR1191, Registration, Interconnection, and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater

PGRR114, Related to NPRR1212, Clarification of Distribution Service Provider’s Obligation to Provide an ESI ID

ROS took no action on these items.

NDSWG (see Key Documents)

Gerardo Escamilla reviewed NDSWG activities, including Nodal Protocol Revision Request (NPRR) 1198, Congestion Mitigation Using Topology Reconfigurations, and stated that from a network modeling perspective NDSWG had no clarifications or recommendations.  Mr. Escamilla noted that a Network Operating Model Change Request (NOMCR) would be submitted to change the state of line breakers for the duration of the Extended Action Plan (EAP).

Operations Working Group (OWG) (see Key Documents)

Rickey Floyd reviewed OWG activities.

NPRR1070, Planning Criteria for GTC Exit Solutions

ROS took no action on this item.

NPRR1198, Congestion Mitigation Using Topology Reconfigurations

NOGRR258, Related to NPRR1198, Congestion Mitigation Using Topology Reconfigurations

Mr. Floyd summarized NPRR1198 and NOGRR258 discussion at the January 23, 2024 OWG meeting and encouraged participants to attend the February 20, 2024 OWG meeting to further discuss the issues. ROS took no action on these items.

Steady State Working Group (SSWG)

Josh Wichers reviewed SSWG activities.

PGRR106, Clarify Projects Included in Transmission Project Information and Tracking (TPIT) Report

Mr. Wichers summarized PGRR106 discussion at the January 10, 2024 SSWG meeting and noted that participants requested additional time to review the 12/12/23 ERCOT comments to PGRR106.  Ms. Rich encouraged participants to attend the February 7, 2024 NDSWG meeting to further discuss the issues.

Planning Working Group (PLWG) (See Key Documents)

Alex Miller reviewed PLWG activities.

PGRR107, Related to NPRR1180, Inclusion of Forecasted Load in Planning Analyses

PGRR112, Dynamic Data Model and Full Interconnection Study (FIS) Deadline for Quarterly Stability Assessment

PGRR113, Related to NPRR1198, Congestion Mitigation Using Topology Reconfigurations

ROS took no action on these items.

Inverter Based Resources Working Group (IBRWG)  (see Key Documents)

- Julia Matevosyan reviewed IBRWG activities.

NOGRR255, High Resolution Data Requirements

Ms. Matevosyan summarized NOGRR255 discussion at the January 12, 2024 and January 22, 2024 meetings.  Market Participants reviewed the 1/30/24 CEHE comments and additional proposed clarifications to NOGRR255, and discussed whether NOGRR255 should remain tabled for further review by the IBRWG.  Stephen Solis noted that the edits were minor and clarifying in nature, confirmed that  ERCOT supported the 1/30/24 CEHE comments and clarifications to NOGRR255, and requested ROS consider the issues.

Chase Smith moved to recommend approval of NOGRR255 as amended by the 1/30/24 CEHE comments as revised by ROS.  Kevin Hanson seconded the motion.  The motion carried with one abstention from the Independent Generator (Luminant) Market Segment.  (Please see ballot posted with Key Documents.)

Dynamics Working Group (DWG)

DWG had not met since the January 8, 2024 ROS meeting.

System Protection Working Group (SPWG) (see Key Documents)

Mark McChesney reviewed SPWG activities.

Operations Training Working Group (OTWG) (see Key Documents)

OTWG Scope

Manuel Sanchez reviewed OTWG activities and presented the OTWG scope for ROS consideration.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

Combined Ballot

Dennis Kunkel moved to approve the Combined Ballot as follows:

- To approve the January 8, 2024 ROS Meeting Minutes as submitted

- To approve the 2024 ROS Working Group leadership as presented

- To endorse and forward to TAC the 1/8/24 ROS Report and 12/21/23 Impact Analysis for NOGRR261

- To approve the OTWG Scope as submitted

Mr. Hanson seconded the motion.  The motion carried unanimously.  (Please see ballot posted with Key Documents.)

Performance Disturbance Compliance Working Group (PDCWG) (See Key Documents)

Kevin Bunch reviewed PDCWG activities.

Other Business

Workshops

Nitika Mago announced the Dispatchable Reliability Reserve Service (DRRS) Workshop I on February 29, 2024 and the 2024 Ancillary Services Methodology - Review on ERCOT Contingency Reserve Service (ECRS) Minimum Quantity Determination and Deployment Workshop on March 19, 2024.

Review Open Action Items List

Market Participants reviewed the Open Action Items list, and removed the following item:

- Evaluating and improving ERCOT’s Dynamic Frequency Response Model

No Report

- Black Start Working Group (BSWG)

- Voltage Profile Working Group (VPWG)

Adjournment

Ms. Rich adjourned the February 1, 2024 ROS meeting at 12:14 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

- https://www.ercot.com/calendar/02012024-ROS-Meeting-_-Webex