## Slide 1
Potential Price Corrections for Operating Day Feb. 28, ‘24 – Incorrect GTC Shift Factors Impacting the Real-Time Market
Matthew Young
Supervisor, Market Validation
Technical Advisory Committee (TAC)
March 27, 2024

## Slide 2: Background
On February 28, 2024, during routine maintenance, the process that exports constraint data from the Energy Management System (EMS) to the Market Management System (MMS) experienced an issue that resulted in incorrect constraint data for Generic Transmission Constraints (GTCs) being sent to the Security-Constrained Economic Dispatch (SCED) process. Affected SCED intervals were between 15:50 and 16:25.
On March 1, 2024 at 2:40 PM, ERCOT issued an Operations Notice, notifying the market of the issue and that ERCOT would be performing further analysis to determine if the impact to the market met the criteria for significance needed to seek ERCOT Board of Directors (Board) approval for price correction as specified by ERCOT Protocol Section 4.5.3(6)(b).
Market Notice M-B031824-01 was issued on March 18, 2024, notifying the market of the price impact results and ERCOT’s intent to seek Board review.

## Slide 3: Settlement Impact Analysis
ERCOT Protocols Section 6.3(7)(b) requires that the absolute value impact to any single Counter-Party (CP) meet one of the following two criteria before seeking approval from the Board.
  2% and also greater than $20,000; or
  20% and also greater than $2,000.
Operating Day | Counter-Parties meeting criteria in Protocol Section 6.3(7)(b)(i) | Counter-Parties meeting criteria in Protocol Section 6.3(7)(b)(ii)
2/28/2024 | 7 | 9
Counter-Parties meeting criteria for significance

## Slide 4: Settlement Impact Analysis
Operating Day | Maximum Amount ($Thousands) | Maximum Percentage for Criteria (i)* | Maximum Percentage for Criteria (ii)**
2/28/2024 | $455.32 | 2137.76% | 2137.76%
* The maximum of percentage change to any single Counter-Party with impact more than $20,000 (set as NA when no single Counter-Party has impact more than $20,000)
** The maximum of percentage change to any single Counter-Party with impact more than $2,000 (set as NA when no single Counter-Party has impact more than $2,000)
Maximum estimated absolute value impact to Counter-Parties
Estimated change in charges due to ERCOT*
Operating Day | Change in Statement Charges Due to ERCOT ($ thousands) | 
2/28/2024 | $277.93 | 1.87%
* Negative amounts are increased payments to Market Participants; positive amounts are increased charges. The percent amount is the absolute value of the percent impact to the previously settlement net amount due to/from ERCOT.

## Slide 5: Next Steps
ERCOT intends to seek an approval of correction to RTM prices for February 28, 2024 at the Reliability and Market Committee meeting on April 22, 2024, and the Board meeting on April 23, 2024.