Date:			March 27, 2024

To:			Technical Advisory Committee (TAC) Representatives

From:			Diana Coleman, Protocol Revision Subcommittee (PRS) Chair

Subject: 		Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRR(s) recommended for approval by PRS: - NPRR1197, Optional Exclusion of Load from Netting at ERCOT-Polled Settlement (EPS) Metering Facilities which Include Resources [Engie] - NPRR1205, Revisions to Credit Qualification Requirements of Banks and Insurance Companies [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments participated in each vote and (ii) for NPRRs, ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed the NPRR and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR1197, Optional Exclusion of Load from Netting at ERCOT-Polled Settlement (EPS) Metering Facilities which Include Resources Sponsor: Engie Proposed Effective Date: The first of the month following Public Utility Commission of Texas (PUCT) approval Estimated Impacts: No impact Revision Description: This NPRR adds the ability for Resources to separately meter and settle Load(s) located behind the ERCOT-Polled Settlement (EPS) metering point at the Resource’s Point of Interconnection (POI). PRS Decision: On 2/8/24, PRS voted to recommend approval of NPRR1197 as amended by the 2/7/24 Oncor comments as revised by PRS. There was one opposing vote from the Cooperative (STEC) Market Segment and three abstentions from the Consumer (Residential Consumer), Cooperative (Brazos), and Independent Generator (Constellation) Market Segments. On 3/20/24, PRS voted to endorse and forward to TAC the 2/8/24 PRS Report and 2/28/24 Impact Analysis for NPRR1197. There was one abstention from the Cooperative (STEC) Market Segment. - NPRR1205, Revisions to Credit Qualification Requirements of Banks and Insurance Companies Sponsor: ERCOT Proposed Effective Date: Upon system implementation – Priority 2025; Rank 4520 Estimated Impacts: Between $80K and $120K Revision Description: This NPRR strengthens ERCOT’s market entry eligibility and continued participation requirements for ERCOT Counter-Parties (i.e., Qualified Scheduling Entities (QSEs) and Congestion Revenue Right (CRR) Account Holders). Specific changes include strengthening and clarifying minimum credit quality qualifications for: Banks, which issue letters of credit on behalf of Market Participants to ERCOT; and Insurance companies, which issue surety bonds on behalf of Market Participants to ERCOT. PRS Decision: On 2/8/24, PRS voted unanimously to recommend approval of NPRR1205 as amended by the 1/16/24 Luminant comments. On 3/20/24, PRS voted unanimously to endorse and forward to TAC the 2/8/24 PRS Report and 10/24/23 Impact Analysis for NPRR1205 with a recommended priority of 2025 and rank of 4520. CFSG Review: See 2/23/24 CFSG comments Revision Requests Rejected None Revision Requests Withdrawn - NPRR1209, Board Priority – State Of Charge Ancillary Service Failed Quantity Allocations under NPRR1149 – URGENT [ERCOT] Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at PRS - NPRR1212, Clarification of Distribution Service Provider’s Obligation to Provide an ESI ID [ERCOT] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR956, Designation of Providers of Transmission Additions [ERCOT] - NPRR1070, Planning Criteria for GTC Exit Solutions [EDF Renewables / Pattern Energy] - NPRR1162, Single Agent Designation for a QSE and its Sub-QSEs for Voice Communications over the ERCOT WAN [ERCOT] - NPRR1180, Inclusion of Forecasted Load in Planning Analyses [Oncor] - NPRR1188, Implement Nodal Dispatch and Energy Settlement for Controllable Load Resources [ERCOT] - NPRR1190, High Dispatch Limit Override Provision for Increased NOIE Load Costs [Joint Sponsors] - NPRR1191, Registration, Interconnection, and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater [ERCOT] - NPRR1198, Congestion Mitigation Using Topology Reconfigurations [EDF Renewables] - NPRR1200, Utilization of Calculated Values for Non-WSL for ESRs [NextEra Energy] - NPRR1202, Refundable Deposits for Large Load Interconnection Studies [Lancium] - NPRR1214, Reliability Deployment Price Adder Fix to Provide Locational Price Signals, Reduce Uplift and Risk [Joint Sponsors] - NRRR1215, Clarifications to the Day-Ahead Market (DAM) Energy-Only Offer Calculation [ERCOT] - NPRR1216, Implementation of Emergency Pricing Program [ERCOT] - NPRR1217, Remove Verbal Dispatch Instruction (VDI) Requirement for Deployment and Recall of Load Resources and Emergency Response Service (ERS) Resources [ERCOT] - NPRR1218, REC Program Changes Per P.U.C. SUBST. R. 25.173, Renewable Energy Credit Program [ERCOT] - NPRR1219, Methodology Revisions and New Definitions for the Report on Capacity, Demand and Reserves in the ERCOT Region (CDR) [ERCOT] - SCR826, ERCOT.com Enhancements [Residential Consumer] - SCR827, Grid Conditions Graph Addition for Operating Reserve Demand Curve (ORDC) Level [ACES] New Revision Requests Scheduled for Consideration at PRS - NRRR1220, Market Restart Approval Process Modifications [ERCOT] - NPRR1221, Related to NOGRR262, Provisions for Operator Controlled Manual Load Shed [ERCOT] - NPRR1222, Public Utility Commission of Texas Approval of the Methodology for Determining Ancillary Service Requirements [ERCOT] - NPRR1223, Addition of TA Contact Information Into TDSP Application Form [ERCOT] These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/issues/nprr https://www.ercot.com/mktrules/issues/scr