## Slide 1
NPRR1186 Update
Sreenivas Badri
March 28, 2024

## Slide 2: NPRR1186 Status
Objective of this NPRR is to implement improvements prior to the RTC+B project for better ESR State of Charge Awareness, Accounting, and Monitoring.
NPRR Status
  On 1/18/2024, PUCT remanded this NPRR to the ERCOT Board.
  Suggested modifications to section 8.1
  ERCOT submitted comments to remove the revisions to Protocols Section 8.1
  ERCOT Board approved
  Pending PUCT approval

## Slide 3: ERCOT System Changes
New ICCP Telemetry points for ESR additions

## Slide 4: ERCOT System Changes
External Specs/xsd changes
  3 new fields are being added to COP submissions
    Max SOC
    Min SOC
    TargetBeginSOC
  Changes are backward compatible for Non-ESRs and ESRs
  Changes are in the ErcotTransactionTypes.xsd

## Slide 5: ERCOT System Changes
External Specification changes
  The gray highlighted elements below were added for this NPRR

## Slide 6: ERCOT System Changes
External Specification changes
  COP submission xml example with SOC changes

## Slide 7: ERCOT System Changes
Market Manager UI changes
  COP Submission with SOC changes

## Slide 8: Timelines
ICCP Handbook was updated with new telemetry changes. ICCP handbook can be found at below link
https://www.ercot.com/services/mdt/userguides
Draft version of External Specs (XSD) changes (EIP External Interfaces Specification v1.26) are available in ercot.com (https://www.ercot.com/services/mdt/xsds).
Release Timelines (subject to change based on PUCT decision)
  MOTE Testing to start from 05/16/2024
  Go live date - 06/13/2024