## Current vs Future
Including Edits from Future NPRRs |  | Current |  |  | Future
System Ancillary Service Capacity Monitor |  | Description | ESR-GR Included? | ESR-CLR Included? | Future Description - Draft | NPRR
Last Updated: mmm dd, yyyy hh:mm:ss
Responsive Reserve Capacity Capability (MW) | Value |  |  |  |  | 1010
Generation Resources and ESRs in the form of PFR that can be sustained for the SCED duration requirements of PFR | ## | Generation Resources – The sum of all telemetered RRS Schedules from Generation Resources. | Yes | No | Generation Resources and ESRs – The sum of all telemetered RRS Schedules Capabilities considering RRS Award, headroom, and RRS qualifications from Generation Resources and ESRs in the form of PFR that can be sustained for the SCED duration requirements of PFR. | 1010, 1014, 1204
Load Resources, excluding Controllable Load Resources, capable of responding via under-frequency relay | ## | Load Resources excluding Controllable Load Resources – The sum of all telemetered RRS Schedules from Load Resources excluding Controllable Load Resources. | No | No | Load Resources excluding Controllable Load Resources – The sum of all telemetered RRS Schedules Capabilities from Load Resources excluding Controllable Load Resources, capable of responding via under-frequency relay. | 1010
Unprocured additional capacity from Load Resources excluding Controllable Load Resources |  | Unprocured additional capacity from Load Resources excluding Controllable Load Resources – The sum of telemetered values (current power consumption minus Low Power Consumption minus RRS Responsibility) of all Load Resources excluding Controllable Load Resources telemetering resource status of ONRL. | No | No | Unprocured additional capacity from Load Resources excluding Controllable Load Resources – The sum of telemetered values (current power consumption minus Low Power Consumption minus RRS Awards) of all Load Resources excluding Controllable Load Resources telemetering resource status of ONRL ONL.
Controllable Load Resources in the form of PFR | ## | Controllable Load Resources – The sum of all telemetered RRS Schedules from Controllable Load Resources. | No | Yes | Controllable Load Resources – The sum of all telemetered RRS Schedules Capabilities in the form of PFR from Controllable Load Resources. | 1010
Resources, other than ESRs, capable of Fast Frequency Response (FFR) | ## | Resources capable of Fast Frequency Response – The sum of all telemetered RRS schedules from FFR qualified Resources telemetering an ONFFRRRS or ONFFRRRSL resource status. | Yes | Yes | Resources other than ESRs capable of Fast Frequency Response – The sum of all telemetered RRS Capabilties from FFR qualified Resources telemetering an ONFFRRRS ON or ONFFRRRSL ONL resource status. | 1204
ESRs, in the form of FFR, that can be sustained for the SCED duration requirements of FFR | ## | N/A | N/A | N/A | Energy Storage Resources – The sum of all telemetered RRS capabilties in the form of FFR that can be sustained for the SCED duration requirements of FFR from ESRs. | 1204
Deployed Generation Resources and Controllable Load Resources | ## | Deployed Generation Resource and Controllable Load Resources – The sum of all RRS Responsibilities minus RRS Schedules for all Generation Resources and Controllable Load Resources. | Yes | Yes | Deployed Generation Resource and Controllable Load Resources – The sum of all RRS Responsibilities Awards minus RRS Schedules Capabilties for all Generation Resources and Controllable Load Resources.
Responsive Reserve Responsibility Awards (MW) | [5 empty] | 1010
Generation Resources and ESRs in the form of PFR | ## | Generation Resources – The sum of all telemetered RRS Responsibilities from Generation Resources. | Yes | No | Generation Resources and ESRs – The sum of all telemetered RRS Responsibilities Awards from Generation Resources and ESRs in the form of PFR. | 1010, 1014
Load Resources, excluding Controllable Load Resources, capable of responding by under-frequency relay | ## | Load Resources excluding Controllable Load Resources – The sum of all telemetered RRS Responsibilities from Load Resources excluding Controllable Load Resources. | No | No | Load Resources excluding Controllable Load Resources – The sum of all telemetered RRS Responsibilities Awards from Load Resources excluding Controllable Load Resources, capable of responding by under-frequency relay.
Controllable Load Resources in the form of PFR | ## | Controllable Load Resources – The sum of all telemetered RRS Responsibilities from Controllable Load Resources. | No | Yes | Controllable Load Resources – The sum of all telemetered RRS Responsibilities Awards from Controllable Load Resources.
Resources providing FFR | ## | Resources capable of Fast Frequency Response – The sum of all telemetered RRS Responsibilities from FFR qualified Resources telemetering ONFFRRRS or ONFFRRSL resource status. | Yes | Yes | Resources capable of Fast Frequency Response – The sum of all telemetered RRS Responsibilities Awards from FFR qualified Resources telemetering ONFFRRRS ON or ONFFRRSL ONL resource status.
ERCOT Contingency Reserve Capacity Capability (MW) | [5 empty] | 1010
Generation Resources | ## | Generation Resources – The sum of ECRS capacity of individual Generation Resources (excluding Generation Resources telemetering OFFQS resource status). ECRS capacity of each Generation Resource is calculated as lower of telemetered ECRS Schedule, remaining up capability and 10 times Emergency Ramp Rate. | Yes | No | Generation Resources – The sum of ECRS capacity of individual Generation Resources (excluding Generation Resources telemetering OFFQS resource status). ECRS capacity of each Generation Resource is calculated as lower of telemetered ECRS Schedule Capability, remaining up capability ECRS award, headroom and 10 times Emergency ECRS Ramp Rate, considering ECRS qualifcations.
Load Resources excluding Controllable Load Resources | ## | Load Resources excluding Controllable Load Resources – The sum of ECRS capacity of individual Load Resources excluding Controllable Load Resources. ECRS capacity of each Load Resource excluding Controllable Load Resource is calculated as lower of telemetered ECRS Schedule, remaining capability for ECRS. | No | No | Load Resources excluding Controllable Load Resources – The sum of ECRS capacity of individual Load Resources excluding Controllable Load Resources. ECRS capacity of each Load Resource excluding Controllable Load Resource is calculated as lower of telemetered ECRS Schedule Capability, remaining capability for ECRS footroom, 10 times ECRS Ramp Rate, and ECRS Award, considering ECRS qualification.
Controllable Load Resources | ## | Controllable Load Resources – The sum of ECRS capacity of individual Controllable Load Resources. ECRS capacity of each Controllable Load Resource is calculated as lower of telemetered ECRS Schedule, remaining capability for ECRS. | No | Yes | Controllable Load Resources – The sum of ECRS capacity of individual Load Resources. ECRS capacity of each Load Resource is calculated as lower of telemetered ECRS Schedule Capability, remaining capability for ECRS footroom, 10 times ECRS Ramp Rate, and ECRS Award, considering ECRS qualification.
Quick Start Generation Resources | ## | Quick Start Generation Resources – The sum of ECRS capacity of individual Quick Start Generation Resources in OFFQS resource status. ECRS capacity of each Quick Start Generation Resource is calculated as lower of telemetered ECRS Schedule, remaining up capability and 10 times Emergency Ramp Rate. | No | No | Quick Start Generation Resources – The sum of ECRS capacity of individual Quick Start Generation Resources in OFFQS resource status. ECRS capacity of each Quick Start Generation Resource is calculated as lower of telemetered ECRS Schedule Capability, remaining up capability ECRS award, headroom and 10 times Emergency ECRS Ramp Rate, considering ECRS qualifcations.
ESRs that can be sustained for the SCED duration requirements of ECRS | ## | N/A | N/A | N/A | Energy Storage Resources – The sum of ECRS Capabilties of individual ESRs that can be sustained for the SCED duration requirements of ECRS. | 1014, 1204
ECRS manually deployed by Resources with a Resource Status of ONSC and Load Resources | ## | Deployed Generation Resources and Load Resources – The sum of all ECRS Responsibilities minus ECRS Schedules for all Generation Resources (including Quick Start Generation Resources) and Load Resources. | Yes | Yes | Deployed Generation Resources and Load Resources – The sum of all ECRS Responsibilities Awards minus manually deployed ECRS Schedules Capabilties for all Generation Resources with a Resource Status of ONSC (including Quick Start Generation Resources) and Load Resources. | 1010
ERCOT Contingency Reserve Responsibility Awards (MW) | [5 empty] | 1010
Generation Resources | ## | Generation Resources – The sum of all Real Time ECRS Responsibilities from Generation Resources (excluding Generation Resources telemetering OFFQS resource status). | Yes | No | Generation Resources – The sum of all Real Time ECRS Responsibilities Awards from Generation Resources (excluding Generation Resources telemetering OFFQS resource status).
Load Resources excluding Controllable Load Resources | ## | Load Resources excluding Controllable Load Resources – The sum of all Real Time RRS Responsibilities from Load Resources excluding Controllable Load Resources. | No | No | Load Resources excluding Controllable Load Resources – The sum of all Real Time RRS ECRS Responsibilities Awards from Load Resources excluding Controllable Load Resources.
Controllable Load Resources | ## | Controllable Load Resources – The sum of all Real Time ECRS Responsibilities from Controllable Load Resources. | No | Yes | Controllable Load Resources – The sum of all Real Time ECRS Responsibilities Awards from Controllable Load Resources.
Quick Start Generation Resources | ## | Quick Start Generation Resources – The sum of all Real Time ECRS Responsibilities from Quick Start Generation Resources telemetering OFFQS resource status. | No | No | Quick Start Generation Resources – The sum of all Real Time ECRS Responsibilities Awards from Quick Start Generation Resources telemetering OFFQS resource status.
ESRs | ## | N/A | N/A | N/A | Energy Storage Resources – The sum of ECRS Awards of individual ESRs. | 1014
Non-Spin Reserve Capacity Capability (MW) | [5 empty] | 1010
On-Line Generation Resources With Energy Offer Curves | ## | On-Line Generation Resources with Energy Offer Curves including Quick Start Generation Resources – The sum of all telemetered Non-Spin Schedules from Generation Resources with telemetered statuses ON, ONDSR, ONDSRREG, ONEMR, ONOPTOUT, ONOS, ONOSREG, ONREG, or ONRUC and having an energy offer curve plus the sum of all telemetered Non-Spin Responsibilities from Generation Resources with telemetered status of OFFQS and having an energy offer curve. | Yes | No | On-Line Generation Resources with Energy Offer Curves including Quick Start Generation Resources – The sum of all telemetered Non-Spin Schedules Capability, considering Non-Spin Award, 30 times Non-Spin Ramp Rate, and Non-Spin qualifications from Generation Resources with telemetered statuses ON, ONDSR, ONDSRREG, ONEMR, ONOPTOUT, ONOS, ONOSREG, ONREG, or ONRUC and having an energy offer curve plus the sum of all telemetered Non-Spin Responsibilities Awards from Generation Resources with telemetered status of OFFQS and having an energy offer curve.
Resources with Output Schedules | ## | On-Line Generation Resources with Output Schedules – The sum of all telemetered Non-Spin Schedules from Generation Resources with telemetered statuses ON, ONDSR, ONDSRREG, ONEMR, ONOPTOUT, ONOS, ONOSREG, ONREG, or ONRUC and no energy offer curve. | Yes | No | On-Line Generation Resources with Output Schedules – The sum of all telemetered Non-Spin Schedules Capability, considering Non-Spin Award, 30 times Non-Spin Ramp Rate, and Nonspin qualifications from Generation Resources with telemetered statuses ON, ONDSR, ONDSRREG, ONEMR, ONOPTOUT, ONOS, ONOSREG, ONREG, or ONRUC and no energy offer curve.
Undeployed Load Resources | ## | Undeployed Load Resources – The sum of all telemetered Non-Spin Schedules from Load Resources that do not have their under-frequency relays armed. | No | Yes | Undeployed Load Resources – The sum of all telemetered Non-Spin Schedules Capabilities from Load Resources that do not have their under-frequency relays armed.
Off-Line Generation Resources excluding Quick Start Generation Resources (QSGRs), including Non-Spin awards on power augmentation capacity that is not active on On-Line Generation Resources | ## | Off-Line Generation Resources – The sum of Non-Spin Schedules from generation resources that are offline (as determined by their MW output) and telemetering OFFNS or OFFQS. | No | No | Off-Line Generation Resources – The sum of Non-Spin Schedules Capabilties from generation resources that are offline (as determined by their MW output) and telemetering OFFNS or OFFQS including Non-Spin awards on power augmentation capacity that is not active on On-Line Generation Resources. | 1010
ESRs that can be sustained for the SCED duration requirements of Non-Spin | ## | N/A | N/A | N/A | Energy Storage Resources – The sum of Non-Spin Capabilties of individual ESRs that can be sustained for the SCED duration requirements of Non-Spin. | 1014, 1204
Non-Spin Reserve Responsibility Awards (MW) | [5 empty] | 1010
On-Line Generation Resources With Energy Offer Curves | ## | On-Line Generation Resources with Energy Offer Curves – The sum of all telemetered Non-Spin Responsibility from online Generation Resources telemetering a MW value above 95% of LSL with an energy offer curve plus the sum of telemetered Non-Spin Responsibility of Generation Resources with telemetry status of OFFQS and an energy offer curve. | Yes | No | On-Line Generation Resources with Energy Offer Curves – The sum of all telemetered Non-Spin Responsibility Awards from online Generation Resources telemetering a MW value above 95% of LSL with an energy offer curve plus the sum of telemetered Non-Spin Responsibility Awards of Generation Resources with telemetry status of OFFQS and an energy offer curve.
On-Line Generation Resources With Output Schedules | ## | On-Line Generation Resources with Output Schedules – The sum of all telemetered Non-Spin Responsibility from online Generation Resources telemetering a MW value above 95% of LSL without an energy offer curve. | Yes | No | On-Line Generation Resources with Output Schedules – The sum of all telemetered Non-Spin Responsibility Awards from online Generation Resources telemetering a MW value above 95% of LSL without an energy offer curve.
Load Resources | ## | Load Resources – The sum of all telemetered Non-Spin Responsibility from Load Resources. | No | Yes | Load Resources – The sum of all telemetered Non-Spin Responsibility Awards from Load Resources.
Off-Line Generation Resources excluding Quick Start Generation Resources | ## | Off-Line Generation Resources excluding Quick Start Generation Resources – The sum of Non-Spin responsibilities from generation resources that are offline, as determined by their MW output and telemetering OFFNS. | No | No | Off-Line Generation Resources excluding Quick Start Generation Resources – The sum of Non-Spin responsibilities awards from generation resources that are offline, as determined by their MW output and telemetering OFFNS.
Quick Start Generation Resources | ## | Quick Start Generation Resources – The sum of all telemetered Non-Spin Responsibility from Generation Resources with telemetered status OFFQS. | No | No | Quick Start Generation Resources – The sum of all telemetered Non-Spin Responsibility Awards from Generation Resources with telemetered status OFFQS.
ESRs | ## | N/A | N/A | N/A | Energy Storage Resources – The sum of Non-Spin Awards of individual ESRs. | 1014
Regulation Capacity Capability (MW) | [5 empty] | 1010
Reg-Up Capability (for ESRs, the duration requirements of Reg-Up are considered) | ## | N/A | N/A | N/A | Reg-Up Capability - The sum of individual resources Reg-Up Capability as determined by their current output, Reg-Up Ramp Rate and Reg-Up qualification. For ESRs, the duration requirements of Reg-Up are considered. | 1010, 1204
Reg-Down Capability (for ESRs, the duration requirements of Reg-Down are considered) | ## | N/A | N/A | N/A | Reg-Down Capability - The sum of individual resources Reg-Down Capability as determined by their current output, Reg-Down Ramp Rate and Reg-Down qualification. For ESRs, the duration requirements of Reg-Down are considered. | 1010, 1204
Undeployed Reg-Up | ## | Undeployed Reg-Up – The sum of all remaining Regulation Up capacity calculated as the sum of each Resource’s Regulation Up Responsibility minus its Regulation Up deployed. | Yes | Yes | Undeployed Reg-Up – The sum of all remaining Regulation Up capacity calculated as the sum of each Resource’s Regulation Up Responsibility Awards minus its Regulation Up deployed.
Undeployed Reg-Down | ## | Undeployed Reg-Down – The sum of all remaining Regulation Down capacity calculated as the sum of each Resource’s Regulation Down Responsibility minus its Regulation Down deployed. | Yes | Yes | Undeployed Reg-Down – The sum of all remaining Regulation Down capacity calculated as the sum of each Resource’s Regulation Down Responsibility Awards minus its Regulation Down deployed.
Deployed Reg-Up | ## | Deployed Reg-Up – The sum of all each Resource’s Regulation Up deployed value calculated using the QSE’s Participation Factor and Regulation Up requested from the QSE. | Yes | Yes | Deployed Reg-Up – The sum of all each Resource’s Regulation Up deployed value calculated using the QSE’s Participation Factor and Regulation Up requested from the QSE Resource.
Deployed Reg-Down | ## | Deployed Reg-Down – The sum of all each Resource’s Regulation Down deployed value calculated using the QSE’s Participation Factor and Regulation Down requested from the QSE. | Yes | Yes | Deployed Reg-Down – The sum of all each Resource’s Regulation Down deployed value calculated using the QSE’s Participation Factor and Regulation Down requested from the QSE Resource.
Regulation Responsibility Awards (MW) | [5 empty] | 1010
Reg-Up | ## | Reg-Up – The sum of all telemetered Regulation Up Responsibility. | Yes | Yes | Reg-Up – The sum of all telemetered Regulation Up Responsibility Awards.
Reg-Down | ## | Reg-Down – The sum of all telemetered Regulation Down Responsibility. | Yes | Yes | Reg-Down – The sum of all telemetered Regulation Down Responsibility Awards.
System Available Capacity (MW)
Capacity from Controllable Load Resources available to decrease Base Points (energy consumption) in SCED | ## | Capacity from Controllable Load Resources available to decrease Base Points (energy consumption) in SCED – The sum of High Dispatch Limit minus current power consumption of Controllable Load Resources. | No | Yes | Capacity from Controllable Load Resources available to decrease Base Points (energy consumption) in SCED – The sum of High Dispatch Limit minus current power consumption of Controllable Load Resources.
Capacity from Controllable Load Resources available to increase Base Points (energy consumption) in SCED | ## | Capacity from Controllable Load Resources available to increase Base Points (energy consumption) in SCED – The sum of current power consumption minus Low Dispatch Limit of Controllable Load Resources. | No | Yes | Capacity from Controllable Load Resources available to increase Base Points (energy consumption) in SCED – The sum of current power consumption minus Low Dispatch Limit of Controllable Load Resources.
Capacity with Energy Offer Curves available to increase Generation Resource Base Points in SCED | ## | Capacity with Energy Offer Curves available to increase Generation Resource Base Points in SCED – The sum of High Ancillary Service Limit minus telemetered generation of Generation Resources with telemetered status of ON, ONDSR, ONDSRREG, ONEMR, ONOPTOUT, ONOS, ONOSREG, ONREG, ONRR, ONRUC, or OFFQS and with an energy offer curve. | Yes | Yes | Capacity with Energy Offer Curves available to increase Generation Resource Base Points in SCED – The sum of High Ancillary Service Limit Telemetered High Sustainable Limit minus telemetered generation of Generation Resources with telemetered status of ON, ONDSR, ONDSRREG, ONEMR, ONOPTOUT, ONOS, ONOSREG, ONREG, ONRR, ONRUC, or OFFQS and with an energy offer curve.
Capacity with Energy Offer Curves available to decrease Generation Resource Base Points in SCED | ## | Capacity with Energy Offer Curves available to decrease Generation Resource Base Points in SCED – The sum of telemetered generation minus Low Ancillary Service Limit of Generation Resources with telemetered status of ON, ONDSR, ONDSRREG, ONEMR, ONOPTOUT, ONOS, ONOSREG, ONREG, ONRR, ONRUC, or OFFQS and with an energy offer curve. | Yes | Yes | Capacity with Energy Offer Curves available to decrease Generation Resource Base Points in SCED – The sum of telemetered generation minus Low Ancillary Service Limit Telemetered Low Sustainable Limit of Generation Resources with telemetered status of ON, ONDSR, ONDSRREG, ONEMR, ONOPTOUT, ONOS, ONOSREG, ONREG, ONRR, ONRUC, or OFFQS and with an energy offer curve.
Capacity without Energy Offer Curves available to increase Generation Resource Base Points in SCED | ## | Capacity without Energy Offer Curves available to increase Generation Resource Base Points in SCED – The sum of High Ancillary Service Limit minus telemetered generation of Generation Resources with telemetered status of ON, ONDSR, ONDSRREG, ONEMR, ONOPTOUT, ONOS, ONOSREG, ONREG, ONRR, ONRUC, or OFFQS and without an energy offer curve. | Yes | Yes | Capacity without Energy Offer Curves available to increase Generation Resource Base Points in SCED – The sum of High Ancillary Service Limit Telemetered High Sustainable Limit minus telemetered generation of Generation Resources with telemetered status of ON, ONDSR, ONDSRREG, ONEMR, ONOPTOUT, ONOS, ONOSREG, ONREG, ONRR, ONRUC, or OFFQS and without an energy offer curve.
Capacity without Energy Offer Curves available to decrease Generation Resource Base Points in SCED | ## | Capacity without Energy Offer Curves available to decrease Generation Resource Base Points in SCED – The sum of telemetered generation minus Low Ancillary Service Limit of Generation Resources with telemetered status of ON, ONDSR, ONDSRREG, ONEMR, ONOPTOUT, ONOS, ONOSREG, ONREG, ONRR, ONRUC, or OFFQS and without an energy offer curve. | Yes | Yes | Capacity without Energy Offer Curves available to decrease Generation Resource Base Points in SCED – The sum of telemetered generation minus Low Ancillary Service Limit Telemetered Low Sustainable Limit of Generation Resources with telemetered status of ON, ONDSR, ONDSRREG, ONEMR, ONOPTOUT, ONOS, ONOSREG, ONREG, ONRR, ONRUC, or OFFQS and without an energy offer curve.
Capacity with Energy Bid/Offer Curves available to increase ESR Base Points in SCED, while respecting duration requirements for ESR Base Points in SCED | ## | N/A | N/A | N/A | Capacity with Energy/Bid Offers available to increase ESR Base Points in the next five minutes in SCED (HDL) – The sum of High Dispatch Limit (HDL) minus telemetered generation of ESRs with telemetered status of ON, ONDSR, ONOS, ONRUC while respecting duration requirements for ESR Base Points in SCED. | 1014, 1204
Capacity with Energy Bid/Offer Curves available to decrease ESR Base Points in SCED, while respecting duration requirements for ESR Base Points in SCED | ## | N/A | N/A | N/A | Capacity with Energy/Bid Offers available to decrease ESR Base Points in the next five minutes in SCED (LDL) – The sum of Low Dispatch Limit (LDL) minus telemetered generation of ESRs with telemetered status of ON, ONDSR, ONOS, ONRUC while respecting duration requirements for ESR Base Points in SCED. | 1014, 1204
Capacity without Energy Bid/Offer Curves available to increase ESR Base Points in SCED, while respecting duration requirements for ESR Base Points in SCED | ## | N/A | N/A | N/A | Capacity without Energy/Bid Offers available to increase ESR Base Points in the next five minutes in SCED (HDL) – The sum of High Dispatch Limit (HDL) minus telemetered generation of ESRs with telemetered status of ON, ONDSR, ONOS, ONRUC while respecting duration requirements for ESR Base Points in SCED. | 1014, 1204
Capacity without Energy Bid/Offer Curves available to decrease ESR Base Points in SCED, while respecting duration requirements for ESR Base Points in SCED | ## | N/A | N/A | N/A | Capacity without Energy/Bid Offers available to decrease ESR Base Points in the next five minutes in SCED (LDL) – The sum of Low Dispatch Limit (LDL) minus telemetered generation of ESRs with telemetered status of ON, ONDSR ONOS, ONRUC while respecting duration requirements for ESR Base Points in SCED. | 1014, 1204
Capacity available to increase Generation Resource Base Points in the next 5 minutes in SCED (HDL) | ## | Capacity available to increase Generation Resource Base Points in the next five minutes in SCED (HDL) – The sum of High Dispatch Limit (HDL) minus telemetered generation of Generation Resources with telemetered status of ON, ONDSR, ONDSRREG, ONEMR, ONOPTOUT, ONOS, ONOSREG, ONREG, ONRR, ONRUC, or OFFQS. | Yes | No | Capacity available to increase Generation Resource Base Points in the next five minutes in SCED (HDL) – The sum of High Dispatch Limit (HDL) minus telemetered generation of Generation Resources (excluding ESRs) with telemetered status of ON, ONDSR, ONDSRREG, ONEMR, ONOPTOUT, ONOS, ONOSREG, ONREG, ONRR, ONRUC, or OFFQS.
Capacity available to decrease Generation Resource Base Points in the next 5 minutes in SCED (LDL) | ## | Capacity available to decrease Generation Resource Base Points in the next five minutes in SCED (LDL) – The sum of telemetered generation minus the Low Dispatch Limit (LDL) of Generation Resources with telemetered status of ON, ONDSR, ONDSRREG, ONEMR, ONOPTOUT, ONOS, ONOSREG, ONREG, ONRR, ONRUC, or OFFQS. | Yes | No | Capacity available to decrease Generation Resource Base Points in the next five minutes in SCED (LDL) – The sum of telemetered generation minus the Low Dispatch Limit (LDL) of Generation Resources (excluding ESRs) with telemetered status of ON, ONDSR, ONDSRREG, ONEMR, ONOPTOUT, ONOS, ONOSREG, ONREG, ONRR, ONRUC, or OFFQS.
Capacity to provide Reg-Up, RRS, or both, irrespective of whether it is capable of providing ECRS or Non-Spin | ## | N/A | N/A | N/A | Capacity to provide Reg-Up, RRS, or both - The sum of Generation Resources (including ESRs) and Load Resources telemetering non-zero Reg-Up Ramp Rates, or non-zero RRS capabilities considering current output level and HSL/LSL. | 1010
Capacity to provide Reg-Up, RRS, ECRS, or any combination, irrespective of whether it is capable of providing Non-Spin | ## | N/A | N/A | N/A | Capacity to provide Reg-Up, RRS, ECRS, or any combination - The sum of Generation Resources (including ESRs) and Load Resources telemetering non-zero Reg-Up Ramp Rates, non-zero ECRS Ramp Rates, or non-zero RRS capabilities, considering current output level and HSL/LSL. | 1010
Capacity to provide Reg-Up, RRS, ECRS, or Non-Spin, in any combination | ## | N/A | N/A | N/A | Capacity to provide Reg-Up, RRS, ECRS, or Non-Spin, in any combination - The sum of Generation Resources (including ESRs) and Load Resources telemetering non-zero Reg-Up Ramp Rates, non-zero ECRS Ramp Rates, non-zero Non-Spin Ramp Rates, or non-zero RRS capabilities, considering current output level and HSL/LSL. | 1010
ERCOT-wide Physical Responsive Capability (MW)
ERCOT-wide Physical Responsive Capability (PRC) | ## | The sum of PRC as defined in Protocol Section 6, Adjustment Period and Real-Time Operations. | Yes | Yes | The sum of PRC as defined in Protocol Section 6, Adjustment Period and Real-Time Operations.
Real-Time Operating Reserve Demand Curve Capacity (MW)
Real-Time On-Line reserve capacity | ## | Real-Time On-Line reserve capacity – The Real-Time On-Line Reserve Capacity (RTOLCAP) as described in the Other Binding Document Methodology for Implementing Operating Reserve Demand Curve (ORDC) to Calculate Real-Time Reserve Price Adder. | Yes | Yes | Real-Time On-Line reserve capacity – The Real-Time On-Line Reserve Capacity (RTOLCAP) as described in the Other Binding Document Methodology for Implementing Operating Reserve Demand Curve (ORDC) to Calculate Real-Time Reserve Price Adder.
Real-Time Off-Line reserve capacity | ## | Real-Time On-Line and Off-Line reserve capacity – The sum of the Real-Time On-Line Reserve Capacity (RTOLCAP) and the Real-Time Off-Line Reserve Capacity (RTOFFCAP) as described in the Other Binding Document Methodology for Implementing Operating Reserve Demand Curve (ORDC) to Calculate Real-Time Reserve Price Adder. | Yes | Yes | Real-Time On-Line and Off-Line reserve capacity – The sum of the Real-Time On-Line Reserve Capacity (RTOLCAP) and the Real-Time Off-Line Reserve Capacity (RTOFFCAP) as described in the Other Binding Document Methodology for Implementing Operating Reserve Demand Curve (ORDC) to Calculate Real-Time Reserve Price Adder.
EMR, OUT, and OUTL Capacity (MW)
Aggregate telemetered HSL capacity for Resources with a telemetered Resource Status of EMR | ## | Aggregate telemetered HSL capacity for Resources with a telemetered Resource Status of EMR – The sum of all telemetered HSL capacity for Resources with a telemetered Resource Status of EMR. | Yes | No | Aggregate telemetered HSL capacity for Resources with a telemetered Resource Status of EMR – The sum of all telemetered HSL capacity for Resources with a telemetered Resource Status of EMR.
Aggregate telemetered HSL capacity for Resources with a telemetered Resource Status of OUT | ## | Aggregate telemetered HSL capacity for Resources with a telemetered Resources Status of OUT – The sum of all telemetered HSL capacity for Resources with a telemetered Resource Status of OUT or EMRSWGR. | Yes | No | Aggregate telemetered HSL capacity for Resources with a telemetered Resources Status of OUT – The sum of all telemetered HSL capacity for Resources with a telemetered Resource Status of OUT or EMRSWGR.
Aggregate net telemetered consumption for Resources with a telemetered Resource Status of OUTL | ## | Aggregate net telemetered consumption for Resources with a telemetered Resource Status of OUTL – The sum of all telemetered consumption for Resources with a telemetered Resource Status of OUTL. | No | Yes | Aggregate net telemetered consumption for Resources with a telemetered Resource Status of OUTL – The sum of all telemetered consumption for Resources with a telemetered Resource Status of OUTL.
This monitor provides Real-Time total system amounts of Responsive Reserve, ERCOT Contingency Reserve, Non-Spin, and Regulation Up/Down capacity, as well as capacity to increase/decrease Base Points and Physical Responsive Capability. All MW values are in whole numbers. Data is based on Real-Time telemetry and is updated every 10 seconds, and the browser automatically refreshes every 60 seconds.
Note: The information on this dashboard allows for web-scraping by external APIs.