## Slide 1
Ancillary Service Capacity Monitor Display Updates
Samuel Fabricant
Ancillary Services & Operations Analytics
4/2/2024

## Slide 2: Ancillary Service Capacity Monitor
This monitor provides Real-Time total system amounts of Responsive Reserve, ERCOT Contingency Reserve, Non-Spin, and Regulation Up/Down capacity, as well as capacity to increase/decrease Base Points and Physical Responsive Capability. All MW values are in whole numbers. Data is based on Real-Time telemetry and is updated every 10 seconds, and the browser automatically refreshes every 60 seconds.
  Display location: https://www.ercot.com/content/cdr/html/as_capacity_monitor.html
  The values on the display allows for web-scraping by external APIs.
RTC+B related NPRRs 1010, 1014, and 1204 will introduce changes to the display.
  Described in Nodal Protocols Section 6.5.7.5 gray box.

## Slide 3: Ancillary Service Capacity Monitor RTC+B
With RTC+B, ESRs will have their own section as listed below:
  RRS Capability from ESRs providing FFR
  ECRS Capability
  Ancillary Service Resources awards for ECRS
  Non-Spin Available
  Ancillary Service Resources awards for Non-Spin
  System Available Capacity
No Change:
  Reg-Up and Reg-Down
  RRS (other than ESRs providing FFR), ESRs will continue to be rolled up with Generation Resources.

## Slide 4: RTC+B ECRS Example
Current:
(c) ECRS capacity from:
(i) Generation Resources;
(ii) Load Resources excluding Controllable Load Resources;
(iii) Controllable Load Resources; and
(iv) Quick Start Generation Resources (QSGRs);
RTC+B:
(c) ECRS capability from:
(i) Generation Resources;
(ii) Load Resources excluding Controllable Load Resources;
(iii) Controllable Load Resources;
(iv) Quick Start Generation Resources (QSGRs); and
(v) ESRs.
ESR-CLR
ESR-GR
Detailed comparison between current and future display:
Ancillary Service Capacity Monitor Current vs Future.xlsx

## Slide 5: Questions?
Contact Samuel.Fabricant@ercot.com and JoseLuis.Hinojosa@ercot.com for questions regarding the Ancillary Service Capacity Monitor.