## Slide 1: Planning Working Group Update
To
Reliability and Operations Subcommittee
Dylan Preas, PLWG Chair
Mina Turner, PLWG Vice-Chair
April 4, 2024

## Slide 2: PLWG Update March 18, 2024, Meeting
PGRR107 (NPRR1180) – Inclusion of Forecasted Load in Planning Analyses
  Stakeholder(s) requested additional time to prepare comments.
  PLWG agreed to table PGRR107 (NPRR1180) for further discussion.

## Slide 3: PLWG Update March 18, 2024, Meeting
PGRR113, Related to NPRR1198, Congestion Mitigation Using Topology Reconfigurations
  PLWG agreed to recommend PGRR113 to ROS for consideration.

## Slide 4: PLWG Update March 18, 2024, Meeting
New South Texas GTC in ERCOT RTP Update
  ERCOT provided, at a high level, that the prior RTP was conducted under planning assumptions that are under review, specifically around load scaling and resource adequacy.
  PLWG will discuss topics related to load scaling methodology, addition of generation in the Planning Horizon, and “no regrets” transmission build-out.

## Slide 5: PLWG Update March 18, 2024, Meeting
Congestion Cost Test Implementation & NPRR1070 – Planning Criteria for GTC Exit Solutions
  Remains tabled as ERCOT staff develops draft revision requests.
Open Action Item(s)

## Slide 6: Questions?