## Slide 1: WMS Report
TAC Meeting – April 15, 2024

## Slide 2: WMS Meeting Apr 3, 2024
Potential Changes to ECRS Deployment/Release Triggers for Summer 2024 (NPRR1224, ECRS Manual Deployment Triggers}
  ERCOT presentation, further discussion on today’s TAC agenda. WMS did not take action on NPRR1224.
2023 Maximum Daily Resource Planned Outage Capacity (MDRPOC) Performance and Methodology Review Timeline:
  ERCOT presentation, further discussion on today’s TAC agenda.
Firm Fuel Supply Service (FFSS) Report
  ERCOT provided a report on FFSS deployment in January as required by protocols.
  During the January cold weather event, 2 FFSSRs failed to come online or stay online. 1 FFSSR was unavailable for deployment
  ERCOT is drafting an NPRR based on lessons learned from this FFSS season:
    Adding a procedure to clarify the fuel restocking process.
    Modifying the method by which the QSE notifies ERCOT when an alternate replaces an FFSSR.
    Clarifying that an FFSSR that receives an HDL override does not qualify for payment under Section 6.6.3.6, Real-Time HDL Override Energy Payment.
    Clarifying when a Resource is considered available.
Notes: , Head Environmental Markets Research, e360 power, LLC

## Slide 3: WMS Meeting Apr 3, 2024
April Solar Eclipse:
  ERCOT presentation on the total solar eclipse on April 8, 2024.
March Request Regarding RUC of Resource with Long Min. Run Time:
  ERCOT presentation, determined the manual RUCs on 03/04 and 03/05 were in response to extremely low committed capacity margins projections for the peak hours on these days. Caused by forced outages, delays in outaged units returning to service, and higher forecasted net load.
Working Group Leadership Update:
  Resource Cost Working Group (RCWG) –
    Chair - Blake Holt (LCRA), Vice Chair - Kiran Sidhu (e360 Power)
  Market Settlement Working Group (MSWG) –
    Chair Heddie Lookado (Shell), Vice Chair - Shuye Teng (Constellation)
  Wholesale Market Working Group (WMWG) –
    Chair Kevin Hanson (National Grid), Vice Chair - Blake Holt (LCRA)
  Congestion Management Working Group (CMWG) –
    Chair Alex Miller (EDF), Vice Chair (Open)

## Slide 4: Revision Requests Under WMS Review
Previously Tabled Revision Requests:
  NPRR1070, Planning Criteria for GTC Exit Solutions
  NPRR1162, Single Agent Designation for a QSE and its Sub-QSEs for Voice Communications over the ERCOT WAN (WMWG)
  NPRR1190, High Dispatch Limit Override Provision for Increased NOIE Load Costs (WMWG)
  NPRR1198, Congestion Mitigation Using Topology Reconfigurations (CMWG)
  At 4/3/24 WMS, Endorsed with LCRA 3/8/24 comments.
  NPRR1200, Utilization of Calculated Values for Non-WSL for ESRs (MWG)
  NPRR1202, Refundable Deposits for Large Load Interconnection Studies (WMWG)
  NPRR1214, Reliability Deployment Price Adder Fix to Provide Locational Price Signals, Reduce Uplift and Risk (CMWG)
  NPRR1216, Implementation of Emergency Pricing Program (WMWG)
  SMOGRR028, Add Series Reactor Compensation Factors (MWG)
  New Referrals:
  NPRR1219, Methodology Revisions and New Definitions for the Report on Capacity, Demand and Reserves in the ERCOT Region (CDR)
  At 4/3/24 WMS, Tabled and referred to SAWG.

## Slide 5: Next Meeting May 1st