## Slide 1
ROS Report – April 15, 2024
Katie Rich
Technical Advisory Committee (TAC) Meeting
ERCOT Public

## Slide 2: Voting Items
  PGRR112, Dynamic Data Model and Full Interconnection Study (FIS) Deadline for Quarterly Stability Assessment – No impact IA
    Revised for a recommended effective date of December 1, 2024 so changes would be incorporated into February 1, 2025 QSA
  PGRR 114, Related to NPRR1212, Clarification of Distribution Service Provider’s Obligation to Provide an ESI ID – No impact IA

## Slide 3: Recent ROS Actions
NPRR1217, Remove Verbal Dispatch Instruction (VDI) Requirement for Deployment and Recall of Load Resources and Emergency Response Service (ERS) Resources – Tabled to allow TWG discussion (outside of ROS’ purview)
NPRR1221 and NOGRR262, Provisions for Operator-Controlled Manual Load Shed – Tabled and referred to OWG
PGRR113, Related to NPRR1198, Congestion Mitigation Using Topology Reconfigurations – Approved as submitted
NPRR1198 and NOGRR258, Congestion Mitigation Using Topology Reconfigurations – Separate ballots, endorsed/recommended approval with LCRA comments and desktop edits, and four abstentions

## Slide 4: Revision Requests under ROS Review
NPRR1070, Planning Criteria for GTC Exit Solutions (OWG, PLWG)
NPRR1198, Congestion Mitigation Using Topology Reconfigurations (OWG, NDSWG)
NPRR1217, Remove Verbal Dispatch Instruction (VDI) Requirement for Deployment and Recall of Load Resources and Emergency Response Service (ERS) Resources
NPRR1221, Provisions for Operator-Controlled Manual Load Shed (OWG)
NOGRR256, Related to NPRR1191, Registration, Interconnection and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater
NOGRR258, Related to NPRR1198, Congestion Mitigation Using Topology Reconfigurations (OWG, NDSWG)
NOGRR262, Provisions for Operator-Controlled Manual Load Shed (OWG)

## Slide 5: Revision Requests under ROS Review
PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions
PGRR106, Clarify Projects Included in Transmission Project Information and Tracking Report (SSWG)
PGRR107, Related to NPRR1180, Inclusion of Forecasted Load in Planning Analyses (PLWG)
PGRR111, Related to NPRR1191, Registration, Interconnection and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater
PGRR 113, Related to NPRR 1198, Congestion Mitigation using Topology Mitigation (PLWG, SSWG)
RRGRR036, Related to NPRR1191, Registration, Interconnection and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater

## Slide 6: Recent ROS Discussion Items
  Discussed potential changes to ERCOT Contingency Reserve Service (ECRS) Deployment/Release Triggers for Summer 2024
    ERCOT provided a similar presentation to WMS
    Discussion of NPRR1224 but no action was taken
    Discussed issues around timing of implementation

## Slide 7: Future Meetings
ROS
  Next Regularly Scheduled Meeting – May 2, 2024 – WebEx Only