APPROVED

Minutes of the Reliability Operations Subcommittee (ROS) Meeting – Webex Only

Thursday, March 7, 2024 – 9:30 a.m.

Attendance

ROS Representatives:

| Borkar, Sandeep | Lower Colorado River Authority (LCRA) |  |  |
| --- | --- | --- | --- |
| Burkhead, Brett | Calpine Corporation (Calpine) |  |  |
| Carter, Matt | Garland Power & Light (GP&L) |  |  |
| Cochran, Adam | Tenaska Power Services (Tenaska) |  |  |
| Cochran, Seth | DC Energy |  |  |
| Coleman, Diana | CPS Energy |  | Alt. Rep. for Kenneth Bowen |
| Fun, Meng | Chariot Energy |  |  |
| Gerety, Chris | Texas-New Mexico Power (TNMP) |  |  |
| Hanson, Kevin | National Grid Renewables (NG Renewables) |  |  |
| Kremling, Barry | Guadalupe Valley Electric Cooperative (GVEC) |  |  |
| Koenig, Chris | Golden Spread Electric Cooperative (GSEC) |  |  |
| Kunkel, Dennis | AEP Service Corporation (AEPSC) |  |  |
| Lutrick, Chris | Denton Municipal Electric (DME) |  |  |
| Matt, Kevin | Reliant Energy Retail Services (Reliant) |  |  |
| Miller, Alex | EDF Renewables |  |  |
| Mrini, Imane | Austin Energy |  |  |
| Nashawati, Eithar | Oncor Electric Delivery (Oncor) |  |  |
| Person, Paul | South Texas Electric Cooperative (STEC) |  |  |
| Pokharel, Nabaraj | Office of Public Utility Council (OPUC) |  |  |
| Reed, Cyrus | Sierra Club |  |  |
| Reid, Mike | Air Liquide |  |  |
| Rich, Katie | Luminant Corporation (Luminant) |  |  |
| Schmitt, Jennifer | Rhythm Ops |  |  |
| Smith, Chase | Southern Power |  |  |
| Surendran, Resmi | Shell Energy North America (SENA) |  |  |
| Woitt, Wes | CenterPoint Energy (CNP) |  |  |

The following proxy was assigned:

- Chris Hendrix to Jennifer Schmitt

| - Guests: |  |  |
| --- | --- | --- |
| Ahn, Sirius | Oncor |  |
| Anderson, Connor | AB Power Advisors |  |
| Archambault, Miah | Enel |  |
| Ashley, Kristy | CES |  |
| Aspee, Diego | Serena Energy |  |
| Beckman, Kara | NextEra |  |
| Blakenship, David | CNP |  |
| Bunch, Kevin | EDF Trading |  |
| Calcagni, Anthony | DC Energy |  |
| Cheng, Yong | LCRA |  |
| Chwialkowski, Todd | EDFR |  |
| Collins, Bob | Texas Reliability Entity (Texas RE) |  |
| DeRidder, Chris | Nfront Consulting |  |
| Detelich, David | CPS Energy |  |
| Donohoo, Ken | OwlERC, LLC |  |
| Downey, Marty | Luminant |  |
| Escamilla, Gerardo | CPS Energy |  |
| Evans, Doug | AEP |  |
| Favaro, Diego | Serena Energy |  |
| Fink, Regan | PG Renewables |  |
| Fletcher, Jennifer | Sempra Global |  |
| Floyd, Rickey | Oncor |  |
| Gaw, Alexander | CNP |  |
| Ghoshal, Orijit | esVolta |  |
| Gray, Dustin | CNP |  |
| Greer, Clayton | Cholla Petro |  |
| Haley, Ian | Morgan Stanley |  |
| Henry, Mark | Texas RE |  |
| Henson, Martha | Oncor |  |
| Hernandez, Jessica | CNP |  |
| Hernandez, Rene | GVEC |  |
| Hester, Doug | Talen Energy |  |
| Holt, Blake | LCRA |  |
| Jamar, Ben | ECI |  |
| Jewell, Michael | Jewell and Associates |  |
| John, Ebby | CNP |  |
| Jowlabar, Nicholas | RWE |  |
| Julia, Ana |  |  |
| Khayat, Maribel | CNP |  |
| Koz, Brian |  |  |
| Kroskey, Tony | Brazos |  |
| Le, Jacob | CNP |  |
| Lee, Jim | CNP |  |
| Leverett, Travis | WETT |  |
| Levy, Tal |  |  |
| Lotter, Eric | GridMonitor |  |
| Loyferman, Larisa | CNP |  |
| Macaraeg, Tad | Stem |  |
| Macias, Jesse | AEP Texas |  |
| Matevosyan, Julia | ESIG |  |
| Mathew, Shirley | Texas RE |  |
| Maurer, Wesley | LCRA |  |
| McChesney, Mark | Oncor |  |
| McClellan, Suzi | Good Company Associates |  |
| McDaniel-Wyman, Constance | AEP |  |
| Morris, Sandy | WETT |  |
| Mulholland, Chad | NRG |  |
| Munter, Megan | GE |  |
| Nguyen, John | CNP |  |
| Oberski, Nicholas | LCRA TSC |  |
| Parvathaneni, Sirisha | Oncor |  |
| Penney, David | Texas RE |  |
| Preas, Dylan | LCRA TSC |  |
| Pullela, Suma | Orsted |  |
| Qureshi, Fahad | CNP |  |
| Reedy, Steve | CIM View Consulting |  |
| Ribeiro, Andrei Lima |  |  |
| Robertson, William | CPS Energy |  |
| Salehi, Farshid | DNV |  |
| Sanchez, Manuel | Oncor |  |
| Senanayake, Sam | PGR |  |
| Sersen, Juliana | Baker Botts |  |
| Siddiqi, Shams | Crescent Power Consulting |  |
| Sills, K | GP&L |  |
| Smothers, Samuel | CNP |  |
| Snyder, Bill | AEP Texas |  |
| Springer, Tyler | AEP |  |
| Stanfill, Susan | PGR |  |
| Staples, Boone | Tenaska |  |
| Stewart, Aaron | NextEra Energy |  |
| Tay, Sing | AES |  |
| Thompson, Jason | Ocis Solar Power |  |
| Tovar, Matt | Oncor |  |
| Turner, Lucas | STEC |  |
| Turner, Mina | AEP |  |
| Valencia, Karin | Oncor |  |
| Walke, Pranil | Calpine |  |
| Walker, Zachary | Oncor |  |
| Wang, Shawn | Enel |  |
| White, Laurie | AEP Texas |  |
| Withrow, David | AEP |  |
| Wittmeyer, Bob | Longhorn Power |  |
| Woods, Brad | Texas RE |  |
| Zang, Hailing | TC Energy |  |
| Zech, David | CNP |  |
| Zhang, Li | Calpine |  |
| ERCOT Staff: |  |  |
| Albracht, Brittney |  |  |
| Anderson, Troy |  |  |
| Azeredo, Chris |  |  |
| Billo, Jeff |  |  |
| Boren, Ann |  |  |
| Butler, Luke |  |  |
| Cheng, Yunzhi |  |  |
| Clifton, Suzy |  |  |
| Cyphers, Darrell |  |  |
| Devadhas Mohanadha, Thinesh |  |  |
| Fernandes, Jennifer |  |  |
| Garcia, Freddy |  |  |
| Golen, Robert |  |  |
| Gnanam, Prabhu |  |  |
| Gravois, Patrick |  |  |
| Hanson, Pamela |  |  |
| Hariharan, Julia |  |  |
| Hartmann, Jimmy |  |  |
| Heinrich, Holly |  |  |
| Hinojosa, Luis |  |  |
| Huang, Fred |  |  |
| Jenkins, Darrell |  |  |
| Kang, Sun Wook |  |  |
| Khan, Riaz |  |  |
| Luker, Bryan |  |  |
| Madam, Vamsi |  |  |
| Mago, Nitika |  |  |
| Matlock, Robert |  |  |
| Meier, Eric |  |  |
| Miller, Megan |  |  |
| Opheim, Calvin |  |  |
| Phillips, Cory |  |  |
| Roberts Randy |  |  |
| Sanchez, Daniel |  |  |
| Schmall, John |  |  |
| Smith, Ira |  |  |
| Solis, Stephen |  |  |
| Teixeira, Jay |  |  |
| Troublefield, Jordan |  |  |
| Wasik-Gutierrez, Erin |  |  |
| Yan, Ping |  |  |
| You, Haibo |  |  |

Unless otherwise indicated, all Market Segments participated in the votes.

Katie Rich called the March 7, 2024 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Ms. Rich directed attention to the Antitrust Admonition, which was displayed.

Agenda Review

- Ms. Rich reviewed the agenda.

- Approval of Meeting Minutes (see Key Documents)

- February 1, 2024

Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

- Technical Advisory Committee (TAC) Update

- Ms. Rich reviewed the disposition of items considered at the February 14, 2024 TAC meeting, including 2024 TAC Goals, and summarized next steps for Nodal Operating Guide Revision Request (NOGRR) 245, Inverter-Based Resource (IBR) Ride-Through Requirements.

- 2024 ROS Goals (see Key Documents)

Ms. Rich summarized the February 1, 2024 ROS discussion on goals and presented draft 2024 ROS goals as revised by participants’ edits received.  Market Participants debated the utility of goals versus action-item assignments for certain items and offered additional clarifications to 2024 ROS Goals.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

- ERCOT Reports (see Key Documents)

- Operations Report

Freddy Garcia summarized the January 2024 Operations Report.

- System Planning Report

- Ping Yan noted the January 2024 System Planning Report and responded to participant questions and concerns.

- April 8, 2024, Eclipse Update

- Riaz Khan highlighted the timeline and potential impacts for the total solar eclipse that will occur on Monday, April 8, 2024, and summarized the tools ERCOT will use to balance the system.  Luke Butler discussed next steps and offered to provide an additional update at the April 4, 2024 ROS meeting.

- New South Texas Generic Transmission Constraints (GTCs).

- Mr. Garcia noted the February 27, 2204 ERCOT Market notice, M-C022724-01 New South Texas Export and Import Generic Transmission Constraints (GTCs), stated these GTCs were effective on March 1, 2024, and summarized the necessity to establish the GTCs and the potential solutions considered.  Sun Wook Kang stated that ERCOT would continue to work on GTC developments, including studies to identify mitigation, noted transmission projects approved by the ERCOT Board (Board) and timeline for transmission upgrades.  Dr. Kang encouraged participants to attend the March 18, 2024 Regional Planning Group (RPG) meeting to further discuss the issues.

ROS Revision Requests (see Key Documents)

Impact Analysis

NOGRR255, High Resolution Data Requirements

Market Participants reviewed the 6/29/24 Impact Analysis to NOGRR255.  Some Market Participants requested additional time to provide clarifications.

Chase Smith moved to endorse and forward to TAC the 2/1/24 ROS Report and 6/29/23 Impact Analysis for NOGRR255.  Kevin Hanson seconded the motion.  The motion carried with one abstention from the Independent Generator (Luminant) Market Segment.  (Please see ballot posted with Key Documents.)

Revision Requests Tabled at ROS (see Key Documents)

Planning Guide Revision Request (PGRR) 073, Related to NPRR956, Designation of Providers of Transmission Additions

Resource Registration Glossary Revision Request (RRGRR) 036, Related to NPRR1191, Registration, Interconnection, and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater

NOGRR256, Related to NPRR1191, Registration, Interconnection, and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater

PGRR111, Related to NPRR1191, Registration, Interconnection, and Operation of Customers with Large Loads; Information Required of Customers with Loads 25 MW or Greater

ROS took no action on these items.

PGRR114, Related to NPRR1212, Clarification of Distribution Service Provider’s Obligation to Provide an ESI ID

Martha Henson reviewed the 2/22/24 Oncor comments to PGRR114 and referenced the 2/22/24 Oncor comments to Nodal Protocol Revision Request (NPRR) 1212.  In response to Market Participant questions, Calvin Opheim noted ERCOT supports the 2/22/24 Oncor comments.

Mr. Smith moved to recommend approval of PGRR114 as amended by the 2/22/24 Oncor comments.  Ms. Hanson seconded the motion.  The motion carried with one abstention from the Independent Retail Electric Provider (IREP) (Reliant) Market Segment.  (Please see ballot posted with Key Documents.)

Network Data Support Working Group (NDSWG)

NDSWG Leadership

Vice Chair:  Phil Hoffer, AEP

Gerardo Escamilla presented Phil Hoffer, AEP as NDSWG Vice Chair for ROS consideration.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

Operations Working Group (OWG) (see Key Documents)

Tyler Springer reviewed OWG activities.

NPRR1070, Planning Criteria for GTC Exit Solutions

NPRR1198, Congestion Mitigation Using Topology Reconfigurations

NOGRR258, Related to NPRR1198, Congestion Mitigation Using Topology Reconfigurations

ROS took no action on these items.

Steady State Working Group (SSWG) (see Key Documents)

William Robertson reviewed SSWG activities.

PGRR106, Clarify Projects Included in Transmission Project Information and Tracking (TPIT) Report

ROS took no action on this item.

SSWG Procedure Manual

Mr. Robertson presented the updated SSWG Procedure Manual for ROS consideration.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

Planning Working Group (PLWG) (See Key Documents)

Dylan Preas reviewed PLWG activities and requested ROS consideration on the action item to provide guidance to SSWG for modeling assumptions and methodologies on handling large Loads to reduce impacts and reorganizing the extraordinary dispatch steps.  Zach Walker confirmed PLWG provided the requested guidance to SSWG, summarized the specific concepts, and stated that updates were included in the SSWG Procedure Manual and other items would be evaluated at a future date by SSWG.

PGRR107, Related to NPRR1180, Inclusion of Forecasted Load in Planning Analyses

PGRR113, Related to NPRR1198, Congestion Mitigation Using Topology Reconfigurations

ROS took no action on these items.

PGRR112, Dynamic Data Model and Full Interconnection Study (FIS) Deadline for Quarterly Stability Assessment

Mr. Preas summarized PGRR112 discussion at the February 12, 2024 PLWG meeting and stated that PLWG was in consensus to support ROS recommend approval of PGRR112 as amended by the 1/17/24 ERCOT comments.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

Inverter Based Resources Working Group (IBRWG)  (see Key Documents)

- Julia Matevosyan reviewed IBRWG activities and requested ROS consideration on the completed action item to conduct a focused review with ERCOT Staff, identifying challenges and recommendations in next steps to implement the Transient Security Assessment Tool (TSAT).

Dynamics Working Group (DWG) (see Key Documents)

Fahad Qureshi reviewed DWG activities.

Combined Ballot

Dennis Kunkel moved to approve the Combined Ballot as follows:

- To approve the February 1, 2024 ROS Meeting Minutes as submitted

- To approve the 2024 ROS goals as revised by ROS

- To endorse Phil Hoffer, AEP, as Vice Chair of the NDSWG

- To approve the SSWG Procedure Manual as submitted

- To recommend approval of PGRR112 as amended by the 1/17/24 ERCOT comments

Mr. Hanson seconded the motion.  The motion carried unanimously.  (Please see ballot posted with Key Documents.)

Operations Training Working Group (OTWG) (see Key Documents)

Manuel Sanchez reviewed OTWG activities.

Voltage Profile Working Group (VPWG) (see Key Documents)

Maribel Khayat reviewed VPWG activities.

Other Business

Future ROS Meeting Format

Ms. Rich reviewed the hybrid and Webex only ROS meeting schedule in consideration of recently posted Public Utility Commission of Texas (PUCT) Open meetings.

Review Open Action Items List

- Market Participants reviewed the Open Action Items list.  In consideration of the discussion on 2024 ROS

- Goals and Action Items, Ms. Rich directed the following assignments be added to the ROS Open Action Items list:

- Develop guidance and recommendations for adjusting transmission reclosing and sectionalizing schemes that would significantly improve the Inverter-Based Resource (IBR) ride through probability and be reasonable to accomplish. Examples to look at would be no reclosing on three phase faults and adding current sensing directional intelligence on sectionalizing schemes to reduce number of times system is hit with faults (IBRWG, SPWG)

- Outline and develop computer-based training material for Next Start Resources and all other generators that would not normally attend Black Start training.  This computer-based training material is intended to increase knowledge and understanding of responsibilities for Black Start situations and, frequency and voltage actions in all situations (OTWG)

Ms. Rich directed the following completed items be removed from the ROS Open Action Items list:

- Review case build concerns and provide recommendations to ROS/SSWG on handling large Loads to reduce impact and reorganizing the Extraordinaire Dispatch steps (PLWG)

Concepts include:

  - Dispatch Diesel and Gas Settlement Only Distribution Generators (SODGs) prior to increasing wind beyond the Capacity, Demand and Reserves Report (CDR) levels

  - Reduce Large Flexible Loads prior to increasing wind beyond CDR levels

  - Dispatch batteries (currently offline in all cases) prior to increasing wind beyond the CDR levels

- Request to conduct a focused review with ERCOT Staff, identifying challenges and recommendations in next steps to implement TSAT, specifically engaging with Resource Owners to provide transparency of the issues and timelines for meeting compliance deadlines and “Original Equipment Manufacturer” (OEM) model improvements, and to consider the impacts of the 10% vendor models not submitted/or responsive (IBRWG)

No Report

- Black Start Working Group (BSWG)

- Performance Disturbance Compliance Working Group (PDCWG)

- System Protection Working Group (SPWG)

Adjournment

Ms. Rich adjourned the March 7, 2024 ROS meeting at 12:30 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

- https://www.ercot.com/calendar/03072024-ROS-Meeting-_-Webex