| Date: | April 16, 2024 |
| --- | --- |
| To: | Board of Directors |
| From: | Caitlin Smith, Technical Advisory Committee (TAC) Chair |
| Subject: | Non-Unanimous Revision Requests Recommended by TAC for Approval |

## Issue for the ERCOT Board of Directors

ERCOT Board of Directors Meeting Date: April 23, 2024 Item No.: 7.1

##### Issue: ##### Consideration of the following Revision Requests: Nodal Protocol Revision Request (NPRR) and Nodal Operating Guide Revision Request (NOGRR) recommended for approval by TAC (with opposing votes recorded): - NPRR1197, Optional Exclusion of Load from Netting at ERCOT-Polled Settlement (EPS) Metering Facilities which Include Resources; and - NOGRR245, Inverter-Based Resource (IBR) Ride-Through Requirements - URGENT.

##### Background/History: Unless otherwise noted: (i) all Market Segments participated in each vote; (ii) For NPRRs, ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed the NPRR and do not believe it requires changes to credit monitoring activity or the calculation of liability; (iii) ERCOT supports the Revision Request; and (iv) the Independent Market Monitor (IMM) has no opinion on the Revision Request. - NPRR1197, Optional Exclusion of Load from Netting at ERCOT-Polled Settlement (EPS) Metering Facilities which Include Resources Sponsor: Engie Proposed Effective Date: The first of the month following Public Utility Commission of Texas (PUCT) approval Estimated Impacts: No impact Revision Description: This NPRR adds the ability for Resources to separately meter and settle Load(s) located behind the ERCOT-Polled Settlement (EPS) metering point at the Resource’s Point of Interconnection (POI). TAC Decision: On 3/27/24, TAC voted to recommend approval of NPRR1197 as recommended by PRS in the 3/20/24 PRS Report. There was one opposing vote from the Cooperative (STEC) Market Segment. ERCOT Market Impact Statement: ERCOT Staff has reviewed NPRR1197 and believes the market impact for NPRR1197 provides an acceptable path for Resources to separately meter Loads otherwise subject to a netting arrangement behind the Resource’s POI. - NOGRR245, Inverter-Based Resource (IBR) Ride-Through Requirements - URGENT Sponsor: ERCOT Proposed Effective Date: The first of the month following PUCT approval Estimated Impacts: Less than $10k (O&M); Between $720k and $880k (Annual Recurring O&M) Revision Description: This NOGRR replaces the current voltage ride-through requirements for Intermittent Renewable Resources (IRRs) with voltage ride-through requirements for Inverter-Based Resources (IBRs) and Type 1 and Type 2 Wind-powered Generation Resources (WGRs) and provides new frequency ride-through requirements for IBRs and Type 1 and 2 WGRs consistent with or beyond requirements identified in the new 2800-2022 - Institute of Electrical and Electronics Engineers (IEEE) Standard for Interconnection and Interoperability of Inverter-Based Resources (IBRs) Interconnecting with Associated Transmission Electric Power Systems (“IEEE 2800-2022 standard”). TAC Decision: On 3/27/24, TAC voted to recommend approval of NOGRR245 as recommended by ROS in the 9/14/23 ROS Report as amended by the 3/22/24 Joint Commenters 2 comments as revised by TAC. There were eight opposing votes from the Cooperative (4) (GSEC, LCRA, PEC, STEC) and Investor-Owned Utility (IOU) (4) (TNMP, CNP, Oncor, AEPSC) Market Segments and three abstentions from the Consumer (2) (OPUC, Residential Consumer) and Independent Generator (Calpine) Market Segments. ERCOT Opinion: ERCOT does not support approval of NOGRR245 as recommended for approval by TAC in the 3/27/24 TAC Report as it does not address the critical reliability risk NOGRR245 intends to address. ERCOT Market Impact Statement: ERCOT has reviewed NOGRR245 as recommended for approval by TAC in the 3/27/24 TAC Report and does not believe it materially enhances reliability of the ERCOT System. Customers will likely continue to face exposure to the current high risk of instability and uncontrolled Outages up to potential system-wide Blackouts as the language does not provide strong ride-through performance requirements for Resource Entities of IBRs and Type 1 and Type 2 WGRs. ERCOT believes that ride-through events (like the Odessa events) may continue and lead to higher prices due to system Outages and state/federal regulatory scrutiny for ERCOT and Market Participants. The TAC Reports and Impact Analyses for these Revision Requests are included in the ERCOT Board meeting materials. In addition, these Revision Requests and supporting materials are posted on the ERCOT website.

##### Key Factors Influencing Issue: The PRS met, discussed the issues, and submitted a report to TAC regarding NPRR1197. The ROS met, discussed the issues, and submitted a report to TAC regarding NOGRR245.

##### Conclusion/Recommendation: As more specifically described above, TAC recommends that the Board recommend approval of NPRR1197 and NOGRR245.

ELECTRIC RELIABILITY COUNCIL OF TEXAS, INC.

BOARD OF DIRECTORS RESOLUTION

WHEREAS, after due consideration of the alternatives, the Board of Directors (Board) of Electric Reliability Council of Texas, Inc. (ERCOT) deems it desirable and in the best interest of ERCOT to recommend approval of the following Nodal Protocol Revision Request (NPRR) and Nodal Operating Guide Revision Request (NOGRR) recommended for approval by TAC:

- NPRR1197, Optional Exclusion of Load from Netting at ERCOT-Polled Settlement (EPS) Metering Facilities which Include Resources; and

- NOGRR245, Inverter-Based Resource (IBR) Ride-Through Requirements – URGENT.

THEREFORE, BE IT RESOLVED, that the Board hereby recommends approval of NPRR1197 and NOGRR245.

CORPORATE SECRETARY’S CERTIFICATE

I, Jonathan M. Levine, Assistant Corporate Secretary of ERCOT, do hereby certify that, at its April 23, 2024 meeting, the Board passed a motion approving the above Resolution by ______.

IN WITNESS WHEREOF, I have hereunto set my hand this ___ day of April, 2024.

______________________________

Jonathan M. Levine

Assistant Corporate Secretary