## Slide 1
RTC+B Technical Workshops – Updates
Sreenivas Badri
April 24, 2024

## Slide 2: RTC+B Technical Workshops – Workshop #1 Update
These workshops target audience – QSE/Vendors IT development and implementation technical SMEs.
Close to 150 participants (QSEs and Vendors SMEs) attended the workshop #1 on 04/18/2024.
Workshop #1 – Focus was on
  Introducing RTC+B
  ERCOT systems impacted by RTC+B
  Real-time telemetry data flows between QSE ICCP and ERCOT ICCP/SCADA/AGC/RLC and SCED
  ERCOT AGC/RLC design
  New Telemetry Points (QSE to ERCOT and ERCOT to QSE)
  ICCP Configurations to test new ICCP telemetry points and enable parallel testing of ERCOT EMS/SCED and QSE AGC
    Use existing Production ICCP to add new RTC+B Telemetry Points
    Standup Parallel ICCP Systems for RTC+B
Provide feedback on or before next RTC+B Technical workshop meeting on 05/06/2024.
    For any questions and feedback, contact me at Sreenivas.Badri@ercot.com

## Slide 3: RTC+B Technical Workshops – Schedule
Workshop #2 (scheduled on 05/06/2024) – Key topics
  Go over few questions from Workshop#1 on new RTC+B functionality and AS deployments
  Revisit RTC+B new telemetry additions and existing telemetry deletion – more technical discussion
  Objectives of Market Trials, Closed Loop Testing
  Go over ICCP Configurations (two options) again and their Pros and Cons
  Finalize one ICCP Configuration for Market Trials/Closed Loop Testing/Go Live
RTC+B Market Trials tentatively scheduled to start early 2025
RTC+B Technical Workshops Schedule
    RTC+B Technical Workshop - April 18, 2024: 1:00 PM – 4:00 PM :
    Overview of ICCP Telemetry/EMS SCADA/AGC changes & ICCP Configurations for parallel testing.
    RTC+B Technical Workshop - May 6, 2024: 1:00 PM – 4:00 PM :
    Finalize approach on ICCP configuration approaches for parallel testing and transition.
    RTC+B Technical Workshop - May 15, 2024: 1:00 PM – 4:00 PM :
    Market Interfaces design specifications (submissions - External API/Market Manager, notifications, and reports)
    RTC+B Technical Workshop - June 6, 2024: 1:00 PM – 4:00 PM :
    Reserved for further discussions if needed and Q&A session.